[image: image2.png]



	
	Consent no
	NRWWIA156

	
	


WATER INDUSTRY ACT 1991

SECTION 165 / 166
CONSENT TO DISCHARGE

TO:
Dŵr Cymru

Pentwyn Road

Nelson

Treharris

Mid Glamorgan

CF46 6LY 

	The NATURAL RESOURCES BODY FOR WALES ("Natural Resources Wales") in pursuance of its powers under the Water Industry Act 1991 HEREBY CONSENTS to the making of a discharge as follows:
Raw Water


	FROM: Prioress Mill WPS, R/O 1 Prioress Mill Cott, NP15 1PU

	

	AT: National Grid Reference SO 36588 02352

	

	TO: River Usk

	

	SUBJECT TO: the conditions set out in the following schedule:

Raw Water                     Schedule No. NRWWIA156

	

	This consent is issued on the 18th day of June 2019
This consent takes effect on the 21st day of June 2019
This consent shall cease to have effect on the 19th day of July 2019
Signed: Emily Roe


	


CONDITIONS OF CONSENT TO DISCHARGE

RAW WATER (“the Discharge”)
NATURE OF THE DISCHARGE

1.
The Discharge shall consist solely of raw water. 

SOURCE OF THE DISCHARGE

2. The Discharge shall be derived from Prioress Mill Water Pumping Station.
LOCATION OF DISCHARGE

3.
The location of the Discharge shall be at NGR SO 36588 02352, marked Discharge Point on the site plan in Annex 1.

SAMPLE POINT

4.
A sample point shall be provided and maintained so that a representative sample of the Discharge may be obtained. 

VOLUME

5. The total volume of the Discharge shall not exceed 11315 cubic metres.

6. The total daily volume of the Discharge shall not exceed 2263 cubic metres.

7. The rate of the Discharge shall not exceed 26 litres per second.
COMPOSITION

8.
The consent holder shall take all necessary steps to secure that any water discharged by it under this consent is as free as may be reasonably practicable from — 

(a) 
mud and silt;

(b) 
solid, polluting, offensive or injurious substances; 
and

(c)
any substances prejudicial to fish or spawn, or to spawning beds or food of fish.
SCOURING
9.
The rate of discharge shall be controlled to prevent any significant scouring of the bed or bankside of the receiving water.
FLOODING

10.
The discharge shall not cause or significantly contribute to flooding in the downstream catchment.
PERIOD OF DISCHARGE

11.
The Discharge shall only be made between 21st day of June 2019 and the 19th day of July 2019.
ANNEX 1- PLAN No. NRWWIA156
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