# Natural Resources Wales permitting decisions

# Bespoke Variation

We have decided to issue the variation for Llanfaglan Wastewater Treatment Works operated by Dŵr Cymru Cyfyngedig.

The permit number is CG0078101

The permit has been varied to amend the current Total Iron as Fe limit from a Maximum of 5000μg/l to a 95%ile LUT limit of 4000μg/l and a Maximum limit of 8000μg/l. This is in line with our change in policy regarding iron limits. The sample point NGR has also been amended within this variation.

We consider in reaching that decision we have taken into account all relevant considerations and legal requirements and that the permit will ensure that the appropriate level of environmental protection is provided.

Purpose of this document

This decision document:

- explains how the application has been determined

- provides a record of the decision-making process

- shows how all relevant factors have been taken into account

- justifies the specific conditions in the permit other than those in our generic permit template.

Unless the decision document specifies otherwise we have accepted the applicant’s proposals.

Structure of this document

- Annex 1 the decision checklist

# Annex 1: decision checklist

This checklist should be read in conjunction with the Duly Making checklist.

| ### Aspect | ### Justification / Detail | Criteria met |
| --- | --- | --- |
|  |  | Yes |
| Operator |  |  |  |
| Control of the facility | We are satisfied that the applicant (now the operator) is the person who will have control over the operation of the facility after the grant of the permit. The decision was taken in accordance with EPR RGN 1 Understanding the meaning of operator. |  |
| European Directives |  |  |  |
| Applicable directives | All applicable European directives have been considered in the determination of the application. |  |
| The site |  |  |  |
| Extent of the site of the facility | The operator has provided a plan which we consider is satisfactory, showing the extent of the site of the facility including discharge points. A plan is included in the permit and the operator is required to carry on the permitted activities within the site boundary. |  |
| Environmental Risk Assessment and operating techniques |  |  |  |
| Operating techniques | We have reviewed the techniques used by the operator and compared these with the relevant guidance notes. The proposed techniques / emission levels for priorities for control are in line with the benchmark levels contained in the TGN and we consider them to represent appropriate techniques for the facility. |  |
| The permit conditions |  |  |  |
| Emission limits | We have decided that emission limits should be set for the parameters listed in the permit. It is considered that the numeric limits described below will prevent significant deterioration of receiving waters. We have imposed numeric limits because either a relevant environmental quality or operational standard requires this. All previous numeric emission limits for Ammonia, BOD, Suspended Solids, Aluminium and Phosphorus have remained unchanged. As a result of the application made by the operator the Iron limit has been amended from a Maximum limit of 5000µg/l to a 95%ile LUT limit of 4000µg/l and a maximum of 8000µg/l. This is in line with NRW’s change in policy on Iron dosing ( PR14 OI: Appendix H). |  |
| Monitoring | We have decided that monitoring should be carried out for the parameters listed in the permit, using the methods and to the frequencies specified. These monitoring requirements have been imposed in order to ensure compliance with emission limits set. made these decisions in accordance with TGN 7.01. |  |
| Reporting | We have specified reporting in the permit. The operator will be required to report to NRW Annually, Quarterly and Monthly with flow monitoring date, OSM sample data and UWWTD data respectively. We made these decisions in accordance with TGN 7.01. |  |
| Operator Competence |  |  |  |
| Environment Management System | There is no known reason to consider that the operator will not have the management systems to enable it to comply with the permit conditions. The decision was taken in accordance with RGN 5 on Operator Competence. |  |