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	Consent no
	NRWWIA356

	
	


WATER INDUSTRY ACT 1991

SECTION 165 / 166
CONSENT TO DISCHARGE

TO:

Dwr Cymru/Welsh Water

Linea,
Fortran Road,
St. Mellons,
Cardiff,
CF3 0LT
	The NATURAL RESOURCES BODY FOR WALES ("Natural Resources Wales") in pursuance of its powers under the Water Industry Act 1991 HEREBY CONSENTS to the making of a discharge as follows:
Raw water discharge from Wentwood Reservoir. 


	FROM: WENTWOOD RESERVOIR, MILLBROOK LANE, LLANVACHES, CALDICOT, NEWPORT, NP26 3AZ

	

	AT: NATIONAL GRID REFERENCE ST 43044 92754

	

	TO: LLANVACHES BROOK

	

	SUBJECT TO: the conditions set out in the following schedule:

Raw Water                     Schedule No. NRWWIA356-01

	

	This consent is issued on the 8th day of March 2023
This consent takes effect on the 8th day of March 2023
This consent shall cease to have effect on the 14th day of January 2024.
Signed: Stephanie Evans

	


CONDITIONS OF CONSENT TO DISCHARGE

RAW WATER (“the Discharge”)

NATURE OF THE DISCHARGE

1.
The Discharge shall consist solely of raw water. 

SOURCE OF THE DISCHARGE

2. The Discharge shall be derived from Wentwood Reservoir.
LOCATION OF DISCHARGE

3.
The location of the Discharge shall be at NGR ST 43044 92754, marked ‘Scour Discharge Point’ on the site plan in Annex 1.

SAMPLE POINT

4.
A sample point shall be provided and maintained so that a representative sample of the Discharge may be obtained. 

VOLUME

5. The total daily volume of the Discharge shall not exceed 6050 cubic metres.

6. The rate of the Discharge shall not exceed 70 litres per second.
COMPOSITION

7.
The consent holder shall take all necessary steps to secure that any water discharged by it under this consent is as free as may be reasonably practicable from — 

(a) 
mud and silt;

(b) 
solid, polluting, offensive or injurious substances; 
and

(c)
any substances prejudicial to fish or spawn, or to spawning beds or food of fish.
SCOURING
8.
The rate of discharge shall be controlled to prevent any significant scouring of the bed or bankside of the receiving water. 
FLOODING

9.
The discharge shall not cause or significantly contribute to flooding in the downstream catchment.
PERIOD OF DISCHARGE

10.
The Discharge shall only be made between 8th day of March 2023 and the 14th day of January 2024.
ANNEX 1- PLAN No. NRWWIA356
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