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	Consent no
	NRWWIA357

	
	


WATER INDUSTRY ACT 1991

SECTION 165 / 166
CONSENT TO DISCHARGE

TO:
Dwr Cymru,


Linea,


Fortran Road,


St Mellons,


Cardiff.


CF3 OLT

	The NATURAL RESOURCES BODY FOR WALES ("Natural Resources Wales") in pursuance of its powers under the Water Industry Act 1991 HEREBY CONSENTS to the making of a discharge as follows:
Raw Water 

	FROM: LLWYN ONN RESERVOIR, LLWYN-ONn RESERVOIR ROAD, LLWYN ONN, MERTHYR TYDFIL, CF48 2HS

	

	AT: NATIONAL GRID REFERENCE SO 01211 11353

	

	TO: TAF FAWR

	

	SUBJECT TO: the conditions set out in the following schedule:

Raw Water                                             Schedule No. NRWWIA357-01

	

	This consent is issued on the 14th day of March 2023
This consent takes effect on the 1st day of May 2023
This consent shall cease to have effect on the 10th day of November 2023
Signed: Terry Gulliford


	


CONDITIONS OF CONSENT TO DISCHARGE

RAW WATER (“the Discharge”)

NATURE OF THE DISCHARGE

1.
The Discharge shall consist solely of raw water. 

SOURCE OF THE DISCHARGE

2. The Discharge shall be derived from Llwyn Onn Reservoir.
LOCATION OF DISCHARGE

3.
The location of the Discharge shall be at NGR SO 01211 11353, marked ‘Discharge Point’ on the site plan in Annex 1.

SAMPLE POINT

4.
A sample point shall be provided and maintained so that a representative sample of the Discharge may be obtained. 

VOLUME

5. The total daily volume of the Discharge shall not exceed 426,000 cubic metres.

6. The rate of the Discharge shall not exceed 4,940 litres per second.
COMPOSITION

7.
The consent holder shall take all necessary steps to secure that any water discharged by it under this consent is as free as may be reasonably practicable from — 

(a) 
mud and silt;

(b) 
solid, polluting, offensive or injurious substances; 
and

(c)
any substances prejudicial to fish or spawn, or to spawning beds or food of fish.
SCOURING
8.
The rate of discharge shall be controlled to prevent any significant scouring of the bed or bankside of the receiving water.
FLOODING

9.
The discharge shall not cause or significantly contribute to flooding in the downstream catchment.
PERIOD OF DISCHARGE

10.
The Discharge shall only be made between 1st day of May 2023 and the 10th  day of November 2023.
ANNEX 1- PLAN No. NRWWIA357
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