| BB3691CL ImpClause 16032023 |  |
| --- | --- |
| Improvement Condition Fulfilment |  |
| 1 About the permit you are providing information for |  |
| 1a Permit number | AN0105501 |
| 1b Site details |  |
| Site name | Barry – Coldbrook Road East CSO |
| Address | In front of 60 Coldbrook Road East |
|  | Barry |
|  | Vale of Glamorgan |
| Postcode | CF63 1NG |
| National Grid Reference | ST 13388 69572 |
| 2 Fulfilment of permit conditions set out in Schedule 1, Table S1.3 “Improvement programme requirements.” |  |
| 2a Provision of weir setting |  |
| Weir setting (l/s) | 72.27 |
| Basis of calculation for weir setting | DCWW model & GIS |
| 2b Storage provision |  |
| Minimum storage capacity (m3) | No |
| Online/offline |  |
| 2c details of any screening |  |
| Screen present (Y/N) | N |
| Maximum size of solid matter (mm, and dimension) |  |
| Screen aperture size (mm) |  |
| 3 Additional comments (site specific) |  |
| 4 Declaration |  |
| Title | Mr |
| First name | Redmond |
| Last name | Jenkins |
| Today’s date | 16/03/2023 |