PAN-020944  My Map Report:

Application map

Deployment Boundaries

Main farm address

NGR provided is approx. 88m from the main farm. RFI?

Detailed river network: No spreading within 10m

Applicant has not identified the ponds in the south of field 10, to the east boundary of field 11, to the south of field 12, to the east boundary of field 10 or to the north east of field 19. Non spread buffers do not clearly shown on application maps. RFI

Groundwater protection zones

none

Any well, spring (or issue) or borehole used / not used for the supply of water for human consumption including from a private water supply or supplies within 50m.

Well N of field 8, issue E and flowing E from the boundary of field 12, spring to SE of feild 12, drain to SE of field 10, well to W of field 9. None of these are identified on application maps and no clear non spreading buffers in place. Collects within and flowing SE to the boundary of field 12 does appear to potentially have a non spread buffer but again this is not clearly identified, nor is the distance of this buffer on the application map. RFI

Well SE of field 19 not identified on application map, drains NW/SW of fields 18 and 19 not clearly identified on application maps. Non spread buffers not clearly identified on application maps. RFI

Any well, spring (or issue) or borehole used / not used for the supply of water for human consumption including from a private water supply or supplies within 250m.

Well W of field 10, SW of field 10, S of field 10, spring and pond SE of field 12, pond NW of field 8, drain E of field 12 drain W of field 9, drain S of field 10, Issue NE of field 12. None of these are identified on application maps. RFI

3 wells W of field 18, spring and sink W of field 19, well SW of field 19, 2x drains SW of field 19, well E of field 19, drain and two ponds N of field 18. None of these are identified on application maps. RFI

European designated sites- Natura 2000 (SPA, pSPA, SAC or cSAC) or Ramsar- or SSSI within 500m

Malltraeth Marsh / Cors Ddyga, a SSSI is min approx. 223m SE and max approx. 358m SE of field 19 also extends S of field 19 at approx. 240m. not identified on application maps RFI.

Other protected sites within 500m:

- Protected Species-

- Protected Habitats-

- Scheduled Ancient Monument-

- Local Nature Reserve-

- National Nature Reserve-

- Ancient Woodlands-

- Local Wildlife Sites (SINC)-

- National Park-

- Nitrate Vulnerable Zone (NVZ)-

- Groundwater Safeguard Zone-

- Hedges-

- Ditches-

Plantation on ancient woodland and restored ancient woodland NW of field 9.

Coed Henblas LWS (SINCs) NE of field 12. Fferam Parc LWS (SINCs) immediately adjacent to SW of field 9.

Purple moor grass and rush pastures, Lowland dry acid grassland and Lowland calcareous grassland to the S, SW, W, NW and N of fields 8/9/10.

Purple moor grass and rush pastures and Lowland dry acid grassland and Lowland calcareous grassland S of field 19 and NW of field 18 and 19.

Public rights of way

Distance from Main Farm Address

NGR provided is incorrect, the main address is NE of the provided NGR

Slope Map

All fields 0-7 degrees.

END