# Natural Resources Wales permitting decisions

# Bespoke permit

We have decided to grant the permit for Llanycefn Parish Church operated by Mrs Gillian Harrison

The application number is PAN-003376

The permit number is [insert permit reference]

The permit regulates a new discharge of secondary treated sewage effluent; a maximum of 1m3/day treated by a British Standard package treatment plant and discharged into a surface water drain that enters the Nant Fach stream at NGR SN 09640 23653. The system will serve a single 1 bed domestic dwelling.

We consider in reaching that decision we have taken into account all relevant considerations and legal requirements and that the permit will ensure that the appropriate level of environmental protection is provided.

Purpose of this document

This decision document:

- explains how the application has been determined

- provides a record of the decision-making process

- shows how all relevant factors have been taken into account

- justifies the specific conditions in the permit other than those in our generic permit template.

Unless the decision document specifies otherwise we have accepted the applicant’s proposals.

Structure of this document

- Annex 1 the decision checklist

- Annex 2 the consultation response

# Annex 1: decision checklist

This checklist should be read in conjunction with the Duly Making checklist.

| ### Aspect | ### Justification / Detail | Criteria met |
| --- | --- | --- |
|  |  | Yes |
| Consultation |  |  |  |
| Scope of consultation | The consultation requirements were identified and implemented. The decision was taken in accordance with RGN 6 High Profile Sites, our Public Participation Statement and our Working Together Agreements. |  |
| ### Responses to consultation | The consultation response (Annex 2) were taken into account in the decision. The decision was taken in accordance with our guidance. |  |
| Operator |  |  |  |
| Control of the facility | We are satisfied that the applicant (now the operator) is the person who will have control over the operation of the facility after the grant of the permit. The decision was taken in accordance with EPR RGN 1 Understanding the meaning of operator. |  |
| European Directives |  |  |  |
| Applicable directives | All applicable European directives have been considered in the determination of the application. |  |
| The site |  |  |  |
| Extent of the site of the facility | The operator has provided a plan which we consider is satisfactory, showing the extent of the site of the facility including discharge points. A plan is included in the permit and the operator is required to carry on the permitted activities within the site boundary. |  |
| Biodiversity, Heritage, Landscape and Nature Conservation and a designated site under the CRoW Act. | The application is within the relevant distance criteria of a site of heritage, landscape or nature conservation, and/or protected species or habitat . A full assessment of the application and its potential to affect the site has been carried out as part of the permitting process. We consider that the application will not affect the features of the site. We have not formally consulted on the application. The decision was taken in accordance with our guidance. |  |
| Habitat Regulation Assessment for a designated site under the EU Habitats Directive | The project has been screened for likelihood of significant effects and, taking account of the advice received from protected sites advisors, is considered not likely to have a significant effect on any Natura 2000/Ramsar site (As documented in section 3.2 of OGN 200 form 1) |  |
| Environmental Risk Assessment and operating techniques |  |  |  |
| Environmental risk | We have carried out a risk assessment on behalf of the operator. The operator considers this risk assessment is satisfactory. The assessment shows that, applying the conservative criteria in our guidance on Environmental Risk Assessment, all emissions may be categorised as environmentally insignificant. |  |
| Operating techniques | We have reviewed the techniques used by the operator and compared these with the relevant guidance notes. The proposed techniques / emission levels for priorities for control are in line with the benchmark levels contained in the TGN and we consider them to represent appropriate techniques for the facility. |  |
| The permit conditions |  |  |  |
| Considerations of foul sewer | We agree with the operators justification for not connecting to foul sewer. |  |
| Operator Competence |  |  |  |
| Environment Management System | There is no known reason to consider that the operator will not have the management systems to enable it to comply with the permit conditions. The decision was taken in accordance with RGN 5 on Operator Competence. |  |
| Sustainable Management of Natural Resources (SMNR) |  |  |
| Considerations of SMNR - Compliance with our General Purpose | We are satisfied that this decision is compatible with our general purpose of pursuing the sustainable management of natural resources in relation to Wales and applying the principles of sustainable management of natural resources” |  |

# Annex 2: Consultation response

Summary of responses to consultation and the way in which we have taken these into account in the determination process.

Response received from

Dwr Cymru Cyfygedig

Brief summary of issues raised

- what is the treatment process and what will be removed? - how frequently will the unit be maintained and by whom? - how the outflow will be monitored for compliance? - what mitigations will be in place if the unit fails and the sewage is discharged untreated.

Summary of actions taken or show how this has been covered

Our response to Dwr Cymru Cyfyngedig was: - The applicant proposes to install a British Standard package treatment plant which will be capable of achieving the required 20mg/l Ammonia and BOD and 30mg/l suspended solids quality. - The permit has a condition that stipulates that the treatment plant will need to be maintained in accordance with the manufacturer’s guidelines. - If granted, a permit will have conditions to ensure the discharge is monitored by the operator on a regular basis to ensure compliance with the ‘no adverse impact / no visible oil and grease conditions’. As the regulator NRW will monitor this discharge for compliance on an adhoc basis but due to the very small volume (and low risk it poses) any granted permit will not have numeric emission limits that the operator will need to comply with. Any adverse impact (pollution incident) that is reported to NRW will be investigated and appropriate action will be taken. - If the plant fails the operator will need to ensure swift action is taken to seal the unit to prevent any further pollution occurring and take remedial action to resolve the issue that has caused the plant to fail. Within a permit application the applicant confirms they have a written management plan that complies with our requirements, set out in our guidance >> https://naturalresources.wales/media/680974/part-b65_guidance-v3_final.pdf