## Consent Application information
| If FE permit is to be. or has already been. consolidated with storm | Settled or, if no storm tanks, unsettled | Only if there are two separate storm activities | [6 empty] | If applicable | If applicable | If applicable |  | If applicable | If applicable |  |  | If applicable |  | If applicable | UMON4 | UMON3
Site Name | FE Permit Number | Storm Permit Number | High-level Storm Permit Number | DSI_ADD2 | DSI_ADD3 | DSI_ADD4 | DSI_POST_CODE | Final Effluent Discharge Point | Settled Storm Discharge Point | Storm Discharge Point | UWWTR Inlet Sample Point | UWWTR Sample Point | Final Effluent Sample Point | UV Monitoring Point (Pre-treatment) | UV Monitoring Point (Post-treatment) | MCERTS Flow Monitoring Point | Settled Storm Sample Point | Storm Sample Point | Settled Storm to Environment EDM Monitoring Point | Storm to Environment EDM Monitoring Point | MCERTS FPF Monitoring Point | EDM to Storm Tank Monitoring Point | AGR_REC_WATER | S33 Overflow setting l/s | S33 Maximum size of solid matter | S33 Screen Aperture Size | S33 Storm tank / storage capacity | Non-standard operating techniques | Other Comments
Aberdaron WwTW | CG0108201 | EPRAB3495ZU | Not Required | B4413 | Aberdaron | Pwllhelli | LL53 8BG | SH1725126428 | SH1734926939 | Not Required | Not Required | Not Required | SH1729526888 | Not Required | Not Required | SH 17300 26895 | SH1733026915 | Not Required | SH 17294 26891 | Not Required | SH 17320 26912 | SH 17336 26921 | Afon Daran | TBC |  | 6mm 2D | TBC
Henllan WwTW | BN0013701 | EPRDB3297TS | Not Required | B4334 | Henllan | Ceredigion | SA44 5TE | SN3535540248 | Not Required | SN3535540248 | Not Required | Not Required | SN3540240277 | Not Required | Not Required | SN 35399 40294 | Not Required | SN3542940261 | Not Required | SN 35429 40261 | SN 35425 40265 | Not Required | Afon Teifi | 14 |  | 6mm 2D | None required
Henllan (Denbigh) WwTW | CM0107601 | NPSWQD011014 | Not Required | Llannefydd Road | Henllan | Denbighshire | LL51 5BD | SJ0192068540 | Not Required | SJ0191768584 | Not Required | Not Required | SJ0192068540 | Not Required | Not Required | SJ 01975 68527 | Not Required | SJ0196168533 | Not Required | SJ 01960 68543 | SJ 01975 68527 | SJ 01976 68528 | Afon Meirchion | 10 |  | 6mm 2D | None required
Lampeter WwTW | BP0045001 | BP0045002 | Not Required | Barley Mow | Lampeter | Ceredigion | SA48 7BY | SN5763047340 | Not Required | SN5763047340 | SN 57598 47572 | SN 57562 47540 | SN 57562 47540 | Not Required | Not Required | SN 57602 47576 | Not Required | SN 57572 47545 | Not Required | SN 57572 47545 | SN 57602 47576 | SN 57603 47589 | River Teifi | 90 |  | 6mm 1D | None stated
Laugharne WwTW | BH0060005 | BP0270701 | Not Required | The Strand | Laugharne | Carmarthernshire | SA33 4TS | SN3046010567 | SN3045010580 | Not Required | Not Required | Not Required | SN3039010380 | SN 30390 10380 | SN 30390 10380 | SN 30413 10370 | SN3038510398 | Not Required | SN 30395 10392 | Not Required | SN 30381 10391 | SN 30390 10393 | Taf Estuary at confluence of River Coran and Railsgate Pill | 11 |  | 6mm 2D | 162
Llandyrnog WwTW | CM0079601 | CM0079701 | Not Required |  | Llandyrnog | Denbighshire | LL16 4HA | SJ0983064380 | SJ1001064460 | Not Required | Not Required | Not Required | SJ0983064380 | Not Required | Not Required | SJ 10069 64384 | SJ1007864493 | Not Required | SJ 10076 64471 | Not Required | SJ 10084 64447 | SJ 10073 64497 | Llandyrnog Drain | 55.6 |  | Not stated in permit | Not stated
Llyswen WwTW | AW1004201 | AN0390301 | Not Required | Church Road | Llyswen | Powys | LD3 0UU | SO1336938152 | SO1336938152 | Not Required | Not Required | Not Required | SO1355738135 | Not Required | Not Required | SO 13557 38137 | SO1356538131 | Not Required | SO1357438118 | Not Required | SO 13571 38115 | SO1357138112 | River Wye | 4.2 |  | 6mm 2D | 31
Corris Isaf WwTW | CG0061701 | CG0061901 | Not Required | Adj. to Braichgoch Farm | Corris | Gwynedd | SY20 9SJ | SH 75575 07448 | SH 75575 07448 | Not Required | Not Required | Not Required | SH 75560 07443 | Not Required | Not Required | SH 75547 07440 & SH 75548 07433 | SH 75551 07450 | Not Required | SH 75551 07450 | Not Required | SH 75547 07440 & SH 75548 07433 | SH 75547 07450 | River Dulas | 6.8 |  | Not stated | Not stated
Neyland WwTW | BH0069602 | BP0347501 | Not Required | Military Road (B4325) | Neyland | Pembrokeshire | SA73 1RX | SM9583204826 | Not Required | SM9583204826 | SM 95773 05418 | SM 95787 05330 | SM9578705330 | Not Required | Not Required | SM 95782 05330 | Not Required | SM9577005417 | Not Required | SM 95773 05359 | SM 95782 05330 | Not Required | Milford Haven Waterway | 70 |  | 6mm 2D | None required
Penrhos Camp WwTW | CG0041301 | CG0041302 | Not Required | Polish Village Access Road | Penrhos | Gwynedd | LL53 7NE | SH3401033850 | Not Required | SH3400733821 | Not Required | Not Required | SH3400033850 | Not Required | Not Required | SH 33953 33836 | Not Required | SH3394433846 | Not Required | SH 33953 33853 | SH 33955 33840 | Not Required | Afon Penrhos | 9.56 |  | 6mm 2D | None required
Rhayader WwTW | AW1005201 | AW1005202 | Not Required | South Street (A470) | Rhayader | Powys | LD6 5BL | SN9783067290 | SN9787067270 | Not Required | SN 97902 67379 | SN 97847 67292 | SN 97847 67292 | Not Required | Not Required | SN 97870 67366 | SN9787267287 | Not Required | SN9786867296 | Not Required | SN 97870 67366 | SN9790767383 | A tributary of the River Wye | 30 |  | 10mm 2D | 218
Sennybridge WwTW | AC0140301 | AN0246901 | Not Required | Maesycelyn Lane | Sennybridge | Powys | LD3 8TS | SN9253029450 | Not Required | SN9250429398 | Not Required | Not Required | SN 92472 29482 | Not Required | Not Required | SN9247229442, SN9246229443 & SN9248929433 | Not Required | SN9246029406 | Not Required | SN9246129408 | SN9247229442, SN9246229443 & SN9248929433 | Not Required | The River Usk | 12 |  | 6mm 2D | None required
St. Fagans WwTW | AG0008501 | EPRAB3599CV | Not Required | Castle Hill | St. Fagans | Cardiff | CF5 6EJ | ST1227077070 | ST1227077070 | Not Required | Not Required | Not Required | ST 12343 77136 | Not Required | Not Required | ST1233277151 | ST1232877145 | Not Required | ST1231977150 | Not Required | ST1233277151 | ST1232377152 | River Ely | TBC |  | 10mm 2D | TBC
Talsarnau WwTW | CG0071401 | CG0071501 | Not Required | Behind Ysgol Gynradd Talsarnau | Talsarnau | Gwynedd | LL47 6TA | SH 61022 35994 | Not Required | SH6104735964 | Not Required | Not Required | SH 61003 35964 | Not Required | Not Required | SH 61034 35960 | Not Required | SH6104235951 | Not Required | SH 61034 35960 | SH 61034 35960 | Not Required | Cyt Mawr Stream | TBC |  | TBC | TBC
Tavernspite WwtW | BH0056201 | BH0056202 | Not Required | B4328 | Tavernspite | Carmarthernshire | SA34 0NJ | SN1821313347 | SN1821313347 | Not Required | Not Required | Not Required | SN 18245 13132 | Not Required | Not Required | SN 18249 13117 | SN1824913117 | Not Required | SN 18249 13117 | Not Required | SN 18249 13117 | SN 18249 13117 | Afon Cwm-Waun-Gron | 1.8 |  | 6mm 2D | 6.84
Trebanos WwTW | BC0016601 | BC0016601 | Not Required | The Grove | Trebanos | Swansea | SA8 4BP | SN7087902128 | SN7099002130 (outlet 2) & SN7119002200 (outlet 1) | Not Required | SN7122402407 | SN7119002300 | SN7119002300 | Not Required | Not Required | SN 71141 02314 | SN7115102238 (outlet 2) & SN7117702225 (outlet 1) | Not Required | SN 71171 02225 | Not Required | SN 71192 02384 | SN 71205 02397 | River Tawe | 146 |  | 10mm2D | 1200
Ty'n-y-Groes CSO | Not Required | CG0015501 | Not Required | Behind Talycafn Ucha Farm | Ty'n-y-Groes | Conwy | LL28 5RT | not required | Not Required | SH7840171424 | Not Required | Not Required | not required | Not Required | Not Required | Not Required | Not Required | SH7820971223 | Not Required | SH 78209 71223 | SH 78205 71229 | Not Required | Afon Conwy | 6 times DWF |  | TBC | None stated
Walton West WwTW | BP0063101 | BP0296201 | Not Required | Walton Road | Walton West | Pembrokeshire | SA62 3UD | SM 85940 14648 | SM8645913072 | Not Required | Not Required | Not Required | SM 86380 13090 | Not Required | Not Required | SM 86347 13025 | SM8640113046 | Not Required | SM 86347 13025 | Not Required | SM 86347 13025 | SM 86347 13025 | Swanswell Brook | 23.6 |  | 6mm bar | 243
Y Ffor WwTW | CG0012401 | EPRAB3497HE | Not Required | B4354 | Y Ffor | Gwynedd | LL53 6UW | SH 40331 39318 | Not Required | SH 40331 39318 | Not Required | Not Required | SH 40244 39281 | Not Required | Not Required | SH 40224 39267 | Not Required | SH 40220 39268 | Not Required | SH 40220 39268 | SH 40224 39267 | SH 40215 39262 | Afon Erch | 1.6 |  | TBC | TBC
Llanbedr WwTW | CG0093701 | CG0430001 | Not Required | A496 (Sarn Hir) | Llanbedr | Gwynedd | LL45 2HW | SH5811627466 | SH5811627466 | Not Required | SH 58145 27536 | SH 58169 27545 | SH5816927545 | SH 58176 27542 | SH 58167 27536 | sh 58169 27545 | SH5813727517 | Not Required | SH 58141 27519 | Not Required | SH 58147 27533 | SH 58164 27478 | Afon Artro | 5 |  | 6mm 2D | 64
Llanerchymedd WwTW | CG0114504 | CG0114505 | Not Required | Twr Cuhelyn Street (B5111) | Llannerch-y-medd | Anglesey | LL71 8DF | SH4514086230 | SH4514086230 | Not Required | Not Required | Not Required | SH 41719 84414 | Not Required | Not Required | SH 41734 84398 | SH4173784411 | Not Required | SH 41715 84404 | Not Required | SH 41734 84398 | SH 41742 84404 | Afon Alaw | 26.6 |  | TBC | 127
Llanfair TH WwTW | CM0079101 | CM0079201 | Not Required | Denbigh Road | Llanfairtalhaiarn | Conwy | LL22 8YU | SH9318070570 | Not Required | SH 93180 70570 | Not Required | Not Required | SH 93126 70529 | Not Required | Not Required | SH 93131 70530 | Not Required | SH 93133 70494 | Not Required | SH9312370502 | SH 93134 70498 | SH 93135 70490 | River Elwy | 5.7 |  | 6mm 2D | None required
Llanfyrnach WwTW | BN0002901 | BP0219201 | Not Required | Old Railway Line | Llanfyrnach | Pembrokeshire | SA35 0BZ | SN2204531053 | SN2204731052 | Not Required | Not Required | Not Required | SN2200331036 | Not Required | Not Required | SN 22008 31037 | SN2202131037 | Not Required | SN 22025 31037 | Not Required | SN 21963 31045 | SN 21963 31045 | Afon Taf | 2.65 |  | 6mm 2D | 50
Llangaffo WwTW | CG0019201 | CG0019202 | Not Required | B4419 | Llangaffo | Anglesey | LL60 6LU | SH4469067710 | Not Required | SH4468867713 | Not Required | Not Required | SH4469067710 | Not Required | Not Required | SH 44670 67739 | Not Required | SH4466467744 | Not Required | SH 44666 67747 | SH 44670 67739 | Not Required | A tributary of the River Braint | TBC |  | TBC | None required
Llangefni WwTW | CG0078001 | CG0078002 | Not Required | Llangefni Link Road | Llangefni | Anglesey | LL77 7XA | SH4609774396 | SH4609774394 | Not Required | SH 46499 74637 | SH4643174548 | SH4643174548 | Not Required | Not Required | SH 46481 74632 | SH4650874602 | Not Required | SH 46520 74609 | Not Required | SH 46487 74641 | SH 46491 74639 | Afon Cefni | 150 |  | 6mm 2D | 810
Llanllynfi WwTW | CG0087501 | CG0087502 | Not Required | Lleuar Fawr access track | Llanlynfi | Gwynedd | LL54 6ST | SH 46165 52049 | SH4616552049 | Not Required | SH 46076 51973 | SH 46151 52032 | SH 46151 52032 | Not Required | Not Required | SH 46150 52037 | SH4607551968 | Not Required | SH 46072 52017 | Not Required | SH 46080 51976 | SH 46075 51972 | River Llyfni | 40 |  | 6mm 2D | 322
Llanrug WwTW | CG0073901 | CG0073902 | Not Required | Ffordd Crawia | Llanrug | Gwynedd | LL55 4BS | SH5303364206 | SH5303364206 | Not Required | SH 53121 64189 | SH5304664193 | SH5304664193 | Not Required | Not Required | SH 53111 64181 | SH5303964201 | Not Required | SH 53097 64196 | Not Required | SH 53111 64181 | SH 53126 64193 | Afon Seiont | 17.6 |  | 6mm 2D | 370
Llanrwst WwTW | CG0019101 | CG0062001 | Not Required | Station Road | Llanrwst | Conwy | Ll26 0DS | SH7945761794 | SH7947761781 | Not Required | SH 79444 61867 | SH7946161812 | SH7946161812 | Not Required | Not Required | SH 79453 61864 | SH 79562 61829 | Not Required | SH 79468 61827 | Not Required | SH 79453 61864 | SH 79559 61825 | Afon Conwy | 29 |  | 6mm 2D | 209
Llanwrtyd Wells WwTW | AW1003901 | AW1003902 | Not Required | Track past Glanirfon Court | Llanwrtyd Wells | Powys | LD5 4AF | SN 90035 46319 | Not Required | SN9003046320 | Not Required | Not Required | SN 90025 46314 | Not Required | Not Required | SN 90016 46312 | Not Required | SN 90029 46313 | Not Required | SN 90025 46319 | SN 89977 46357 & SN 89988 46363 | SN 89989 46379 | River Irfon | 9.5 |  | 6mm 2D | Not stated
Llanybydder SPS | Not Required | BJ0091402 | Not Required | Rear of Pantyglyn House | Llanybydder | Carmarthenshire | SA40 9SD | Not Required | SN5185043362 | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | SN5193943401 | SN5193543399 | Not Required | SN5193043406 | Not Required | SN5193943401 | Not Required | River Teifi via an unnamed Tributary | 27.5 |  | 6mm 2D | 63
Llanystumdwy A WWTW | CG0014201 | CG0014301 | Not Required | Opposite Cyrion | Llanystumdwy | Gwynedd | LL52 0SY | SH4730738381 | SH4730738381 | Not Required | Not Required | Not Required | SH4731438379 | Not Required | Not Required | SH 47326 38389 | SH 47320 38391 | Not Required | SH 47321 38390 | Not Required | SH 47326 38389 | SH 47336 38402 | Afon Dwyfawr | 3.25 |  | 6mm 2D | 26.6
Llithfaen WwTW | CG0013501 | EPRAB3497ZT | Not Required | Pentre Uchaf Road | Llitfaen | Gwynedd | LL53 6NH | SH3608042280 | Not Required | SH 36089 42286 | Not Required | Not Required | SH 36047 42428 | Not Required | Not Required | SH 36047 42428 | Not Required | SH 36040 42460 | Not Required | SH 36022 42471 | SH 36035 42488 | SH 36035 42488 | Afon Rhyd Hir | 2.4 |  | 6mm 2D | Not stated
Llwyngwril SPS | Not Required | CG0463401 | Not Required | Borthwen Farm | Llwyngwril | Gwynedd | LL37 2JT | not required | Not Required | SH5847910096 | Not Required | Not Required | not required | Not Required | Not Required | SH 58587 09962 | Not Required | SH 58588 09960 | Not Required | SH 58600 09955 | SH 58604 09377 | SH 58600 09955 | Coastal Waters | 12.6 |  | 6mm 2D | 91
Malltraeth WwTW | CG0115101 | CG0115102 | Not Required | Lane to the beach | Hermon | Anglesey | LL62 5AP | SH3988168071 | SH3988168071 | Not Required | Not Required | Not Required | SH3981268514 | Not Required | Not Required | SH 39812 68514 | SH3982068513 | Not Required | SH 39808 68513 | Not Required | SH 39812 68514 | SH 39808 68513 | Cefni Estuary | 5.6 |  | 6mm 2D | 140.55
Marloes WwTW | BG0022701 | BG0022702 | Not Required | Glebe Lane | Marloes | Pembrokeshire | SA62 3AY | SM 79999 08352 | Not Required | SM 79999 08352 | Not Required | Not Required | SM 79756 08361 | Not Required | Not Required | SM 79756 08357 | Not Required | SM7975508378 | Not Required | SM 79756 08357 | SM 79749 08375 | Not Required | Winterton Marsh | 1.6 |  | 10MM 2D | None required