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	CG0168801 ImpClause 03042023
	

	Improvement Condition Fulfilment
	

	1 About the permit you are providing information for

	1a Permit number
	CG0168801

	1b Site details

	Site name
	RHOSYBOL GORSLWYD PS

	Address
	 PEN PALMANT

	
	RHOSYBOL

	
	AMLWCH

	Postcode
	LL68 9PS

	National Grid Reference
	SH 42714 88044

	2 Fulfilment of permit conditions set out in Schedule 1, Table S1.3 “Improvement programme requirements.”  

	2a Provision of weir setting

	Weir setting (l/s)
	2.18

	Basis of calculation for weir setting
	 INDUSTRY SOC A

	2b Storage provision

	Minimum storage capacity (m3)
	N/A

	Online/offline
	N/A

	2c details of any screening

	Screen present (Y/N)
	N/A

	Maximum size of solid matter (mm, and dimension)
	 

	Screen aperture size (mm)
	 

	3 Additional comments (site specific)

	 The SOCA values have been generated from best available data at the time utilising DCWW models and GIS. They will be further advanced and verified in AMP 8.

	4 Declaration

	Title
	Mr

	First name
	Redmond

	Last name
	Jenkins

	Today’s date
	03/04/2023
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