Permit Reference Number : BX3376IG					Operator : Continental UK Teves Limited

### Installation : Continental UK Teves Limited					Form Number : S1

# Reporting of Emissions to Sewer for the period from 01-01-2018 to 31-12-2018

| Emission Point | Substance / Parameter | Emission # Limit Value | Result [1] | Test Method [2] | Sample Date and Times [3] | Accreditation/ Certification [4] | Uncertainty [5] |
| --- | --- | --- | --- | --- | --- | --- | --- |
| S1 | pH | 6-11 | N/A | Plant & Lab Meters | N/A | N/A | N/A |
| S1 | Chromium and its compounds | 1mg/l | N/A | N/A Atomic Absorption | N/A | N/A | 0.5% |
| S1 | Zinc and its compounds | 2mg/l | N/A | N/A Atomic Absorption | N/A | N/A | 0.5% |
| S1 | Nickel and its compunds | 2 mg/l | N/A | N/A Atomic Absorption | N/A | N/A | 0.5% |
| S1 | Cadmium and its compounds | 0.01 mg/l | 0.01 | Yearly average/dilution | 1st Jan 2018 – 31st Dec 2018 | N/A | 0.5% |
| S1 | Mercury and its compounds | 0.005 mg/l | 0.002 | Yearly average/dilution | 1st Jan 2018 – 31st Dec 2018 | N/A | 0.5% |
| S1 | Cadmium and its compounds | 0.60 kg | 0.10 | Mass Balance Calculation | 1st Jan 2018– 31st Dec 2018 | N/A | N/A |
| S1 | Mercury and its compounds | 0.12 kg | 0.02 | Mass Balance Calculation | 1st Jan 2018 – 31st Dec 2018 | N/A | N/A |
| S1 | Total flow | N/A | 9977m3 | N/A Ultrasonic Flow Meter at Outfall | 1st Jan 2018 – 31st Dec 2018 | M/CERTS | 3.48% |

[1] The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

[2] Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. colorimetry.

[3] For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements, or flow/time proportional samples, the percentage of the process operating time covered by the monitoring is given.

[4] The accreditation status of the equipment and/or the monitoring organisation, as appropriate, for the methods used for both sampling and analysis.

[5] The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated. The following uncertainties are quoted on a different basis (basis as stated) – {The basis of any other uncertainty figure needs to be stated. Where no figure is available the Agency will need to agree an appropriate uncertainty value.}

Signed ……………………………….  		Date 14.01.19

……………..			(authorised to sign as representative of the Operator)

Permit Reference Number : BX3376IG					Operator : Continental UK Teves Limited

### Installation : Continental UK Teves Limited					Form Number : E1

# Reporting of Energy Usage for the year …2018……………………….

| Energy Source | Energy Usage |  | CO2 Produced (tonnes) |  | Trends in Energy Usage |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Quantity | Primary Energy (MWh) |  |  | Year | Parameter |  |
|  |  |  |  |  |  | Primary Energy usage | CO2 produced |
|  |  |  |  |  | 2011 | 2,280 | 1,196 |
| Electricity * | MWh | 1798 | 910 |  | 2012 | 2,768 | 1,452 |
| Gas | tonnes | Nil | Nil |  | 2013 | 3,460 | 1,815 |
|  |  |  |  |  | 2014 | 3,566 | 1,853 |
|  |  |  |  |  | 2015 | 2,246 | 1,167 |
|  |  |  |  |  | 2016 | 2,063 | 1,072 |
| TOTAL | - |  |  |  | 2017 | 2.049 | 1,065 |
|  |  |  |  |  | 2018 | 1,798 | 910 |

* Conversion factor for delivered electricity to primary energy = 2.4

Operator’s comments : Electricity = total site usage/2.4

Signed …………………………….  		Date: …14.01.19………..

(authorised to sign as representative of the Operator)

Permit Reference Number : BX3376IG					Operator : Continental UK Teves Limited

### Installation : Continental UK Teves Limited					Form Number : R1

# Reporting of Waste Disposal and Recovery for the year …2018…………………….

| Waste Description | Disposal |  | Recovery |  | Trends in Waste Disposal and Recovery |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Route | Tonnes | Tonnes |  | Year | Parameter |  |  |
|  |  |  |  |  |  | Waste 1 | Waste 2 | Total Hazardous Waste (Tonnes) |
| (1) Non-Filter Cake Waste | External treatment/land fill | 34.04 | Nil |  | 2009 | 45.16 | 9.34 | 54.5 |
| (2) Filter Cake | Landfill | 32.040 | Nil |  | 2010 | 3.79 | 36.56 | 40.35 |
| Total hazardous waste |  |  |  |  | 2011 | 51.86 | 26.60 | 78.46 |
|  |  |  |  |  | 2012 | 51.074 | 42.040 | 93.114 |
| TOTAL WASTE |  | 66.08 | Nil |  | 2013 | 35.14 | 41.06 | 76.2 |
|  |  |  |  |  | 2014 | 24.223 | 59.6 | 83.828 |
|  |  |  |  |  | 2015 | 92.801 | 44.204 | 137.005 |
|  |  |  |  |  | 2016 | 74.567 | 46.94 | 121.502 |
|  |  |  |  |  | 2017 | 55.807 | 41.2 | 97,007 |
|  |  |  |  |  | 2018 | 34.04 | 32.040 | 66.08 |

Operator’s comments : Significant volume reduction in plated parts 2018 to 2017 accounts for much of filter cake reduction

Signed ……………………………………….  		Date: 14.01.19…………..

(authorised to sign as representative of the Operator)

Permit Reference Number : BX3376IG					Operator : Continental UK Teves Limited

### Installation : Continental UK Teves Limited	Ebbw Vale				Form Number : WU1

# Reporting of Water Usage for the year 2018……………………….

| Water Source | Usage (m3) |  |  |  |  | Trends in Water Usage |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  | Year | Parameter |  |  |
| Mains Water supply | 9,977 m3 |  |  |  |  |  | Named Water source | Total Water usage | Water per unit output |
|  |  |  |  |  |  | 2009 | Mains water | 6475 | 7 litres |
|  |  |  |  |  |  | 2010 | Mains water | 6337 | 7 litres |
|  |  |  |  |  |  | 2011 | Mains water | 8,597 | 8 litres |
|  |  |  |  |  |  | 2012 | Mains water | 8,427 | 7 litres |
| TOTAL WATER USAGE | 9,977 m3 |  |  |  |  | 2013 | Mains water | 10,056 | 7 litres |
|  |  |  |  |  |  | 2014 | Mains water | 10,948 | 6.9 litres |
|  |  |  |  |  |  | 2015 | Mains water | 14,972 | 8.4 litres |
|  |  |  |  |  |  | 2016 | Mains water | 17,902 | 10.3 litres |
|  |  |  |  |  |  | 2017 | Mains water | 12,095 | 7.7 litres |
|  |  |  |  |  |  | 2018 | Mains water | 9,977 | 8.1 litres |

Operator’s comments :

Signed …………………………………….  		Date…14.01.19

………..			(authorised to sign as representative of the Operator)

Permit Reference Number : BX3376IG					Operator : Continental UK Teves Limited

Installation : Continental UK Teves Limited	Ebbw Vale		2018		Form Number : MR1

| Mass Release |  |  |  | Trends in Mass Release |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Parameter | Limit | kg |  |  |  |  |  |
|  |  |  |  | Year | Parameter |  |  |
| Cadmium and its compounds | 0.60 kg | 0.10 |  |  | Mercury | Cadmium |  |
| Mercury and its compounds | 0.12 kg | 0.02 |  | 2009 | 0.013 | 0.051 |  |
|  |  |  |  | 2010 | 0.013 | 0.044 |  |
|  |  |  |  | 2011 | 0.013 | 0.044 |  |
|  |  |  |  | 2012 | 0.013 | 0.044 |  |
|  |  |  |  | 2013 | 0.02 | 0.13 |  |
|  |  |  |  | 2014 | 0.0012 | 0.13 |  |
|  |  |  |  | 2015 | 0.013 | 0.19 |  |
|  |  |  |  | 2016 | 0.02 | 0.2 |  |
|  |  |  |  | 2017 | 0.02 | 0.11 |  |
|  |  |  |  | 2018 | 0.02 | 0.10 |  |

Operator’s comments: Results obtained via mass balance. Number of parts produced in 2018 = 1.23 million

Signed …………………………………………………………….  		Date …14.01.19……………..

(authorised to sign as representative of the Operator)