| AD0002910 ImpClause 27062022 |  |
| --- | --- |
| Improvement Condition Fulfilment |  |
| 1 About the permit you are providing information for |  |
| 1a Permit number | BW2902901 |
| 1b Site details |  |
| Site name | Bryndulais CSO 2A |
| Address | Bryndulais Farm |
|  | Seven Sisters |
|  | Neath |
| Postcode | SA10 9EE |
| National Grid Reference | SN 81440 08913 |
| 2 Fulfilment of permit conditions set out in Schedule 1, Table S1.3 “Improvement programme requirements.” |  |
| 2a Provision of weir setting |  |
| Weir setting (l/s) | 29.2 |
| Basis of calculation for weir setting | Industry Soc A |
| 2b Storage provision |  |
| Minimum storage capacity (m3) | N/A |
| Online/offline | N/A |
| 2c details of any screening |  |
| Screen present (Y/N) | N/A |
| Maximum size of solid matter (mm, and dimension) |  |
| Screen aperture size (mm) |  |
| 3 Additional comments (site specific) |  |
| The SOCA values have been generated from best available data at the time utilising DCWW models and GIS. They will be further advanced and verified in AMP 8. |  |
| 4 Declaration |  |
| Title | Mr |
| First name | Redmond |
| Last name | Jenkins |
| Today’s date | 05/04/2023 |