## Dust
| Permit Reference no: WP3836ZF | [13 empty] | Variation Reference Number: EPR/MP3239FQ/V002
| Operator: Tradebe Healthcare National Limited | [13 empty] | Form Number : Agency Form / A2/ Form Dated 20 October 2011
Installation: Wrexham Clinical Waste Incinerator
Reporting of Continuously Monitored Emissions to Air for Particulates from Emission Point A1 for the month of February 2023
| Monthly summary |  | Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
|  |  | Half-hour average ELV | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30 | 30
Half-hourly average | Monthly maximum | 18.6 | Maximum half hour average | 4.2 | 5.3 | 6.2 | 16.9 | 7 | 12.1 | 5.1 | 4.7 | 8.3 | 9.21 | 8.2 | 6.7 | 3 | 15.9 | 8.6 | 11.9 | 6.3 | 13.1 | 15.5 | 5.7 | 6.3 | 10.9 | 18.6 | 4.8 | 12.7 | 5.5 | 10.8 | 8.5 | 0 | 0 | 0
| Monthly mean | 3.3442 | Mean half hour average | 2.33 | 2.5 | 2.77 | 3.41 | 3.52 | 3.67 | 2.71 | 2.69 | 3.78 | 7.24 | 3.78 | 3.2 | 2.9 | 4.77 | 4.07 | 3.95 | 4.1 | 4.41 | 4.65 | 3.39 | 2.91 | 3.15 | 3.74 | 3.12 | 5.03 | 3.31 | 4.36 | 4.21 | 0 | 0 | 0
| Monthly minimum | 0 | Minimum half hourly average | 1.8 | 1.8 | 1.8 | 1.9 | 1.8 | 1.8 | 1.8 | 1.8 | 1.9 | 5.62 | 2 | 2.1 | 3 | 1.9 | 1.9 | 1.8 | 2.3 | 2.1 | 3.2 | 1.9 | 1.9 | 1.8 | 1.8 | 1.8 | 2.3 | 1.9 | 2.2 | 2.4 | 0 | 0 | 0
| Total invalid results | 9 | No. of invalid results | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Sum of exceedances | 0 | No. of exceedances of ELV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Daily average |  |  | Daily average ELV | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
| Monthly maximum | 7.24 | Daily average | 2.33 | 2.5 | 2.77 | 3.41 | 3.52 | 3.67 | 2.71 | 2.69 | 3.78 | 7.24 | 3.78 | 3.2 | 2.9 | 4.77 | 4.07 | 3.95 | 0 | 4.41 | 4.65 | 3.39 | 2.91 | 3.15 | 3.74 | 3.12 | 5.03 | 3.31 | 4.36 | 4.21 | 0 | 0 | 0
| No. of invalid days | 2 | Value valid | Y | Y | Y | y | y | y | y | y | y | y | y | y | n | n | Y | Y | Y | Y | y | Y | Y | Y | Y | y | Y | Y | Y | Y | Y | Y | Y
| Sum of exceedances | 0 | Value exceeds ELV (Y/N) | bar: 1 to 31
Short term spikes on the 4th, 6th, 14th 16th, 18th, 19th, 22nd 23rd, 25th 27th not exceeded 30min av
Plant offline for the bulk of 13th and 14th Feb.
Signed: A Rhodes Date: 13/03/2023
(authorised to sign as representative of the Operator)

## VOC
| Permit Reference no: WP3836ZF | [13 empty] | Variation Reference Number: EPR/MP3239FQ/V002
| Operator: Tradebe Healthcare National Limited | [13 empty] | Form Number : Agency Form / A4/ Form Dated 20 October 2011
Installation: Wrexham Clinical Waste Incinerator
Reporting of Continuously Monitored Emissions to Air for VOC from Emission Point A1 for the month of February 2023
| Monthly summary |  | Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
|  |  | Half-hour average ELV | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20 | 20
Half-hourly average | Monthly maximum | 70.3 | Maximum half hour average | 1.1 | 70.3 | 1.5 | 1.5 | 1.8 | 2.9 | 1.7 | 2.6 | 1.8 | 3.4 | 1.7 | 1.6 | 1.4 | 2.4 | 2.5 | 2 | 2 | 2.1 | 2.8 | 1.9 | 2.3 | 56.2 | 3.4 | 1.5 | 5.6 | 2.1 | 1.3 | 1.3 | 0 | 0 | 0
| Monthly mean | 1.1471 | Mean half hour average | 0.85 | 2.37 | 1 | 1.1 | 1.1 | 1.42 | 1.24 | 1.62 | 1.1 | 1.07 | 1.11 | 1.08 | 1.38 | 1.39 | 1.47 | 1.36 | 1.3 | 1.24 | 1.19 | 1.05 | 1.29 | 2.17 | 1.04 | 1.03 | 1.39 | 1.23 | 0.92 | 1.05 | 0 | 0 | 0
| Monthly minimum | 0 | Minimum half hourly average | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.8 | 0.9 | 1 | 0.9 | 0.7 | 0.8 | 0.8 | 1.3 | 0.9 | 1 | 0.9 | 0.9 | 0.9 | 0.7 | 0.7 | 0.9 | 0.7 | 0.7 | 0.6 | 0.9 | 0.9 | 0.7 | 0.8 | 0 | 0 | 0
| Total invalid results | 0 | No. of invalid results | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Sum of exceedances | 0 | No. of exceedances of ELV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Daily average |  |  | Daily average ELV | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
| Monthly maximum | 2.37 | Daily average | 0.85 | 2.37 | 1 | 1.1 | 1.1 | 1.42 | 1.24 | 1.62 | 1.1 | 1.07 | 1.11 | 1.08 | 1.38 | 1.39 | 1.47 | 1.36 | 1.3 | 1.24 | 1.19 | 1.05 | 1.29 | 2.17 | 1.04 | 1.03 | 1.39 | 1.23 | 0.92 | 1.05 | 0 | 0 | 0
| No. of invalid days | 2 | Value valid | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | n | n | Y | Y | Y | Y | y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
| Sum of exceedances | 0 | Value exceeds ELV (Y/N) | bar: 1 to 31
30 minute abnormal operation reporte for the 2nd Feb,
|  |  | plant offline 1600 to 1829 | 2: plant offline 13th and 14th Feb
Part A and B Sched 5 submitted for the 22 Feb
Signed A Rhodes Date: 11: 3 : 2023
(authorised to sign as representative of the Operator)
.

## HCl
| Permit Reference no: WP3836ZF | [13 empty] | Variation Reference Number: EPR/MP3239FQ/V002
| Operator: Tradebe Healthcare National Limited | [13 empty] | Form Number : Agency Form / A3/ Form Dated 20 October 2011
Installation: Wrexham Clinical Waste Incinerator
Reporting of Continuously Monitored Emissions to Air for Hydrogen Chloride from Emission Point A1 for the month of February 2023
| Monthly summary |  | Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
|  |  | Half-hour average ELV | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60 | 60
Half-hourly average | Monthly maximum | 133.9 | Maximum half hour average | 13.7 | 9.4 | 6.6 | 6.6 | 7.3 | 5.2 | 6 | 4.4 | 12.2 | 34.6 | 5.8 | 5.3 | 0 | 5.6 | 7.2 | 9.2 | 17.3 | 14.8 | 7.8 | 5.6 | 6.1 | 17.8 | 12.4 | 133.9 | 5.8 | 4.9 | 8.4 | 7.1 | 0 | 0 | 0
| Monthly mean | 3.7058 | Mean half hour average | 4.27 | 4.06 | 4.33 | 4.02 | 4.09 | 2.23 | 3.9 | 1.91 | 4.77 | 5.43 | 4.11 | 2.52 | 0.04 | 1.69 | 4.73 | 4.15 | 5.06 | 4.97 | 4.71 | 4.24 | 4.24 | 5.01 | 4.17 | 10.67 | 3.3 | 3.7 | 4.19 | 4.37 | 0 | 0 | 0
| Monthly minimum | 0 | Minimum half hourly average | 0.8 | 1.2 | 2.7 | 1.1 | 2.9 | 0 | 2 | 0 | 1.9 | 1.2 | 1.8 | 0 | 0 | 0 | 2.1 | 1.2 | 0.4 | 2.9 | 2.4 | 2.3 | 1.6 | 0.4 | 0.2 | 2.5 | 0.6 | 1.6 | 2.7 | 3.1 | 0 | 0 | 0
| Total invalid results | 0 | No. of invalid results | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Sum of exceedances | 0 | No. of exceedances of ELV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Daily average |  |  | Daily average ELV | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10
| Monthly maximum | 10.67 | Daily average | 4.27 | 4.06 | 4.33 | 4.02 | 4.09 | 2.23 | 3.9 | 1.91 | 4.77 | 5.43 | 0 | 2.52 | 0.04 | 1.69 | 4.73 | 4.15 | 5.06 | 4.97 | 4.71 | 4.24 | 4.24 | 5.01 | 4.17 | 10.67 | 3.3 | 3.7 | 4.19 | 4.37 | 0 | 0 | 0
| No. of invalid days | 2 | Value valid | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | n | n | Y | Y | Y | Y | y | Y | Y | Y | Y | y | Y | Y | Y | Y | Y | Y | Y
| Sum of exceedances | 1 | Value exceeds ELV (Y/N) | N | N | N | N | N | N | N | N | N | n | N | N | N | N | N | N | N | N | N | N | N | n | n | y | N | N | N | N | N | N | N
24th Feb abnormal op reported HCl abatement plant failure
spike to 34.6mg short term on 10th
Plant offline 13th and 14th
Signed A Rhodes Date: 11: 03 : 2023
(authorised to sign as representative of the Operator)

## SO2
| Permit Reference no: WP3836ZF | [13 empty] | Variation Reference Number: EPR/MP3239FQ/V002
| Operator: Tradebe Healthcare National Limited | [13 empty] | Form Number : Agency Form / A6/ Form Dated 20 October 2011
Installation: Wrexham Clinical Waste Incinerator
Reporting of Continuously Monitored Emissions to Air for Sulphur Dioxide from Emission Point A1 for the month of February 2023
| Monthly summary |  | Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
|  |  | Half-hour average ELV | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200 | 200
Half-hourly average | Monthly maximum | 148.8 | Maximum half hour average | 19.3 | 148.8 | 18.2 | 21.2 | 15.2 | 21.92 | 44.4 | 17.9 | 18.6 | 23.9 | 29.4 | 41.4 | 8.2 | 9.4 | 25.6 | 17.5 | 17 | 25.8 | 29.5 | 47.3 | 37.1 | 65 | 19.6 | 74 | 25.9 | 19.9 | 78.1 | 16.3 | 0 | 0 | 0
| Monthly mean | 11.14 | Mean half hour average | 9.84 | 14.04 | 11.89 | 12.41 | 11.29 | 8.92 | 12.68 | 9.24 | 10.87 | 13.81 | 16.7 | 13.33 | 8.04 | 4.89 | 11.32 | 10.92 | 9.36 | 12.92 | 13.53 | 17.34 | 15.08 | 13.78 | 9.53 | 14.47 | 17.46 | 13.96 | 16.65 | 11.07 | 0 | 0 | 0
| Monthly minimum | 0 | Minimum half hourly average | 5.2 | 6.5 | 7.6 | 7.9 | 7.3 | 3.3 | 6.7 | 4.1 | 7.7 | 6 | 10.9 | 6.2 | 7.8 | 3.7 | 5.7 | 4.8 | 4.6 | 5.5 | 9 | 9.3 | 10 | 4.3 | 6.2 | 5 | 10.2 | 9 | 9.6 | 6.1 | 0 | 0 | 0
| Total invalid results | 9 | No. of invalid results | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | o | 0 | 0 | 0 | 0 | o | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Sum of exceedances | 1 | No. of exceedances of ELV | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Daily average |  |  | Daily average ELV | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
| Monthly maximum | 17.46 | Daily average | 9.84 | 14.04 | 11.89 | 12.41 | 11.29 | 8.92 | 12.68 | 9.24 | 10.87 | 13.81 | 16.7 | 13.33 | 8.04 | 4.89 | 11.32 | 10.92 | 9.36 | 12.92 | 13.53 | 17.34 | 15.08 | 13.78 | 9.53 | 14.47 | 17.46 | 13.96 | 16.65 | 11.07 | 0 | 0 | 0
| No. of invalid days | 2 | Value valid | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | n | n | Y | Y | Y | Y | y | Y | Y | Y | Y | y | Y | Y | Y | Y | Y | Y | Y
| Sum of exceedances | 0 | Value exceeds ELV (Y/N) | bar: 1 to 31
2nd Feb Abnormal op report submitted
Plant offline 13th at 0630 to 1529 the next day
|  |  |  | short term spike to 65mg on 22nd | [9 empty] | short term spike to 74mg on 24th
Signed A Rhodes Date: 11: 3 : 2023
(authorised to sign as representative of the Operator)

## NOx
| Permit Reference no: WP3836ZF | [13 empty] | Variation Reference Number: EPR/MP3239FQ/V002
| Operator: Tradebe Healthcare National Limited | [13 empty] | Form Number : Agency Form / A7/ Form Dated 20 October 2011
Installation: Wrexham Clinical Waste Incinerator
Reporting of Continuously Monitored Emissions to Air for Oxides of Nitrogen from Emission Point A1 for the month of February 2023
| Monthly summary |  | Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
Half-hour average ELV
Half-hourly average | Monthly maximum | 294 | Maximum half hour average | 237.9 | 191.8 | 233.8 | 206.9 | 218 | 179.1 | 216.2 | 248.3 | 228.6 | 283 | 221 | 226.8 | 65.6 | 245.2 | 237.5 | 229.9 | 190.9 | 216.3 | 188 | 244.3 | 239.4 | 244.4 | 237.8 | 230.8 | 244.4 | 294 | 241.2 | 292.2 | 0 | 0 | 0
| Monthly mean | 150.3939 | Mean half hour average | 189.23 | 148.18 | 177.62 | 160.51 | 169.24 | 132.4 | 176.02 | 140.12 | 177.59 | 218.97 | 178.36 | 143.94 | 63.8 | 147.06 | 164.8 | 138.11 | 148.53 | 164.54 | 162.26 | 185.34 | 185.17 | 184.76 | 172.07 | 164.58 | 171.48 | 210.42 | 193.98 | 193.13 | 0 | 0 | 0
| Monthly minimum | 0 | Minimum half hourly average | 111.5 | 83.6 | 97 | 66 | 93.8 | 63.9 | 92.7 | 62.8 | 103.2 | 158.7 | 132.3 | 62.3 | 62.6 | 45.7 | 74.6 | 64.2 | 69.9 | 118 | 133.8 | 156.5 | 121.2 | 60.5 | 81.5 | 36.7 | 87.6 | 133.3 | 117 | 119.3 | 0 | 0 | 0
| Total invalid results | 9 | No. of invalid results | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Sum of exceedances | 0 | No. of exceedances of ELV | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Daily average |  |  | Daily average ELV | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400 | 400
| Monthly maximum | 218.97 | Daily average | 111.5 | 83.6 | 97 | 66 | 93.8 | 132.4 | 176.02 | 140.12 | 177.59 | 218.97 | 178.36 | 143.94 | 63.8 | 147.06 | 164.8 | 138.11 | 148.53 | 164.54 | 162.26 | 185.34 | 185.17 | 184.76 | 172.07 | 164.58 | 171.48 | 210.42 | 193.98 | 193.13 | 0 | 0 | 0
| No. of invalid days | 2 | Value valid | bar: 1 to 31
| Sum of exceedances | 0 | Value exceeds ELV (Y/N) | bar: 1 to 31
Plant offline 13th at 0630 to 1529 the next day
Signed A Rhodes Date: 11: 3 : 2023
(authorised to sign as representative of the Operator)

## CO
| Permit Reference no: WP3836ZF | [13 empty] | Variation Reference Number: EPR/MP3239FQ/V002
| Operator: Tradebe Healthcare National Limited | [13 empty] | Form Number : Agency Form / A5/ Form Dated 20 October 2011
| Installation: Wrexham Clinical Waste Incinerator | [6 empty] | .
Reporting of Continuously Monitored Emissions to Air for Carbon Monoxide from Emission Point A1 for the month of February 2023
|  |  | From | Subject | Received | Size | Categories
|  |  | Crowther Beutenmuller, Andrew | FW: RJM's report on NOx Reduction Options for Wrexham Plant is due by 16 December | 8:11 | 4 MB
| Monthly summary |  | Date | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31
|  |  | 10 minute average ELV (95th percentile) | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150 | 150
10 minute average | Monthly maximum 10 min avg. |  | Maximum 10 minute average | 75.9 | 929.2 | 50.9 | 85.5 | 118.6 | 87.1 | 78.2 | 31.9 | 40.1 | 273.5 | 26.4 | 35 | 2.1 | 16.5 | 30.5 | 8 | 29.2 | 170.3 | 30.4 | 8.9 | 8.7 | 103.3 | 48.3 | 558.6 | 132.4 | 18.1 | 1.8 | 33.2 | 0 | 0 | 0
| Monthly mean 10 min avg. |  | 95th percentile | 12 | 65.7 | 8.2 | 24.5 | 3.1 | 5 | 3.3 | 8.3 | 10.1 | 2.7 | 2.2 | 1.6 | 1.6 | 3.5 | 11 | 4.1 | 3.1 | 2.6 | 3.6 | 1.9 | 1.8 | 15.2 | 8.1 | 8.1 | 5.5 | 2.7 | 18.5 | 3.8 | 0 | 0 | 0
| Monthly minimum 10 min avg. |  | Minimum 10 minute average | 0.9 | 0.9 | 0.9 | 1 | 1 | 0.8 | 0.8 | 0.9 | 1 | 0.9 | 1 | 0.9 | 1.4 | 1 | 1 | 1 | 1 | 1.1 | 1 | 0.9 | 1.1 | 1.1 | 1.1 | 0.9 | 1.2 | 1 | 1 | 1.1 | 0 | 0 | 0
| Total invalid results |  | No. of invalid results | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  |  | No. of results above 150mg/m3 | 0 | 2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Sum of exceedances of 95th percentile ELV |  | 95th percentile ELV exceeded? (Y/N) | bar: FW: RJM's report on NOx Reduction Options for Wrexham Plant is due by 16 December 1 to 4 MB 31
Daily average |  |  | Daily average ELV | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50 | 50
| Monthly maximum |  | Daily average | 1.11 | 1.04 | 1.04 | 1.04 | 1.11 | 1.14 | 1.21 | 1.47 | 3.79 | 1.41 | 1.27 | 1.85 | 2.26 | 12.83 | 7.12 | 2.5 | 1.97 | 1.65 | 2.23 | 1.72 | 2.08 | 2.33 | 12.88 | 2.81 | 1.99 | 2.68 | 1.51 | 1.28 | 1.52 | 1.36 | 0
| No. of invalid days | 2 | Value valid | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Sum of exceedances |  | Value exceeds ELV (Y/N) | bar: FW: RJM's report on NOx Reduction Options for Wrexham Plant is due by 16 December 1 to 4 MB 31
2nd Feb Abnormal operation
6th offline 1600 to 1829
8th Feb offline 0700 to 0830
13th feb came offline 0630 restart next day at 1529 secondary air issues
Signed A Rhodes Date: 11/3/2023
(authorised to sign as representative of Tradebe Healthcare Ltd)