Schedule 6 – Notification

These pages outline the information that the operator must provide.

Units of measurement used in information supplied under Part A and B requirements shall be appropriate to the circumstances of the emission.  Where appropriate, a comparison should be made of actual emissions and authorised emission limits.

If any information is considered commercially confidential, it should be separated from non-commercial information, supplied on a separate sheet and accompanied by an application for commercial confidentiality under the provisions of the PPC Regulations

Part A

| Permit Number | LP3135SB |
| --- | --- |
| Name of Operator | Novera Energy Generation Ltd |
| Location of Installation | Docks Way Landfill gas generation site Docksway Landfill Site Maes Glas Newport Gwent NP20 2NS |
| Time and date of the detection | 18/12/2018 11:12 |

| (a) Notification requirements for any malfunction, breakdown or failure of equipment or techniques, accident, or fugitive emission which has caused, is causing or may cause significant pollution |  |
| --- | --- |
| To be notified within 24 hours of detection |  |
| Time and date of the event | 18/12/2018 11:12 – 19/12/2018 12:00 |
| Reference or description of the location of the event | GUP Compound |
| Description of where any release into the environment took place | Landfill |
| Substance(s) potentially released | Methane |
| Best estimate of the quantity or rate of release of substances | Unknown |
| Measures taken, or intended to be taken, to stop any emission | Technician attended site and restarted the plant |
| Description of the failure or accident | GUP outage |

| (b) Notification requirements for the breach of a limit |  |
| --- | --- |
| To be notified within 24 hours of detection unless otherwise specified below |  |
| Emission point reference / source |  |
| Parameter(s) |  |
| Limit |  |
| Measured value and uncertainty |  |
| Date and time of monitoring |  |
| Measures taken or intended to be taken, to stop the emission |  |

| Time periods for notification following detection of a breach of a limit |  |
| --- | --- |
| Parameter | Notification period |

| (c) Notification requirements for notification of any significant adverse environmental effect |  |
| --- | --- |
| To be notified within 24 hours of detection |  |
| Description of where the effect on the environment was detected |  |
| Substance(s) detected |  |
| Concentration of substance(s) detected |  |
| Date of monitoring/sampling |  |

Part B

| Any more accurate information on the matters for notification under Part A | A District Network Operator outage occurred which involved damage to a cable serving the gas compound. A backup generator was sent to site to enable the gas plant to run but when this was connected the booster would not start due to a fault with the relay. |
| --- | --- |
| Measures taken, or intended to be taken, to prevent a recurrence of the incident | Relay changed. |
| Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment or harm which has been or may be caused by the emission | The relay was changed and the plant restarted. |
| The dates of any unauthorised emissions from the installation in the preceding 24 months | 04/04/17, 06/04/17, 22/04/17 |

| Name* | Sam Morris (Part A) and Kate Phillips (Part B) |
| --- | --- |
| Post | Technician, Data Admin |
| Signature |  |
| Date | 19/12/2018 (Part A) 01/01/19 (Part B) |

*authorised to sign on behalf of Novera Energy Generation No 2 Ltd