Permit Number: 	WP3231NB                        		Operator: 		Dairy Partners (Cymru Wales) Limited

Facility:		The Creamery, Aberarad 		Form Number: 	 Water1 / 16/05/2023

Reporting of emissions to water (other than to sewer) and land for the period from DD/MM/YYYY to DD/MM/YYYY

| Emission Point | Substance / Parameter | Emission # Limit Value | Reference Period | Result [1] | Test Method [2] | Sample Date and Times [3] | Uncertainty [4] |
| --- | --- | --- | --- | --- | --- | --- | --- |
| W1 (monitoring location: Flow monitoring meter at NGR: SN 31538 40242) | Maximum daily discharge volume | 900m3/day | 24-hour total |  | MCERTS flow meter |  |  |
| W1 (Monitoring location: Point M1 as shown on site plan in Schedule 7: M1 NGR: SN 31611 40208) | Biological oxygen demand (BOD) | 20 mg/L | 24-hour flow proportional composite |  | BS EN 1899-1 |  |  |
|  | Chemical oxygen demand (COD) | 110 mg/L | 24-hour flow proportional composite |  | BS 6068-2.34 |  |  |
|  | Total suspended solids (TSS) | 30 mg/L | 24-hour flow proportional composite |  | BS EN 872 |  |  |
|  | Ammoniacal nitrogen (expressed as N) | 10 mg/L | Instantaneous (spot sample) |  | BS EN ISO 11732 |  |  |
|  | Nitrite (expressed as N) | 1.0 mg/L | Instantaneous (spot sample) |  | BS EN ISO 13395 |  |  |
|  | Total nitrogen | 20 mg/L | 24-hour flow proportional composite |  | EN 12260 or EN ISO 11905-1 |  |  |
|  | Total phosphorus | 1.0 mg/L | 24-hour flow proportional composite |  | EN ISO 6878 or EN ISO 15681-1 or EN ISO 15681-2 or EN ISO 11885 |  |  |
|  | Total aluminium as Al | 1.0 mg/L | Instantaneous (spot sample) |  | BS EN ISO 11885 |  |  |
|  | Temperature | 21 °C | Instantaneous |  | Standard Thermocouple Sensor |  |  |
|  | pH | Minimum 6, Maximum 9 | Instantaneous |  | BS EN 10523 |  |  |
|  | Mercury and its compounds, expressed as mercury (Total Hg) | 0.5 µg/L 50 g/year | Compliance based on mass balance calculation |  | BS EN 12846 |  |  |
|  | Cadmium and its compounds, expressed as cadmium (Total Cd) | 0.525 µg/L 50 g/year | Compliance based on mass balance calculation |  | BS EN ISO 5961 |  |  |
| W2 | Visible oil and grease | None visible | Instantaneous (visual examination) |  | Visual check |  |  |
| W3 | Visible oil and grease | None visible | Instantaneous (visual examination) |  | Visual check |  |  |

- The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

- Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with Natural Resources Wales is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.

- For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.

- The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed …………………………………………………………….  		Date………………………..

(Authorised to sign as representative of Operator)