Permit Number: 	EPR/BW9999IG	Operator: 		Kronospan Limited

Facility:     Chirk Particleboard Factory		Form Number: 	Water1 / 16/05/2023

# Reporting of emissions to water (other than to sewer) and land for the period from DD/MM/YYYY to DD/MM/YYYY

| Emission Point | Substance / Parameter | Emission # Limit Value | Reference Period | Result [1] | Test Method [2] | Sample Date and Times [3] | Uncertainty [4] |
| --- | --- | --- | --- | --- | --- | --- | --- |
| W1 | pH | 6-9 | Instantaneous (spot sample) |  | BS 6068-2.50:1995, ISO 10523:1994 |  |  |
|  | Biological Oxygen Demand (BOD) | 9.5 mg/l | Instantaneous (spot sample) |  | 5-day ATU @ 20ºC BS EN 1899-1 (1998) |  |  |
|  | Total Suspended Solids | 100 mg/l | Instantaneous (spot sample) |  | EN 872 Dried @ 105ºC |  |  |
|  | Total Suspended Solids | 40 mg/l | Instantaneous (spot sample) |  | As agreed in writing with Natural Resources Wales |  |  |
|  | Ammonia | 5 mg/l | Instantaneous (spot sample) |  | BS6068-2.33:1987 ISO 7150-2 1986 |  |  |
|  | Oil and Grease | 15 mg/l | Instantaneous (spot sample) |  | SCA The determination of Hydrocarbon oils in waters by solvent extraction IR absorption and gravimetry ISBN 0117517283 |  |  |
|  | Formaldehyde | 2 mg/l | Instantaneous (spot sample) |  | SCA The determination of formaldehyde, other volatile aldehydes and alcohols in water. |  |  |
|  | Discharge volume | No limit set | Continuous |  | MCERTS flowmeter |  |  |

- The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.

- Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with Natural Resources Wales is used, then the appropriate identifier is given. In other cases the principal technique is stated, for example gas chromatography.

- For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.

- The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.

Signed …………………………………………………………….  		Date………………………..

(Authorised to sign as representative of Operator)