## Sheet1
Permit Number with Mon 3-4 driver | Main STW to consolidate with | Asset Number | Asset name | Final Effluent sample Point | Final Effluent Discharge Point | UWW Sample Point | UWW Influent Sample Point | UV Monitoring point | Mcert Continous Monitoring point | Mcert PFF MON4 Monitor | MON3 EDM to Storm Monitoring point | EDM to Env Monitoring Point | Storm Discharge Point | Storm Sample Point
CM0040601 | N/A | 692 | Gresford Settled Storm | N/A | N/A | N/A | N/A | N/A | N/A | SJ3487255599 | SJ3490255615 | SJ3488955577 | SJ 3486655530 | SJ3486655530
BW2205101 | N/A | 50669 | Llangennech SPS | N/A | N/A | N/A | N/A | N/A | N/A | SN5634801394 | N/A | SN5645601118 | SN5645601118 | SN 56456 01118
CM0081001 | N/A | 995 | Ty Gwyn Buckley WwTW Storm | N/A | N/A | N/A | N/A | N/A | N/A | SJ2829562306 | N/A | SJ 28310 62330 | SJ 27890 62220 | SJ 28310 62330
CG0342902 | N/A | 3219 | BEAUMARIS & LLANFAES (ANGLESEY) | N/A | N/A | N/A | N/A | N/A | N/A | SH6083477334 | SH6083077326 | SH6086577307 | SH6149477308 | SH6086577307
CG0381901 | N/A | 3214 | BENLLECH WWTW (STW) LSO BENLLECH | N/A | N/A | N/A | N/A | N/A | N/A | SH5262782213 | SH5262782214 | SH 52556 82269 | SH 53790 83630 | SH 52556 82269
AG0004601 | N/A | 30843 | CILFYNYDD STW CILFYNYDD PONTYPRID | N/A | N/A | N/A | N/A | N/A | N/A | ST0843593245 | ST0839593264 | ST 08423 93342 | ST 08231 92861 | ST 08423 93342
BG0019002 | BG0019001 | 50583 | CROESGOCH STW | SM8267030589 | SM8267930591 | N/A | N/A | N/A | SM8267030589 | SM8267530575 | N/A | SM 82679 30580 | SM 82683 30589 | SM 82679 30580
CM0172601 | N/A | 834 | GLYNCEIRIOG STW | N/A | N/A | N/A | N/A | N/A | N/A | SJ2096937856 | SJ2096137864 | SJ 20614 37967 | SJ 20645 37915 | SJ 20614 37967
BN0077601 | N/A | 50665 | LLANFYNYDD STW | N/A | N/A | N/A | N/A | N/A | N/A | SN5568227145 | SN5569027144 | SN 55682 27145 | SN 55660 27107 | SN 55682 27145
CG0357301 | N/A | 1058 | The Eagles CSO, (LLANUWCHLLYN STW ) | N/A | N/A | N/A | N/A | N/A | N/A | SH8782330521 | N/A | SH 87409 30342 | SH 87420 30360 | SH 87409 30342
BH0053404 | N/A | 50732 | SSO at Brickyard Lane PS (Parc y Splott) | N/A | N/A | N/A | N/A | N/A | N/A | SN4047019639 | SN4047019639 | SN 40469 19606 | SN 40411 19486 | SN 40469 19606
AB0064001 | N/A | 31050 | Llanfechra Storm Tanks Ponthir STW | N/A | N/A | N/A | N/A | N/A | N/A | ST3172493019 | ST3171493023 | ST 32061 92864 | ST 32179 92830 | ST 32061 92864
AE2021601 | N/A | 31066 | RHYDLAFAR STW ST FAGANS CARDIFF | N/A | N/A | N/A | N/A | N/A | N/A | ST1104979774 | N/A | ST 11043 79791 | ST 11097 79787 | ST 11043 79791
BP0296201 | N/A | 50806 | WALTON WEST STW | N/A | N/A | N/A | N/A | N/A | N/A | SM8634713025 | SM8634713025 | SM8640113046 | SM86459 13072 | SM8640113046