## Consent Application information
Site Name | FE Permit Number | Storm Permit Number | High-level Storm Permit Number | DSI_ADD2 | DSI_ADD3 | DSI_ADD4 | DSI_POST_CODE | Final Effluent Discharge Point | Settled Storm Discharge Point | Storm Discharge Point | UWWTR Inlet Sample Point | UWWTR Sample Point | Final Effluent Sample Point | UV Monitoring Point (Pre-treatment) | UV Monitoring Point (Post-treatment) | MCERTS Flow Monitoring Point | Settled Storm Sample Point | Storm Sample Point | Settled Storm to Environment EDM Monitoring Point | Storm to Environment EDM Monitoring Point | MCERTS FPF Monitoring Point | EDM to Storm Tank Monitoring Point | AGR_REC_WATER | S33 Overflow setting l/s | S33 Maximum size of solid matter | S33 Screen Aperture Size | S33 Storm tank / storage capacity | Non-standard operating techniques | Other Comments
Pont Henri Incline Inn CSO | Not Required | BW2202501 | Not Required | Heol y Pentre | Pont Henri | Carmarthenshire | SA15 5RD | Not Required | Not Required | SN4746509199 | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | SN4747209191 | Not Required | SN 47472 09191 | SN 47469 09188 | SN 47486 09217 | Gwendraeth Fawr | 16 | As per column AA | 6mm 2D | 200 | N/A
Aberbaiden WwTW | AB0034101 | AB0034102 | Not Required | Glanbaiden Farm Road | Govilon | Abergavenny | NP7 9SE | SO2634614778 | SO2634614778 | Not Required | SO 26224 14715 | SO 26824 14760 | SO2682414760 | Not Required | Not Required | SO2623514737 | SO2628414710 | Not Required | SO2623514737 | Not Required | SO 26235 14737 | SO 2623 514737 | River Usk | 41.8 | As per column AA | 6mm2D | 390 | N/A
Aberffraw WwTW | CG0140001 | CG0406301 | Not Required | Bangor Street | Aberffraw | Anglesey | LL63 5EX | SH3471067510 | SH 34710 67510 | Not Required | Not Required | Not Required | SH3471067510 | Not Required | Not Required | SH 35002 68496 | SH 35007 68506 | Not Required | SH 35009 68518 | Not Required | SH 35004 68514 | SH 35012 68527 | Aberffraw Bay | 3 | As per column AA | 6mm 2D | 75 | N/A
Angle WwTW | BG0019601 | BP0312801 | Not Required | Angle | Pembrokeshire | 0 | SA71 5AR | SM8755503310 | SM8755503310 | Not Required | Not Required | Not Required | SM8689903123 | Not Required | Not Required | SM 86895 03154 | SM8689103147 | Not Required | SM 86898 03127 | Not Required | SM 86895 03154 | SM 86895 03154 | Angle Bay | 4.7 | As per column AA | 6mm 2D | 31 | N/A
Bancyfelin WwTW | BN0269701 | BN0269702 | Not Required | High Street | Bancyfelin | Carmarthen | SA33 5ND | SN 32510 17840 | SN3252217873 | Not Required | Not Required | Not Required | SN 32513 17891 | Not Required | Not Required | SN 32489 17910 | SN3249117904 | Not Required | SN 32505 17893 | Not Required | SN 32489 17910 | SN 32494 17908 | Afon Cywyn | 4 | As per column AA | 6mm 2D | 26 | N/A
Benllech WwTW | CG0326001 | CG0381901 | Not Required | Beach Road | Benllech | Anglesey | LL74 8QH | SH53790 83630 | Not Required | SH5379083630 | Not Required | Not Required | SH 52590 82230 | Not Required | Not Required | SH 52627 82213 | Not Required | SH5255682269 | Not Required | SH 52628 82213 | SH 52627 82213 | SH 52627 82214 | Coastal Waters off Benllech | 37.4 | As per column AA | 6mm 2D | 440 | N/A
Betws-y-Coed WwTW | CG0099001 | CG0428601 | Not Required | Station Road | Betws-y-Coed1 | Conwy | LL24 0AH | SH7954757003 | SH7954356996 | Not Required | Not Required | Not Required | SH7952756895 | Not Required | Not Required | SH 79537 56879 | SH7951356860 | Not Required | SH 79512 56869 | Not Required | SH 79537 56879 | SH 79549 56855 | Afon Llugwy | 13.5 | As per column AA | 6mm 2D | 140 | N/A
Betws-yn-Rhos WwTW | CG0088601 | CG0462901 | Not Required | Ffordd Llanelwy | Betws Yn Rhos | Abergele | LL22 8AW | SH9077573719 | Not Required | SH9077573719 | Required | SH 90767 73732 | SH 90767 73732 | Not Required | Not Required | SH 90761 73738 | Not Required | SH9076773732 | Not Required | SH 90760 73741 | SH 90761 73738 | SH 90760 73741 | unnamed trib of Afon Dulas | 3.5 | As per column AA | 6mm 2D | 31 | N/A
Beulah WwTW | BN0015801 | BP0361401 | Not Required | Heol y Mynydd | Beulah | Ceredigion | SA38 9QF | SN2926246224 | Not Required | SN2925546224 | Not Required | Not Required | SN2925246232 | Not Required | Not Required | SN 29227 46277 | Not Required | SN2923646277 | Not Required | SN 29233 46274 | SN 29227 46277 | Not Required | Nant Medini | 6.2 | As per column AA | 10mm 2D | None required | N/A
Bishopston WwTW | BP0054601 | BP0271801 | Not Required | Brandy Cove Lane | Bishopston | Swansea | SA3 3HB | SS5856087287 | SS5860087300 | Not Required | Not Required | Not Required | SS5821087890 | SS 58200 87900 | SS 58210 87890 | SS 58600 87300 | SS5827887817 | Not Required | SS 58276 87806 | Not Required | SS 58163 87939 & SS 58180 87940 | SS 58177 87944 | Coastal Waters Of Brandy Cove | 33 | As per column AA | 6mm 2D | 500 | N/A
Bala WwTW | CM0001501 | CG0428901 | Not Required | A494 | Bala | Gwynedd | LL23 7DN | SH9378235552 | SH9377035552 | Not Required | SH9345335769 | SH9353735771 | SH9353735771 | Not Required | Not Required | SH 93455 35781 | SH9352035770 | Not Required | SH 93460 35762 | Not Required | SH 93455 35781 | SH 93452 35766 | River Dee | 19.6 | As per column AA | 6mm 2D | 136.4 | N/A
Bangor-on-Dee WwTW | CM0060701 | CM0060702 | Not Required | Graig Lane | Bangor-on-Dee | Wrexham | LL13 0AD | SJ3950046040 | SJ3945646008 | Not Required | Not Required | Not Required | SJ3955045910 | Not Required | Not Required | SJ 39545 45899 | SJ3954645901 | Not Required | SJ 39555 45923 | Not Required | SJ 39545 45899 | SJ 39525 45890 | River Dee | 6.35 | As per column AA | 6mm 2D | 66 | N/A
Beaumaris WwTW | CG0342901 | CG0342902 | Not Required | Fford Eglwys | Beaumaris | Anglesey | LL58 8LD | SH 61494 77308 | SH6149477308 | Not Required | SH6083977319 | SH6088577283 | SH 60885 77283 | Not Required | Not Required | SH 60834 77334 | SH6086577307 | Not Required | SH 60855 77306 | Not Required | SH 60834 77334 | SH 60834 77334 | Menai Strait | 20.8 | As per column AA | 6mm 2D | 335 | N/A
Blaenffos WwTW | BN0010301 | NPSWQD005734 | Not Required | B4332 | Blaenffos | Boncath | SA37 0HX | SN1819437422 | Not Required | SN 18198 37421 | Not Required | Not Required | SN1820437362 | Not Required | Not Required | SN 18204 37365 | Not Required | SN 18208 37341 | Not Required | SN 18204 37334 | SN 18201 37338 | Not Required | afon Nevern | 4.5 | As per column AA | 6mm 2D | None required | N/A
Rhuddlan WwTW | CM0082501 | CM0082601 | Not Required | Tan yr Eglwys Road | Rhuddlan | Rhyl | LL18 2UU | SJ0162478540 | SJ0162478540 | Not Required | SJ 01694 78584 | SJ 01681 78579 | SJ0168178579 | SJ 01694 78584 | SJ 01681 78579 | SJ 01755 78657 | SJ0174778681 | Not Required | SJ 01762 78658 | Not Required | SJ 01755 78657 | SJ 01759 78637 | Afon Clwyd | 60 | As per column AA | 6mm 2D | 150 | N/A
Bodffordd WwTW | CG0082001 | CG0337001 | Not Required | Lôn Sardis | Bodffordd | Anglesey | LL77 7LQ | SH4292076760 | SH4292676766 | Not Required | Not Required | Not Required | SH4292076760 | Not Required | Not Required | SH 42855 76842 | SH4281776799 | Not Required | SH 42851 76833 | Not Required | SH 42855 76842 | SH 42851 76833 | Cefni reservoir by-pass channel | 2.8 | As per column AA | Not stated | 16.5 | N/A
Boncath WwTW | BG0001201 | BG0001202 | Not Required | Boncath | Pembrokeshire |  | SA37 0JW | SN2012039040 | Not Required | SN2010139030 | Not Required | Not Required | SN 20118 39007 | Not Required | Not Required | SN 20142 39007 | Not Required | SN2014738977 | Not Required | SN 20145 38978 | SN 20145 38978 | Not Required | Trib of Afon Morgenau | 4.2 | As per column AA | 6mm 2D | None required | N/A
Bronaber WwTW | CG0086701 | CG0086702 | Not Required | Off A470 | Bronaber | Gwynedd | LL41 4UR | SH7040031390 | Not Required | SH7040831424 | Not Required | Not Required | SH7109031420 | Not Required | Not Required | SH7112431427 | Not Required | SH7110631424 | Not Required | SH7114831425 | SH7112431427 | Not Required | Afon Eden | 4.9 | As per column AA | 16mm 2D | None required | N/A
Brynmawr WwTW | AC0085601 | AC0085602 | Not Required | Old Abergavenny Road | Brynmawr | Blaenau Gwent | NP23 4GU | SO2080512409 | SO2080512409 | Not Required | SO 20523 12453 | SO 20618 12466 | SO2061812466 | Not Required | Not Required | SO2061812455 | SO2052612409 | Not Required | SO2052212407 | Not Required | Flowmeters at SPS: SO1973312176 Flowmeter on storm line at WwTW: SO2052212428 | SO2050312448 | River Clydach | 52 | As per column AA | 6mm 2D | 614 | N/A
Gowerton WwTW | BC0003001 | BW2304001 | Not Required | Victoria Road | Gowerton | Swansea | SA4 3AB | SS5608797883 | SS5608797883 | Not Required | SS5954196850 | SS5943097027 | SS5942097016 | SS5940997040 | SS5940297028 | SS 59570 96883 & SS 59620 96960 | SS5950496941 | Not Required | SS 59503 96942 | Not Required | SS 59570 96883 & SS 59620 96960 | SS 59660 97008 | Loughor Estuary | 612 | As per column AA | 6mm 2D | 8913 | N/A
Hook WwTW | BN0000402 | BN0000402 | Not Required | Pill Road | Hook | Haverfordwest | SA62 4LU | SM9886311054 | Not Required | SM 98483 11030 | SM9844811026 | SM9848010990 | SM9848010990 | Not Required | Not Required | SM 98450 11050 | Not Required | SM 98468 11068 | Not Required | SM 98468 11068 | SM 98450 11050 | Not Required | Sprinkle Pill, Daucleddau | 58.1 | As per column AA | 6mm 2D | None required | N/A
Llanelli WwTW | BP0252601 | BP0252602 | Not Required | Bynea | Llanelli |  | SA14 9SN | SS5457697854 | SS 54576 97854 | Not Required | SS5409898273 | SS5421098128 | SS 5422898112 | SS 54236 98126 | SS 54221 98113 | SS5409898273 | SS 54154 98127 | Not Required | SS 54156 98126 | Not Required | SS 54110 98265 | SS 54102 98264 | Loughor Estuary | 599 | As per column AA | 6mm 2D | 3800 | N/A
Roe Parc CSO | Not Required | CM0147801 | Not Required | Roe Park | St. Asaph | Denbighshire | LL17 0HY | Not Required | Not Required | SJ0315575806 | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | Not Required | SJ0317175031 | Not Required | SJ 03168 75030 | SJ 03300 75140 | SJ 03264 75079 | River Elwy | 120 | As per column AA | 6mm 2D | 450 | N/A
Swansea Bay WwTW | BP0236601 | BP0236602 | Not Required | Fabian Way | Swansea |  | SA1 8QP | SS6837089437 | SS 68370 89437 | Not Required | SS6862592958 | SS6901093010 | SS6901093010 | SS6901093010 | SS6901093000 | SS 68870 93019 | SS 68968 93006 | Not Required | SS 68968 93006 | Not Required | SS 68870 93019 | SS 68855 93020 | Swansea Bay | 1300 | As per column AA | 6mm 2D | 9548 | N/A