## Consent Application information
Site Name | FE Permit Number | Storm Permit Number | High-level Storm Permit Number | DSI_ADD2 | DSI_ADD3 | DSI_ADD4 | DSI_POST_CODE | Final Effluent Discharge Point | Settled Storm Discharge Point | Storm Discharge Point | UWWTR Inlet Sample Point | UWWTR Sample Point | Final Effluent Sample Point | UV Monitoring Point (Pre-treatment) | UV Monitoring Point (Post-treatment) | MCERTS Flow Monitoring Point | Settled Storm Sample Point | Storm Sample Point | Settled Storm to Environment EDM Monitoring Point | Storm to Environment EDM Monitoring Point | MCERTS FPF Monitoring Point | EDM to Storm Tank Monitoring Point | AGR_REC_WATER | S33 Overflow setting l/s | S33 Maximum size of solid matter | S33 Screen Aperture Size | S33 Storm tank / storage capacity | Non-standard operating techniques | Other Comments
Builth Wells WwTW | AW1000701 | NPSWQD009903 | Not Required | Off Hay Road | Built Wells | Powys | LD2 3BP | SO0455251471 | SO0455251471 | Not Required | SO 04566 51443 | SO0457551446 | SO0457551446 | Not Required | Not Required | SO 04623 51479 | SO0456951450 | Not Required | SO0456751449 | Not Required | SO 04623 51479 | SO0456751444 | River Wye | 40 |  | 6mm 2D | 150
Bwlch South WwTW | AB0049501 | AB0049401 | Not Required | Gliffaes Road | Bwlch | Powys | NP8 1RL | SO1549320316 | Not Required | SO1549320316 | Not Required | Not Required | SO 15432 20703 | Not Required | Not Required | SO 15426 20705 | Not Required | SO1540120756 | Not Required | SO 15402 20758 | SO 15405 20757 | Not Required | River Usk | 16.7 |  | 6mm 2D | None required
Cardigan WwTW | BH0074101 | BP0275401 | Not Required | Netpool Road | Cardigan | Ceredigion | SA43 1PA | SN1702046140 | SN1702046140 | Not Required | SN 17053 46224 | SN 17063 46183 | SN1712746179 | Not Required | Not Required | SN 17020 46140 | SN1704546192 | Not Required | SN 17040 46198 | Not Required | SN 17020 46140 | SN 17044 46195 | The River Teifi | 88 |  | 6mm 2D | 1582
Carew WwTW | BP0044201 | BP0215001 | Not Required | Bird's Lane | Carew | Pembrokeshire | SA70 8SH | SN0392003349 | SN0518703575 | Not Required | Not Required | Not Required | SN0519103553 | Not Required | Not Required | SN 05190 03554 | SN0517703548 | Not Required | SN 05176 03551 | Not Required | SN 05169 03532 | SN 05167 03534 | Carew River | 7.3 |  | 6mm 2D | 59
Carmel WwTW | BE0042501 | BP0361601 | Not Required | Llandybie Road | Milo | Carmarthenshire | SA18 3JS | SN6008517490 | SN6008717492 | Not Required | Not Required | Not Required | SN6007817467 | Not Required | Not Required | SN 64054 31811 | SN6009617463 | Not Required | SN 60077 17456 | Not Required | SN 60073 17444 | SN 60071 17443 | Tributary of the Afon Marlais | 3 |  | 6mm 2D | 30
Cefn Mawr WwTW | CM0101301 | CG0405901 | Not Required | Heol Berwyn | Cefn Mawr | Wrexham | LL14 3NB | SJ2745041700 | SJ2745041700 | Not Required | SJ 27714 41645 | SJ 27450 41700 | SJ2771441645 | Not Required | Not Required | SJ 27780 41666 | SJ2770441654 | Not Required | SJ 27707 41653 | Not Required | SJ 27780 41667 | SJ 27791 41655 | River Dee | 48 |  | 6mm 2D | 350
Cerrigyrdrudion WwTW | CM0052101 | CG0438301 | Not Required | Off A5 | Cerrigidrudion | Corwen | LL21 9SY | SH9525848277 | Not Required | SH9525848277 | Not Required | Not Required | SH9526948326 | Not Required | Not Required | SH 95270 48328 | Not Required | SH9527148336 | Not Required | SH 95277 48369 | SH 95276 48361 | Not Required | Afon Nug | 7 |  | 6mm 2D | None required
Chwilog WwTW | CG0012201 | EPRAB3496ZG | Not Required | Off B4354 | Chwilog | Gwynedd | LL53 6NX | SH 43688 38058 | Not Required | SH4367938057 | Not Required | Not Required | SH 43687 38096 | Not Required | Not Required | SH 43702 38110 | Not Required | SH4368938130 | Not Required | SH 43700 38116 | SH 43702 38110 | SH 43692 38128 | #N/A | 2.9 |  | 10mm 2D | TBC
Cilgerran WwTW | BP0217801 | BP0217802 | Not Required | Cwmplysgog | Cilgerran | Cardigan | SA43 2TA | SN1948043240 | SN1948043240 | Not Required | Not Required | Not Required | SN 19392 43175 | Not Required | Not Required | SN 19392 43175 | SN1939043203 | Not Required | SN 19401 43202 | Not Required | SN 19383 43206 & SN 19393 43209 | SN 19393 43209 | Afon Teifi | 9.4 |  | 6mm 2D | 69
Clarbeston Road WwTW | BG0014501 | BG0014502 | Not Required | Market Place | Clarbeston Road | Pembrokeshire | SA63 4UN | SN0109620967 | Not Required | SN0113020982 | Not Required | Not Required | SN0112420973 | Not Required | Not Required | SN 01137 20962 | Not Required | SN0114220973 | Not Required | SN 01139 20960 | SN 01137 20962 | Not Required | Cartlett Brook | 7.4 |  | 6mm 2D | None required
Clynderwen WwTW | BG0029501 | BP0324401 | Not Required | Llanfafallteg Road | Clynderwen | Pembrokeshire | SA66 7NR | SN1239018320 | Not Required | SN1238618320 | Not Required | Not Required | SN1236418348 | Not Required | Not Required | SN 12350 18341 | Not Required | SN1235518390 | Not Required | SN 12365 18381 | SN 12359 18380 & SN 12365 18381 | Not Required | Pont-Shan Brook | 20 |  | 6mm 2D | None required
Corwen WwTW | CM0018301 | CM0018302 | Not Required | Green Lane | Corwen | Denbighshire | LL21 0DN | SJ0827643573 | SJ0827643573 | Not Required | Not Required | Not Required | SJ0820443621 | Not Required | Not Required | SJ 08190 43600 | SJ0815143614 | Not Required | SJ 08184 43590 | Not Required | SJ 08190 43600 | SJ 08191 43598 | River Dee | 14.85 |  | 10mm 1D | 192
Cosheston WwTW | BG0046401 | BG0046402 | Not Required | West Lane | Cosheston | Pembrokeshire | SA72 4UJ | SN0014003400 | Not Required | SN0015003450 | Not Required | Not Required | SN 00143 03475 | Not Required | Not Required | SN 00152 03502 | Not Required | SN0014603495 | Not Required | SN 00152 03502 | SN 00152 03502 | Not Required | Cosheston Pill | TBC |  | TBC | TBC
Llannant WwTW | BC0018601 | BP0341501 | Not Required | Llannant Road | Gorseinon | Swansea | SA4 4GD | SS5733699894 | SS5733699894 | Not Required | SS 57545 99877 | SS 57460 99832 | SS5746099832 | SS 57463 99848 | SS 57460 99832 | SS 57459 99832 | SS5752299836 | Not Required | SS 57532 99974 | Not Required | SS 57534 99883 | SS 57538 99871 | unnamed trib of Loughor Estuary | 165.7 |  | 6mm 2D | 854
Abererch WwTW | CG0111201 | CG0431301 | Not Required | Aberech | Pwllheli | Gwynedd | LL53 6BX | SH3966436752 | SH 39615 36762 | Not Required | Not Required | Not Required | SH3965136779 | Not Required | Not Required | SH 39620 36778 | SH 39633 36771 | Not Required | SH 39611 36782 | Not Required | SH 39620 36778 | SH 39618 36782 | Afon Erch | 2.95 |  | 6mm 2D | 31.5
Adpar WwTW | BN0112801 | BP0350601 | Not Required | Lloyds Terrace | Adpar | Newcastle Emlyn | SA38 9NX | SN3049640814 | SN 30496 40814 | Not Required | Not Required | Not Required | SN3047041004 | Not Required | Not Required | SN 30496 40814 | SN3046641016 | Not Required | SN 30463 41071 | Not Required | SN 30467 41074 | SN 30467 41074 | Afon Teifi | 18 |  | 6mm 2D | 150
Beddgelert WwTW | CG0024001 | CG0406401 | Not Required | Beddgelert | Caernarfon |  | LL55 4YW | SH5918047472 | SH5918047472 | Not Required | Not Required | Not Required | SH5906147607 | Not Required | Not Required | SH 59040 47643 | SH5906147633 | Not Required | SH 59032 47636 | Not Required | SH 59040 47643 | SH 59040 47642 | Afon Glaslyn | 6.2 |  | 6mm 2D | 45
Betws-yn-Rhos WwTW | CG0088601 | CG0462901 | Not Required | Ffordd Llanelwy | Betws Yn Rhos | Abergele | LL22 8AW | SH9077573719 | Not Required | SH9077573719 | Required | SH 90767 73732 | SH 90767 73732 | Not Required | Not Required | SH 90761 73738 | Not Required | SH9076773732 | Not Required | SH 90760 73741 | SH 90761 73738 | SH 90760 73741 | unnamed trib of Afon Dulas | 3.5 |  | 6mm 2D | 31
Bangor-on-Dee WwTW | CM0060701 | CM0060702 | Not Required | Graig Lane | Bangor-on-Dee | Wrexham | LL13 0AD | SJ3950046040 | SJ3945646008 | Not Required | Not Required | Not Required | SJ3955045910 | Not Required | Not Required | SJ 39545 45899 | SJ3954645901 | Not Required | SJ 39555 45923 | Not Required | SJ 39545 45899 | SJ 39525 45890 | River Dee | 6.35 |  | 6mm 2D | 66