# Natural Resources Wales permitting decisions

# Bespoke Variation

We have decided to issue the variation for Trebanos Wastewater Treatment Works operated by Dŵr Cymru Cyfyngedig.

The application number is PAN-019324

The permit number is BC0016601

Following an application from Dŵr Cymru Cyfyngedig, this permit has been varied to remove the storm overflow to outlet 2 including the removal of the EDM monitor 3. The limit for A2 has been removed from Table S1.1. The operating technique (Table S1.2) has been removed along with the improvement programme requirement (Table S1.3). There will be additional monitoring implemented under AMP7 NEP. Drivers: UMON3 - EDM over weir into storm tank and UMON4 - MCERTS flow passed forwards into the works.

We consider in reaching that decision we have taken into account all relevant considerations and legal requirements and that the permit will ensure that the appropriate level of environmental protection is provided.

Purpose of this document

This decision document:

- explains how the application has been determined

- provides a record of the decision-making process

- shows how all relevant factors have been taken into account

- justifies the specific conditions in the permit other than those in our generic permit template.

Unless the decision document specifies otherwise we have accepted the applicant’s proposals.

Structure of this document

- Annex 1 the decision checklist

# Annex 1: decision checklist

This checklist should be read in conjunction with the Duly Making checklist.

| ### Aspect | ### Justification / Detail | Criteria met |
| --- | --- | --- |
|  |  | Yes |
| Consultation |  |  |  |
| Scope of consultation | The consultation requirements were identified and implemented. The decision was taken in accordance with RGN 6 High Profile Sites, our Public Participation Statement and our Working Together Agreements. | ü |
| Operator |  |  |  |
| Control of the facility | We are satisfied that the applicant (now the operator) is the person who will have control over the operation of the facility after the grant of the permit. The decision was taken in accordance with EPR RGN 1 Understanding the meaning of operator. | ü |
| European Directives |  |  |  |
| Applicable directives | All applicable European directives have been considered in the determination of the application. | ü |
| The site |  |  |  |
| Extent of the site of the facility | The operator has provided a plan which we consider is satisfactory, showing the extent of the site of the facility including discharge points. A plan is included in the permit and the operator is required to carry on the permitted activities within the site boundary. | ü |
| Biodiversity, Heritage, Landscape and Nature Conservation and a designated site under the Wildlife and Countryside Act. | The application is within the relevant distance criteria of a site of heritage, landscape or nature conservation, and/or protected species or habitat. No assessment was undertaken as the variation was to amend the operation of the WwTWs, there was no change to the loading or volume of the discharge. It was ascertained that this would not adversely affect the sites’ designated features as the variation does not pose an increased risk to the quality of the receiving watercourse as it is purely an amendment to how the site is operated. | ü |
| Habitat Regulation Assessment for a designated site under the EU Habitats Directive | No FORM 1 completed: HRA is not required because there is no conceivable impact pathway to any Natura 2000/Ramsar site Note: From OGN 200 - no conceivable impact on any Natura 2000 site, by virtue of the scale or location or nature of the project. No assessment was undertaken as the variation was to amend the operation of the WwTWs, there was no change to the loading or volume of the discharge. It was ascertained that this would not adversely affect the sites’ designated features as the variation does not pose an increased risk to the quality of the receiving watercourse as it is purely an amendment to how the site is operated. | ü |
| Environmental Risk Assessment and operating techniques |  |  |  |
| Environmental risk | We have reviewed the operator's assessment of the environmental risk from the facility. The operator’s risk assessment is satisfactory. The assessment shows that, applying the conservative criteria in our guidance on Environmental Risk Assessment all emissions may be categorised as environmentally insignificant. | ü |
| Operating techniques | We have reviewed the techniques used by the operator and compared these with the relevant guidance notes. The proposed techniques / emission levels for priorities for control are in line with the benchmark levels contained in the TGN and we consider them to represent appropriate techniques for the facility as per EPR 7.01. | ü |
| The permit conditions |  |  |  |
| Updating permit conditions during consolidation. | We have updated previous permit conditions to those in the new generic permit template as part of permit consolidation. The new conditions have the same meaning as those in the previous permits. The operator has agreed that the new conditions are acceptable. | ü |
| Emission limits | We have decided that emission limits should be set for the parameters listed in the permit. It is considered that the numeric limits described below will prevent significant deterioration of receiving waters. We have imposed numeric limits because either a relevant environmental quality or operational standard requires this: - Total Iron as Fe – 4000ug/l 95%ile and 8000ug/l Maximum The limits were set in accordance with ‘PR14 OI: Appendix H’. | ü |
| Monitoring | We have decided that monitoring should be carried out for the parameters listed in the permit, using the methods and to the frequencies specified. These monitoring requirements have been imposed as part of the AMP6 EDM and AMP7 UMON 3/4 requirements for A2: the Storm discharge. For the Final Effluent discharge, A1, the site is subject to the Water Company OMS requirements. We made these decisions in accordance with EPR 7.01. Based on the information in the application we are satisfied that the operator’s techniques, personnel and equipment have either MCERTS certification or MCERTS accreditation as appropriate. | ü |
| Reporting | We have specified reporting in the permit. The frequencies are in line with the usual requirements for EDM and OSM. We made these decisions in accordance with EPR 7.01. | ü |
| Operator Competence |  |  |  |
| Environment Management System | There is no known reason to consider that the operator will not have the management systems to enable it to comply with the permit conditions. The decision was taken in accordance with RGN 5 on Operator Competence. | ü |
| Sustainable Management of Natural Resources (SMNR) |  |  |
| Considerations of SMNR - Compliance with our General Purpose | We are satisfied that this decision is compatible with our general purpose of pursuing the sustainable management of natural resources in relation to Wales and applying the principles of sustainable management of natural resources” | ü |