AB CONNECTORS
Review of Fugitive Emissions

January to December 2018
Permit Number BV7443IP

Annual Review of Fugitive Emissions

Previous 12 months January to December 2017
No fugitive emissions reported

January to December 2018
No fugitive releases reported

2017 Environmental Incident Reports

 21.02.18 ISO 14001 Audit queried the discharge of condensate from air compressor to foul water drain. Sample sent to Welsh Water for analysis and consent obtained for discharge.

21.02.18 Spillage of water onto Machine Shop floor from Magnetic Deburring Machine                                                                    

Trade effluent and Stack Emission Results 2018
Emissions to sewer and stack emissions within permitted limits

Reviews and Improvements to Further Minimise the Risk of Fugitive Emissions

· New storage facility for flammable chemicals installed 

· New caged area for storage of gas bottles.

· Entry to all external doors now controlled by a card key entry system
· New  bund purchased for storage of oil and coolant in the Machine shop
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New Bund for storage of oil in Machine Shop                    
















