## Consent Application information
| If FE permit is to be. or has already been. consolidated with storm | Settled or, if no storm tanks, unsettled | Only if there are two separate storm activities | [6 empty] | If applicable | If applicable | If applicable |  | If applicable | If applicable |  |  | If applicable |  | If applicable | UMON4 | UMON3
Site Name | FE Permit Number | Storm Permit Number | High-level Storm Permit Number | DSI_ADD2 | DSI_ADD3 | DSI_ADD4 | DSI_POST_CODE | Final Effluent Discharge Point | Settled Storm Discharge Point | Storm Discharge Point | UWWTR Inlet Sample Point | UWWTR Sample Point | Final Effluent Sample Point | UV Monitoring Point (Pre-treatment) | UV Monitoring Point (Post-treatment) | MCERTS Flow Monitoring Point | Settled Storm Sample Point | Storm Sample Point | Settled Storm to Environment EDM Monitoring Point | Storm to Environment EDM Monitoring Point | MCERTS FPF Monitoring Point | EDM to Storm Tank Monitoring Point | AGR_REC_WATER | S33 Overflow setting l/s | S33 Maximum size of solid matter | S33 Screen Aperture Size | S33 Storm tank / storage capacity | Non-standard operating techniques | Other Comments
Gwalchmai WwTW | CG0058301 | CG0058303 | Not Required | Maes Meurig | Gwalchmai | Holyhead | LL65 4SF | SH3941075550 | SH3946875567 | Not Required | Not Required | Not Required | SH3955175536 | Not Required | Not Required | SH 39546 75534 | SH3955175536 | Not Required | SH 39511 75571 | Not Required | SH 39522 75562 | SH 39531 75564 | Nant Cwyrtai | 10 |  | 6mm 2D | 144
Hay on Wye SPS | n/a | AN0379801 | Not Required | Wyeford Road Car Park | Hay On Wye | Powys | HR3 5BJ | not required | Not Required | SO2295642772 | Not Required | Not Required | not required | Not Required | Not Required | Not Required | Not Required | SO2295642772 | Not Required | SO 22975 42767 | SO 23206 43177 | Not Required | River Wye | 29 |  | 6mm 2D | 29
Herbrandston WwTW | BG0016701 | BG0016702 | Not Required |  | Herbrandston | Pembrokeshire | SA73 3SS | SM8624006800 | SM8624006800 | Not Required | Not Required | Not Required | SM8690107204 | Not Required | Not Required | SM 86900 07200 | SM8691307212 | Not Required | SM 86918 07238 | Not Required | SM 86900 07200 | SM 86934 07230 | Estuarial waters East of Sandy Haven | 2.8 |  | 6mm 2D | 37
Hermon WwTW | BG0018701 | BP0210101 | Not Required |  | Hermon | Pembrokeshire | SA36 0DT | SN2099032330 | Not Required | SN2100432325 | Not Required | Not Required | SN2095732314 | Not Required | Not Required | SN2095232303 | Not Required | SN2093232297 | Not Required | SN2093432294 | SN2095232303 | Not Required | A Tributary of River Taf | 1.22 |  | 6mm 2D | 9
Hope WwTW | CM0075801 | EPRMP3323XX | Not Required | Sarn Lane | Caergwrle | Flintshire | LL12 9AH | SJ3056358092 | Not Required | SJ3056058094 | SJ 30432 58041 | SJ 30487 58049 | SJ3048758049 | Not Required | Not Required | SJ 30443 58019 | Not Required | SJ 30560 58094 | Not Required | SJ 30454 58038 | SJ 30443 58019 | SJ 30443 58020 | River Alyn | 181.2 |  | 6mm 2D | TBC
Hundleton WwTW | BH0066901 | BP0328401 | Not Required | Bentlass Road | Hundleton | Pembrokeshire | SA71 5RN | SM9615201782 | Not Required | SM9615201782 | Not Required | Not Required | SM9629001369 | Not Required | Not Required | SM 96288 01378 | Not Required | SM9629501333 | Not Required | SM 96292 01337 | SM 96269 01365 | Not Required | Pembroke River | 9 |  | 6mm 2D | None required
Keeston WwTW | BP0087901 | BP0087902 | Not Required | Bridge Lane | Keeston | Pembrokeshire | SA62 6EE | SM9081518678 | Not Required | SM9080118724 | Not Required | Not Required | SM9080918699 | Not Required | Not Required | SM 90786 18726 | Not Required | SM9078918723 | Not Required | SM 90788 18726 | SM 90786 18726 | Not Required | Knock Brook | 5.89 |  | 6mm 2D | None required
Lamphey WwTW | BG0022401 | BP0339101 | Not Required | The Ridgeway | Lamphey | Pembrokeshire | SA71 5PB | SN0175800900 | SN0175800900 | Not Required | Not Required | Not Required | SN0188300803 | Not Required | Not Required | SN 01891 00800 | SN0189900789 | Not Required | SN 01885 00777 | Not Required | SN 01909 00777 | SN 01899 00769 | Pembroke River | 4.9 |  | 6mm 2D | 51.6
Langdon WwTW | BG0012001 | BG0012002 | Not Required | Langdon Farm | Begelly | Pembrokeshire | SA68 0NJ | SN0959807726 | SN1011707482 | Not Required | SN 10068 07407 | SN 10083 07470 | SN1008307470 | Not Required | Not Required | SN 10072 07414 | SN1008207451 | Not Required | SN 10088 07438 | Not Required | SN 10072 07414 | SN 10072 07413 | River Cresswell | 24.3 |  | 6mm 2D | 250
Letterston West WwTW | BH0071101 | BH0071102 | Not Required | St. David's Road | Letterston | Pembrokeshire | SA62 5SS | SM9287029020 | Not Required | SM9300929075 | Not Required | Not Required | SM9244029450 | Not Required | Not Required | SM 93444 29463 | Not Required | SM9344729464 | Not Required | SM 93498 29468 | SM 93495 29463 | Not Required | Western Cleddau | 24.3 |  | 6mm 2D | None required
Llanbrynmair WwTW | CG0114201 | CG0114202 | Not Required | Tafolwern | Llanbrynmair | Powys | SY19 7DT | SH8934002550 | Not Required | SH8934002550 | Not Required | Not Required | SH8934002550 | Not Required | Not Required | SH 89339 02680 | Not Required | SH 89345 02658 | Not Required | SH 89345 02658 | SH 89339 02680 | Not Required | Afon Iaen | 2.4 |  | Not stated in permit | None required
Llandogo WwTW | AS1002201 | AN0084601 | Not Required | A466 | Llandogo | Monmouthshire | NP25 4TW | SO5303504071 | Not Required | SO5303504071 | Not Required | Not Required | SO5297204200 | Not Required | Not Required | SO5296504266 | Not Required | SO5297204200 | Not Required | SO5296804267 | SO5296504266 | Not Required | River Wye | TBC |  | 10mm 1D | TBC
Llandovery WwTW | BN0202701 | BN0202702 | Not Required | Near Cwmrhyddan Lodge | Llandovery | Carmarthenshire | SA20 0DX | SN7613033180 | SN7611733173 | Not Required | SN 76181 33142 | SN 76128 33167 | SN7612833167 | Not Required | Not Required | SN 76130 33166 | SN7613533149 | Not Required | SN 76130 33157 | Not Required | SN 76164 33139 | SN 76181 33145 | Afon Bran | 20.5 |  | 6mm 2D | 150
Llandrindod Wells WwTW | AW1002901 | AN0357501 | Not Required | Park Lane | Llandrindod Wells | Powys | LD1 5NN | SO0490760500 | SO0490860457 | Not Required | SO 05068 60536 | SO 04926 60496 | SO0492660497 | Not Required | Not Required | SO0507360530 | SO0496660542 | Not Required | SO0496060523 | Not Required | SO0507360530 | SO0507060532 | River Ithon | 55.2 |  | 6mm 2D | 398
Wilkes Head SPS CSO | n/a | BP0356201 | Not Required | Wilkes Head Square | Llandysul | Ceredigion | SA44 4AA | not required | Not Required | SN4191040290 | Not Required | Not Required | not required | Not Required | Not Required | Not Required | Not Required | SN 41598 40306 | Not Required | SN4159840305 | SN 41928 40179 | Not Required | Afon Teifi | 58 |  | 6mm 2D | None required
Llanedi WwTW | BP0072801 | BP0312901 | Not Required | Ebeneezer Road | Llanedi | Carmarthenshire | SA4 0FB | SN5787507839 | Not Required | SN5787507839 | Not Required | Not Required | SN5810707830 | Not Required | Not Required | SN 58120 07880 | Not Required | SN5818707885 | Not Required | SN 58181 07891 | SN 58189 07897 | Not Required | Afon Gwili | 3.4 |  | 6mm 2D | None Required
Llaneilian SPS | n/a | CG0143701 | Not Required | Llaneilian Road | Llaneilian | Anglesey | LL68 9LS | not required | Not Required | SH4661893378 | Not Required | Not Required | not required | Not Required | Not Required | Not Required | Not Required | SH 46503 92894 | Not Required | SH 46505 92889 | SH 46502 92889 | SH 46505 92889 | Coastal Waters | 14.5 |  | 6mm 2D | 106
Llanerch-y-Mor SPS CSO | n/a | cm0198601 | Not Required | Fun Ship Access Road | Llanerch-y-Mor | Flintshire | CH8 9DX | not required | Not Required | SJ 17662 79167 | Not Required | Not Required | not required | Not Required | Not Required | Not Required | Not Required | SJ 17670 79165 | Not Required | SJ 17669 79170 | SJ 16880 80072 | Not Required | Llanerchymor Gutter | TBC |  | 6mm 2D | TBC
Llanfair PG WwTW | CG0081101 | CG0081201 | Not Required | Lôn Pwllfanogl | Llanfairpwllgwyngyll | Anglesey | LL61 6PD | SH5302470802 | Not Required | SH5299770834 | SH5303671036 | SH 53018 71076 | SH5303671036 | Not Required | Not Required | SH 53011 71069 | Not Required | SH5302071066 | Not Required | SH 53008 71071 | SH 53008 71071 | SH 53008 71071 | Menai Strait | 42.5 |  | 6mm 2D | None required
Llan Ffestiniog WwTW | CG0058801 | CG0058802 | Not Required | Allt Goch | Ffestiniog | Gwynedd | LL41 4LS | SH6990041520 | Not Required | SH6990041520 | Not Required | Not Required | SH7000041640 | Not Required | Not Required | SH 70000 41650 | Not Required | SH 70000 41643 | Not Required | SH 70000 41643 | SH 70013 41670 | SH 70006 41644 | Nant Brisgyll | 12.4 |  | Yes | None required
Llanfoist WwTW | AB0038201 | AB0038202 | Not Required | Merthyr Road | Abergavenny | Monmouthshire | NP7 9LH | SO3008213206 | SO3008213206 | Not Required | SO 30007 13234 | SO 29919 13729 | SO3003613287 | Not Required | Not Required | SO2999413247 | SO2992413300 | Not Required | SO2992913274 | Not Required | SO2999413247 | SO3000113244 | River Usk | 137 |  | 6mm 2D | 975
Llanfynydd WwTW | BN0077601 | BN0077601 | Not Required | Llanfynydd Road | Llanfynydd | Carmarthernshire | SA32 7TG | SN5566027107 | Not Required | SN5566027107 | Not Required | Not Required | SN5568227145 | Not Required | Not Required | Not Required | Not Required | SN5568227145 | Not Required | SN5568527145 & SN5569027144 | SN5568227145 | Not Required | Afon Sannen | 3.91 |  | TBC | TBC
Llangwm WwTW | BG0042201 | BP0324601 | Not Required | Guildford Row | Llangwm | Pembrokeshire | SA62 4JN | SM9955008730 | SM9960808745 | Not Required | Not Required | Not Required | SM9949508755 | Not Required | Not Required | SM 99474 08780 | SM9949508755 | Not Required | SM 99474 08780 | Not Required | SM 99474 08780 | SM 99474 08780 | Beggars Reach, Daugleddau | 21 |  | 6mm 2D | 200
Llangybi (Usk) WwTW | AB0046601 | AN0391001 | Not Required | Behind Vine Tree Cottage | Llangybi | Gwent | NP15 1NP | ST3847796090 | ST3847796090 | Not Required | Not Required | Not Required | ST3767996603 | Not Required | Not Required | ST 37682 96589 | ST3768496585 | Not Required | ST 37663 96583 | Not Required | ST 37673 96581 | ST 37663 96583 | River Usk | 5.3 |  | 6mm 2D | 77.4
Llangyndeyrn WwTW | BE0039501 | BE0039502 | Not Required | 0 | Llangynderyn | Carmarthernshire | SA17 5BN | SN4543413711 | SN4543713710 | Not Required | Not Required | Not Required | SN4543613722 | Not Required | Not Required | SN 45458 13751 | SN4544213729 | Not Required | SN 45442 13732 | Not Required | SN 45458 13751 | SN 45458 13752 | Gwendraeth Fach | 3.8 |  | 6mm 2D | 13.68
Llansaint WwTW | BC0006101 | BC0006102 | Not Required | Cwm Farm | Broadway | Carmarthernshire | SA17 5UF | SN3739507690 | SN3739507690 | Not Required | Not Required | Not Required | SN3809408597 | Not Required | Not Required | SN 38113 08586 | SN3809408597 | Not Required | SN 38116 08604 | Not Required | SN 38113 08586 | SN 38113 08585 | Llansaint Stream | 3 |  | 6mm 2D | 22
Llantwit Major SPS | n/a | BP0270901 | BP0270902 | Colhugh Street | Llantwit Major | Vale of Glamorgan | CF61 1RF | not required | Not Required | SS9635067140 & SS 96329 67785 | Not Required | Not Required | not required | Not Required | Not Required | Not Required | Not Required | SS 96382 67717 & SS 96357 67726 | Not Required | SS 96382 67717 & SS 96357 67726 | SS 96389 67732 | SS 96379 67722 | Coastal Waters, Severn Estuary | 105 |  | 6mm 2D | 952
Manorbier SPS | n/a | BP0266601 | Not Required | Lane opposite Beach Car Park | Manorbier | Pembrokeshire | SA70 7SY | not required | SS0580097300 | Not Required | Not Required | Not Required | not required | Not Required | Not Required | Not Required | SS 06249 97852 | Not Required | SS 06257 97846 | Not Required | SS 06257 97846 | SS 06257 97846 | Coastal Waters, Manorbier | 26 |  | 10mm 2D | 213
Mathry WwTW | BG0009701 | BP0317201 | Not Required | Lane off A487 | Mathry | Pembrokeshire | SA62 5EU | SM8833931395 | Not Required | SM8833931395 | Not Required | Not Required | SM8824131572 | Not Required | Not Required | Not Required | Not Required | SM8823131583 | Not Required | SM 88201 31614 | SM 88235 31577 | SM 88203 31608 | Western Cleddau | 6.2 |  | 6mm 2D | 27
Monmouth WwTW | AS1003201 | AN0353501 | Not Required | Redbrook Road (A466) | Wyesham | Monmouth | NP25 4LG | SO5153211795 | SO5153211795 | Not Required | SO 51591 11875 | SO 51546 11813 | SO5154611813 | Not Required | Not Required | SO 51601 11866 | SO5154511849 | Not Required | SO5154611851 | Not Required | SO 51601 11866 | SO5159411878 | River Wye | 83.9 |  | 6mm 2D | 848
Pandy WwTW | AH1002901 | AN0391101 | Not Required | Longtown Road | Pandy | Monmouthshire | NP7 8DR | SO3351822842 | SO3351822842 | Not Required | Not Required | Not Required | SO3355522852 | Not Required | Not Required | SO 33541 22778 | SO3353322764 | Not Required | SO 33539 22742 | Not Required | SO 33539 22735 | SO 33542 22735 | River Usk | 5.4 |  | 6mm 2D | 50
Pembrey WwTW | BC0013401 | BP0328501 | Not Required | Factory Road | Pembrey | Llanelli | SA16 0EJ | SS4143899855 | SS4151599947 | Not Required | SS 41483 99983 | SS 41439 99910 | SS4143999910 | Not Required | Not Required | SS4148999990 | SS4148099970 | Not Required | SS4149299980 | Not Required | SS4148999990 | SS4149199985 | unnamed trib of Loughor Estuary | 13.8 |  | 6mm 2D | 178
Pembroke Dock WwTW | BP0250801 | BP0250802 | Not Required | Fort Road | Pembroke Dock | Pembrokeshire | SA72 6SX | SM9545004250 | Not Required | SM9545704255 | SM 95645 03867 & SM 95588 03702 | SM 95586 03718 | SM9558603718 | Not Required | Not Required | SM 95603 03765 | Not Required | SM9560303765 | Not Required | SM 95635 03874 | SM 95603 03765 | Not Required | Milford Haven Waterway | 210 |  | 2.5mm 2D | 2973
Penisarwaun WwTW | CG0134101 | CG0134102 | Not Required | Craig Y Dinas | Pont-Rhythallt | Gwynedd | LL55 3PH | SH5497463515 | Not Required | SH5497663514 | Not Required | Not Required | SH5501863548 | Not Required | Not Required | SH 55020 63554 | Not Required | SH5503263558 | Not Required | SH 55026 63560 | SH 55020 63554 | Not Required | Afon Seiont | 8 |  | 6mm 2D | None required
Penybont WwTW | BB3006701 | BW3206201 | Not Required | Ogmore Road (B4524) | Ogmore | Bridgend | CF32 0QP | SS8782576955 | SS8782876856 | Not Required | SS 87668 76823 | SS 87454 76702 | SS8745476702 | Not Required | Not Required | SS 87461 76715 | SS8759576830 | Not Required | SS 87595 76830 | Not Required | SS 87650 76789 | SS 87675 76815 | Ogmore Estuary | 1650 |  | 6mm 2D | 21896
Peterston Super Ely WwTW | AG0011401 | AN0355001 | Not Required | Wyndham Parkway | Peterston-Super-Ely | Vale of Glamorgan | CF5 6LF | ST0862076329 | Not Required | ST0862076329 | Not Required | Not Required | ST0862976309 | Not Required | Not Required | ST0864676298 | Not Required | ST0864176276 | Not Required | ST0863276285 | ST0864676298 | ST0863276285 | River Ely | 22.3 |  | 10mm 1D | None required
Ponthir WwTW Inlet Works | n/a | AB0064001 | Not Required | Station Road | Llanfrechfa | Torfaen | NP18 1GW | not required | ST3217992830 | Not Required | Not Required | Not Required | not required | Not Required | Not Required | Not Required | ST3206192864 | Not Required | ST 32062 92868 | Not Required | ST 31724 93019 | ST 31713 93026 | Afon Lwyd | 886 |  | 6mm 2D | 3900
Pontneddfechan WwTW | BA2014001 | BP0322901 | Not Required | Mellte Avenue | Pontneddfechan | Powys | SA11 5NN | SN9033207482 | Not Required | SN9034507498 | Not Required | Not Required | SN9033207482 | Not Required | Not Required | SN 90314 07508 | Not Required | SN9032607521 | Not Required | SN 90326 07527 | SN 90326 07525 | Not Required | river Mellte | 3.88 |  | 6mm 2D | None required
Pontyberem WwTW | BC0021001 | BP0304601 | Not Required | Railway Terrace | Pontyberem | Llanelli | SA15 5HN | SN4938110722 | SN4944610802 | Not Required | SN 49450 10940 | SN 49384 10797 | SN4938410797 | Not Required | Not Required | SN 49389 10761 | SN4942910816 | Not Required | SN 49438 10840 | Not Required | SN 49440 10947 | SN 49444 10926 | Gwendraeth Fawr | 114 |  | 6mm 2D | 1000
Resolven WwTW | BA2001301 | BP0341401 | Not Required | Neath Vale Business Park | Resolven | Neath | SA11 4SR | SN8217802521 | SN8217802521 | Not Required | SN 82427 02618 | SN 82409 02557 | SN8240902557 | Not Required | Not Required | SN 82411 02616 | SN8240902639 | Not Required | SN 82422 02600 SN 82413 02608 | Not Required | SN 82411 02616 | SN 82422 02622 | River Neath | 24.5 |  | 6mm 2D | 224
Reynoldston WwTW | BC0002501 | BP0232001 | Not Required | Burry Green Road | Reynoldston | Swansea | SA3 1HN | SS4659690941 | SS4658890926 | Not Required | Not Required | Not Required | SS4661990954 | Not Required | Not Required | SS4660990945 | SS4665090950 | Not Required | SS4662490921 | Not Required | SS4664390924 | SS4665190914 | Burry Pill | 8.5 |  | 6mm 2D | 72
Rhiwsaeson WwTW | AN0249201 | AG0019402 | Not Required |  | Rhiwsaeson | Cardiff | CF72 8NX | ST0707382635 | ST0711082670 | Not Required | ST 07350 82721 | ST 07214 82651 | ST0736782716 | Not Required | Not Required | ST 07139 82634 | ST0717482665 | Not Required | ST 07160 82632 | Not Required | ST 07360 82704 & ST 07373 82686 | ST 07381 82709 | River Clun | 139 |  | 6mm 2D | Not stated
Rhuddlan Network Stroage SPS | N/a | NPSWQD004714 | Not Required | Tan yr Eglwys Road | Rhuddlan | Denbighshire | LL18 2UU | not required | Not Required | SJ0196278140 | Not Required | Not Required | not required | Not Required | Not Required | Not Required | Not Required | SJ0194878367 | Not Required | SJ 01946 78369 | SJ 01682 78592 | SJ 01936 78394 | tidal estuary of river Clwyd | 86 |  | 6mm 2D | 1600
Rhydlafar WwTW | AE2021601 | AE2021601 | Not Required | Llantrisant Road | Rhydlafar | Cardiff | CF5 6DS | ST1106779713 | Not Required | ST1109779787 | ST1104479801 | ST1105079728 | ST1105079728 | Not Required | Not Required | ST1104979774 | Not Required | ST1104479801 | Not Required | ST1104379771 | ST1104979774 | Not Required | Nant Gwladys | 36.3 |  | 6mm 2D | None required
Kinmel Bay WwTW | CG0314401 | CG0391301 | Not Required | Quarry Line Path | Kinmel Bay | Conwy | LL18 5JZ | SH9561083370 | SH9561083370 | Not Required | SH 98742 78571 | SH9867078590 | SH9867078590 | Not Required | Not Required | SH 98664 78589 | SH9868078590 | Not Required | SH 98766 78569 | Not Required | SH 98675 78610 | SH 98657 78636 | Coastal waters Liverpool Bay | 450 |  | 6mm 2D | 2520
Rosemarket WwTW | BG0000501 | EPRAB3499CN | Not Required | Neyland Road | Rosemarket | Pembrokeshire | SA73 1JG | SM9539907926 | Not Required | SM9539907926 | Not Required | Not Required | SM9537107953 | Not Required | Not Required | SM 95366 07961 | Not Required | SM9537107953 | Not Required | SM 95379 07982 | SM 95366 07961 | SM 95378 08014 | An unnamed tributary of the Westfield Pill | 5.12 |  | TBC | TBC
Spittal WwTW | BG0016901 | BG0016902 | Not Required | Water Street | Spittal | Pembrokeshire | SA62 5QH | SM9734822501 | Not Required | SM9734822501 | Not Required | Not Required | SM9745122608 | Not Required | Not Required | SM 97445 22637 | Not Required | SM9744622632 | Not Required | SM 97441 22640 | SM 97445 22637 | Not Required | Tributary of Rudbaxton Water | 4.4 |  | 10mm 2D | None required
St. Clears SPS | n/a | EPRAB3795ZF | Not Required | Manor Daf Gardens | St. Clears | Carmarthernshire | SA33 4EW | not required | Not Required | SN2818415384 | Not Required | Not Required | not required | Not Required | Not Required | Not Required | Not Required | SN2818215365 | Not Required | SN 28179 15365 | SN 28600 15044 | SN 28179 15368 | The Afon Cynin | TBC |  | TBC | TBC
St. Davids WwTW | BP0062701 | BP0062702 | Not Required | Ffordd Porth Clais | St. Davids | Pembrokeshire | SA62 6RR | SM7430323849 | SM7430323849 | Not Required | Not Required | Not Required | SM7405224500 | Not Required | Not Required | SM 74108 24522 | SM7402224492 | Not Required | SM7402924489 | Not Required | SM 74196 24589 | SM 74196 24589 | Coastal Waters at Porth Clais | 26.3 |  | 6mm 2D | 192
Talgarth WwTW | AW1005301 | AN0373401 | Not Required | Bronllys Road (A479) | Talgarth | Powys | LD3 0HH | SO1507334806 | SO1507334806 | Not Required | SO 15240 34778 | SO 15206 34778 | SO1520634778 | Not Required | Not Required | SO1525734788 | SO1520234782 | Not Required | SO1526334779 | Not Required | SO1525734788 | SO1525834784 | The Afon Llynfi | 24.9 |  | 6mm 2D | 180
Talybont WwTW | AD0001701 | AD0001702 | Not Required | Maesmawr Lane | Talybont-on-Usk | Powys | LD3 7JF | SO1206923056 | SO1197522991 | Not Required | Not Required | Not Required | SO1204322829 | Not Required | Not Required | SO 12044 22834 | SO1203922804 | Not Required | SO 12041 22807 | Not Required | SO 12044 22834 | SO 12028 22811 | River Caerfanell | 2.6 |  | 6mm 2D | 26.7
Templeton WwTW | BN0166701 | BN0166702 | Not Required | Tanner's Lane | Templeton | Pembrokeshire | SA67 8SH | SN1143210872 | Not Required | SN1143010870 | Not Required | Not Required | SN1142710919 | Not Required | Not Required | SN 11412 10937 | Not Required | SN1142010959 | Not Required | SN 11419 10951 | SN 11412 10937 | Not Required | Right bank of Ford's Lake | 14 |  | 6mm 2D | None required
Tregaron WwTW | BH0057801 | BH0057901 | Not Required | Ystrad Caron | Tregaron | Ceredigion | SY25 6HW | SN6726159165 | SN6726159165 | Not Required | Not Required | Not Required | SN6728359277 | Not Required | Not Required | SN 67335 59325 | SN 67269 59282 | Not Required | SN 67337 59331 SN 67320 59313 | Not Required | SN 67335 59325 | SN 67340 59324 | Afon Teifi | 14 |  | 6mm 2D | 54