## Consent Application information
| If FE permit is to be. or has already been. consolidated with storm | Settled or, if no storm tanks, unsettled | Only if there are two separate storm activities | [6 empty] | If applicable | If applicable | If applicable |  | If applicable | If applicable |  |  | If applicable |  | If applicable | UMON4 | UMON3
Site Name | FE Permit Number | Storm Permit Number | High-level Storm Permit Number | DSI_ADD2 | DSI_ADD3 | DSI_ADD4 | DSI_POST_CODE | Final Effluent Discharge Point | Settled Storm Discharge Point | Storm Discharge Point | UWWTR Inlet Sample Point | UWWTR Sample Point | Final Effluent Sample Point | UV Monitoring Point (Pre-treatment) | UV Monitoring Point (Post-treatment) | MCERTS Flow Monitoring Point | Settled Storm Sample Point | Storm Sample Point | Settled Storm to Environment EDM Monitoring Point | Storm to Environment EDM Monitoring Point | MCERTS FPF Monitoring Point | EDM to Storm Tank Monitoring Point | AGR_REC_WATER | S33 Overflow setting l/s | S33 Maximum size of solid matter | S33 Screen Aperture Size | S33 Storm tank / storage capacity | Non-standard operating techniques | Other Comments
Capel Curig WwTW | CG0043601 | CG0074201 | Not Required | A5 | Pont Cyfyng | Capel Curig | LL24 0DT | SH7370156823 | Not Required | SH7369956822 | Not Required | Not Required | SH7372056860 | Not Required | Not Required | SH 73686 56863 | Not Required | SH7368356860 | Not Required | SH 73714 56853 | SH 73686 56863 | SH 73679 56865 | Afon Llugwy | TBC |  | TBC | TBC
Creigiau WwTW | AN0032201 | AF4024801 | Not Required | Heol Pant-y-Gored | Creigiau | Cardiff | CF15 9NF | ST0919980405 | ST0919580346 | Not Required | ST 09061 80686 | ST 09133 80685 | ST0913380685 | Not Required | Not Required | ST 09085 80671 | ST0908180703 | Not Required | ST 09075 80701 | Not Required | ST 09085 80671 | ST 09080 80677 | The Nant Glaswg | 25.7 |  | 6mm 2D | 390
Criccieth WwTW | CG0341601 | CG0341602 | Not Required | A497 | Criccieth | Gwynedd | LL52 0RY | SH4864036850 | SH4862736863 | Not Required | Not Required | Not Required | SH4881437954 | SH 48821 37959 | SH 48814 37954 | SH 48808 37945 | SH4880837945 | Not Required | SH 48832 37939 | Not Required | SH 48808 37945 | SH 48848 37973 | Tremadog Bay | 33 |  | 6mm 2D | 317
Crickhowell WwTW | AC0094701 | AC0094702 | Not Required | Abergavenny Road | Crickhowell | Powys | NP8 1ED | SO2250617473 | SO2248517479 | Not Required | SO 22484 17543 | SO 22513 17495 | SO2251317473 | Not Required | Not Required | SO2248117544 | SO2249417504 | Not Required | SO2252317511 | Not Required | SO2248117544 | SO2247917549 | River Usk | 21 |  | 6mm 2D | 222
Croesgoch WwTW | BG0019001 | BG0019002 | Not Required | Llanrhian Road | Croesgoch | Pembrokeshire | SA62 5JT | SM8267930591 | Not Required | SM8267930591 | Not Required | Not Required | SM8267030589 | Not Required | Not Required | SM 82671 30594 | Not Required | SM8267030589 | Not Required | SM 82676 30575 | SM 82676 30575 | Not Required | Porthgain Stream | 6.26 |  | 6mm 2D | None required
Cross Inn & Nebo WwTW | BG0038701 | BP0218501 | Not Required | B4337 | Nebo | Llanon | SY23 5LF | SN5440065330 | SN5439565334 | Not Required | Not Required | Not Required | SN 54395 65328 | Not Required | Not Required | SN 54391 65328 | SN5439665320 | Not Required | SN 54393 65312 | Not Required | SN 54403 65306 | SN 54405 65307 | Afon Cledan | 2.3 |  | 10mm 2D | Not stated
Crossgates WwTW | AW1001101 | AN0226801 | Not Required | Llandrindod Road | Crossgates | Llandrindod Wells | LD1 5SN | SO0866064240 | SO0865964232 | Not Required | Not Required | Not Required | SO0887064690 | Not Required | Not Required | SO 08865 64683 | SO0887064690 | Not Required | SO 08877 64688 | Not Required | SO 08865 64683 | SO 08865 64686 | River Ithon | 5.7 |  | 6mm 2D | 409
Crymych WwTW | BP0044401 | BP0044401 | Not Required | Eglwyswrw Road | Crymych | Pembrokeshire | SA41 3RR | SN1832034820 | Not Required | SN 18370 34760 | Not Required | Not Required | SN1932534790 | Not Required | Not Required | SN 18334 34732 | Not Required | SN 18370 34760 | Not Required | SN 18339 34739 | SN 18334 34732 | Not Required | Afon Nevern | 12.37 |  | 6mm 2D | None required
Newbridge on Wye WwTW | AW1004401 | EPRAB3497FZ | Not Required | A470 | Newbridge on Wye | Powys | LD1 6LB | SO0146058122 | Not Required | SO0147058120 | Not Required | Not Required | SO0146851823 | Not Required | Not Required | SO 01468 58121 | Not Required | SO0148458132 | Not Required | SO 01491 58155 | SO 01496 58127 | Not Required | River Wye | 12.68 |  | 6mm 2D | None required
Cwm Ifor WwTW | BN0103601 | BP0239802 | Not Required | A40 | Cwmifor | Llandeilo | SA19 7AU | SN6622224935 | SN6622224935 | Not Required | Not Required | Not Required | SN6603225095 | Not Required | Not Required | SN 66027 25099 | SN6603225095 | Not Required | SN 66028 25096 | Not Required | SN 66027 25099 | SN 66028 25093 | Afon Tywi | 2.1 |  | Not stated | 6.7
Cwmgwrch WwTW | BA1005701 | EPRCB3391FB | Not Required | Off A465/B4242 Roundabout | Blaengwrach | Neath | SA11 5PJ | SN8625305427 | SN8625305427 | Not Required | Not Required | Not Required | SN 86308 05430 | Not Required | Not Required | SN 86456 05498 | SN 86455 05440 | Not Required | SN 86455 05440 | Not Required | SN 86456 05498 | SN 86459 05501 | River Neath | 43.4 |  | 6mm 2D | 6.2
Crosshands WwTW | BC0001501 | BP0265701 | Not Required | Pontardulais Road | Crosshands | Llanelli | SA14 6NT | SN5642012238 | Not Required | SN5642012208 | SN 56300 12300 & SN 56260 12358 | SN 56200 12400 | SN5636512306 | Not Required | Not Required | SN5628212326 | Not Required | SN5628212326 | Not Required | SN5628212326 | SN5628212326 | SN5628212326 | The Afon Gwili | 49 |  | 6mm 2D | 43
Cwrtnewydd WwTW | BN0005601 | BP0308501 | Not Required | Heol Y Bryn | Cwrtnewydd | Llanybydder | SA40 9YE | SN 49482 47098 | Not Required | SN 49482 47098 | Not Required | Not Required | SN 49477 47117 | Not Required | Not Required | SN 49459 47132 | Not Required | SN 49458 47123 | Not Required | SN 49459 47145 | SN 49459 47132 | Not Required | Nant Cledyn | 7.1 |  | 6mm 2D | None required
Cynon WwTW | AN0033701 | AF4001901 | Not Required | Abercynon Road | Abercynon | Pontypridd | CF37 3ND | ST0814992997 | ST0815092996 | Not Required | ST 07990 93184 | ST 08115 93065 | ST0811593065 | Not Required | Not Required | ST 07992 93080 & ST 08060 93030 | ST0808292976 | Not Required | ST0808292977 | Not Required | ST 07992 93080 & ST 08060 93030 | ST0799093157 | River Taff | 540.7 |  | 6mm 2D | 5227
Cynwyd WwTW | CM0149301 | CM0149302 | Not Required | Old Station Road | Cynwyd | Corwen | LL21 0LB | SJ0528041130 | Not Required | SJ0526541089 | Not Required | Not Required | SJ0533041050 | Not Required | Not Required | SJ 05342 41066 | Not Required | SJ0533741045 | Not Required | SJ 05337 41077 | SJ 05342 41066 | Not Required | River Dee | 2.9 |  | 10mm 2D | None required
Cynwyl Elfed WwTW | BG0028101 | BP0317301 | Not Required | Off A484 | Cynwyl Elfed | Carmarthenshire | SA33 6TP | SN3768926996 | SN3768926996 | Not Required | Not Required | Not Required | SN3767826996 | Not Required | Not Required | SN 37677 26998 | SN3767026980 | Not Required | SN 37660 26990 | Not Required | SN 37668 26973 | SN 37662 26973 | Afon Duad | 2 |  | 6mm 2D | 40
Dale WwTW | BP0064001 | BP0345801 | Not Required | The Boatyard | Dale | Pembrokeshire | SA62 3RF | SM8147005560 | SM8147005560 | Not Required | Not Required | Not Required | SM8109205713 | Not Required | Not Required | SM8147005560 | SM8108905713 | Not Required | SM8147005560 | Not Required | SM8147005560 | SM8147005560 | Milford Haven Waterway | 4.5 |  | 3mm 2D | 72
Dinas WwTW | BP0234401 | BP0063202 | Not Required | Tower Hill | Dinas Cross | Pembrokeshire | SA42 0SB | SN0030039800 | SN0034039830 | Not Required | Not Required | Not Required | SN 00960 39724 | Not Required | Not Required | SN 00961 39724 | SN 00961 39724 | Not Required | SN 00963 39698 | Not Required | SN 00980 39692 | SN 00974 39690 | Sea | TBC |  | TBC | TBC
Tal-y-Bont (Dolgarrog) WwTW | CG0075501 | CG0075601 | Not Required | Hendy | Tal-y-Bont | Conwy | LL32 8JQ | SH7756068740 | Not Required | SH7730268801 | Not Required | Not Required | SH 77266 68806 | Not Required | Not Required | SH 77283 68818 | Not Required | SH7724968799 | Not Required | SH 77287 68822 | SH 77246 68802 | SH 77247 68814 | River Dulyn | 16.6 |  | 6mm 2D | None required
Dolgellau WwTW | CG0082501 | CG0082502 | Not Required | Off A493 | Dolgellau | Gwynedd | LL40 1YB | SH7107018940 | SH 71070 18950 | Not Required | SH7128018330 | SH 71283 18324 | SH7128018330 | Not Required | Not Required | SH 71264 18342 & SH 71246 18339 | SH 71292 18284 | Not Required | SH 71273 18291 & SH 71276 18281 | Not Required | SH 71264 18342 & SH 71246 18339 | SH 71275 18313 | Afon Mawddach | 45 |  | 6mm 2D | TBC
Dolwyddelan WwTW | CG0396901 | CG0397001 | Not Required | Ffordd Ty Isaf | Dolwyddelan | Conwy | LL25 0SZ | SH7436052420 | Not Required | SH7435852428 | Not Required | Not Required | SH7436052400 | Not Required | Not Required | SH 74367 52411 | Not Required | SH7434152395 | Not Required | SH 74338 52395 | SH 74378 52402 | Not Required | Afon Lledr | 9.2 |  | 6mm 2D | None required
Dolywern WwTW | CM0007901 | CM0009501 | Not Required | Old Road | Dôl-y-wern | Wrexham | LL20 7AY | SJ2244037250 | Not Required | SJ2240837215 | Not Required | Not Required | SJ 22439 37226 | Not Required | Not Required | SJ 22429 37205 | Not Required | SJ2242937209 | Not Required | SJ 22434 37231 | SJ 22429 37205 | SJ 22425 37201 | River Ceiriog | TBC |  | TBC | TBC
Dyffryn Isaf WwTW | AG0008301 | AF3026401 | Not Required | Ely Valley Road | Ynysmaerdy | Pontyclun | CF72 8LN | ST0271284870 | ST 02715 84871 | Not Required | ST 02792 84951 | ST 02820 84791 | ST0272084922 | Not Required | Not Required | ST0277084958 | ST 02715 84871 | Not Required | ST0270784900 | Not Required | ST0277084958 | ST0278084967 | River Ely | 125 |  | 6mm 2D | 1620
Dyffryn Ardudwy WwTW | CG0043701 | CG0043702 | Not Required | Station Road | Dyffryn Ardudwy | Gwynedd | LL44 2HA | SH5772323637 | SH5772323637 | Not Required | Required | Required | SH5783723621 | Not Required | Not Required | SH 57886 23619 | SH5788823621 | Not Required | SH 57889 23608 | Not Required | SH 57886 23619 | SH 57896 23604 | Ardudwy Marsh Main Drain | 25.9 |  | 10mm 1D | 186.5
Eglwysbach WwTW | CG0030701 | CG0030702 | Not Required |  | Eglwysbach | Conwy | LL28 5TY | SH 80111 71010 | SH8010471021 | Not Required | Not Required | Not Required | SH 80136 70978 | Not Required | Not Required | SH 80146 70952 & SH 80142 70951 | SH 80145 70971 | Not Required | SH 80144 70966 | Not Required | SH 80146 70952 & SH 80142 70951 | SH 80149 70944 | Afon Hiraethlyn | 9.7 |  | Not stated | 70
Ffairfach WwTW | BH0065401 | BN0194103 | Not Required | Off B4300 | Ffairfach | Llandeilo | SA32 8NH | SN6164121126 | SN6163921114 | Not Required | SN 61717 21104 | SN 61717 21104 | SN6171721104 | Not Required | Not Required | SN 61717 21105 | SN6179221126 | Not Required | SN 61792 21126 | Not Required | SN 61783 21097 | SN 61800 21112 | River Towy | 27 |  | 6mm 2D | 172
Holt WwTW | CM0102001 | CM0102003 | CM0102002 | Frog Lane | Holt | Wrexham | LL13 9HJ | SJ4044054810 & SJ4032654469 | SJ4044054810 & SJ4032654469 | Not Required | Not Required | Not Required | SJ4034054460 | Not Required | Not Required | SJ 40355 54468 | SJ4034054460 | Not Required | SJ 40393 54428 | Not Required | SJ 40392 54446 | SJ 40404 54436 | River Dee | 6.3 |  | TBC | 1.4hr
Flint WwTW | CM0058401 | CM0058402 | Not Required | Chester Road | Flint | Flintshire | CH6 5DZ | SJ2578872517 | SJ2578072440 | Not Required | SJ 25499 72382 | SJ 25479 72443 | SJ2547972443 | SJ 25498 72457 | SJ 25504 72465 | SJ 25516 72443 | SJ2550272391 | Not Required | SJ 25567 72434 | Not Required | SJ 25509 72398 | SJ 25501 72381 & SJ 25501 72381 | River Dee Estuary | 102 |  | 6mm 2D | 857
Gaerwen WwTW | CG0114101 | CG0114102 | Not Required | Caerau St | Gaerwen | Anglesey | LL60 6LE | SH4574372790 | SH4574372790 | Not Required | SH 46725 72608 | SH 46672 72636 | SH4667272636 | Not Required | Not Required | SH 46704 72588 | SH4671372565 | Not Required | SH 46712 72632 | Not Required | SH 46704 72588 | SH 46719 72594 | Afon Cefni | 39.2 |  | 6mm 2D | 1240
Ganol WwTW | CG0377601 | CG0377701 | Not Required | Conway Road | Colwyn Bay | Conwy | LL28 5LG | SH8366083020 | Not Required | SH8366083020 | SH 80533 77215 | SH 80616 77301 | SH8061077291 | SH 80615 77305 | SH 80616 77301 | SH 80611 77304 | Not Required | SH8061077310 | Not Required | SH 80525 77238 | SH 80525 77238 | Not Required | Coastal waters of Penrhyn Bay | 500 |  | 6mm 2D | 30240
Garndolbenmaen WwTW | CG0080001 | AB3495FT | Not Required | A487 | Dolbenmaen | Gwynedd | LL51 9RJ | SH4966042840 | Not Required | SH4965542838 | Not Required | Not Required | SH4963242899 | Not Required | Not Required | SH 49632 42915 | Not Required | SH4963242899 | Not Required | SH 49653 42902 | SH 49632 42915 | SH 49631 42927 | Afon Dwyfor | 2.1 |  | 10mm 2D | TBC
Garnswllt WwTW | BC0006801 | BW1404301 | Not Required | Ffordd Ynys Tawelog | Garnswllt | Swansea | SA18 2RH | SN6180509433 | SN6174609744 | Not Required | SN 62191 09923 | SN 62079 09859 | SN6206709860 | Not Required | Not Required | SN 62071 09857 | SN6204309843 | Not Required | SN 62084 09888 | Not Required | SN 62163 09917 | SN 62177 09917 | River Loughor | 360 |  | 10mm 2D | 2820
Gellilydan WwTW | CG0060501 | CG0369901 | Not Required | A487 | Gellilydan | Gwynedd | LL41 4ER | SH6871040060 | SH6873140054 | Not Required | Not Required | Not Required | SH6873040030 | Not Required | Not Required | SH 68724 40022 | SH6871740025 | Not Required | SH 68694 40015 | Not Required | SH 68724 40022 | SH 68695 40016 | Tributary of the Afon Tafarn Helyg | 3.7 |  | 10mm 2D | 27
Glasbury WwTW | AW1002101 | AN0330101 | Not Required | A438 | Glasbury | Powys | HR3 5NL | SO1800339916 | SO1800339916 | Not Required | Not Required | Not Required | SO1791139553 | Not Required | Not Required | SO 17927 39574 | SO1791039544 | Not Required | SO 17903 39571 | Not Required | SO 17892 39567 | SO 17906 39538 | River Wye | 11 |  | 6mm 2D | 89
Goytre WwTW | AC0116401 | AN0379201 | Not Required | Church Road | Nant-y-derry | Monmouthshire | NP7 9DW | SO3445505405 | SO3445505405 | Not Required | Not Required | Not Required | SO3305405976 | Not Required | Not Required | SO 33056 05793 | SO3304105771 | Not Required | SO 33024 05772 | Not Required | SO 33056 05793 | SO 33024 05772 | River Usk | 11.3 |  | 6mm 2D | 126
Greenfield WwTW | CM0029801 | CG0382601 | Not Required | Dock Road | Greenfield | Hollywell | CH8 9DQ | SJ1994078160 | SJ1994078160 | Not Required | SJ1983077940 | SJ 19864 78080 | SJ 19864 78080 | Not Required | Not Required | SJ 19831 77936 | SJ1985077940 | Not Required | SJ 19840 77923 | Not Required | SJ 19831 77936 | SJ 19827 77932 | Estuarial Waters of the River Dee | 124 |  | 6mm 2D | 892
Gresford WwTW | CM0040601 | CM0040601 | Not Required | Springfield Lane | Gresford | Wrexham | LL12 8RH | SJ3488055780 | SJ3488055780 | Not Required | SJ 34894 55604 | SJ 34884 55778 | SJ 34884 55778 | Not Required | Not Required | SJ 34883 55599 | SJ3489455604 | Not Required | SJ 34891 55579 | Not Required | SJ 34883 55599 | SJ 34902 55615 | River Alyn | 112 |  | 12mm | 643
Llanfarian WwTW | BP0015201 | BP0015204 | Not Required | Antaron Avenue | Llanfarian | Ceredigion | SY23 4BS | SN5917577700 | SN5917577700 | Not Required | Not Required | Not Required | SN5913477651 | Not Required | Not Required | SN 59142 77646 | SN5912777646 | Not Required | SN 59127 77635 | Not Required | SN 59128 77626 | SN 59130 77629 | Afon Ystwyth | 5.7 |  | 6mm 2D | 109
Saundersfoot Works SPS | Not Required | BP0251803 | BP0251801 | Moreton Lane | Saundersfoot | Pembrokeshire | SA69 9EB | not required | SN 14119 04493 & SN 12470 04875 | Not Required | Not Required | Not Required | not required | Not Required | Not Required | Not Required | SN 12473 04895 | Not Required | SN 12470 04892 | Not Required | SN 12523 04892 | SN 12507 04918 | Coastal Waters at Saundersfoot | 48 |  | 6mm 2D | 1800
Treuddyn WwTW | CM0066101 | CG0415601 | Not Required | Ffordd Corwen | Treuddyn | Flintshire | CH7 4LEJ | SJ2566957978 | Not Required | SJ2562258013 | Not Required | Not Required | SJ2561458011 | Not Required | Not Required | SJ 25645 58041 | Not Required | SJ2562058059 | Not Required | SJ 25619 58086 | SJ 25623 58070 | Not Required | Byr Brook via a ditch | 17.7 |  | 6mm 2D | None required
Tywyn WwTW | CG0351401 | CG0351403 | Not Required | Sandilands Road | Tywyn | Gwynedd | LL36 9AU | SH5688001320 | SH5689901334 | Not Required | Not Required | Not Required | SH5720001840 | SH 57200 01860 | SH 57200 01840 | SH 57355 01833 | SH5717701846 | Not Required | SH 57358 01857 | Not Required | SH 57355 01833 | SH 57366 01844 | Costal water of Cardigan Bay | 58 |  | 6mm 2D | 770
Usk WwTW | AB0044801 | AB0044802 | Not Required | Usk Road | Usk | Monmouthshire | NP15 1NB | ST3868099449 | ST3868099449 | Not Required | ST 38932 99552 | ST 38971 99522 | ST3897199522 | Not Required | Not Required | ST 38974 99521 | ST3899299556 | Not Required | ST 38980 99561 | Not Required | ST 38978 99551 | ST 38976 99552 | River Usk | 21 |  | 6mm 2D | 214
Waunfawr WwTW | CG0134001 | CG0134002 | Not Required |  | Waunfawr | Gwynedd | LL55 4AX | SH5280358902 | SH5280358902 | Not Required | Not Required | Not Required | SH5285658972 | Not Required | Not Required | SH 52865 59008 | SH5288358976 | Not Required | SH 52879 58972 | Not Required | SH 52865 59008 | SH 52868 59017 | Afon Gwyrfai | 14.4 |  | 6mm 2D | 100
Whitland WwTW | BL0138501 | BL0138502 | Not Required | Trevaughan Terrace | Trevaughan | Carmarthenshire | SA34 0QL | SN2055516071 | SN2055516071 | Not Required | Not Required | Not Required | SN2048815897 | Not Required | Not Required | SN 20463 15894 | SN2055516071 | Not Required | SN 20474 15855 | Not Required | SN 20435 15844 | SN 20441 15838 | Afon Taf | 29.5 |  | 6mm 2D | 250
Ystradgynlais WwTW | BF0169101 | BW0600901 | Not Required | Wind Road | Ystradgynlais | Swansea | SA9 1AB | SN7742308569 | SN7743508566 | Not Required | SN 77443 08805 | SN 77450 08674 | SN7745008674 | Not Required | Not Required | SN 77458 08677 | SN7755408714 | Not Required | SN 77545 08710 | Not Required | SN 77437 08782 SN 77443 08787 | SN 77477 08827 | River Tawe | 126 |  | 6mm 2D | 2950