[image: image1.jpg]Cyfoeth
Naturiol
Cymru

Natural
Resources
Wales




· 1 -


	Mr. Michael Knott
RSK Environment Ltd

The Old School
Stillhouse Lane

Bedminster

Bristol

BS3 4EB


	Our ref: PAN-020869
Date:
18/05/2023





Dear Mr. Knott
We need more information about your application
Application reference: PAN-020869
Operator: Taylor Wimpey UK Limited
Facility: Taylor Wimpey, Cefn Yr Hendy, Ffordd CefnyrHendy, Miskin, Pontyclun, CF72 8RY
Further to my letter dated 12/05/2023 and our telephone conversation yesterday 17/05/2023 we still require the following information;

Management Plan 

We require a separate concise Management Plan/Operating Technique that is relevant to the proposed discharge found in the application. 

Site Plan

Please provide a simplified site plan (This can be more than one) that is annotated to identify the location of the treatment system (cut-off trenches, screens, silt curtain Siltbuster, lagoons, etc to the discharge point) and the discharge location including the proposed drainage channels and the discharge point on the Afon Clun. (Include in management Plan/Operating Technique)

Discharge Point NGR’s
Please provide the discharge point NGR’s where the proposed drainage channels will meet the Afon Clun. Can you also provide me with the method of mitigation on how you intend to prevent the mobilisation of soil/silt within the drainage channels. (Include in management Plan/Operating Technique). I will also need to have evidence of consent that allows the construction of these drainage channels from the landowner.
Discharge Rate 

Please confirm that the maximum discharge rate will be 132l/s for each of the discharge points. (Include in management Plan/Operating Technique)
Flocculant & Coagulant 

Please provide the information on exactly which flocculant and coagulant is going to be used, the quantities and the location it will be used. (Include in management Plan/Operating Technique)
Site Contamination

Provide an explanation for the claim that it is considered unlikely that hazardous substances or other pollutants will be present in significant concentrations within the discharged water. Also provide details of any proposed self-monitoring of the discharge water for the contaminates. (Include in management Plan/Operating Technique)

Please reply within 10 working days from the date of this letter. If we don’t hear from you we must return your application and fee, if paid.

Due to circumstances outside of our immediate control, the Water Quality Permitting Team continues to experience a high demand for our services. Unfortunately this means that your application is yet to be allocated to a Permitting Officer. Please be assured that when an officer becomes available, you will be contacted and we will endeavour to determine your application in an efficient manner.

If you email or write to us please quote the application reference PAN-020869 on any correspondence and send it to the email address below.

Please send your replies to waterquality.permitting@cyfoethnaturiolcymru.gov.uk
Yours sincerely

Steve
Permitting Officer, Water Quality

Ffôn/Tel

0300 065 3000
Ebost/Email
waterquality.permitting@cyfoethnaturiolcymru.gov.uk
Canolfan Trwyddedu Cymru (Caerdydd), Cyfoeth Naturiol Cymru, Tŷ Cambria, 29 Heol Casnewydd, Caerdydd. CF24 0TP

Wales Permitting Centre (Cardiff), Natural Resources Wales, Cambria House, 29 Newport Road, Cardiff. CF24 0TP

Gwefan/Website
www.cyfoethnaturiolcymru.gov.uk 

Croesewir gohebiaeth yn y Gymraeg a'r Saesneg

www.naturalresourceswales.gov.uk

Correspondence welcomed in Welsh and English
PAGE  
2 IF  "" = "" "" "

Cont/d.."

Cont/d..

c:\documents and settings\enewett\local settings\temporary internet files\olkce\203_08_sd08 more info may 11 (2).doc

[image: image1.jpg]