[image: image1.png]Cyfoeth
Naturiol
Cymru

Natural
Resources
Wales



Fire prevention
Permit with introductory note

The Environmental Permitting (England & Wales) Regulations 2016
Telecycle Europe Limited
Unit 15 Drome Road

Deeside Industrial Park

Deeside 

CH5 2NY
Permit number

EPR/CB3896ZW
Unit 15 Drome Road
Permit number EPR/CB3896ZW
Introductory note

This introductory note does not form a part of the permit

The main features of the permit are as follows.
This is a Tier 3 bespoke permit for a hazardous and non-hazardous WEEE and catalytic converter treatment facility 

Treatment operations are limited to manual:

· sorting and/or separation, dismantling, shearing, and bulking up for onwards transfer of permitted waste (16 01 21* and 16 01 22- catalytic converters) for the purpose of recovery only. 

· sorting and/or separation, dismantling, and bulking up for onwards transfer of permitted waste (IT and telecommunications equipment and consumer equipment WEEE only) for the purpose of recovery only. 

· sorting and/or separation, and bulking up for onwards transfer of permitted waste (WEEE consisting of pre-segregated printed circuit boards only) for the purpose of recovery only.

Permitted waste types are catalytic converters, and waste electronic and electrical equipment (WEEE).

The maximum quantity of waste accepted and processed on site shall not exceed 2,499 tonnes per year.

Relevant storage and treatment capacity thresholds have been included in the permit to reflect the legal waste facility operational limits; above which, the site would be operating as an Industrial Emissions Directive installation. (See Table S1.1 for relevant limits.)

This permit does not allow any point source emission into surface waters or groundwater except clean, rainfall dependant drainage from areas of the site not used in connection with the storage and/or treatment of waste. There are to be no emissions to surface and/or groundwater from the buildings on site.

All emissions from the activity which are not controlled via actual emission limits, are controlled through the ‘emission of substances not controlled by emission limits condition’ and any relevant process requirements set out in Tables S1.1 and S1.2.

The burning of any wastes, either in the open, inside buildings or in any form of incinerator is not permitted

The status log of the permit sets out the permitting history, including any changes to the permit reference number.
	Status log of the permit

	Description
	Date
	Comments

	Application EPR/CB3896ZW/A001
	Duly made 21/03/23
	Application for hazardous and non-hazardous WEEE and catalytic converter treatment facility

	Additional information received
	26/05/23
	Consisting of: 

· K419.1~04~004 Notice requiring further info - Response 2023 05 24
· K419.1~09~003 Fire Prevention Plan v4 2023 05 24
· K419.1~09~004 Management System Summary v4 2023 05 24
· K419.1~20~004 Site Layout Plan Final Rev E 2023 05 24

	
	05/06/23
	Consisting of: 

· K419.1~09~003 Fire Prevention Plan I5 Final 2023 06 05

	Permit determined
	13/06/23
	Permit issued to Telecycle Europe Limited.


End of introductory note

	Permit


The Environmental Permitting (England and Wales) Regulations 2016
Permit number 

EPR/CB3896ZW
The Natural Resources Body for Wales (“Natural Resources Wales”) authorises, under regulation 13 of the Environmental Permitting (England and Wales) Regulations 2016 
Telecycle Europe Limited (“the operator”),
whose registered office is
Unit 15 Drome Road

Deeside Industrial Park

Deeside

England

CH5 2NY

company registration number 09315939 
to operate waste operations at

Unit 15 Drome Road

Deeside Industrial Park

Deeside 

CH5 2NY

to the extent authorised by and subject to the conditions of this permit.

	Name
	Date

	Huw Davies
	13/06/2023


Authorised on behalf of Natural Resources Wales
Conditions 
1 Management
1.1 General management

1.1.1 The operator shall manage and operate the activities:

(a) in accordance with a written management system that identifies and minimises risks of pollution, including those arising from operations, maintenance, accidents, incidents, non-conformances, closure and those drawn to the attention of the operator as a result of complaints; and

(b) using sufficient competent persons and resources.

1.1.2 Records demonstrating compliance with condition 1.1.1 shall be maintained. 

1.1.3 Any person having duties that are or may be affected by the matters set out in this permit shall have convenient access to a copy of it.
1.1.4 The operator shall comply with the requirements of an approved competence scheme.

1.2 Avoidance, recovery and disposal of wastes produced by the activities
1.2.1 The operator shall take appropriate measures to ensure that:

(a) the waste hierarchy referred to in Article 4 of the Waste Framework Directive is applied to the generation of waste by the activities; and

(b) any waste generated by the activities is treated in accordance with the waste hierarchy referred to in Article 4 of the Waste Framework Directive; and

(c) where disposal is necessary, this is undertaken in a manner which minimises its impact on the environment.

1.2.2 The operator shall review and record at least every four years whether changes to those measures should be made and take any further appropriate measures identified by a review.
2
Operations
2.1
Permitted activities

2.1.1
The operator is only authorised to carry out the activities specified in schedule 1 table S1.1 (the “activities”).
2.2
The site 

2.2.1
The activities shall not extend beyond the site, being the land shown edged in green on the site plan at schedule 7 to this permit.

2.3
Operating techniques

2.3.1
(a) 
The activities shall, subject to the conditions of this permit, be operated using the 


techniques and in the manner described in the documentation specified in 
schedule 1, table S1.2, unless otherwise agreed in writing by Natural Resources Wales.


(b)
If notified by Natural Resources Wales that the activities are giving rise to pollution, the operator shall submit to Natural Resources Wales for approval within the period specified, a revision of any plan or other documentation (“plan”) specified in schedule 1, table S1.2 or otherwise required under this permit which identifies and minimises the risks of pollution relevant to that plan , and shall implement the approved revised plan in place of the original from the date of approval, unless otherwise agreed in writing by Natural Resources Wales.
2.3.2
Waste shall only be accepted if:

(a)
it is of a type and quantity listed in schedule 2 table(s) S2.1 [, S2.2 etc.]; and 

(b)
it conforms to the description in the documentation supplied by the producer and holder.

2.4
Technical requirements



WEEE treatment

2.4.1 The storage (including temporary storage) and treatment of WEEE shall be carried out in accordance with the technical requirements of Annex VIII of the WEEE Directive.

2.4.2 WEEE shall be treated using best available treatment, recovery and recycling techniques (BATRRT).

2.4.3 As a minimum, the substances, preparations and components specified in table 2.4 shall be removed from any separately collected WEEE.

	Table 2.4 Substances, preparations and components to be removed from separately collected WEEE

	· Capacitors containing Polychlorinated biphenyls (PCB) 

· Mercury-containing components, such as switches or backlighting lamps

· Batteries

· Printed circuit boards of mobile phones generally, and of other devices if the surface of the printed circuit board is greater than 10 square centimetres

· Toner cartridges, liquid and pasty, as well as colour toner

· Plastic containing brominated flame retardants

· Asbestos waste and components which contain asbestos

· Cathode ray tubes

· Chlorofluorocarbons (CFC), hydrochlorofluorocarbons (HCFC), hydrofluorocarbons (HFC), or hydrocarbons (HC)

· Gas discharge lamps

· Liquid crystal displays (together with their casing where appropriate) of a surface greater than 100 square centimetres and all those back-lighted with gas discharge lamps

· External electric cables

· Components containing refractory ceramic fibres

· Components containing radioactive substances with the exception of components that are below the exemption thresholds set in Article 3 of and the Annex I to Council Directive 96/29/Euratom of 13 May 1996 laying down basic safety standards for the protection of the health of workers and the general public against the dangers arising from ionising radiation

· Electrolytic capacitors containing “substances of concern” (height > 25mm, diameter > 25 mm or proportionately similar volume)


2.4.4 All fluids contained within any WEEE shall be removed prior to further treatment.

2.4.5 Separately collected components of WEEE specified in table 2.5 shall be treated in accordance with the methods specified in that table.

	Table 2.5 Specified Treatment Methods for separately collected components of WEEE

	Component
	Specified Treatment

	Cathode ray tubes
	The fluorescent coating shall be removed.


2.4.6
Equipment shall be provided to record the weight of untreated WEEE accepted at, and components and materials leaving the site.



Hazardous waste storage and treatment

2.4.7
Hazardous waste shall not be mixed, either with a different category of hazardous waste or with other waste, substances or materials, unless it is authorised by schedule 1 table S1.1 and appropriate measures are taken.

3
Emissions and monitoring
3.1
Emissions of substances not controlled by emission limits
3.1.1
Emissions of substances not controlled by emission limits (excluding odour) shall not cause pollution. The operator shall not be taken to have breached this condition if appropriate measures, including, but not limited to, those specified in any approved emissions management plan, have been taken to prevent or where that is not practicable, to minimise, those emissions.

3.1.2
The operator shall:

(a)
if notified by Natural Resources Wales that the activities are giving rise to pollution, submit to Natural Resources Wales for approval within the period specified, an emissions management plan which identifies and minimises the risks of pollution from emissions of substances not controlled by emission limits;

(b)
implement the approved emissions management plan, from the date of approval, unless otherwise agreed in writing by Natural Resources Wales.

3.2
Odour

3.2.1
Emissions from the activities shall be free from odour at levels likely to cause pollution outside the site, as perceived by an authorised officer of Natural Resources Wales, unless the operator has used appropriate measures, including, but not limited to, those specified in any approved odour management plan, to prevent or where that is not practicable to minimise the odour. 

3.2.2
The operator shall:

(a)
if notified by Natural Resources Wales that the activities are giving rise to pollution outside the site due to odour, submit to Natural Resources Wales for approval within the period specified, an odour management plan which identifies and minimises the risks of pollution from odour;

(b)
implement the approved odour management plan, from the date of approval, unless otherwise agreed in writing by Natural Resources Wales.
3.3
Noise and vibration
3.3.1
Emissions from the activities shall be free from noise and vibration at levels likely to cause pollution outside the site, as perceived by an authorised officer of Natural Resources Wales, unless the operator has used appropriate measures, including, but not limited to, those specified in any approved noise and vibration management plan to prevent or where that is not practicable to minimise the noise and vibration.

3.3.2
The operator shall:

(a)
if notified by Natural Resources Wales that the activities are giving rise to pollution outside the site due to noise and vibration, submit to Natural Resources Wales for approval within the period specified, a noise and vibration management plan which identifies and minimises the risks of pollution from noise and vibration;

(b)
implement the approved noise and vibration management plan, from the date of approval, unless otherwise agreed in writing by Natural Resources Wales.
3.4
Fire

3.4.1
The operator shall manage and operate the activities in accordance with a written fire prevention and mitigation plan using the current, relevant fire prevention and mitigation plan guidance.

3.4.2
The operator shall:

(a) 
if notified by Natural Resources Wales that the activities could cause a fire risk, submit to Natural Resources Wales a fire prevention and mitigation plan which identifies and minimises the risks of fire;

(b)
Operate the activity in accordance with the fire prevention and mitigation plan, from the date of submission, unless otherwise agreed in writing by Natural Resources Wales.

4
Information

4.1
Records
4.1.1 All records required to be made by this permit shall:

(a) be legible;

(b) be made as soon as reasonably practicable;

(c) if amended, be amended in such a way that the original and any subsequent amendments remain legible, or are capable of retrieval; and
(d) be retained, unless otherwise agreed in writing by Natural Resources Wales, for at least 6 years from the date when the records were made, or in the case of the following records until permit surrender:

(i) off-site environmental effects; and
(ii) matters which affect the condition of the land and groundwater.

4.1.2 The operator shall keep on site all records, plans and the management system required to be maintained by this permit, unless otherwise agreed in writing by Natural Resources Wales. 

4.2
Reporting
4.2.1
The operator shall send all reports and notifications required by the permit to Natural Resources Wales using the contact details supplied in writing by Natural Resources Wales.
4.2.2
Within one month of the end of each year, the operator shall submit to Natural Resources Wales 
using the form made available for the purpose, the information specified on the form relating to 
the site and the waste accepted and removed from it during the previous year.

4.3
Notifications
4.3.1
Natural 
Resources Wales shall be notified without delay following the detection of:

(a) any malfunction, breakdown or failure of equipment or techniques, accident, or emission of a substance not controlled by an emission limit which has caused, is causing or may cause significant pollution;

(b) the breach of a limit specified in the permit; or any significant adverse environmental effects.
(c) any significant adverse environmental effects. 
4.3.2
Any information provided under condition 4.3.1 shall be confirmed by sending the information listed in schedule 5 to this permit within the time period specified in that schedule.

4.3.3
Where Natural Resources Wales has requested in writing that it shall be notified when the operator is to undertake monitoring and/or spot sampling, the operator shall inform Natural Resources Wales when the relevant monitoring and/or spot sampling is to take place. The operator shall provide this information to Natural Resources Wales at least 14 days before the date the monitoring is to be undertaken.

4.3.4
Natural Resources Wales shall be notified within 14 days of the occurrence of the following matters, except where such disclosure is prohibited by Stock Exchange rules: 

Where the operator is a registered company:

(a) any change in the operator’s trading name, registered name or registered office address; and
(b)
any steps taken with a view to the operator going into administration, entering into a company voluntary arrangement or being wound up.

Where the operator is a corporate body other than a registered company:

(a) any change in the operator’s name or address; and

(b) any steps taken with a view to the dissolution of the operator.



In any other case: 

(a) the death of any of the named operators (where the operator consists of more than one named individual);

(b) any change in the operator’s name(s) or address(es); and

(c) any steps taken with a view to the operator, or any one of them, going into bankruptcy, entering into a composition or arrangement with creditors, or, in the case of them being in a partnership, dissolving the partnership.

4.3.5
Where the operator proposes to make a change in the nature or functioning, or an extension of the activities, which may have consequences for the environment and the change is not otherwise the subject of an application for approval under the Regulations or this permit:

(a) Natural Resources Wales shall be notified at least 14 days before making the change; and

(b) the notification shall contain a description of the proposed change in operation.

4.4
Interpretation
4.4.1
In this permit the expressions listed in schedule 6 shall have the meaning given in that schedule.
4.4.2
In this permit references to reports and notifications mean written reports and notifications, except where reference is made to notification being made “without delay”, in which case it may be provided by telephone. 

Schedule 1 - Operations

	Table S1.1 activities 

	Activity reference
	Description of activities for waste operations
	Limits of activities

	A1-

hazardous and non-hazardous WEEE and catalytic converter treatment facility
	R13: Storage of waste pending any of the operations numbered R1 to R12 (excluding temporary storage, pending collection, on the site where it is produced)

R3: Recycling/ reclamation of organic substances which are not used as solvents 

R4: Recycling/ reclamation of metals and metal compounds

R5: Recycling/ reclamation of other inorganic compounds
	All hazardous and non-hazardous waste must be stored on an impermeable surface with sealed drainage.
Only clean, uncontaminated ferrous metals may be stored outside within an enclosed, lockable 8 yard skip.
All hazardous and non-hazardous waste must be treated on an impermeable surface with sealed drainage within a building.

The maximum quantity of hazardous waste that can be stored at the site in total for recovery or disposal, (excluding end of life vehicles and/or waste electrical and electronic equipment stored pending manual dismantling, repair or refurbishment), shall not exceed 50 tonnes at any one time.

Treatment operations shall be limited to manual: 

· sorting and/or separation

· dismantling

· shearing 

· bulking up for onwards transfer

of permitted waste (16 01 21* and 16 01 22- catalytic converters only) for the purpose of recovery only. 

Treatment operations shall be limited to manual: 

· sorting and/or separation

· dismantling 

· bulking up for onwards transfer

of permitted waste (IT and telecommunications equipment and consumer equipment WEEE only) for the purpose of recovery only. 

Treatment operations shall be limited to manual: 

· sorting and/or separation

· bulking up for onwards transfer

of permitted waste (WEEE consisting of pre-segregated printed circuit boards only) for the purpose of recovery only.

Waste types as specified in Table S2.1.




	Table S1.2 Operating techniques

	Description
	Parts
	Date Received

	Technical Guidance Document: ‘How to comply with your environmental permit’
	All relevant sections
	N/A

	Sector Guidance Note IPPC S5.06: Guidance for the Recovery and Disposal of Hazardous and Non Hazardous Waste
	All relevant sections
	N/A

	Fire prevention and mitigation plan guidance - Waste Management
	All relevant sections
	N/A

	Application
	Environmental Risk Assessment

Document reference: K419.1~09~005 ERA 02 2023 01 13
Sections:

· 3.1 Waste Acceptance
· 3.2.1 Shearing of catalytic converters
· 3.2.2 Removal of Refractory Ceramic Fibre (RCF) matting
· 3.2.3 Manual dismantling of WEEE
· ERA8: FUGITIVE EMISSIONS – TO AIR – ODOUR, DUST AND PARTICULATE MATTER- Risk management methods

· ERA11: FUGITIVE EMISSION – TO WATER- Risk management methods
	14/03/23

	Response to Schedule 5 Notice dated 17/05/23
	Environment Management System

Document ref: K419.1~09~004 Management System Summary v4 2023 05 24
Sections:

· 6.1 Pre-acceptance procedure

· 6.3 Reception

· 6.4 Handling & Storage

· 7.1 Shearing of Catalytic Converters

· 7.2 Removal of Refractory Ceramic Fibre (RCF) matting

· 7.3 Manual dismantling of WEEE

· 14.3 Dust Control
	26/05/23

	
	Fire Prevention and Mitigation plan 
Document reference: K419.1~09~003 Fire Prevention Plan I5 Final 2023 06 05
Sections:

· all
	05/06/23


Schedule 2 - Waste types, raw materials and fuels

	Table S2.1 Permitted waste types and quantities for hazardous and non-hazardous WEEE and catalytic converter treatment facility

	Maximum quantity
	The maximum quantity of waste to be accepted on site shall not exceed 2,499 tonnes per year.

	Exclusions
	Notwithstanding the waste types set out in this table, wastes having any of the following characteristics shall not be accepted:

· consisting solely or mainly of dusts, powders or loose fibres

· sludges
· odorous or odour producing
· wastes containing polychlorinated biphenyls, CFC, HCFC or HFC, free asbestos
· fluorescent tubes and other mercury containing waste

	Waste code
	Description

	16
	WASTES NOT OTHERWISE SPECIFIED IN THE LIST

	16 01
	end-of-life vehicles from different means of transport (including off-road machinery) and wastes from dismantling of end-of-life vehicles and vehicle maintenance (except 13, 14, 16 06 and 16 08)

	16 01 21*
	hazardous components other than those mentioned in 16 01 07 to 16 01 11 and 16 01 13 and 16 01 14 consisting of catalytic converters containing refractory ceramic fibre (RCF) matting only

	16 01 22
	components not otherwise specified consisting of catalytic converters only

	16 02
	wastes from electrical and electronic equipment

	16 02 13*
	discarded equipment containing hazardous components other than those mentioned in 16 02 09 to 16 02 12 consisting of IT and telecommunications equipment and consumer equipment WEEE only

	16 02 14
	discarded equipment other than those mentioned in 16 02 09 to 16 02 13 consisting of IT and telecommunications equipment and consumer equipment WEEE only

	16 02 15*
	hazardous components removed from discarded equipment consisting of printed circuit boards only

	16 02 16
	components removed from discarded equipment other than those mentioned in 16 02 15

	20
	MUNICIPAL WASTES (HOUSEHOLD WASTE AND SIMILAR COMMERCIAL, INDUSTRIAL AND INSTITUTIONAL WASTES) INCLUDING SEPARATELY COLLECTED FRACTIONS

	20 01
	separately collected fractions (except 15 01)

	20 01 35*
	discarded electrical and electronic equipment other than those mentioned in 20 01 21 and 20 01 23 containing hazardous components consisting of IT and telecommunications equipment and consumer equipment WEEE only 

	20 01 36
	discarded electrical and electronic equipment other than those mentioned in 20 01 21, 20 01 23 and 20 01 35


Schedule 3 – Emissions and monitoring

There are no emission limits or associated monitoring requirements.

Schedule 4 - Reporting

There is no reporting under this schedule.

Schedule 5 - Notification
These pages outline the information that the operator must provide.
Units of measurement used in information supplied under Part A and B requirements shall be appropriate to the circumstances of the emission. Where appropriate, a comparison should be made of actual emissions and authorised emission limits.

If any information is considered commercially confidential, it should be separated from non-confidential information, supplied on a separate sheet and accompanied by an application for commercial confidentiality under the provisions of the EP Regulations.
Part A
	Permit Number
	

	Name of operator
	

	Location of Facility
	

	Time and date of the detection 
	


	(a) Notification requirements for any malfunction, breakdown or failure of equipment or techniques, accident, or emission of a substance not controlled by an emission limit which has caused, is causing or may cause significant pollution

	To be notified within 24 hours of detection

	Date and time of the event
	

	Reference or description of the location of the event 
	

	Description of where any release into the environment took place
	

	Substances(s) potentially released
	

	Best estimate of the quantity or rate of release of substances
	

	Measures taken, or intended to be taken, to stop any emission
	

	Description of the failure or accident.
	


	(b) Notification requirements for the breach of a limit

	To be notified within 24 hours of detection unless otherwise specified below

	Emission point reference/ source
	

	Parameter(s)
	

	Limit
	

	Measured value and uncertainty
	

	Date and time of monitoring
	

	Measures taken, or intended to be taken, to stop the emission
	


	Time periods for notification following detection of a breach of a limit

	Parameter
	Notification period

	
	

	
	

	
	


	(c) Notification requirements for the detection of any significant adverse environmental effect

	To be notified within 24 hours of detection

	Description of where the effect on the environment was detected
	

	Substances(s) detected
	

	Concentrations of substances detected
	

	Date of monitoring/sampling
	


Part B - to be submitted as soon as practicable
	Any more accurate information on the matters for notification under Part A.
	

	Measures taken, or intended to be taken, to prevent a recurrence of the incident
	

	Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment which has been or may be caused by the emission
	

	The dates of any unauthorised emissions from the facility in the preceding 24 months.
	


	Name*
	

	Post
	

	Signature
	

	Date
	


* authorised to sign on behalf of the operator

Schedule 6 - Interpretation 

“accident” means an accident that may result in pollution.
“Annex II” means Annex II to Directive 2008/98/EC of the European Parliament and of the Council on waste.
“application” means the application for this permit, together with any additional information supplied by the operator as part of the application and any response to a notice served under Schedule 5 to the EP Regulations.

“authorised officer” means any person authorised by Natural Resources Wales under section 108(1) of The Environment Act 1995 to exercise, in accordance with the terms of any such authorisation, any power specified in section 108(4) of that Act.

“best available treatment, recovery and recycling techniques” shall have the meaning given to it in the document published jointly by the Department for Environment, Food and Rural Affairs, the Welsh Assembly Government and the Scottish Executive on 27th November 2006, entitled “Guidance on Best Available Treatment, Recovery and Recycling Techniques (BATRRT) and Treatment of Waste Electrical and Electronic Equipment (WEEE).

“building” means a construction that has the objective of providing sheltering cover and minimising emissions of noise, particulate matter, odour and litter.

“controlled substances” means chlorofluorocarbons, other fully halogenated chlorofluorocarbons, halons, carbon tetrachloride, 1,1,1-trichloroethane, methyl bromide, hydrobromofluorocarbons and hydrochlorofluorocarbons listed in Annex I of Regulation (EC) No 2037/2000 of the European Parliament and of the Council of 29 June 2000 on substances that deplete the ozone layer, including their isomers, whether alone or in a mixture, and whether they are virgin, recovered, recycled or reclaimed. This definition shall not cover any controlled substance which is in a manufactured product other than a container used for the transportation or storage of that substance, or insignificant quantities of any controlled substance, originating from inadvertent or coincidental production during a manufacturing process, from unreacted feedstock, or from use as a processing agent which is present in chemical substances as trace impurities, or that is emitted during product manufacture or handling.
“emissions to land” includes emissions to groundwater.
“emissions of substances not controlled by emission limits” means emissions of substances to air, water or land from the activities, either from the emission points specified in schedule 3 or from other localised or diffuse sources, which are not controlled by an emission or background concentration limit.
“EP Regulations” means The Environmental Permitting (England and Wales) Regulations SI 2016 No.1154 and words and expressions used in this permit which are also used in the Regulations have the same meanings as in those Regulations.

“groundwater” means all water, which is below the surface of the ground in the saturation zone and in direct contact with the ground or subsoil.

“groundwater protection zones 1 and 2” have the meaning given in the document titled "Groundwater Protection: Policy and Practice" published by the Environment Agency in 2006.

“hazardous property” has the meaning in Annex lll of the Waste Framework Directive  

“hazardous substance” means a substance classified as hazardous as a consequence of fulfilling the criteria laid down in parts 2 to 5 of Annex I to Regulation (EC) No 1272/2008

“hazardous waste” has the meaning given in the Hazardous Waste (Wales) Regulations 2005 (as amended)
“impermeable surface” means a surface or pavement constructed and maintained to a standard sufficient to prevent the transmission of liquids beyond the surface.

“ozone-depleting substances” “ODS” means “controlled substances” contained in refrigeration, air-conditioning and heat pump equipment, equipment containing solvents, fire protection systems and fire extinguishers.

“quarter” means a calendar year quarter commencing on 1 January, 1 April, 1 July or 1 October.

“R” means a recovery operation provided for in Annex II to Directive 2008/98/EC of the European Parliament and of the Council on waste. 
“waste code” means the six digit code referable to a type of waste in accordance with the list of wastes established by Commission Decision 2000/532/EC as amended from time to time (the ‘List of Wastes Decision’) and in relation to hazardous waste, includes the asterisk.

“Waste Framework Directive” or “WFD” means Waste Framework Directive 2008/98/EC of the European Parliament and of the Council on waste.
“WEEE” means waste electrical and electronic equipment.

“WEEE Directive” means Directive 2012/19/EU of the European Parliament and of the Council of 4th July 2012 on waste electrical and electronic equipment (WEEE).

“year” means calendar year ending 31 December.
  Schedule 7 - Site plan

[image: image2.png]



END OF PERMIT
Permit Number EPR/CB3896ZW
Page 4
Issue Date: 13 June 2023
PAGE  
Permit Number EPR/CB3896ZW
Page 1
Issue Date: 13 June 2023

