Please note – this document is purely to assist you in making your decision and may not necessarily cover all information you require.

| Deployment Details |  |
| --- | --- |
| Deployment Reference Number: | PAN-021833 |
| Permit Reference Number: | EPR/AB3107SF |
| Permit Holder: | John F Hunt Regeneration Ltd. |
| Site Address: | Shotton Papermill, Weighbridge Road, Shotton, Deeside, CH5 2LL |
| Grid Reference: | SJ 30592 71611 |

| Administrative Checks- By admin officer |  |  |
| --- | --- | --- |
|  | Comments |  |
| Consultation | Waste reg team: WasteReg.NE@cyfoethnaturiolcymru.gov.uk Environment team: WrexhamFlintshireEnvironmentTeam@cyfoethnaturiolcymru.gov.uk NLO: Not Allocated Land/groundwater remediation only: Geoscience: geoscience@cyfoethnaturiolcymru.gov.uk Local Authority Contaminated Land: pollution.control@flintshire.gov.uk |  |
| Date due: | 09/05/2023 |  |
| Permit compliance rating and multiplier |  | None given at time of determination |

| Administrative Checks- By determining officer |  |  |
| --- | --- | --- |
|  | Action completed or document provided? (Yes, No or n/a) | Comments |
| Correct fee? | Y | See permit compliance rating and multiplier |
| Original fee received and cleared | Y | Amount: £2541 Date cleared on MyNRW: 21/04/2023 Transaction number: 2114518 |
| Additional fee received and cleared | n/a |  |
| MyMap report completed? | Y |  |
| Location map | Y |  |
| Site Specific Risk Assessment | Y |  |

Word versions of online forms - NRW View (sharepoint.com)

| # About your permit | Y N n/a | Comments |
| --- | --- | --- |
| # What permit is being deployed under? | # - SR2008 No27 |  |
| # Has the permit number been given? | # Y | # EPR/AB3107SF |
| # Is the base permit still live? | # Y | # EA permit. EA contacted on 30/05/23 to ask for a copy of the permit. |
| # Has there been any variations | # Y | # None noted on EA public register but one admin variation provided upon request. |
| # Has name and address of permit holder been provided? | # Y |  |
| # Has contact information been provided? | # Y |  |

| # Deployment details | Y N n/a | Comments |
| --- | --- | --- |
| # Have we been consulted on, and agreed to, the Conceptual Site Model/Risk Assessment/Remediation Strategy? | # N | # CSM has gone through Planning with Flintshire Council |
| # If yes, have references and contact information been provided? | # n/a |  |
| # If yes, has there been any changes? | # n/a |  |
| # Document uploaded? | # n/a |  |
| # Does the applicant want this application to be assessed without having remediation targets pre-agreed by us? | # Y |  |
| # Has there been any other pre-application advice? | # N | # No record of pre-app on DMS |
| # If yes, have references and contact information been provided? | # n/a |  |

| # About the site | Y N n/a | Comments |
| --- | --- | --- |
| # The site name, address, NGR given? | # Y | # CH5 2LL |
| # Does the site address and 12 digit grid reference match? | # Y | # SJ 30592 71611 |
| # Is the site located within the boundary of another Environmental Permit? | # Y |  |
| # If yes, please provide details below: | # Y | # EPR/BT48851T # Installation permit |
| # Site plan provided? | # Y |  |
| # Has there been an approved deployment in the same area within the last 12 months? | # N | # Not answered but none present on MyMap searches or our records |
| # Does it include the following? - Operating boundary - Security and access arrangements - Areas of waste soils and contaminated material, substances or products for remediation by the mobile plant - Location/siting of principal plant and equipment - Process, treatment, storage, and quarantine areas - Drainage systems - Location of boundary monitoring points and pollution control units - Potential receptors (i.e. housing, watercourses etc.) - Protected sites (if applicable i.e. SAC, SPA, Ramsar or SSSI within 1km) | # 1. Y # 2. Y # 3. N # 4. Y # 5. N # 6. N # 7. Y # 8. Y # 9. Y | # 3. Area for stockpiling “processed and raw feed” only # 5. No quarantine area # 6. Drainage system not clearly marked |

| # Waste types and quantities | Y N n/a | Comments |
| --- | --- | --- |
| # Has the waste types, quantities etc and treatment types been provided? | # Y |  |
| # Are the waste types and quantities from specified in the operator’s permit? | # Y |  |
| # Has the document been uploaded? | # Y | # Copy of the old application form. # Deployment.pdf |

| # Specified activities to be carried out on site | Y N n/a | Comments |
| --- | --- | --- |
| # Has details on suitability of treatment methods been provided? | # N | # Chem ox process not explained |
| # Has the operator told us which treatment technology they will use? | # Y |  |
| # Are all of the proposed treatment technologies listed in the operator’s permit? | # Y |  |
| # Is the treatment technology fit for purpose? | # ? | # More information required |
| # Has details on residual materials/waste been provided? | # Y |  |
| # Are we satisfied that these will be handled appropriately? | # Y |  |
| # Has details on quarantine facilities been provided? | # Y |  |
| # Are we satisfied the maximum capacities of the quarantine facilities are suitable to prevent or minimise pollution? | # Y |  |
| # Have the locations of the quarantine facilities been included on the site plan? | # N |  |
| # Has the document been uploaded? | # Y |  |

| # Activities involving the import of waste | Y N n/a | Comments |
| --- | --- | --- |
| # Will the activity involve the import of wastes? | # N |  |
| # Does the site form part of a Cluster project? * | # N |  |
| # Has waste acceptance information been provided? | # Y |  |
| # Has the document been uploaded? | # Y | # Deployment.pdf |

| # Duration of this deployment | Y N n/a | Comments |
| --- | --- | --- |
| # Is the duration of the deployment 12 months or less? | # Y |  |

| # Management supervision | Y N n/a | Comments |
| --- | --- | --- |
| # Has the technically competent manager details been provided? | # Y |  |
| # Has the nominated competent person details been provided? | # Y |  |
| # Has the site supervision plan been provided? | # Y | # Minimal – monthly visits will be undertaken when the water treatment plant is operational |
| # Is the site supervision plan appropriate? | # N | # Must be attended weekly with a minimum of 20% site attendange (page 39 of our “How to Comply” guidance) # MPP2 guidance states minimum of 1 hour a week. |
| # Has the document been uploaded? | # N |  |

| # Conceptual site model and risk assessment | Y N n/a | Comments |
| --- | --- | --- |
| # Has the conceptual site model (CSM)/risk assessment been provided? | # Y |  |
| # Has the document been uploaded? | # Y | # Deployment.pdf, information on page 9 |

| # Pollution control | Y N n/a | Comments |
| --- | --- | --- |
| # Have the pollution control measures been provided? | # Y |  |
| # Has the document been uploaded? | # Y | # Deployment.pdf |

| # Emission monitoring plans | Y N n/a | Comments |
| --- | --- | --- |
| # Has the site specific monitoring plan been provided? # The following may be applicable: - Groundwater - Surface water - Soil gases - Air emissions - Noise - Vibrations - Odour - Volatile Organic Compounds | # Y | # For noise, surface water, groundwater, dust and VOCs |
| # Have the indicator parameters been provided? | # Y |  |
| # Has the document been uploaded? | # Y | # Deployment.pdf |

| # Record Keeping - Commissioning, operating and maintenance | Y N n/a | Comments |
| --- | --- | --- |
| # Details of record keeping given? | # Y |  |
| # Document uploaded? | # Y | # Deployment.pdf |

| # Supporting documents | Y N n/a | Comments |
| --- | --- | --- |
| Have relevant documents been ticked and supplied? - Site plan showing all required features - Conceptual Site Model and Risk Assessment - Pollution Control - Monitoring Plans - Record Keeping details | # 1. N # 2. Y # 3. Y # 4. Y # 5. Y | # Not been ticked but have been supplied. |

| # Confidentiality and national security | Y N n/a | Comments |
| --- | --- | --- |
| # Has confidentially been claimed? | # N |  |
| # Has national security been claimed? | # N |  |

| # Declaration | Y N n/a | Comments |
| --- | --- | --- |
| If signing on behalf of a relevant person, has written confirmation from a relevant person been given? | # Y | # Ticked no but it has been signed on behalf of a relevant person. Authorisation has been provided. |
| Has the operator confirmed they will comply with the conditions of the rule set? | # Y |  |
| # Has a relevant person or approved person signed the declaration? | # Y |  |

| Site specific risk assessment | Y N n/a | Comments |
| --- | --- | --- |
| If there are other potential sensitive receptors has a site specific risk assessment been submitted? | Y | Does not reference the nearby protected sites - RFI All within CSM |
| Does the site specific risk assessment identify all potential? |  |  |
| - Sources of pollution or hazards | Y |  |
| - Pathways | Y |  |
| - Receptors that can be affected by that source of pollution | Y |  |
| - Measures that will minimise or mitigate the impact will be put in place | Y |  |

| SSSI/ Appendix 4 assessment | Y N n/a | Comments |
| --- | --- | --- |
| Is the site within 1 km of a SSSI? - If yes, the complete an Appendix 4 CroW assessment. | Y |  |
| Has a “likely significant effect” been identified? - If yes, consult with the relevant NRM team. - If no, save the Appendix 4 to the DMS as “information only” | N |  |

| Natura 2000 or Ramsar site/ Habitat Regulation Assessment | Comments |
| --- | --- |
| Is the site within 1 km of a Natura 2000 (SPA, pSPA, SAC or cSAC) or a Ramsar site? | Yes |
| Assessment of Likely Significant Effect: The project has been screened for likelihood of significant effects and, taking account of the advice received from protected sites advisors, is considered not likely to have a significant effect on any Natura 2000/Ramsar site (As documented in section 3.2 of OGN 200 form 1, or section 5 if applicable) . |  |

Comments

Consultation responses: - Comment from conservation officer regarding ensuring an HRA assessment is undertaken - Comment from water framework directive officer to ensure works are carried out without causing pollution to groundwater or silt pollution to surface water.

MyMap and location assessment:

Request for information: Request for information sent 05/06/2023 - Confirmation on volume of water intended to be abstracted per day to confirm if an abstraction license is required. 20m3 or less shall be abstracted per day, below abstraction license limits. - Provide details on the bioremediation process. Have given explanation on how the materials will be removed in order to be remediated but have not given explanation of the remediation process itself e.g. how the contaminatnts will be removed from the excavated materials. Accept that the chem-ox process is appropriate for the proposed activity and will be suitably carried out. - Provide details of the discharge permit. Provided – permit number EPR/BT4885IT. - Confirm where the activity of “excavation and off-site disposal” of Naptha Impacted Soils will take place, the EWC codes this activity falls under, the quantities intended to be removed, and any treatment required prior to disposal. Not an activity that requires remediation information as does not fall within the remit of the permit. - Update the site plan to include areas of waste soils and contaminated material, any and all drainage systems on site (if applicable) and the location of the quarantine area. Provided. - Update technical supervision requirements to be in like with the minimum attendance requirement of one hour per week. Confirmed that a WAMITAB qualified person will be on site weekly. - Provide information on commissioning, operating and maintenance procedures to show emissions from treatment processes will not cause pollution or harm to human health. Provided within “WTP Operation and Maintenance”. - Update the CSM/risk assessment to refer to nearby protected sites. Added. - Updated documentation to address any potential impacts form soil gases. Negligable risk to changes in ground gas levels. Recorded in Geoenvironmental Interprative Report. - Update the site plan to be in line with the requirements of our B2 guidance. Updated.

| Decision |  |
| --- | --- |
| ## Can the deployment application be approved? | Yes |
| ## Permitting Officer: Rhiannon Smith Date: 07/07/2023 |  |
| ## Team leader or ToP approval: Huw Davies Date: 07/07/2023 |  |

| Appendix 1 – Time recording |  |
| --- | --- |
| Admin/consultations | 60 |
| Determination | 780 |
| Sign off | 5 |
| Issuing | 30 |
| Total | 875 minutes |

| Appendix 2 – Location Checks |  |  |
| --- | --- | --- |
| Designations | Present? | Comments |
| Special protection areas (SPA) Potential special protection areas (pSPA) | Y |  |
| Special areas of conservation (SAC) Candidate special areas of conservation (cSAC) | Y |  |
| Ramsar sites | Y |  |
| Site of Special Scientific Interest (SSSI) | Y |  |
| Ancient woodland | N |  |
| Areas of Outstanding Natural Beauty (AONB) | N |  |
| Heritage Coast | N |  |
| Local nature reserves | N |  |
| Local wildlife sites | Y | “Shotton Papermill” |
| National nature reserves | N |  |
| National parks | N |  |
| Scheduled ancient monuments | N |  |
| World Heritage Sites | N |  |
| Controlled waters such as rivers and lakes | Y | River Dee nearby |
| European Protected Species | Y | See protected sites |
| Nationally Protected Species | Y |  |
| Section 7 Priority species | Y | Lamprey species, eel species, grislse, springer, sparling, water vole, water rat. |
| Section 7 Priority habitats | Y | Reedbeds, lowland dry acid grassland and lowland calcareous grassland, |

AONB’s, Ancient Woodlands, Scheduled Ancient Monuments, Local and National Nature Reserves, National Parks and Heritage Coasts.

Potential hazards include dust, odours and run-off / leachate.

Receptors to be affected include environmentally sensitive sites, watercourse, local residents, public rights of way, housing, schools, workplaces and recreational facilities.