| Details |  |
| --- | --- |
| Deployment Reference Number: | PAN-022099 |
| Permit Reference Number: | EPR/ GP3792SK |
| Permit Holder: | BYPRODUCT RECOVERY LIMITED |
| Site Address: | Noyadd Farm, Rhayader, Powys, LD6 5HH |
| Grid Reference: | Farm location: SN 95746 66921 Fields: 1 29 SN 95640 66486 2 31 SN 95778 67155 3 33 SN 96011 67381 4 34 SN 96218 67319 5 35 SN 96031 67136 6 36 SN 95642 66927 7 37 SN 95974 67029 8 38 SN 95920 66877 Storage: 1 A. SN 95533 66582 2 B. SN 96083 67355 3 C. SN 95736 66866 |

| Administrative Checks- by permit support officer |  |
| --- | --- |
|  | Comments |
| Consultation | Waste reg team: GwastraffaGorfodi.Canolbarth@cyfoethnaturiolcymru.gov.uk Environment team: environmentteam.northpowys@cyfoethnaturiolcymru.gov.uk NLO: Don.Rother@environment-agency.gov.uk |
| Date due: | 01/06/2023 |
| Are fields on Anglesey? If yes, then send application. | No: N/A |
| Permit compliance rating and multiplier | Rating B- 100% |

| Administrative Checks- by determining permitting officer |  |  |
| --- | --- | --- |
| Item | Action completed, or document provided? (Yes, No or n/a) | Comments |
| Is the base permit still live? Has there been any variations we need to be aware of? | Y | English- EA public register, live, variation took place 2015 available on the DMS. |
| Correct application form | Y |  |
| Correct fee | Y | See permit compliance multiplier above and deployment fee- Charging Scheme |
| Fee on MyNRW | Y | Amount: £1,018 Date cleared on MyNRW: 19/05/2023 Transaction number: 2115059 |
| Location map | Y |  |
| Benefit statement | Y |  |
| Waste Analysis | Y |  |
| Soil Analysis | Y |  |
| EIA Agri Regulations evidence | Y |  |
| Site Specific Risk Assessment | Y | High risk location only |

| ## Application Form Word versions of online forms - NRW View (sharepoint.com) | Y N n/a | Comments |
| --- | --- | --- |
| - About the Permit |  |  |
| ## Has there been any pre-application discussions? | N |  |
| ## Has the permit number been provided? | Y |  |
| ## Has the permit holder name been provided? | Y |  |
| ## What permit is being deployed under? | SR2010 No4 |  |
| - Contact details |  |  |
| ## Has contact information been provided? | Y |  |
| ## Has the technically competent manager details been provided? | Y |  |
| ## Has the nominated competent person details been provided? | Y |  |
| - About the land you want to treat |  |  |
| ## Has the address and grid reference of the main farm address been given? | Y |  |
| ## Does the farm address match the grid reference? | Y |  |
| ## What type of land do they want to treat? | Agricultural land |  |
| If it is agricultural land; has the holding number been given? | Y | See comments at the bottom of the decision document |
| ## Has all of parcels of land table been completed? | Y |  |
| ## Is the total area of land to be treated less than 50 ha, or 100 hectares for a single continuously managed area of land? | Y |  |
| Is the land to be treated within a 10 miles radius of the main address? | Y |  |
| ## Is this deployment one of a batch (multiple deployments) for the same area of land? | N |  |
| ## Is the permit holder the owner or occupier of the land you want to spread on/treat? | N |  |
| ## Have details of the land owner or occupier been provided? | Y |  |
| ## Has written consent of all owners(s) or occupiers(s) been given? | Y |  |
| - Previous land treatment |  |  |
| Has all of the previous land treatment table been completed? | Y | Previous deployment: PAN-017904 Expired: 22/06/2023 |
| - Which risk band does the activity fall within? - SR2010No4 List A wastes (Lower risk) - Location risk - Low risk deployment - Medium risk (1) deployment - Medium risk (2) deployment - High risk deployment |  |  |
| ## Which risk band does the activity fall within? | High |  |
| Is the risk banding correct? | Y |  |
| ## If Medium risk (2) of High risk deployment has a SSRA been provided? | Y |  |
| - Additional information on sensitive receptors |  |  |
| ## What type of risk assessment has been submitted? | Site‐specific risk assessment |  |
| Does the land onto which the specified waste is to be spread as part of this deployment fall within scope of the Environmental Impact Assessment (Agriculture) (Wales) Regulations 2017 as semi-natural (habitat)? | N |  |
| If yes has the screening opinion provided by Welsh Government been provided? | n/a |  |
| If no have details of the assessment evidence to support this conclusion been provided? | Y |  |
| - About the waste |  |  |
| Have all parts of the waste types table been completed? - List of waste code (6 digit) - Description of waste (this must be an accurate description specific to this waste that refers to the List of Waste written description) - Physical form of waste/Is it stackable or non-stackable - Is the waste high in readily available nitrogen? - Producer of waste & permit number (if applicable) - Total amount being spread/used (tonnes) | Y |  |
| Are the wastes listed in the deployment specifically listed in the permit? | Y |  |
| Can you verify the waste producer (source of waste) is correct in terms of production, coding and description? | Y |  |
| - About the storage |  |  |
| Has all of waste storage table been completed? | Y |  |
| Is the storage given no more than 1250 tonnes shall be non-stackable waste, and no more than 3000 tonnes of all other wastes? | Y |  |
| 18. Supporting documents |  |  |
| Has checklist been completed? | Y |  |
| 20. Confidentiality and national security |  |  |
| Has confidentially been claimed? | N |  |
| Has national security been claimed? | N |  |
| 21. Declaration |  |  |
| If signing on behalf of a relevant person, has written confirmation from a relevant person been given? | Y |  |
| Has the operator confirmed they will comply with the conditions of the rule set? | Y |  |
| Has the operator confirmed they will comply with the NRW pre-notification requirements. | Y |  |
| Has a relevant person or approved person signed the declaration? | Y |  |

| Location | Y N n/a | Comments |
| --- | --- | --- |
| Has determining officer completed MyMap screening report? | Y |  |
| Do the grid references match the site plan? | Y |  |
| If there is storage; do the grid references match the site plan? | Y |  |
| The map must include the following details in relation to both storage and spreading (TGN 8.01, box 3.1) |  |  |
| surface water courses (permit condition: no storage or spreading within 10 meters) (buffer zones needed) | Y |  |
| groundwater source protection zones (permit condition: no storage or spreading in SPZ1) (high risk deployment if in SPZ2) | n/a |  |
| any well, spring (or issue) or borehole used for the supply of water for human consumption including from a private water supply or supplies. (permit condition: no storage or spreading within 50 meters) | n/a |  |
| location of all storage sites for the waste to be spread | Y |  |
| any spring (or issue), well or borehole not used to supply water for domestic or food production purposes within 50m (shown on map) | n/a |  |
| any spring (or issue), well or borehole used to supply water for domestic or food production purposes within 250m (shown on map) | n/a |  |
| any European designated sites- Natura 2000 (SPA, pSPA, SAC or cSAC) or Ramsar- or SSSI within 500m (shown on map) | Y |  |
| location of any public rights of way (shown on map) | Y |  |
| any buildings or houses within 250m (shown on map) | Y |  |
| Within Groundwater Safeguard Zone | n/a |  |
| the location of any other designated environmentally sensitive sites within 500m. Including but not limited to: - Protected Species - Protected Habitats - Scheduled Ancient Monument - Local Nature Reserve - National Nature Reserve - Ancient Woodlands - Local Wildlife Sites (SINC) - National Park - Hedges - Ditches | N | See comments at the bottom of the decision document. |
| What is the slope of the fields? | 0-7 degrees (transparent)- fields 29 & 34 7 -12 degrees (yellow)- fields 31, 33, 35 (partially) 37, 38 12 degrees plus (red)- fields 31, 35 & 36 (partially) |  |

| Waste Storage | Y N n/a | Comments |
| --- | --- | --- |
| Is waste storage occurring at the place where waste is being deployed? | Y |  |
| Is only waste as specified in this deployment being stored in the proposed storage locations? | Y |  |
| If the waste is stackable and stored in temporary field heaps; are the storage locations in the same place one constructed within the last two years? or in different location? | n/a |  |
| If the waste is stackable and stored in temporary field heaps; are the storage locations in a field: - liable to flooding or becoming waterlogged, or - within 50 metres of a borehole, spring or well or - within 10 metres of surface water or a land drain - within 30 meters of a watercourse on steeply sloping land | n/a | Wastes stored in nurse tanks. |
| If the waste is non-stackable is the waste stored within either a vessel, a covered building, or on an impermeable surface | Y |  |
| If the waste is high RAN and it is being stored within 200 metres of a European Site (SAC/SPA), Ramsar Site or a Site of Special Scientific Interest (SSSI) is the waste being covered to prevent loss of ammonia? (condition 3.2.4 of the permit) | n/a | Nurse tanks A and B are located within 200m of a SSSI & SAC but none of the wastes are high in readily available nitrogen. |

| Waste Analysis | Y N n/a | Comments |
| --- | --- | --- |
| Is the waste analysis report less than 12 months old at time of application? | Y |  |
| Does the analysis include the following? |  |  |
| - pH | Y |  |
| - Nitrogen (N) | Y |  |
| - Phosphorus (P) | Y |  |
| - Potassium (K) | Y |  |
| - % dry matter | Y |  |
| Does the analysis include the following? If it is a required parameter for the waste (see section below) and has not been tested for; has adequate justification been provided? |  |  |
| - Zinc | Y |  |
| - Copper | Y |  |
| - Nickel | Y |  |
| - Lead | Y |  |
| - Cadmium | Y |  |
| - Mercury | Y |  |
| - Magnesium | Y |  |
| - Sodium | n/a |  |
| - Sulphur | Y |  |
| Check Appendix A of TGN 8.01 for the wastes types applied for. |  |  |
| - Are there any special testing requirements? | Y |  |
| - If yes; have they been tested for? | Y | 19 09 02 – Fe, Al & S Sludge from alum water treatment should only be applied to soils of pH 6 and above. |
| If spreading waste soil, has the analysis been carried out at an MCERTS Lab? | n/a |  |
| If the spreading is in a groundwater safeguard zone (permit condition 2.1.8); are any wastes “high readily available nitrogen wastes”? i.e. organic wastes in which more than 30% of the total nitrogen content is available to the crop at the time of spreading. | n/a |  |
| - If yes, have they stated condition 2.1.8 of the permit will be complied with? | n/a |  |

| Soil Analysis | Y N n/a | Comments |
| --- | --- | --- |
| Is the soil analysis report less than 4 years old at time of application? | Y |  |
| Does the analysis include the following? |  |  |
| - pH | Y |  |
| - Potassium (K) | Y |  |
| - Phosphorus (P) | Y |  |
| - Magnesium (Mg) | Y |  |
| If the waste analysis shows high PTE’s; have these been tested for in the soil? | Y |  |
| Have the soil indices for P, K and Mg on each field been given? | Y |  |
| Does analysis show that the soils are deficient in the nutrients or properties required by the proposed cropping? | Y |  |

| Benefit Statement | Y N n/a | Comments |
| --- | --- | --- |
| Does the writer of the benefit statement have appropriate technical expertise? (TGN 8.01 6.1) | Y |  |
| Does the activity meet the definition of recovery? (TGN 8.01 6.2) |  |  |
| - Is there a clear benefit from the activity? | Y |  |
| - Is the material suitable for its intended use? | Y |  |
| - Is the minimum amount of waste being used to achieve the intended benefit? | Y |  |
| - Is the waste being used as a substitute for a non-waste material? | Y |  |
| - Will the proposal be completed to an appropriate standard? NOTE: For this activity, the standard is the deployment application that has been assessed and approved. Any deviation from this which has not been agreed is likely to be viewed as disposal. | Y |  |
| Benefit should be assessed against the following criteria. If the chosen benefit, has information been given on? (TGN 8.01 6.3) |  |  |
| - Plant nutrient requirements | Y |  |
| - Timing of application | Y |  |
| - Amount of waste to be applied and application rate | Y |  |
| - Soil chemical properties (e.g. liming and pH) | n/a |  |
| - Soil physical properties (e.g. organic matter and soil structure) | Y |  |
| - Soil water content | n/a |  |
| - Levelling the land | n/a |  |
| Timing of application- if any of the wastes are high RAN, are they being spread OUTSIDE of the closed periods | Y |  |
| Groundwater Safeguard Zone for nitrate- if any of the wastes are high RAN, are the application rates less than 50 m3/ha, with a minimum 3 week gap between applications | n/a |  |
| If an operator wants to apply more nutrients than is recommended in RB209 have they? (TGN 8.01 6.3) |  |  |
| - Justified the nutrient level with appropriate technical expertise | n/a |  |
| - Included the nutrient level in their environmental risk assessment | n/a |  |
| - Stated the source of information that they used to set the nutrient level. | n/a |  |
| Have any potential negative impacts of the activity been addressed? (TGN 8.01 6.5) | Y |  |
| Is the application rate appropriate (i.e. not be applied in excess of crop or soil need, as this may not meet the principles of waste recovery) in terms of? (TGN 8.01 6.7) |  |  |
| - Waste type | Y |  |
| - Waste analysis | Y |  |
| - Crop nutrient requirements | Y |  |
| If the cropping is any of the following, is the maximum nitrogen limit in line with that given in The Water Resources (Control of Agricultural Pollution) (Wales) Regulations 2021: - 0 kg/ha- Field beans, Peas - 120 kg/ha- Sugar beet - 150 kg/ha- Asparagus, Carrots, Forage maize. Radish, Spring barley, Swedes - 180 kg/ha- Spring-sown wheat, Winter barley - 220 kg/ha- Autumn or early winter sown wheat | n/a |  |
| If multiple wastes are being mixed: (TGN 8.01 6.8) |  |  |
| - Does each waste confer benefit in its own right? | Y |  |
| - Is it only for operational purposes? | Y |  |
| - Have individual application rates for each waste been given? | Y |  |
| - If mixing ratios have not been given, is there a statement saying that the highest limiting parameter will be used as the maximum application rate allowed to be spread, i.e. the waste will be spread at the lowest application rate. | Y |  |
| Application of waste (TGN 8.01 6.10) |  |  |
| - Is method of application appropriate for the waste type and cropping? | Y |  |
| - Is the timing of application appropriate? | Y | need to clarify flooding area |
| - Have they stated when the waste will be spread? | Y |  |
| - Have they stated how often the waste will be spread? | Y |  |
| Have the total nutrients supplied by the waste been given? | Y |  |
| Does the total nutrients given by the applicant match NRW calculations? | Y |  |
| Has total nutrients supplied been given in oxide format? | Y |  |
| Has the SNS for each field been provided? Or enough information provided to calculate the SNS? | Y |  |
| If the operator has stated (or intelligence from local teams have told us) that other sources of nutrients have been applied in the last 12 months; have they stated: |  |  |
| - What material was spread? | Y |  |
| - How much material was spread? | Y |  |
| - At what application rate material was spread? | N | See previous deployment: PAN-017904 |
| - The nutrients supplied by the material? | N |  |

| Site specific risk assessment (TGN 8.01 2.2) | Y N n/a | Comments |
| --- | --- | --- |
| If the deployment is in a high-risk location as per LPD1 has a site-specific risk assessment been submitted? | Y |  |
| If there are other designated environmentally sensitive sites within 500 meters has a site-specific risk assessment been submitted? | Y |  |
| Does the site-specific risk assessment identify all potential? |  |  |
| - Sources of pollution or hazards. Potential hazards include but are not limited to dust, odours, run-off, leachate etc. | Y |  |
| - Pathways | Y |  |
| - Receptors that can be affected by that source of pollution. Receptors include but are not limited to environmentally sensitive sites, watercourse, local residents, public rights of way, housing, schools, workplaces and recreational facilities etc. | Y |  |
| - Measures that will minimise or mitigate the impact will be put in place | Y |  |

| Appendix 4 assessment | Y N n/a | Comments |
| --- | --- | --- |
| Is the site within 500 meters of a SSSI? - If yes, the complete an Appendix 4 CroW assessment. | Y |  |
| Has a likely significant effect been identified? - If yes, consult with the relevant NRM team. - If no, save the Appendix 4 to the DMS as information only | Y |  |

| Habitat Regulation Assessment | Comments |
| --- | --- |
| Is the site within 500 meters of a Natura 2000 (SPA, pSPA, SAC or cSAC) or a Ramsar site? | Y |
| Appropriate assessment: In light of the conclusions of an appropriate assessment and taking account of the advice received from protected sites advisors, it has been established that the project will not adversely affect the integrity of any Natura 2000/Ramsar site, taking into account any conditions or restrictions as applicable, either alone or in-combination with other plans and projects. (As documented in section 4 of OGN 200 form 1, and section 5 if applicable) |  |
| HRA Overall conclusion: In light of the conclusions of the appropriate assessment, it has been ascertained that the project will not adversely affect the integrity of any Natura 2000/Ramsar site, as documented in section 4 of OGN 200 form 1, and section 5 is applicable. |  |

Comments

Consultation responses: 1. Request to add 10m buffer zone in field The applicant has included the 10 meter no spread zone. 2. Request for the deployment to be consulted via Form 1 and appendix 4 due to fields bordering SAC and SSSI. This application has been consulted on with the relevant environment team.

MyMap assessment: See the DMS for the Mymap report. Slope assessment: Field number: 31 (partially) 35 (partially) & 36 (partially) Slope of the land: 12o+ Soil type: Medium soils. Wastes types applied: Liquids Cropping type: Grass Method of application: Trailing shoe Weather conditions before during and after spreading: In compliance with the restrictions outlined in CoGAP. Other risk factors not mentioned above: n/a Conclusions (is run off risk high?): The applicant has implemented a no spread buffer zone in the fields 31 and 36 where land is highly sloping to mitigate the risk of surface runoff. Field number: 31 (mostly), 33, 35 (partially) 37, 38 Slope of the land: 7-12o Soil type: Medium soils. Wastes types applied: Liquids Cropping type: Grass Method of application: Trailing shoe Weather conditions before during and after spreading: In compliance with the restrictions outlined in CoGAP. Other risk factors not mentioned above: n/a Conclusions (is run off risk high?): The risk of runoff has be mitigated due to the following reasons: - Wastes will be applied by trailing shoe which apply the wastes closer to the soil (accurate) and avoids nutrient losses. - No more than 50t/ha will be spread on a field in any 3-week period to allow the soils to effectively uptake the wastes. - Highly sloping land has been buffered appropriately from the deployment to reduce the risk of surface runoff. - Field 31 contains land that is moderately sloping in addition to the mitigation methods outlined above surface runoff is unlikely to enter water courses due to the 10 meter no spread buffer zone located along the boundary of the field. In the unlikely event of surface runoff leaving the site boundary the field also slopes into a road where runoff would drain into roadways drainage system and not into water courses. - The rest of the moderately sloping land is contained within the fields so it is unlikely runoff will leave the field boundary. The rest of the fields are located on flat to gently sloping land 0-7o and do not pose a surface runoff risk.

CPH details: CPH given 52/258/0016 MyMap Record: Fields 29-38 = 52/258/0016 – TJ + MORGAN The CPH numbers match the Mymap record. The applicant has updated the CPH consent form to include missing information addressed in the request for information 1.

Protection of habitats and ecosystems See Mymap assessment on the DMS.

Agricultural benefit calculations: Waste streams DCWW Bontgoch , Strata Florida and Whitebourne are adding additional phosphorus to the soil. DCWW Bontgoch (all fields), Strata Florida (field 35) Whitebourne (all fields). This applies for fields with a phosphorous index of 1 or 0 (below optimum). These values are below the 95 kg/ha for 2 cuts for grass silage as stated in RB209 Section 1, page 29. The available nutrients of phosphorus was used to calculate the amount of phosphate added to the soil with a soil index value of 0 or 1 for phosphorous instead of the total phosphorus value. This follows Guidance stated in RB209 Section 2 page 12. All other waste streams applied an appropriate amount of phosphate to the remaining fields.

Request for information: 23/06/2023 1. Resubmit a new landowner consent form so that it includes the following: - Wastes to be spread each field - Storage locations - An in date signed agreement from the landowner The applicant has provided a new landowner content form containing the missing/up to date information. 2. Confirm this was a typographic error and non-stackable storage will not exceed 1,250 tonnes. The applicant has confirmed this was a typographic error and the stored wastes will not exceed 1,250T. 3. Update the site plan so it shows The New House Meadow SSSI site located within 500 meters of the landspreading area. The applicant has updated the site plan. 4.Remove the Carn Gafallt SSSI site from the site specific risk assessment (SSRA). The applicant has updated the SSRA. 5. Update the SSRA so that EWC 19 06 06 is fully risk assessed in terms of odour and, how odour will be mitigated when spreading the waste. The applicant has removed this waste stream from the deployment and has removed reference to this waste from the deployment. 6. Confirm only waste as specified in this deployment is to be stored in the proposed storage locations. The applicant has confirmed this. 7. Confirm the restriction on spreading on fields that have an historical flooding history includes fields 36 and 29. The applicant has confirmed no spreading will occur on field 29 and 36 between October and April and the agricultural benefit statement (ABS) and SSRA has been updated to reflect this. 8.Confirm the above spreading times do not apply for fields 29 & 36 which have a history of flooding and cover the periods to which these fields have a possibility of flooding (October and April). The applicant has updated the ABS and states the fields prone to flooding will be spread at Spring 2024, after cutting of silage (May- June). Applications can also be made throughout the summer 2023 after cutting of silage, which could be between August and September 2023. 9. Confirm when you wish to spread wastes on fields 29 & 36. The applicant has confirmed the wastes will be spread on the fields Spring 2024, after cutting of silage (May- June). Applications can also be made throughout the summer 2023 after cutting of silage, which could be between August and September 2023. 10. Update the ABS so that details the mitigation measures that will be in place to reduce potential odour and ammonia emissions for EWC 19 06 06. The applicant has removed this waste stream from the deployment and has removed reference to this waste from the deployment. 11. Update the ABS so that it acknowledges the risk of applying high Al and Fe wastes to the soil and the mitigation measures in place to protect nearby water courses. The applicant has updated the ABS. 12. Remove waste stream DCWW Strata Florida from fields 29, 31, 33, 34, 36, 37 and 38. The applicant has confirmed the waste stream will not be spread on the fields listed above.

Other information to note: The applicant has removed EWC 19 06 06 from the deployment. The applicant had updated the deployment documents to reflect this change.

| Decision |  |
| --- | --- |
| ## Can the deployment application be approved? | Yes |
| ## Issue date | 10/07/2023 |
| ## Effective date | 10/07/2023 |
| ## Permitting Officer Date | Owen Clee 10/07/2023 |
| ## Team leader or Transfer of Powers (ToP) approval Date | Matthew Fryer (ToP) 10/07/2023 |

| Time recording |  |
| --- | --- |
| Admin/consultations | 60 |
| Determination | 1,620 |
| Sign off | 25 |
| Issuing | 10 |
| Total | 1,715 |