## Sheet1
Permit Number with Mon 3-4 driver | Main STW to consolidate with | STW Permit Number | Asset name | Final Effluent sample Point | Final Effluent Discharge Point | UWW Sample Point | UWW Influent Sample Point | UV Monitoring point | Mcert Continous Monitoring point | Mcert PFF MON4 Monitor | MON3 EDM to Storm Monitoring point | EDM to Env Monitoring Point | Storm Discharge Point | Storm Sample Point
CG0061901 | Corris Isaf STW | CG0061701 | Lower Corris WwTW Storm Tank Overflow | SH7556007410 | SH7556007410 | N/A | N/A | N/A | SH75547 07440 & SH75548 07433 | SH75547 07440 & SH75548 07433 | SH75547 07450 | SH75547 070450 | SH7556007410 | SH7556007410
BP0111701 | N/A | N/A | SOLVA P.S. | N/A | N/A | N/A | N/A | N/A | N/A | SM8053524314 | N/A | SM80535 24314 | SM8054024280 | SM8054024280
BG0016902 | Spittall STW | BG0016901 | CSO at Spittal Wastewater Treatment Works | SM9745122608 | SM9734822501 | N/A | N/A | N/A | SM97351 22626 | SM9744522637 | N/A | SM97444 22638 | SM9734822501 | SM9744622632