## January 2 of 2
Unique ID | Scheme Name/ Discharge | Consent Number | Consolidations | AMP6 Drivers requiring permit review | AMP7 Drivers requiring permit review | Additional Permit Reviews | DSI_ADD2 | DSI_ADD3 | DSI_ADD4 | DSI_POST_CODE | S32 Discharge Point NGR | S34 Monitoring point NGR | AGR_REC_WATER | S33 Overflow setting l/s | S33 Maximum size of solid matter | S33 Screen Aperture Size | S33 Minimum screen capacity flow l/s | S33 Storm tank / storage capacity | Non-standard operating techniques | PAN | Duly-made date
6DC002046 | OVERTON WWTW (STORM) | CG0430701 | CM0188601 CM0188602 CG0430701 | EDMW | - | No additional review overlap | Mill Wood | Overton | Wrexham | LL13 0EG | SJ 36625 41598 | SJ 37160 41490 | River Dee | 19 | 6mm | 6mm x 6mm | Unknown | None |  |  |  | yes
6DC001259 | PANDY STW PANDY MONMOUTHSHIRE | AN0391101 | N/A | EDMW | W_U_MON3 W_U_MON4 | No additional review overlap | Pandy WwTW | Pandy | Monmouthshire | NP7 8DR | SO 33518 22842 | SO 33533 22764 | River Usk | 5.4 | 6mm | 6mm x 6mm | Unknown | 50m3 |  |  |  | #N/A
6DC001148 | PEMBROKE DOCK STW (EMERGENCY) FORT | BP0250802 | BP0250801 BP0250802 BP0250803 | EDMW | W_U_MON3 W_U_MON4 | No additional review overlap | Nr 139 Ford Rd | Pembroke Dock | Pembrokeshire | SA72 6XW | SM 95457 04255 | SM 95603 03765 | Milford Haven Waterway | 210 | 2.5mm | 2.5mm | Unknown | 2973m3 |  |  |  | yes
6DC002580 | PENCADER STW STORM TANKS | BG0007805 | BG0007801 BG0007805 BG0007804 | EDMW | - | No additional review overlap | Pencader WwTW | Pencader | Carmarrthenshire | SA39 9BS | SN 44547 36513 | SN 44507 36503 | Afon Tywell | No copy of consent available | No copy of consent available | No copy of consent available | No copy of consent available | No copy of consent available |  |  |  | yes
7CDC0875 | PENISARWAUN WWTW | CG0134102 | CG0134101 CG0134102 | EDMW | W_U_MON3 W_U_MON4 | No additional review overlap | Madoc Terrace | Penisarwaun | Caernarfon | LL55 3PH | SH 54976 63514 | SH 55032 63558 | Afon Seiont | 8 | 6mm | 6mm x 6mm | Unknown | None |  |  |  | yes
6DC001571 | PENNANT STW . . | BN0015602 | BN0015601 BN0015602 | EDMW | - | No additional review overlap | Nr Ty Maesllyn | Pennant | Llanon | SY23 5JH | SN 50867 63020 | SN 50891 62989 | Afon Arth | N/A | N/A | N/A | No Screen | None |  |  |  | yes
6DC000262 | PENTREFELIN STW | CG0364501 | CG0073301 CG0364501 | EDMW | W_U_MON3 W_U_MON4 | No additional review overlap | Off A497 | Criccieth | Gwynedd | LL52 0PU | SH 52944 39547 | SH 52881 39563 | Afon Cedron | 1.6 | N/A | N/A | No Screen | 22m3 |  |  |  | yes
6DC001345 | PETERSTON SUPER ELY STW CSO MAIN AV | AN0355001 | N/A | EDMW | W_U_MON3 W_U_MON4 | No additional review overlap | Little Avenue | Peterston Super Ely | Cardiff | CF5 6NG | ST 08620 76329 | ST 08641 76276 | River Ely | 22.3 | 10mm | 10mm | N/A | None |  |  |  | #N/A
6DC002453 | PONTNEDDFECHAN STW SWANSEA | BP0322901 | N/A | EDMW | W_U_MON3 W_U_MON4 | No additional review overlap | Off Mellte Ave | Pontneddfechan | Neath | SA11 5NN | SN 90345 07498 | SN 90326 07521 | River Mellte | 3.88 | 6mm | 6mm x 6mm | Unknown | None |  |  |  | #N/A
6DC001025 | PRESTEIGNE STW CLATTERBROOM | AN0391701 | AW1005101 AN0391701 | EDMW | W_U_MON3 W_U_MON4 | No additional review overlap | R/O Clatterbrune Estate | Presteigne | Powys | LD8 2LB | SO 32232 64365 | SO 32151 64192 | River Lugg | 26.5 | 6mm | 6mm x 6mm | Unknown | 259m3 |  |  |  | yes
6DC002001 | PS EMERGENCY OUTFALL RES DEVMT BIRC | BP0081302 | N/A | EDMW | - | No additional review overlap | Greenacre Drive | Glais | Swansea | SA7 9FA | SN 70328 00300 | SN 70328 00300 | Nant Glas | N/A | N/A | N/A | No Screen | None |  |  |  | #N/A
6DC001228 | PUNCHESTON WORKS INLET . . | BG0017602 | N/A | EDMW | W_U_MON3 W_U_MON4 | No additional review overlap | Nr Sycamore Lodge | Puncheston | Haverfordwest | SA62 5RN | SN 00998 29818 | SN 01004 29828 | Trib Anghof | N/A | N/A | N/A | No Screen | None |  |  |  | #N/A
7CDC0199 | PWLLGLAS STW | CM0063903 | CM0063901 CM0063902 CM0063903 | EDMW | - | No additional review overlap | Ruthin Rd | Pwllglas | Ruthin | LL15 2PB | SJ 11933 54632 | SJ 11919 54638 | River Clwyd | 3.84 | 6mm | 6mm x 6mm | Unknown | None |  |  |  | yes
6DC002107 | RAGLAN STW CHEPSTOW ROAD RAGLAN | AB0036502 | AC0140201 AB0036502 | EDMW | W_U_MON3 W_U_MON4 | No additional review overlap | Nr Brooklands Hse | Chepstow Rd, Raglan | Usk | NP15 2EN | SO 41637 07143 | SO 41535 07218 | Nant y Wilcae | 13.8 | 6mm | 6mm x 6mm | Unknown | 156m3 |  |  |  | yes
6DC001692 | RESOLVEN STW STORM TANKS NEATH | BP0341401 | BA2001301 BP0341401 | EDMW | W_U_MON3 W_U_MON4 | No additional review overlap | Resolven WwTW | Melincourt | Neath | SA11 4LD | SN 82178 02521 | SN 82409 02639 | River Neath | 24.5 | 6mm | 6mm x 6mm | Unknown | 224m3 |  |  |  | yes
6DC001775 | REYNOLDSON WWTW REYNOLDSTON GOWER | BP0232001 | BC0002501 BP0232001 | EDMW | W_U_MON3 W_U_MON4 | No additional review overlap | Burry Green | Gower | Swansea | SA3 1BR | SS 46588 90926 | SS 46650 90950 | Burry Pill | 8.5 | 6mm | 6mm | Unknown | 72m3 |  |  |  | yes
6DC000547 | RHIWLAS STW | CG0086002 | CG0086001 CG0086002 | EDMW | W_U_MON3 W_U_MON4 | No additional review overlap | Nr Ty'r Ysgol Waen | Pentir | Bangor | LL57 4EH | SH 57175 66242 | SH 57239 66228 | Afon Cegin | 15.7 | 6mm | 6mm x 6mm | Unknown | None |  |  |  | yes
6DC000671 | RHOSNEIGR STW (SETTLED STORM/EMERGE | CG0144402 | N/A | EDM1 | W_U_MON3 W_U_MON4 | No additional review overlap | Opp Bryn Hyfryd | Rhosneigr | Anglesey | LL64 5JD | SH 31372 72198 | SH 31690 72719 | Coastal waters | 13 | 10mm | 10mm | Unknown | 825m3 |  |  |  | #N/A
6DC002515 | ST ISHMAELS WORKS INLET . . | BG0011502 | N/A | EDMW | W_U_MON3 W_U_MON4 | No additional review overlap | Nr Minkhaven Manor | St Ishmaels | Haverfordwest | SA62 3TD | SM 83127 06769 | SM 83236 06828 | Monk Haven Stream | 3.4 | 10mm | 10mm | Unknown | 40m3 |  |  |  | #N/A
6DC002024 | ST NICHOLAS STW . . | BG0022202 | BG0022201 BG0022202 | EDMW | W_U_MON3 W_U_MON4 | No additional review overlap | Nr The Rectory | St Nicholas | Goodwick | SA64 0LG | SM 89868 35757 | SM 89938 35719 | Tributary of the Aberach Stream | N/A | N/A | N/A | No Screen | None |  |  |  | yes
6DC002490 | STORM TANKS AT RHAYADER STW | AW1005202 | AW1005201 AW1005202 | EDM1 | W_U_MON3 W_U_MON4 | No additional review overlap | South Street | Rhayader | Powys | LD6 5BH | SN 97870 67270 | SN 97872 67287 | A tributary of the river Wye | 30 | 10mm | 10mm | Unknown | 218m3 |  |  |  | yes
6DC000663 | SWO. BRIDGEND ROAD GARTH (POINT 23) | BW3204101 | N/A | EDM1 | - | No additional review overlap | Nr 181 Bridgend Rd | Maesteg | Bridgend | CF34 0HX | SS 86531 90614 | SS 86539 90668 | Nant y Twlc | N/A | N/A | N/A | No Screen | None |  |  |  | #N/A
6DC000799 | SWO. MAESTEG MARKET (POINT 18) | BW3204601 | N/A | EDM1 | - | No additional review overlap | Behind Bridgend County Council Offices, Talbot Street | Maesteg | Mid Glamorgan | CF34 9BW | SS 85234 91262 | SS 85236 91301 | Llynfi River | No copy of consent available | No copy of consent available | No copy of consent available | No copy of consent available | No copy of consent available |  |  |  | #N/A
6DC000698 | SWO. TYNYCOED (POINT 30) | BW3203401 | N/A | EDM1 | - | No additional review overlap | 17 Heol Bryncwils | Sarn | Bridgend | CF32 9UD | SS 90370 83600 | SS 90381 83566 | River Ogmore | No copy of consent available | No copy of consent available | No copy of consent available | No copy of consent available | No copy of consent available |  |  |  | #N/A
6DC000616 | SWO. VICTORIA STREET PONTYCYMMER (P | BW3202701 | N/A | EDM1 | - | No additional review overlap | Outside 9, Victoria St | Pontycymer | Bridgend | SS 90372 91480 | SS 9037 9148 | SS 90344 91734 | Afon Garw | No copy of consent available | No copy of consent available | No copy of consent available | No copy of consent available | No copy of consent available |  |  |  | #N/A
6DC000727 | SWO. YNYSMEUDW WAREHOUSE (SOC | BW2302501 | N/A | EDM1 | - | No additional review overlap | Behind & across river from 184, Ynysmeudw Road | Pontardawe | Neath | SA8 4QJ | SN 74042 05453 | SN 74042 05605 | Afon Tawe | No copy of consent available | No copy of consent available | No copy of consent available | No copy of consent available | No copy of consent available |  |  |  | #N/A
6DC001699 | TALGARTH STW | AN0373401 | AW1005301 AN0373401 | EDMW | W_U_MON3 W_U_MON4 | No additional review overlap | Off Bronllys Rd (A479), (Near Bronllys Castle) | Talgarth | Brecon | LD3 0HH | SO 15073 34806 | SO 15202 34782 | Afon Llynfi | 24.9 | 6mm | 6mm x 6mm | Unknown | 180m3 |  |  |  | yes
6DC001566 | TALSARNAU STW and SPS | CG0071501 | CG0071401 CG0071501 | EDMW | W_U_MON3 W_U_MON4 | No additional review overlap | End of Maes Trefor | Off High St | Talsarnau | LL47 6TU | SH 61047 35964 | SH 61042 35951 | a stream on the NW boundary of the site | N/A | N/A | N/A | No Screen | None |  |  |  | yes
6DC001394 | TIERS CROSS WWTW INLET CSO PEMBRK | BP0315301 | N/A | EDMW | - | No additional review overlap | Unnamed track | Tiers Cross | Haverfordwest | SA62 3DG | SM 89999 10909 | SM 90334 10786 | unnamed tributary of the Sandy Haven Pill | 5 | 6mm | 6mm | Unknown | None |  |  |  | #N/A
6DC000761 | TRECASTLE STW | AD0001001 | AD0000901 AD0001001 | EDMW | - | No additional review overlap | Off Chapel Street (Nr Nant Logyn) | Trecastle | Brecon | LD3 8UF | SN 88016 28857 | SN 88011 28884 | Nant Logyn | 2.1 | 6mm | 6mm x 6mm | Unknown | 7.6m3 |  |  |  | yes
6DC000106 | TREFOR WWTW | CG0438901 | CG0138701 CG0439001 CG0438901 | EDMW | - | No additional review overlap | In field behind Gwydir Bach | Trefor | Caernarfon | LL54 5LN | SH 37173 47103 | SH 37168 47083 | Unnamed watercourse | 6.6 | 6mm | 6mm x 6mm | Unknown | 47.6m3 |  |  |  | yes
7CDC0242 | TREFOR WWTW | CG0439001 | CG0138701 CG0439001 CG0438901 | EDMW | W_U_MON3 W_U_MON4 | No additional review overlap | In field behind Gwydir Bach | Trefor | Caernarfon | LL54 5LN | SH 37282 47530 | SH 37168 47083 | coastal waters | 6.6 | 6mm | 6mm x 6mm | Unknown | 47.6m3 |  |  |  | yes
7CDC0734 | TREFRIW STW | CG0084101 | N/A | EDMW | - | No additional review overlap | End of Unnamed Lane, Junction of B5106 & Gower Rd | Trefriw | Llanrwst | LL27 0NQ | SH 78781 63272 | SH 78488 62878 | River Crafnant | N/A | N/A | N/A | No Screen | None |  |  |  | #N/A
6DC001581 | TRELECH STW TRELECH CARMARTHEN , | BP0219401 | BN0269401 BP0219401 | EDMW | - | No additional review overlap | WwTW off B4299 | Trelech | Carmarrthenshire | SA33 6RU | SN 28034 30315 | SN 28051 30317 | Tributary of Afon Cynin | 1.4 | 10mm | 10mm | Unknown | 10m3 |  |  |  | yes
6DC001223 | TREVINE STW . . | BH0052402 | N/A | EDMW | W_U_MON3 W_U_MON4 | No additional review overlap | Nr 42 Ffordd Y Felin | Trefin | Haverfordwest | SA62 5AX | SM 83500 32377 | SM 83700 32300 | Aberdraw stream | N/A | N/A | N/A | No Screen | None |  |  |  | #N/A
7CDC0578 | TYN Y GROES STW - STORM OVERFL | CG0015501 | CG0015401 CG0015501 | EDMW | W_U_MON3 W_U_MON4 | No additional review overlap | Nr B5279 | Tyn y Groes | Conwy | LL28 5RR | SH 78401 71424 | SH 78209 71223 | Afon Conwy | 6DWF | N/A | N/A | No Screen | None |  |  |  | yes
6DC001713 | USK STW GRAIG OLWAY FARM LLANGVIEW | AB0044802 | AB0044801 AB0044802 | EDMW | W_U_MON3 W_U_MON4 | No additional review overlap | Near Graig Olway, Between Llangview and Llanllywel villages | Usk | Monmouthshire | NP15 1LJ | ST 38680 99449 | ST 38992 99556 | River Usk | 21 | 6mm | 6mm x 6mm | Unknown | 214m3 |  |  |  | yes
6DC001473 | WATERSTON WORKS INLET . . | BH0073902 | N/A | EDMW | W_U_MON3 W_U_MON4 | No additional review overlap | Nr Green Lane | Waterston | Haverfordwest | SA73 1DS | SM 93558 06043 | SM 93556 06019 | Hazelbeach Stream | N/A | N/A | N/A | No Screen | None |  |  |  | #N/A
7CDC0905 | WAUNFAWR STW (STORM) | CG0134002 | CG0134001 CG0134002 | EDMW | W_U_MON3 W_U_MON4 | No additional review overlap | In Field behind Ty'n Coed | Waunfawr | Gwynedd | LL55 4AX | SH 52803 58902 | SH 52883 58976 | Afon Gwyrfai | 14.4 | 6mm | 6mm x 6mm | Unknown | 100m3 |  |  |  | yes
6DC001136 | WEST ABERTHAW WWTW W ABERTHAW BARRY | AN0419401 | N/A | EDMW | W_U_MON3 W_U_MON4 | No additional review overlap | West Aberthaw WwTW | Aberthaw | Barry | CF62 4JA | ST 022526 5678 | ST 02390 66686 | Bristol Channel, Break Sea Point | 51 | 6mm | 6mm x 6mm | Unknown | 210m3 |  |  |  | #N/A
6DC000948 | WEYCOCK CROSS STW BARRY , | AN0266101 | AF4021601 AN0266101 | EDMW | - | No additional review overlap | Weycock Rd | Barry | Vale of Glamorgan | CF62 3AA | ST 08885 69438 | ST 09092 69532 | River Weycock | 27 | 6mm | 6mm | Unknown | 65m3 |  |  |  | yes
6DC002620 | WHITLAND WWTW WHITLAND CARMS | BL0138502 | BL0138501 BL0138502 | EDMW | W_U_MON3 W_U_MON4 | UWWTD Review | Nr Trevaughan Farm | Trevaughan | Whitland | SA34 0NL | SN 20555 16071 | SN 20471 15866 | Afon Taf | 29.5 | 6mm | 6mm | Unknown | 250m3 |  |  |  | yes
5DC3150001 | YSTRADGYNLAIS WWTW OFF WIND ROAD | BW0600901 | N/A | EDMW | W_U_MON3 W_U_MON4 | No additional review overlap | Gorof Bridge | Ystradgynlais | Swansea | SA9 1AE | SN 77435 08566 | SN 77554 08714 | River Tawe | 126 | 6mm | 6mm | Unknown | 2950m3 |  |  |  | #N/A
6DC000532 | ABERERCH WWTW STORM OVERFLOW | CG0431301 | CG0111201 CG0431301 | EDM1 | W_U_MON3 W_U_MON4 W_U_IMP5 | No additional review overlap | Rear Glan Erch, Off Penbryn Huddig | Abererch | Pwllheli | LL53 6YT | SH 39615 36762 | SH 39619 36780 | Afon Erch | 2.95 | 6mm | 6mm x 6mm | Unknown | 31.5m3 |  |  |  | yes
6DC000935 | BALA WWTW (STORM) | CG0428901 | CM0001501 CG0428901 | EDMW | W_U_MON3 W_U_MON4 W_UIMP5 W_U_IMP6 | No additional review overlap | R/O Bala Enterprise Park | Bala | Gwynedd | LL23 7NJ | SH 93770 35552 | SH 93520 35770 | River Dee | 19.6 | 6mm | 6mm x 6mm | Unknown | 136.4m3 |  |  |  | yes
6DC000937 | BANCYFELIN STW BANCYFELIN NEAR ST | BN0269702 | BN0269701 BN0269702 | EDMW | W_U_MON3 W_U_MON4 W_U_IMP6 | No additional review overlap | Nr 5 Llys y Felin | Bancyfelin | Carmarrthenshire | SA33 5EA | SN 32522 17873 | SN 32491 17904 | Afon Cywyn | 4 | N/A | N/A | No Screen | 26m3 |  |  |  | yes
6DC000360 | BANGOR ON DEE STW | CM0060702 | CM0060701 CM0060702 | FLOW4W EDMW | W_U_MON3 W_U_MON4 | No additional review overlap | The Graig | Bangor Is Y Coed | Wrexham | LL13 0AD | SJ 39456 46000 | SJ 39546 45901 | River Dee | 6.35 | N/A | N/A | No Screen | 66m3 |  |  |  | yes
6DC000943 | BEDDGELERT WASTE WATER TREATMENT | CG0406401 | CG0024001 CG0406401 | EDMW | W_U_MON3 W_U_MON4 W_U_IMP5 | No additional review overlap | Nr Bryn y Bedd | Beddgelert | Caernarfon | LL55 4YW | SH 59180 47472 | SH 59061 47633 | Afon Glaslyn | 6.2 | 6mm | 6mm x 6mm | Unknown | 45m3 |  |  |  | yes
6DC002331 | SALEM STW | BP0219001 | BP0219002 BP0219001 | EDMW | W_U_IMP6 W_UIMP5 W_U_MON3 W_U_MON4 | No additional review overlap | Penybanc | Salem | Carmarrthenshire | SA19 7NB | SN 62124 26643 | SN 62130 26631 | 1.3 | 10mm | 10mm x 10mm | Unknown |  | None |  |  |  | yes
6DC000970 | BLAENAU FFESTINIOG WWTW (STORM) | CG0083402 | CG0083401 CG0083402 CG0432201 | EDMW | W_U_IMP5 W_U_MON3 W_U_MON4 | No additional review overlap | Up path next to Glandwyryd | Blaenau Ffestiniog | Gwynedd | LL41 4BW | SH 69420 43720 | SH 69630 44480 | Afon Goedol | 56.6 | 6mm | 6mm x 6mm | Unknown | 402.3m3 |  |  |  | yes
6DC000111 | BONCATH STW | BG0001202 | BG0001201 BG0001202 | FLOW4W EDMW | W_U_MON3 W_U_MON4 W_U_INV | No additional review overlap | Opp Plas-y-dderwen, Off Maesybedw | Boncath | Dyfed | SA37 0JW | SN 20122 39041 | SN 201423 9007 | A tributary of the Afon Morganau | 4.2 | 6mm | 6mm | Unknown | None |  |  |  | yes
7CDC0210 | BRECON | AB0041502 | AB0041501 AB0041502 | EDMW | W_U_MON3 W_U_MON4 W_U_IMP6 | No additional review overlap | Canal Bank | Brecon | Powys | LD3 7PL | SO 05921 27595 | SO 05732 27574 | The River Usk | 78.6 | 6mm | 6mm x 6mm | Unknown | 566m3 |  |  |  | yes
6DC001015 | BRONABER STW | CG0086702 | CG0086701 CG0086702 | EDMW | W_U_MON3 W_U_MON4 W_U_IMP6 | No additional review overlap | WwTW off A470 | Bronaber | Gwynedd | LL41 4UR | SH 70408 31424 | SH 71106 31424 | Afon Eden | 4.9 | 16mm | 16mm x 16mm | Unknown | None |  |  |  | yes
7CDC0242 | BWLCH SOUTH | AB0049401 | AB0049501 AB0049401 | EDMW | W_U_MON3 W_U_MON4 W_U_IMP6 | No additional review overlap | 157 Forge Rd | Crickhowell | Powys | NP8 1RL | SO 15493 20316 | SO 15401 20756 | River Usk | N/A | N/A | N/A | N/A | None |  |  |  | yes
6DC001085 | CAREW WWTW CAREW PEMBROKESHIRE | BP0215001 | BP0044201 BP0215001 | EDMW | W_U_IMP6 W_UIMP5 W_U_MON3 W_U_MON4 | No additional review overlap | Nr The Steps | Brids Lane | Tenby | SA70 8SL | SN 05187 03575 | SN 05177 03548 | Carew river | 7.3 | 6mm | 6mm | Unknown | 59m3 |  |  |  | yes
6DC000250 | CARWAY WWTW CARWAY CARMS | BP0361501 | BC0017801 BP0361501 | FLOW4W EDMW | W_U_MON3 W_U_MON4 W_U_IMP6 | No additional review overlap | O/S Carway WwTW | Kidwelly | Carmarrthenshire | SA17 4HP | SN 46001 06992 | SN 46015 06910 | Tributary of the Gwendraeth Fawr | 5.6 | 6mm | 6mm x 6mm | Unknown | None |  |  |  | yes
6DC001096 | CEFN MAWR STW HEOL BERWYN CEFN MAWR | CG0405901 | CM0101301 CG0405901 | EDMW | W_U_MON3 W_U_MON4 W_U_IMP6 | No additional review overlap | Off Heol Berwyn | Cefn Mawr | Wrexham | LL14 3NG | SJ 27450 41700 | SJ 27704 41654 | River Dee | 48 | 6mm | 6mm x 6mm | N/A | 350m3 |  |  |  | yes
6DC000572 | CILGERRAN STW | BP0217802 | BP0217801 BP0217802 | EDM1 | W_U_MON3 W_U_MON4 W_U_IMP6 | No additional review overlap | Nr Penrallt Draw | Cwmplysgog | Cilgerran | SA43 2TD | SN 19480 43240 | SN 19390 43203 | Afon Teifi | 9.4 | N/A | N/A | No Screen | 69m3 |  |  |  | yes
6DC001200 | COSLECH STW | AN0010102 | N/A | EDMW | W_U_MON3 W_U_MON4 W_U_IMP6 | No additional review overlap | Peterstone Super Ely Rd | Groesfaen | Llantrisant | CF72 8NU | ST 06659 78704 | ST 06826 78847 | River Ely | 375 | 6mm | 6mm x 6mm | Unknown | None |  |  |  | #N/A
6DC001222 | CROSS INN / NEBO STW , , | BP0218501 | BG0038701 BP0218501 | EDMW | W_U_MON3 W_U_MON4 W_U_IMP6 | No additional review overlap | Off B4337 | Llanon | Ceredigion | SY23 5ND | SN 54395 65334 | SN 54396 65320 | Nant Clydan | 2.3 | 10mm | 10mm x 10mm | Unknown | None |  |  |  | yes
6DC001227 | CROSSHANDS WWTW SSO CROSSHANDS CARM | BP0265601 | BC0001501 BP0265601 BP0265701 | EDMW | W_U_INV | No additional review overlap | Nr 19 Pontardulais Rd | Cross Hands | Llanelli | SA14 6NT | SN 56420 12308 | SN 56256 12362 | Afon Gwili | 19 | 6mm | 6mm | Unknown | 258m3 |  |  |  | yes
6DC001428 | CWMGWILI WWTW CWMGWILI NR AMMANFORD | BP0318001 | BC0010601 BP0318001 | EDMW | W_U_MON3 W_U_MON4 W_U_INV | No additional review overlap | Cwmgwili WwTW | Ammanford |  | SA14 6PX | SN 57802 10355 | SN 57728 10361 | Afon Gwili | 13.1 | 6mm | 6mm | Unknown | 150m3 |  |  |  | yes
6DC001442 | CYNWYD STW FINAL EFFLUENT | CM0149302 | CM0149301 CM0149302 | EDMW | W_U_IMP6 W_U_MON3 W_U_MON4 | No additional review overlap | Station Yard | Cynwyd | Corwen | LL21 0HY | SJ 05265 41089 | SJ 05337 41045 | River Dee | 2.9 | N/A | N/A | N/A | None |  |  |  | yes
6DC001470 | DOLGARROG SSO NO. 2 | CG0075601 | N/A | EDMW | W_U_MON3 'W_U_MON4 W_U_IMP6 | No additional review overlap | Nr 32 Hendy | Talybont | Conwy | LL32 8JQ | SH 77302 68801 | SH 77249 68799 | Afon Dulyn | 16.6 | 6mm | 6mm x 6mm | Unknown | None |  |  |  | #N/A
6DC000355 | DYSERTH STW | CM0035902 | CM0035901 CM0035902 | FLOW4 EDMW | W_U_MON3 W_U_MON4 W_U_INV | No additional review overlap | Long Acres Rd | Dsyerth | Rhyl | LL18 6BP | SJ 05200 79770 | SJ 05256 79691 | Afon Glanfyddion | 20.8 | N/A | N/A | N/A | None |  |  |  | yes
6DC000280 | EGLWYSBACH STW | CG0030702 | CG0030701 CG0030702 | FLOW4W EDMW | W_U_MON3 W_U_MON4 W_U_IMP6 | No additional review overlap | Brin Hir Road | Eglwysbach | Conway | LL28 5AQ | SH 80104 71021 | SH 80149 70941 | Afon Hiraethlyn | 9.7 | N/A | N/A | No Screen | 70m3 |  |  |  | yes
7CDC0456 | FFAIRFACH STW | BN0194103 | BH0065401 BN0194103 | EDMW | W_U_IMP6 W_UIMP5 W_U_MON3 W_U_MON4 | No additional review overlap | Off B4300 | Fairfach | Carmarrthenshire | SA32 8NH | SN 61639 21114 | SN 61792 21126 | River Towy | 27 | 6mm | 6mm | Unknown | 172m3 |  |  |  | yes
6DC001530 | FIVE FORDS STW - SETTLED STORM | CM0005702 | CM0077801 CM0005702 | EDMW | W_U_MON3 W_U_MON4 W_U_IMP6 | No additional review overlap | Off Cefn Rd (Nr Glanrafon Cottage) | Marchwiel | Wrexham | LL13 0RX | SJ 36180 48340 & SJ 36240 48380 | SJ 36074 48036 | River Clywedog | 806 | 6mm | 6mm x 6mm | Unknown | 5800m3 |  |  |  | yes
6DC001552 | GARNSWLLT STW LONGELIN AMMANFORD | BW1404301 | BC0006801 BW1404301 | EDMW | W_U_MON3 W_U_MON4 W_U_IMP5 | No additional review overlap | Nr Coal Rd | Ammanford | Carmarrthenshire | SA18 2RH | SN 61746 09744 | SN 62043 09843 | River Loughor | 360 | 10mm | 10mm x 10mm | Unknown | 2802m3 |  |  |  | yes
6DC000368 | HOLT STW | CM0102003 | CM0102001 CM0102003 CM0102002 | FLOW4W EDMW | W_U_MON3 W_U_MON4 | No additional review overlap | Chester Lane, Off Frog Lane | Holt | Wrexham | LL13 9HJ | SJ 40442 54813 | SJ 40399 54435 | River Dee | 19 | N/A | N/A | No Screen | None |  |  |  | yes
5DC2077001 | HOOK STW | BN0000401 | BN0000402 BN0000401 | S8 | W_U_INV W_U_MON3 W_U_MON4 | No additional review overlap | Nr 48, Pill Road | Hook | Haverfordwest | SA61 4AH | SM 98891 11204 | SM 98480 11032 | Sprinkle Pill, a tributary of the river Cleddau | 15.2 | 10mm | 10mm | Unknown | None |  |  |  | yes
6DC001701 | LANGDON STW STORM LANGDON PEMBS | BG0012002 | BG0012001 BG0012002 | EDMW | W_U_MON3 W_U_MON4 W_U_INV | No additional review overlap | Off Unnamed Rd between 'Rose park' and ' Langdon' | Kilgetty | Pembrokeshire | SA68 0NJ | SN 10117 07482 | SN 10082 07451 | River Cresswell | 24.3 | 6mm | 6mm x 6mm | Unknown | 250m3 |  |  |  | yes
6DC001702 | LANSBURY PARK ESTATE | AN0092201 | N/A | EDMW | W_U_INV | No additional review overlap | Nr Rose & Castle Hotel | Bedwas Rd | Caerphilly | CF83 3AS | ST16020 87370 | ST 16001 87371 | River Rhymney | N/A | N/A | N/A | No Screen | None |  |  |  | #N/A
6DC001718 | LETTERSTON WEST WORKS . . | BH0071102 | N/A | EDMW | W_U_MON3 W_U_MON4 W_U_INV | No additional review overlap | Letterston West WwTW | Letterston | Haverfordwest | SA62 5SL | SM 93009 29075 | SM 93447 29464 | Western Cleddau | 24.3 | 6mm | 6mm | 60 | None |  |  |  | #N/A
6DC001729 | LLAN PENMACHNO STW - SCREENED | CG0114602 | N/A | EDMW | W_U_IMP6 W_U_MON3 W_U_MON4 | No additional review overlap | Llan Penmachno WwTW | Penmachno | Conwy | LL24 0PS | SH 79560 51364 | SH 79545 51312 | Afon Machno | 3.82 | 6mm | 6mm x 6mm | Unknown | None |  |  |  | #N/A
6DC001730 | LLANARMON YN IAL WWTW (STORM) | CM0001202 | CM0001201 CM0001202 | EDMW | W_U_MON3 W_U_MON4 W_U_IMP6 | No additional review overlap | Off B5431 | Llanarmon-yn-alm | Mold | CH7 4QY | SJ 19020 55938 | SJ 19009 55938 | River Alyn | 3.4 | 6mm | 6mm x 6mm | Unknown | None |  |  |  | yes
6DC000227 | LLANDEWI BREFI WWTW LLANDEWI BREFI | BP0317101 | BG0023501 BP0317101 | FLOW4W EDMW | W_U_MON3 W_U_MON4 | No additional review overlap | Llandewi Brefi WwTW | Llandewi Brefi | Ceredigion | SY25 6UT | SN 65709 55176 | SN 65736 55158 | Afon Brefi | 3.7 | 6mm | 6mm x 6mm | Unknown | 40m3 |  |  |  | yes
6DC000222 | LLANEDI WWTW | BP0312901 | N/A | FLOW4W EDMW | W_U_MON3 W_U_MON4 W_U_IMP6 | No additional review overlap | Nr Penygraig | Pontardulais | Swansea | SA4 0FQ | SN 57875 07839 | SN 58187 07885 | Afon Gwili | 3.4 | 6mm | 6mm | Unknown | None |  |  |  | #N/A
5DC3120001 | LLANFAGLAN WWTW STORM OVERFLOW | CG0078102 | CG0078101 CG0078102 | S8 | W_U_MON3 W_U_MON4 W_U_INV | No additional review overlap | Adj. Afon Gwyrfai, Saron | Llanfaglan | Caernarfon | LL54 5RD | SH 46864 59447 | SH 46828 59492 | The Afon Gwyrfai | 49 | 6mm | 6mm x 6mm | Unknown | 835m3 |  |  |  | yes
6DC001776 | LLANFOIST SEWAGE TREATMENT WORKS ME | AB0038202 | AB0038201 AB0038202 | EDMW | W_U_MON3 W_U_MON4 W_U_IMP6 | No additional review overlap | Road (Opp Waitrose) Off Merthyr Road | Llanfoist | Abergavenny | NP7 9LQ | SO 3008213206 | SO 29924 13300 | The River Usk | 137 | 6mm | 6mm x 6mm | Unknown | 975m3 |  |  |  | yes
6DC000127 | LLANGADOG STW | BG0040002 | BG0040001 BG0040002 | FLOW4W EDMW | W_U_IMP6 W_UIMP5 W_U_MON3 W_U_MON4 | No additional review overlap | Nr Ty Gwyn | Llangadog | Carmarrthenshire | SA19 9DB | SN 69972 28134 | SN 70043 27974 | River Swadde | 8 | N/A | N/A | No Screen | None |  |  |  | yes
6DC001788 | LLANGAMMARCH WELLS STW EJECTOR | AW1003302 | N/A | EDMW | W_U_MON3 W_U_MON4 W_U_MON5 | No additional review overlap | R/O Irfon House | Llangammarch Wells | Powys | LD4 4EA | SN 93684 47310 | SN 93687 47294 | River Irfon | No copy of consent available | No copy of consent available | No copy of consent available | No copy of consent available | No copy of consent available |  |  |  | #N/A
6DC000677 | LLANGURIG P.S. - OVERFLOW | AN0087501 | N/A | EDM1 | W_U_INV | No additional review overlap | Penybont Farm, A44 | Llangurig | Llanidloes | SY18 6SG | SN 90840 79670 | SN 90947 79765 | River Wye | N/A | N/A | N/A | No Screen | None |  |  |  | #N/A
5DC2216001 | LLANGWM WWTW LLANGWM PEMBROKESH | BP0324601 | BG0042201 BP0324601 | S8 | W_U_MON3 W_U_MON4 | No additional review overlap | 50m SW of No.107, Llangwm Ferry | Llangwm | Haverfordwest | SA62 4JH | SM 99546 08731 | SM 99485 08764 | Beggars Reach, Daugleddau | 21 | 6mm | 6mm | Unknown | 200m3 |  |  |  | yes
6DC000108 | LLANGYNDEYRN STW | BE0039502 | BE0039501 BE0039502 | FLOW4W EDMW | W_U_MON3 W_U_MON4 W_U_IMP6 | No additional review overlap | Nr 3 Maes Y Berllan | Llangydeyrn | Kidwelly | SA17 5BL | SN 45479 13711 | SN 45458 13751 | Gwendraeth Fawr | 3.8 | 6mm | 6mm x 6mm | Unknown | 13.68m3 |  |  |  | yes
6DC001804 | LLANILAR STW LLANILAR ABERYSTWYTH | BP0114701 | N/A | EDMW | W_U_MON3 W_U_MON4 W_U_IMP6 | No additional review overlap | Nr Glan Yr Afon | Llanilar | Aberystwyth | SY23 4PD | SN 62510 75330 | SN 62517 75345 | Ystwyth | N/A | N/A | N/A | No Screen | None |  |  |  | #N/A
6DC001807 | LLANLLYFNI STW | CG0087502 | CG0087501 CG0087502 | EDMW | W_U_MON3 W_U_MON4 W_U_IMP6 | No additional review overlap | Unnamed Rd off A487 | South of Penygroes Ind Est | Llanllyfni | LL54 6SU | SH 46165 52049 | SH 46075 51968 | River Llyfni | 3DWF | N/A | N/A | No Screen | None |  |  |  | yes
7CDC0679 | LLANRUG WWTW STORM | CG0073902 | CG0073901 CG0073902 | EDMW | W_UIMP5 W_U_MON3 W_U_MON4 | No additional review overlap | Off Fford Crawia | Llanrug | Caernarfon | LL55 4BP | SH 53033 64206 | SH 53095 64195 | Afon Rhythallt | 17.6 | 6mm | 6mm x 6mm | Unknown | 370m3 |  |  |  | yes
6DC000511 | LLANRWST STW LLANRWST CONWY | CG0062001 | CG0019101 CG0062001 | S8 | W_U_MON3 W_U_MON4 W_UIMP5 W_U_IMP6 | No additional review overlap | Off Station Rd | Llanrwst | Conwy | LL26 0DS | SH 79477 61781 | SH 79471 61822 | Afon Conwy | 29 | 6mm | 6mm x 6mm | Unknown | 209m3 |  |  |  | yes
7CDC0699 | LLANYSTUMDWY (W PORTHMADOG) A | CG0014301 | CG0014201 CG0014301 | EDMW | W_U_MON3 W_U_MON4 W_UIMP5 W_U_IMP6 | No additional review overlap | Opp Cyrion | Llanstumdwy | Criccieth | LL52 0SY | SH 47307 38381 | SH 47334 38399 | River Dwyfawr | 3.25 | 6mm | 6mm x 6mm | Unknown | 26.6m3 |  |  |  | yes
6DC001984 | NARBERTH WEST STW | BP0219601 | BP0215901 BP0219601 | EDMW | W_U_MON3 W_U_MON4 W_U_IMP5 | No additional review overlap | Nr Stoneditch House | Narberth | Pembrokeshire | SA67 8AG | SN 10280 14197 | SN 10294 14252 | Narberth Brook | 28 | 6mm | 6mm x 6mm | N/A | 316m3 |  |  |  | yes
6DC002012 | NORTHOP WASTEWATER TREATMENT WORKS | CG0429901 | CM0038001 CG0429901 | EDMW | W_U_MON3 W_U_MON4 W_UIMP5 W_U_IMP6 | No additional review overlap | Off N Wales Expy | Mold | Flintshire | CH7 6HN | SJ 25052 68867 | SJ 24950 68610 | Northop Brook | 9.2 | 6mm | 6mm x 6mm | Unknown | 66.2m3 |  |  |  | yes
6DC002037 | OVERTON WWTW (STORM) | CM0188602 | CM0188601 CM0188602 CG0430701 | EDMW FLOW4W | W_U_MON3 W_U_MON4 W_U_IMP6 | No additional review overlap | Mill Wood | Overton | Wrexham | LL13 0EL | SJ 36625 41598 | SJ 371964 1474 | River Dee | 7.97 | 6mm | 6mm x 6mm | Unknown | 57.4m3 |  |  |  | yes
6DC002102 | PENRHOS CAMP STW - SCREENED ST | CG0041302 | CG0041301 CG0041302 | EDMW | W_U_MON3 W_U_MON4 W_U_IMP6 | No additional review overlap | Adj to Llyn Golf | Rhyd-y-clafdy | Gwynedd | LL53 7HN | SH 34007 33821 | SH 33944 33846 | Unnamed tributary of Afon Penrhos | 9.56 | 6mm | 6mm x 6mm | Unknown | None |  |  |  | yes
6DC002164 | PONTLLYFNI STW - SSO PONTLLYFNI , | CG0074602 | CG0074601 CG0074602 CG0074603 | EDMW | W_U_MON3 W_U_MON4 W_UIMP5 W_U_IMP6 | No additional review overlap | Up path Opp 18 Garth Estate | Pontllyfni | Gwynedd | LL54 5EL | SH 43353 52777 | SH 43327 52781 | Afon Llyfni | 2.5 | 6mm | 6mm x 6mm | Unknown | None |  |  |  | yes
6DC002174 | PONTSTICILL WWTW | AN0356601 | AG0007801 AN0356601 | EDMW | W_U_MON3 W_U_MON4 W_U_IMP5 | No additional review overlap | Nr 3 Castell Morlais | Pontsticill | Merthyr Tydfil | CF48 2UN | SO 06031 11181 | SO 05863 11240 | Taf Fechan | 3.9 | 6mm | 6mm x 6mm | Unknown | 27.8m3 |  |  |  | yes
6DC000216 | PONTYBEREM WASTE WATER TREATMENT WK | BP0304601 | BC0021001 BP0304601 BW2202401 | FLOW4 EDMW | W_U_MON3 W_U_MON4 | No additional review overlap | Nr 1 Railway Terrace | Pontyberem | Llanelli | SA15 5HN | SN 49446 10802 | SN 49434 10826 | Gwendraeth Fawr | 114 | 6mm | 6mm x 6mm | Unknown | 1000m3 |  |  |  | yes
6DC002267 | REGENT ST CSO TREORCHY RHONDDA | AN0110901 | N/A | EDMW | W_U_INV | No additional review overlap | Rear 47, Regent St | Treorchy | RCT | CF42 6UD | SS 96332 96439 | SS9631096460 | The Rhondda River Fawr | 240 | 6mm | 6mm x 6mm | Unknown | None |  |  |  | #N/A
7CDC0905 | RHIWSAESON STW RHIWSAESON LLANTRI | AG0019402 | AN0249201 AG0019402 | EDMW | W_WFD_PD_IMP W_UMON4 W_U_MON3 | No additional review overlap | Rhiwsaeson | Creigiau | Nr Llantrisant | CF72 8NZ | ST 07110 82670 | ST 07174 82665 | River Clun | 139 | 12mm | 12mm x 12mm | Unknown | None |  |  |  | yes
7CDC0914 | RHYDLEWIS | BP0013502 | BP0013501 BP0013502 BP0013505 | FLOW4W EDMW | W_U_IMP6 W_U_MON3 W_U_MON4 W_U_INV | No additional review overlap | Opp 'Delfryd' | Rhydlewis | Llandysul | SA44 5SN | SN 34590 47299 | SN 34609 47297 | Nant Coll | 3.2 | N/A | N/A | No Screen | None |  |  |  | yes
7CDC0942 | SENNYBRIDGE ARMY CAMP | AN0246901 | AC0140301 AD0000601 AN0246901 | EDMW | W_U_MON3 W_U_MON4 W_U_IMP6 | No additional review overlap | Sennybridge Army Camp | Sennybridge | Brecon | LD3 8TS | SN 92504 29398 | SN 92465 29424 | River Usk | 12 | 6mm | 6mm COPA | Unknown | None |  |  |  | yes
6DC002375 | SOLVA P.S. | BP0111701 | N/A | EDMW | W_U_MON3 W_U_MON4 W_U_IMP6 | No additional review overlap | Nr 27 Main St | Solva | Haverfordwest | SA62 6UU | SM 80554 24286 | SM 80540 24313 | Tidal River Solva | N/A | N/A | N/A | No Screen | None |  |  |  | #N/A
7CDC0955 | SPITTAL WWTW SPITTAL PEMBS | BG0016902 | N/A | FLOW4W EDMW | W_U_IMP6 W_U_INV W_U_MON3 W_U_MON4 | No additional review overlap | Off The Close (Past 'Willersey') | Spittal | Haverfordwest | SA62 5QH | SM 97348 22501 | SM 97435 22631 | Tributary of Rubaxton Water | 4.4 | 10mm | 10mm x 10mm | Unknown | None |  |  |  | #N/A
6DC000398 | ST DOGMAELS NORTH END PS CSO AND EO | BP0318101 | N/A |  |  | No additional review overlap | Opp house 'Trewylan', Glanteifion (B4546) | St Dogmaels | Cardigan | SA43 3GF | SN 16333 46907 | SN 16330 46918 | The River Teifi | 5 | 6mm | 6mm x 6mm | Unknown | 100m3 |  |  |  | #N/A
6DC002428 | STORMWATER OVERFLOWS | AE2017201 | N/A | EDMW | W_U_INV | No additional review overlap | Near Red Roses House, Began Road | Old St. Mellons | Cardiff | CF3 6XJ | ST 22464 82633 | ST 22840 82748 | River Rhymney | 6DWF | N/A | N/A | No Screen | None |  |  |  | #N/A
6DC000750 | SWO NO 11 NR GLANYRAFON CWMLLY | BW1404001 | N/A | EDM1 | W_U_INV | No additional review overlap | 7, New Road | Cymllynfell | Swansea | SA9 2FA | SN 74790 12490 | SN 74802 12488 | Nant Llynfell | N/A | N/A | N/A | No Screen | None |  |  |  | #N/A
6DC002474 | TALYBONT SEWAGE TREATMENT WORKS TAL | AD0001702 | AD0001701 AD0001702 | EDMW | W_U_MON3 W_U_MON4 W_U_IMP5 | No additional review overlap | Maesmawr Lane | Talybont on Usk | Brecon | LD3 7JG | SO 12069 23056 | SO 12039 22804 | Caerfanell | 2.6 | 6mm | 6mm x 6mm | Unknown | 26.7m3 |  |  |  | yes
7CDC1008 | TAVERNSPITE STW | BH0056202 | BH0056201 BH0056202 | EDMW | W_U_IMP6 W_UIMP5 W_U_MON3 W_U_MON4 W_U_INV | No additional review overlap | Tavernspite STW | Whitland | Pembrokeshire | SA34 0NJ | SN 18213 13347 | SN 18249 13117 | Afon Cwm-Waun-Gron | 1.8 | 6mm | 6mm | Unknown | 6.84m3 |  |  |  | yes
5DC3275001 | TREBORTH STW (FINAL) BANGOR | CG0366101 | CG0366001 CG0366101 CG0366201 | S8 | W_U_MON3 W_U_MON4 W_U_INV | No additional review overlap | Ffordd Y Llynn | Parc Menai | Bangor | LL57 4FH | SH 5379 7085 | SH 54405 70261 | The Menai Strait | 285.5 | N/A | N/A | No Screen | 2304m3 |  |  |  | yes
6DC002534 | TREGARON WWTW TREGARON CEREDIGION | BH0057901 | BH0057801 BH0057901 | EDMW | W_U_IMP6 W_UIMP5 W_U_MON3 W_U_MON4 | No additional review overlap | Nr Ystrad Caron | Tregaron | Dyfed | SY25 6HG | SN 67261 59165 | SN 67335 59312 | Afon Teifi | 14 | 6mm | 6mm | Unknown | 54m3 |  |  |  | yes
| Deri CSO | EPR/AB3397HZ | N/A | EDMW |  | No additional review overlap | 9 Riverside Walk | Deri | Bargoed | CF81 9GZ | SO 12950 01590 | SO 12935 01602 | Nant Bargoed Rhymni | 152 | 6mm | 6mm x 6mm | 142 | None |  |  |  | #N/A
6DC000289 | TREGARTH WWTW STORM TANKS | CG0083802 | CG0133701 CG0083802 | FLOW4 EDMW | W_U_MON3 W_U_MON4 W_U_IMP6 | No additional review overlap | Nr Dinas Camping site | Halfway Bridge | Tregarth | LL57 4NB | SH 60806 68714 | SH 60794 68550 | Afon Ogwen | 22.9 | 6mm | 6mm x 6mm | Unknown | 80m3 |  |  |  | yes
5DC3244001 | TYWYN STW MORFA GWYLLT TYWYN | CG0351403 | CG0351402 | rB5 | W_U_MON3 W_U_MON4 W_U_INV | No additional review overlap | NW of Morfa Camp (Barracks) | Tywyn | Gwynedd | LL36 9AU | SH 57051 01851 | SH 57189 01865 | Dysynni Low Level drainage Channel | 159 | 10mm | 10mm | Unknown | 400m3 |  |  |  | #N/A
Note on F1: Evans Vyvyan: MON3 & MON$ would be aplied for in 1 permit change so count as 1

## Sheet2
CM0055401
CM0017801
CM0082201
CG0366001
CG0377601
AN0010101
AG0004501
AN0033701
AH1001101
AB0067101
AB0064101
AN0280001
AN0303701
BC0006801
BC0003001
BB0083301
BP0252601
BP0236601
BP0284701
CM0077801
CG0314401
CM0031001
CM0029801
CM0040601
CM0069001
CM0081001
AB0041501
AG0008301
AN0228301
AB0038201
AS1003201
AS1003301
AN0249201
AS1003701
BC0018601
BP0000101
BJ0087401
BH0053401
BC0016601
BF0169101
BP0228201
BP0250801
BG0033101
BP0251904
CG0432901
CG0078001
CG0078501
CM0037001
CM0058401
CM0082501
CM0073101
BH0060601
CG0077001
CG0019101
CM0001501
CG0089101
CG0073901
CG0083701
CG0093701
CG0083001
CG0084501
CM0014201
CG0144801
CG0083401
CG0082501 CG0082502
CG0043701
CG0078101
CM0026301
CM0075801
CM0017601
CG0051701
CM0078101
CG0133701
CM0005401
CG0129801
CG0341601
CG0342901
CG0351401
CG0362401
AB0034101
AL1000602
AC0085601
AW1000701
AF3010501
AN0032201
AC0094701
AW1002301
AH1001901
AL1001501
AW1002901
AS1002901
AH1002201
AW1005101
AW1005201
AE2021601
AW1005301
AB0044801
AN0419501
BP0054601
BH0074101
BC0001501
BA2001101
BA1005701
BH0065401
BJ0091501
BF0147002
BP0045001
BN0202701
BC0006501
BP0215901
BH0069602
BC0013401
BE0000206
BC0021001
BA2001301
BP0054701
BP0062701
BG0024501
BC0019001
BP0063701
BP0237901
BP0261001
BW5103201
BP0284201
CG0141401
CG0426601
NPSWQD004679
CG0081101
CG0087501
CM0101301
CG0069901
CM0028601
CM0035901
CG0114101
CM0077501
CM0105501
CG0381901
CG0144401
CG0099001
CG0043601
CG0075501
CG0076601
CG0058301
CG0084901
CG0115101
CG0094101
CG0058001
CG0108201
CG0134401
CG0074601
CG0015001
CG0075401
CG0076001
CM0101501
CM0004201
CM0009001
CG0024001
CG0076201
CM0102001
CM0060701
CM0018301
CG0059601
CG0012201
CM0000501
CM0021801
CG0058801
CG0114201
CM0079601
CM0062601
CM0066101
CG0114501
CG0058101
CM0038001
CM0188601
CM0057101
CM0118501
CM0006001
CG0030801
CG0086001
CM0021601
CG0109401
CG0084201
CG0134001
CG0041301
CG0073301
CG0340901
CG0325001
CG0383801
AL1000401
AB0049501
AH1000401
AW1001101
AG0017801
AN0218201
AH1000901
AS1001101
AC0116401
AH1001201
AL1001401
AD0002501
AS1002201
AB0046601
AW1003901
AL1001701
AW1004401
AH1002901
AH1003001
AG0011401
AH1003301
AC0140201
AS1003901
AC0140301
AL1002701
AS1004501
AN0024001
AS1004901
AF4021601
AL1003501
AN0180901
BA1002401
AN0231301
AB0043501
BN0112801
BP0034001
BP0044201
BC0017801
BP0217801
BG0029501
BP0044401
BC0010601
BP0234401
BJ0087001
BP0060301
BN0013701
BN0000402
BG0012001
BH0060005
BH0071101
BE0027201
BG0010201
BP0015201
BG0040001
BG0042201
BN0099101
BE0006405
BC0001601
BN0049101
BJ0091401
BG0024901
BN0002601
BH0055701
BP0054801
BG0007801
BJ0084201
BN0040202
BC0002501
BL0138601
BH0056001
BH0056201
BN0166701
BH0057801
BP0063101
BL0138501
BA1015401
BH0068601
BN0160301
BP0101201
BP0063501
CG0138301
CG0138201
CG0138701
CG0122001
CM0028801
CG0114001
CM0107601
CM0080401
CM0044201
CM0071301
CM0049001
CM0066501
CM0024401
CM0021401
CG0030701
CG0089401
CG0015401
CG0088601
CG0019201
CG0111201
CM0021501
CG0061901
CM0062801
CG0114301
CG0071401
CM0188501
CM0019301
CM0052101
CG0086701
CG0075901
CM0029001
CM0007901
CG0014001
CG0072901
CG0012401
CG0080001
CG0060501
CM0022001
CG0012601
CM0049401
CM0045201
CM0012701
CG0014201
CG0013501
CM0043501
CM0063901
CG0134101
CG0056901
CM0009601
CG0145201
CM0072001
CM0079101
CM0003401
CM0018901
CM0000801
CG0140001
CG0114601
AW1000301
AL1000301
AG0011801
AW1000901
AA0001901
AL1001001
AS1000701
AW1002101
AH1001001
AB0076001
AH1002001
AG0009201
AB0046101
AW1003301
AW1004001
AW1004201
AL1001801
AW1004501
AW1004701
AL1002401
AG0011001
AG0007801
AH1003701
AS1004101
AG0008501
AG0013201
AD0001701
AH1003901
BG0019601
BN0269701
BN0015801
BN0010301
BN0021602
BG0004901
BE0042501
BN0008101
BG0014501
BG0028101
BG0046401
BG0027001
BG0019001
BN0005601
BP0064001
BG0016701
BG0018701
BH0066901
BP0087901
BG0022401
BG0023501
BN0020802
BN0002901
BN0002701
BE0039501
BC0015401
BC0006101
BK0111901
BG0027301
BG0000401
BG0022701
BG0009701
BG0037101
BG0037301
BP0054901
BG0036101
BA2014001
BN0000701
BN0072501
BN0280301
BP0054501
BG0000501
BG0016901
BG0011501
BN0085301
BH0052401
BP0101301
BP0211901
CG0396901
BP0062301
CG0082001
CG0111901
CM0001201
CM0149301
CG0314701
CG0073501
CM0190301
CG0358501
AS1001001
AA0000701
AB0072701
CG0314301
CG0081001
CG0089301
CG0033501
CM0027201
CM0022101
CG0071301
CG0078901
CM0013201
CG0075801
CG0040501
CM0109001
CM0028701
CG0027601
CM0027701
CG0081501
CG0012901
CG0109801
CG0029101
CG0107701
CG0156001
CG0086501
CM0095301
CG0169701
CM0160701
CG0085601
CG0078701
EPR/ZE5397ST
CG0110101
CM0009201
CM0022601
CM0026801
CM0095101
CM0112101
CM0155401
CM0044301
CM0094201
CM0077301
CG0108301
CG0073701
CM0115201
CM0110201
CG0110901
CM0116001
CM0095701
CG0070001
CG0014601
CG0013001
CM0014501
CG0109601
CM0094401
CG0076501
CM0038801
CG0012701
CG0110001
EPR/EE5097SX/A001
EPR/EE5597SV
CG0156201
CM0108901
CG0029001
CG0080501
CG0064201
CG0108901
CG0108801
CM0045101
CM0095001
CM0094301
CM0145301
CM0044801
CG0035301
CM0123501
CG0110201
CM0011801
CM0111801
CM0077901
CG0108101
CM0022201
CM0055301
CM0018801
CG0077201
CM0095501
CG0113301
CG0312701
CM0072901
CG0314302
CM0021701
CM0155301
CG0023901
CG0077501
CG0022801
CG0155401
CG0012301
CG0109001
CM0045401
CG0013601
CG0013901
CM0183401
CG0139201
CM0094501
CG0035201
CG0077701
CM0095201
CG0110501
CG0145001
CM0021901
CG0109501
CG0014401
CG0110601
CG0024101
CG0110701
CG0155901
CM0116701
CG0110801
CM0001601
CG0082201
EPR/CP3020XK
CG0109101
CG0155801
CG0023501
CG0155301
CM0001301
CG0074501
CG0111801
CM0026601
CM0095601
CM0032401
CM0003701
CM0149401
CM0155201
CM0018701
CM0151001
CM0066201
C16890771
CG0078201
CM0104201
CM0067501
CG0134901
CG0171901
CG0158701
CG0133001
CG0126301
EPR/ZE5497SF
EPR/ZE5797SW
CM0190101
S/04/55087/SG
S/04/12512/R
CM0190001
CM0189901
EPR/ZE5597SZ
CG0139001
CM0190201
AN0178601
EPR/CE5297SK
AA0026701
AW1000101
AW1000501
AG0011901
AL1000501
AN0023401
EPR/BP3226XQ
AN0120801
AN0150501
AA0017501
AW1000601
AL1000901
AB0050201
AW1001001
AN0179801
AN0035901
AD0000701
AL1000801
AC0098201
AH1000501
AN0263201
AH1000701
AG0010801
AF4027601
AH1000801
AL1001201
AN0179501
AN0024401
AW1001401
AW1001501
AN0179601
AN0179701
AW1002001
EPR/BP3226GX
EPR/BP3228GH
AS1001201
AA0027601
AD0018101
AW1002201
AB0058501
AN0146001
EPR/CE5997SJ
AH1001402
AN0322701
AN01465
AW1002501
AL1001301
AH1001701
AH1001501
EPR/HE5197SF/A001
AH1001801
AN0038101
AG0014601
AC0091901
AA0003101
AW1002601
EPR/TE5097SY
AC0140701
AS1002101
AW1002801
AW1002701
AD0001501
AW1003001
AA0015101
AW1003201
AD0002101
AS1002501
AC0141001
AW1003501
AW1003601
AW1003701
AD0004201
AB0043401
AN0106401
AB0056601
AS1002301
AS1002601
AS1002801
AW1003801
AW1004101
AG0010901
AH1002101
AA0012101
AL1001901
AN0325201
AH1002301
AH1002401
AL1002001
AL1002301
AN0133901
AH1002801
AW1004901
AW1005001
AN0098001
AD0010801
AL1002501
AS1003401
AH1003101
AG0011101
EPR/BB3291HP
AH1003201
AL1002601
AS1003601
AN0121501
AA0002301
AS1004601
AH1004801
AL1002901
AN0150301
AL5000201
AH1003401
AL1003101
AN0150601
AW2000201
AN0179101
EPR/BP3227GK
AD0000901
AA0001501
AN0214601
AN0106601
AN0149701
AL1003401
AN0121101
AW1001701
AH1003801
AN0178801
AN0146001
AN0145901
AN0115601
AN0214001
EPR.HE5897SB/A001
BM0028101
BG0034501
BA2001201
BN0007002
BN0037001
BG0001101
BJ0078601
BG0001201
BN0000302
BJ0078701
BP0254001
BN0042101
BG0002201
BN0054901
BG0034601
BG0003501
BH0050901
BN0168801
BP0152501
BG0038701
BJ0076101
BN0072901
BN0103601
BC0015601
BN0018001
BJ0076001
BN0059501
BG0047901
BN0077501
BC0020401
BH0073201
BJ0075601
BA2026901
BH0072801
BE0016301
BG0018801
BJ0078801
BG0043501
BP0164501
BG0023601
BP0044503
BG0013201
BH0070801
BN0077601
BG0021501
BN0095701
BH0062601
BN0269501
BG0036801
BP0366401
BP0063802
BP0253501
BG0010301
BH0050801
BN0000501
BD0031001
BP0219501
BG0014001
BN0077102
BN0015601
BG0004401
BG0023001
BN0077401
BG0017601
BH0050701
BG0029101
BG0038101
BP0216201
BN0267001
BP0219002
BG0022201
BJ0079201
BP0217701
BG0011001
BG0025601
BG0013101
BJ0075101
BN0071601
BN0269401
BP0164601
BN0267101
BH0073801
BN0083801
BH0073901
BA1014501
BB4018701
BN0267201
BP0095901
BP0013501
BP0014601
BP0072801
BP0234701
BP0230101
EPR/CP3021GW
AN0297001
CG0138601
AN0354001
BP0313101
BP0250901
AN0180001
AC0091401
CM0016301
CG0328301
CG0110301
CM0074401
CG0108601
EPR/NE5697SL
EPR/NE5497SQ
CG0404501
CM0017802
CM0082301
CG0366101
CG0377602
AG0004601
AF4001901
AB0067102
AA0026501
AN0280002
BW1404301
BW2304001
BW3206201
BP0236602
BP0287601
CM0005702
CG0391301
CM0031002
CG0382601
CG0382101
AB0041502
AF3026401
AN0228302
AB0038202
AN0353501
AS1003301
AG0019402
AN0084101
BP0341501
BP0271001
BJ0087402
BC0016601
BP0250802
BG0033102
BP0251902
CG0078002
CG0078502
CM0058402
CM0082601
CG0062001
CG0428901
CG0089102
CG0073902
CG0083002
CG0084502
CG0362601
CG0083402
CG0043702
CG0078102
CG0428501
CM0017602
CG0051702
CG0083802
CM0005501
CG0129901
CG0341602
CG0342902
CG0351403
AB0034102
NPSWQD009905
AC0085602
AF4024801
AC0094702
AN0353201
AN0357501
AN0084001
AN0357101
AN0391701
AW1005202
AN0373401
AB0044802
BP0271801
BP0275401
BP0265601
BP0269101
BN0194103
BN0036001
BP0045002
BN0202702
BP0219601
BP0347501
BP0328501
BP0304601
BP0341401
BP0062702
BP0315501
BP0238001
BP0284301
CG0393801
CG0427101
CG0081201
CG0087502
CG0405901
CG0437401
CM0028602
CM0035902
CG0114102
CG0326001
CG0428601
CG0058302
CG0428701
CG0115102
CG0326101
CG0325501
CG0074602
CG0406401
CM0102003
CM0060702
CM0018302
CG0058803
CG0114202
CM0079701
CG0114504
CG0429901
CM0188602
CG0030802
CG0086002
CM0021602
CG0134002
CG0041302
CG0364501
CG0340901
AB0049401
AN0226801
AN0390901
AN0379201
AD0003001
AN0391001
AB0036502
AS1003902
AD0000601
AN0272501
AN0266101
BP0350601
BP0215001
BP0361501
BP0217802
BP0044402
BP0318001
BP0063202
BN0169301
EPR/DB3297TS
BN0000401
BG0012002
BP0270701
BP0220701
BP0015204
BG0040002
BP0324601
EPR/FB3690HH
BP0340501
BP0324301
BP0274701
BG0007805
BJ0084202
BP0232001
BH0056202
BN0166702
BH0057901
BP0296201
BL0138502
BG0011602
BP0101202
CG0413701
CG0463501
CG0439001
CG0448201
CG0114002
CG0030702
CG0015501
CG0462901
CG0019202
CG0431301
CG0071501
CG0438301
CG0086702
CM0009501
EPR/AB3292HB
CG0369901
CG0014301
CM0063902
CG0134102
CM0079201
CG0406301
CG0114601
AN0330101
AW1004002
AN0390301
AN0356601
AN0338901
EPR/AB5399CV
AD0001702
BP0312801
BN0269702
BP0272401
BP0361601
BG0014502
BP0317301
BG0046402
BG0027002
BP0308501
BP0345801
BG0016702
BP0210201
BP0339101
BP0317101
BN0020801
BP0219201
BE0039502
BC0006102
BG0027302
BG0000402
EPR/AB3498ZF
BN0072502
BH0052401
BP0224701
CG0397001
CG0337001
CM0001202
CM0149302
CG0314702
CG0453701
CG0363001
CG0029102
CM0160702
CM0184701
CG0110902
CG0014501
CG0429001
CM0072902
CM0183402
AN0232101
AD0000801
AN0226701
AD0001001
EPR/XE5897SW
BG0001202
BP0167801
BG0034602
BP0349901
BP0218501
BP0239802
BP0314101
BP0348601
BP0044502
BG0013202
BP0340601
BG0036802
NPSWQD009365
BP0219502
BN0015602
BN0077402
BP0216202
BP0219001
BG0022202
BP0217702
BP0350501
BG0013102
BP0219401
BH0073802
BP0013502
CG0404501
CG0367201
CG0366201
CG0377701
AB0064001
AN0280003
BP0271401
BP0287701
AN0294201
AN0084101
BP0271001
BP0250803
CG0083004
CG0084503
CG0432201
CG0351402
EPR/ZB3090HA
BP0265701
BW2202401
CG0393901
CG0058303
CG0074603
CM0102002
CG0430701
CM0021603
AN0246901
BP0220801
BP0015203
BG0007804
BP0101203
CG0438901
CG0035501
CG0060601
CM0063903
AN0333401
EPR/AB3599CV
CG0397101
CG0337002
CM0183403
BP0044501
BP0253601
BP0013505
AN0294101
CG0375401
CG0431501
CG0099501
AN0333501
Note on A601: Dillon Martyn: Works abandoned, replaced by GARWAY (FAIRVIEW) WwTW, HEREFORDSHIRE, HR2 8RQ, located to rear of Nr. 3 Fairview, Garway, Herefordshire.