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Advertisement of a draft determination: Drax
Power Limited

Application number: PAN - 002854

Regulated facility type: SL1A (1) - Burning any fuel in an appliance with a
thermal input of 50 megawatts or more.

Regulated facility location: Main Avenue, Hirwaun Industrial Estate, Hirwaun,
Aberdare, CF44 SUP

‘The installation will use a single open cycle gas turbine that will have a net
thermal input of 760MW burning natural gas. Fuel will be burnt in the
combustion chamber from where hot gases expand through the gas
turbine driving an electrical generator producing up to 299MW electrical
output.

The plant and process have been designed as a peaking power station for
the supply of electricity to the National Electricity Transmission System for
up to 1500 hours per year (1,500 hours per year as a five-year rolling
average) at times of high demand or during periods of instability in the
grid.

We are minded to grant the permit. We will only grant a permit if we believe
that significant pollution will not be caused and the operator has the ability
to meet the conditions of the permit. Any permit we grant will include
appropriate conditions to protect human health and the environment.

Information placed in the public register for consultation:

* Draft permit
* Draft deci

document

You may get a copy of documents on our public register. We may charge to
cover copying costs. Alternatively, if you would prefer an electronic copy of
the application, please em:

us at the address below.

You can also request a CD of the draft permit and draft decision by
contacting us by email or in writing using the contact details below.

If you have any comments, please send these by 04/06/2019.




