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Date:

19 June 2017



Dear Sir

Environmental Permitting (England and Wales) Regulations 2016
Failure to Comply with Permit Condition
Sample taken from Coed y Mwstwr Hotel STW on the 28th April and 9th May 2017
The attached analytical report indicates that a sample taken of the discharge from Coed y Mwstwr Hotel  STW on the 28th April and 9th May 2017 for which you hold the permit, exceeded the permitted limits. 

These results, together with all other results taken for the purpose of permit monitoring, will form part of the public register held by Natural Resources Wales and are available for inspection by any member of the public.

Please let me know within fourteen days the reason for this failure and the steps that you intend to take or have taken to prevent recurrence. I shall have regard to your response when determining what further action we may take to ensure compliance with the consent

Yours faithfully

Pippa Sabine
Environment Officer

Tel:- 03000 653303
E-Mail:- pippa.sabine@cyfoethnaturiolcymru.gov.uk

Maes Newydd, Llandarcy, Neath Port Talbot, SA10 6JQ.

Customer services line: 03000 0653000
Email: enquiries@naturalresourceswales.gov.uk

www.naturalresourceswales.gov.uk
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