# Natural Resources Wales permitting decisions

# Bespoke permit

We have decided to grant the permit for Land at Cefn Field, Guddr Farm, Llanbedr, Crickhowell, Powys, NP8 1TA operated by Mr. Richard Powell; Mr. Kevin Powell; Miss. Emma Powell. The application number is PAN-020880.

The permit number is EPR/CB3994ZE.

The permit regulates a new bespoke discharge of diluted Organophosphate waste sheep dip to ground using a vacuum tanker onto a minimum disposal area measured at 0.2 hectares. The discharge will be diluted 3 parts slurry or water (3 cubic metres) to 1 part working strength dip (1 cubic metre). The applicant intends to dip once per annum and thus a maximum total volume of 4 cubic metres (diluted) is to be dispersed.

We consider in reaching that decision we have taken into account all relevant considerations and legal requirements and that the permit will ensure that the appropriate level of environmental protection is provided.

Purpose of this document

This decision document:

- explains how the application has been determined

- provides a record of the decision-making process

- shows how all relevant factors have been taken into account

- justifies the specific conditions in the permit other than those in our generic permit template.

Unless the decision document specifies otherwise we have accepted the applicant’s proposals.

Structure of this document

- Annex 1 the decision checklist.

- Annex 2 the consultation responses.

# Annex 1: decision checklist

This checklist should be read in conjunction with the Duly Making checklist.

| ### Aspect | ### Justification / Detail | Criteria met |
| --- | --- | --- |
|  |  | Yes |
| Consultation |  |  |  |
| Scope of consultation | The consultation requirements were identified and implemented. The decision was taken in accordance with RGN 6 High Profile Sites, our Public Participation Statement and our Working Together Agreements. | ü |
| ### Responses to consultation and web publicising | The web publicising and consultation responses (Annex 2) were taken into account in the decision. No web consultation reponses were received. The decision was taken in accordance with our guidance. | ü |
| Operator |  |  |  |
| Control of the facility | We are satisfied that the applicant (now the operator) is the person who will have control over the operation of the facility after the grant of the permit. The decision was taken in accordance with EPR RGN 1 Understanding the meaning of operator. | ü |
| European Directives |  |  |  |
| Applicable directives | All applicable European directives have been considered in the determination of the application. | ü |
| The site |  |  |  |
| Extent of the site of the facility | The operator has provided a plan which we consider is satisfactory, showing the extent of the site of the facility including discharge points. A plan is included in the permit and the operator is required to carry on the permitted activities within the site boundary. | ü |
| Biodiversity, Heritage, Landscape and Nature Conservation and a designated site under the Wildlife and Countryside Act. | The application is within the relevant distance criteria of a site of heritage, landscape or nature conservation, and/or protected species or habitat. Formal consultation has been carried out with CADW and Clwyd-Powys Archaeological Trust. The consultation responses (Annex 2) were taken into account in the permitting decision. A full assessment of the application and its potential to affect the River Usk / Afon Wysg SSSI site has been carried out as part of the permitting process. We consider that the application will not affect the features of the River Usk / Afon Wysg SSSI. | ü |
| Habitat Regulation Assessment for a designated site under the EU Habitats Directive | The project has been screened for likelihood of significant effects and, taking account of the advice received from protected sites advisors, is considered not likely to have a significant effect on any Natura 2000/Ramsar site, as documented in section 3.2 and section 5 of OGN 200 form 1. In light of the conclusions of the in combination assessment and with regard to screening distances, it has been ascertained that the project will not adversely affect the integrity of any Natura 2000/Ramsar site, as documented in section 5 of OGN 200 form 1. | ü |
| Environmental Risk Assessment and operating techniques |  |  |  |
| Environmental risk | We have carried out a risk assessment on behalf of the operator. The operator considers this risk assessment is satisfactory. | ü |
| Operating techniques | We have reviewed the techniques used by the operator and compared these with the relevant guidance notes. The proposed techniques / emission levels for priorities for control are in line with the benchmark levels contained in the TGN and we consider them to represent appropriate techniques for the facility. | ü |
| Operator Competence |  |  |  |
| Environment Management System | There is no known reason to consider that the operator will not have the management systems to enable it to comply with the permit conditions. The decision was taken in accordance with RGN 5 on Operator Competence. | ü |
| Sustainable Management of Natural Resources (SMNR) |  |  |
| Considerations of SMNR - Compliance with our General Purpose | We are satisfied that this decision is compatible with our general purpose of pursuing the sustainable management of natural resources in relation to Wales and applying the principles of sustainable management of natural resources” | ü |
| Environment Wales Act 2016 |  |  |
| Biodiversity and resilience of ecosystems duty | Section 6 of the Environment Wales Act 2016 requires that we seek to maintain and enhance biodiversity in the exercise of our functions, and in so doing promote the resilience of ecosystems, in a manner that is consistent with the proper exercise of our functions. NRW is satisfied that in this case, we have taken into account and had due regard to this duty in so far as it is consistent with the function of determining an application for a groundwater discharge activity permit under EPR2016. | ü |

# Annex 2: Consultation and web publicising advertising responses

Summary of responses to consultation and web publication advertising and the way in which we have taken these into account in the determination process.

Response received from

Clwyd-Powys Archaeological Trust

Brief summary of issues raised

No issues raised

Summary of actions taken or show how this has been covered

We have no concerns about the application.

Response received from

CADW

Brief summary of issues raised

No issues raised

Summary of actions taken or show how this has been covered

Thank you for your email below. Scheduled Monuments BR005 Crickhowell Bridge BR010 Battle Tump BR016 Gwernvale chambered cairn BR028 Garn Coch BR055 Maes-Celyn Castle Mound BR056 Hen Castell BR061 Coed Cefn hillfort BR111 Crickhowell Castle BR113 Cwrt-y-Gollen Standing Stone BR114 Porth Mawr BR128 Crug Hywel Camp BR171 Standing Stone N of Golden Grove BR301 Great Oak Road standing stone BR318 Mynydd Pen-y-fal round cairns MM273 The Graig Settlement Registered Parks and Gardens PGW(Po)2(POW) Llangattock Park PGW(Po)44(POW) Glangrwyney Court PGW(Po)45(POW) Plas Llangattock 209 Listed Buildings The above designated historic assets are located inside 3km of the proposed area of disposal. Intervening topography, buildings and vegetation means the majority are not either inter-visible or affected by other sensory concerns. Those designated historic assets which are inter-visible are at distances such that the proposed work will have no effect on the way these assets are experienced, understood, and appreciated. Consequently, the proposed development will have no impact on the settings of the above designated historic assets. We therefore have no objections.