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[bookmark: _Toc5027367]NRW Led Variation   
[bookmark: _Toc5027368]The variation number is: EPR-EP3230BW-V008
[bookmark: _Toc5027369]The operator is: Envirowales Limited		
[bookmark: _Toc5027370]The Installation is located at: Rassau Recycling Facility, Plateaux 1 & 2, Rassau Industrial Estate, Ebbw Vales, Blaenau Gwent, NP23 5SD.

We have decided to issue an Natural Resources Wales initiated variation for Rassau Recycling Facility operated by Envirowales Limited.

We consider in reaching that decision we have taken into account all relevant considerations and legal requirements and that the permit will ensure that the appropriate level of environmental protection is provided.

[bookmark: _Toc5027371]Purpose of this document

This decision document:
explains how the application has been determined
provides a record of the decision-making process
shows how all relevant factors have been taken into account
Unless the decision document specifies otherwise we have accepted the applicant’s proposals.


[bookmark: _Toc5027372]Key issues of the decision
[bookmark: _Toc453078000]

[bookmark: _Toc5027373]Why the variation is needed
This is an Natural Resources Wales (NRW) led variation of the Rassau Recycling Facility permit – EP3230BW. Permitting received the variation request from the Taff & Ely Industry and Waste Regulation Team (01/10/2018).

The operator has notified NRW that there are errors in the monitoring requirements of the Permit included during the last IED permit variation (V007). NRW have also been in discussion with Environment Agency regarding consistency with a similar installation in England.

The operator also discussed adding a waste code that is currently not on the Permit. NRW have agreed a trial for this waste in conjunction and support from EPP and Ops. 

[bookmark: _Toc5027374]The changes
The variation amends Schedule 3a – Emissions and monitoring – Emissions until 29th June 2020. Schedule 3 from the previous permit EPR/EP3230BW/V006 has been reinstated in monitoring section Schedule 3a to correct an error in EPR/EP3230BW/V007 and fix incorrect monitoring standards for some parameters.

In addition, improvement condition IC3 and waste code 10 02 07* have been added to the permit as Natural Resources Wales have agreed to a trial for the acceptance and use of this waste type. Waste coded 10 02 07* is solid wastes from gas treatment containing dangerous substances in the process to recover lead. The conditions for the use of waste code 10 02 07* have been specified in IC3. Only upon written approval from Natural Resources Wales will the waste code 10 02 07* be valid in the permit.

This variation also adds omitted R&D Codes to Table S1.1 and Directly Associated Activity.

[bookmark: _Toc5027375]The site
There will be no change in the permit installation boundary as a result of this variation.

Recovery and Disposal Codes
Omitted R&D codes have been inserted as part of the variation. R4 has been included in Table S1.1 and R3, R5, R11 and D12 have been included in Directly Associated Activities.

Waste types
We have specified the permitted waste types, descriptions and quantities, which can be accepted at the regulated facility.

Only upon completion of IC3 (Annex 1) and upon written approval from Natural Resources Wales will the waste code 10 02 07* be valid in the permit.

[bookmark: _Toc5027378]Improvement conditions
Improvement condition IC3 has been added as part of the variation. Details of the improvement condition used can be found at Annex 1. 

Monitoring
Following the operator’s review of the draft permit (12/04/19), a number of problems were found with the monitoring standards within the permit. Most of the issues were due to the operator not using CEMS as the primary monitoring method, hence the operator asking for monitoring standard BS EN 14181 to be removed from the permit. Following discussion with the site officer it was accepted that BS EN 14181 should be removed from Schedule 3 of the permit.

NRW also amended the periodic monitoring standard for VOC and NOx as they were incorrect in V007. None of the limit values were changed as a result of this NRW led Variation. The changes in monitoring requirements will not cause harm to the environment or human health.
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[bookmark: _Toc453078001][bookmark: _Toc5027379]ANNEX 1:	Improvement Conditions

 
	IC3
	Natural Resources Wales have agreed with the operator (August 2018) a trial for the acceptance and use of waste coded 10 02 07*. On completion of the trial the operator shall submit, for approval by Natural Resources Wales, a detailed report including but not limited to, quantities accepted and used, plant modification required, success criteria and any additional monitoring required. The report shall include a timetable to implement any proposed changes as appropriate. 

The operator shall not continue accepting and using waste coded 10 02 07* outside of the trial period until Natural Resources Wales have assessed and approved the submitted report. Only upon written approval from Natural Resources Wales will the waste code 10 02 07* be valid in the permit.
	[bookmark: _GoBack]3rd July 2019 (unless otherwise agreed with Natural Resources Wales)
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