
[image: image1.emf]
Record of a Habitats Regulations Assessment of a project 
OGN 200 Form 1
Document owner: Protected Sites Team, EPP
Version History:
	Document Version
	Date Published
	Summary of Changes

	1.0
	March 2016
	Document created

	1.1
	30 November 2017
	References to the 2010 Habitats Regulations updated to reflect new consolidated version of the regulations which entered into force on 30th November 2017;

References to KSP and National Services Directorates updated to EPP

	1.2
	28 June 2018
	With marked up changes in light of ruling in CJEU case c-323/17 ‘People over Wind’.

	1.3
	27 June 2019
	With marked up changes in light of ruling in CJEU case c-323/17 ‘People over Wind’. See Guidance here


Next review date:  April 2019
[image: image2.emf]
1.
Project Details

	1(a): Project details where an external party has applied to NRW for any form of authorisation

	Application reference number (if applicable)
	PAN-022169

	Date application received
	21/07/2023

	Applicant details
	Hemiko Limited


	Activity proposed


	The Proposed Development will comprise of four 2.74MWth input natural gas fuelled boilers which will expel exhaust gasses to air via individual 3.5m high impeded horizontal louvres. The boilers will be used to provide hot water to the adjacent Viridor Energy-from-Waste facility and will operate for a maximum of 336 hours per year.

The development will result in four new emission points for point source emissions of oxides of nitrogen (NOx) to air. The Applicant has completed detailed air dispersion modelling to assess the impact of nitrogen oxide (NO, expressed as nitrogen dioxide) from these new point sources, leading to potential long- and short-term NO airborne impacts, and long-term nutrient nitrogen and acid deposition impacts on the Severn Estuary SAC / SPA / Ramsar. The dispersion modelling has been completed based on an operating capacity of 336 hours per year and the relevant emission limit value for NOx.

	Relevant legislation 
	Environmental Permit - MCP


	Location
	Site Name: Back-up Energy Centre Cardiff Heat Network Adjacent to Compressor House
Site Central NGR: ST 20277 75202
Vent 1 NGR: ST 20270 75212
Vent 2 NGR: ST 20273 75214
Vent 3 NGR: ST 20288 75197
Vent 4 NGR: ST 20286 75195
[image: image3.png]





	Application documents
	PAN-022169


	Environmental Statement
	N/A


	Pre-application correspondence
	N/A




	NRW team responsible for drafting this HRA report, and name of lead officer
	Victoria Seller
I&RSR Permitting


2.
Determining the need for a Habitats Regulations Assessment

	2.1 Is the whole of the project directly connected with or necessary to the management of one or more Natura 2000 sites, for the purposes of conserving the habitats or species for which the Natura 2000 site(s) is/are designated?

	No

	2.2 Is there a possibility that the project could affect a different Natura 2000 site to the one(s) the project is intended to conserve?
	N/A


	2.3 Is it necessary to carry out an HRA?


	Yes


3.
Considering the likelihood of a significant effect (LSE)

3.1
Renewal of a permission on the same or more restrictive terms as the extant permission
	Is this project a renewal of a current permission which complies with NRW approved criteria for ruling out significant effects of renewals (see section 6.2A of OGN 200) without conducting a project-specific LSE test?
	No


3.2
Likelihood of significant effects (LSE) test
	3.2.1 Which Natura 2000 sites might be affected by the proposal?


	Based on the project specification or information provided in the application, it is considered that the following Natura 2000 sites have features which could be affected by the project: 
· Severn Estuary (Wales) SAC (UK0013030)

· Severn Estuary (Wales) SPA (UK9015022)

· Severn Estuary (Wales) Ramsar (UK11081)


	3.2.2 Screening assessment

	
	Assessment of likelihood of significant effect

	
	I

Relevant conservation objectives


	II

Potential impact pathway


	In light of the ruling of the CJEU in case C-323/17 ‘People over Wind’, avoidance measures should not be considered at this stage of HRA, so this column is left blank.


	Severn Estuary (Wales) SAC (UK0013030)



	1.12 Estuarine & intertidal habitats
	The Severn Estuary / Môr Hafren

European Marine Site

comprising:
· The Severn Estuary / Môr Hafren Special Area of Conservation (SAC)

· The Severn Estuary Special Protection Area (SPA)

· The Severn Estuary / Môr Hafren Ramsar Site

Natural England & the

Countryside Council for Wales’ advice

given under Regulation 33(2)(a) of the Conservation

(Natural Habitats, &c.) Regulations 1994, as amended. June 2009
	
	

	Estuaries
	
	Toxic contamination
The applicant has submitted detailed air emissions modelling for the primary emission of concern for habitat: oxide of nitrogen (NOx).

A long-term critical level (CLe) of 30µg/m3 NOx (annual) and a short-term critical level of 200 µg/m3 NOx (daily) has been assumed for the Severn Estuary SAC. There are two short-term CLes for NOx – 75 µg/m3 and 200 µg/m3. The lower of these only applies in locations where there are elevated background concentrations of ozone (O3) and sulphur dioxide (SO2). The applicant has reviewed the background concentrations of O3 and SO2 in the vicinity of the proposed site and concluded that they are not elevated and has selected to use the upper NOx CLe in their air emissions modelling study as a result. We agree with this approach.
The applicant has created contour maps showing the areas around the site where the predicted process contribution (PC) is >1% and >10% of the annual and hourly NOx CLes respectively. These areas fall outside the boundary of the SAC. 
Therefore impacts from airborne NOx emissions can be screened out as insignificant and there is no likely significant effect on the SAC.
Nutrient enrichment
A nutrient nitrogen critical load (CLo) value of 10 kgN/ha/yr has been assumed for the Severn Estuary SAC. 
The applicant has created a contour map showing the area around the site where the predicted process contribution (PC) is >1% nutrient nitrogen CLo. This area falls outside the boundary of the SAC. 
Therefore, impacts from nutrient nitrogen deposition can be screened out as insignificant and there is no likely significant effect on the SAC.
Habitat loss

Physical damage

There is no impact pathway as no work will be undertaken on the SAC itself
Smothering
There is no impact pathway as there will be no release of dust and particulate from the site
Changes in salinity regime

Changes in thermal regime
Turbidity

Siltation

There is no impact pathway as there will be no releases to water from the site
	

	Subtidal mudflats
	
	
	

	Intertidal mudflats
	
	
	

	Atlantic salt meadows
	
	
	

	1.12 Estuarine & intertidal habitats 1.13 Submerged marine habitats
	
	
	

	Reefs
	
	Toxic contamination

The applicant has submitted detailed air emissions modelling for the primary emission of concern for habitat: oxide of nitrogen (NOx).

A long-term critical level (CLe) of 30µg/m3 NOx (annual) and a short-term critical level of 200 µg/m3 NOx (daily) has been assumed for the Severn Estuary SAC. There are two short-term CLes for NOx – 75 µg/m3 and 200 µg/m3. The lower of these only applies in locations where there are elevated background concentrations of ozone (O3) and sulphur dioxide (SO2). The applicant has reviewed the background concentrations of O3 and SO2 in the vicinity of the proposed site and concluded that they are not elevated and has selected to use the upper NOx CLe in their air emissions modelling study as a result. We agree with this approach.
The applicant has created contour maps showing the areas around the site where the predicted process contribution (PC) is >1% and >10% of the annual and hourly NOx CLes respectively. These areas fall outside the boundary of the SAC. 

Therefore impacts from airborne NOx emissions can be screened out as insignificant and there is no likely significant effect on the SAC.
Nutrient enrichment
A nutrient nitrogen critical load (CLo) value of 10 kgN/ha/yr has been assumed for the Severn Estuary SAC. 

The applicant has created a contour map showing the area around the site where the predicted process contribution (PC) is >1% nutrient nitrogen CLo. This area falls outside the boundary of the SAC. 

Therefore, impacts from nutrient nitrogen deposition can be screened out as insignificant and there is no likely significant effect on the SAC
Habitat loss

Physical damage

There is no impact pathway as no work will be undertaken on the SAC itself
Smothering
There is no impact pathway as there will be no release of dust and particulate from the site
Changes in salinity regime

Changes in thermal regime
Turbidity

Siltation
There is no impact pathway as there will be no releases to water from the site
	

	2.5 Anadromous fish
	
	
	

	River lamprey
	
	Toxic contamination
The applicant has submitted detailed air emissions modelling for the primary emission of concern for habitat: oxide of nitrogen (NOx).

A long-term critical level (CLe) of 30µg/m3 NOx (annual) and a short-term critical level of 200 µg/m3 NOx (daily) has been assumed for the Severn Estuary SAC. There are two short-term CLes for NOx – 75 µg/m3 and 200 µg/m3. The lower of these only applies in locations where there are elevated background concentrations of ozone (O3) and sulphur dioxide (SO2). The applicant has reviewed the background concentrations of O3 and SO2 in the vicinity of the proposed site and concluded that they are not elevated and has selected to use the upper NOx CLe in their air emissions modelling study as a result. We agree with this approach.
The applicant has created contour maps showing the areas around the site where the predicted process contribution (PC) is >1% and >10% of the annual and hourly NOx CLes respectively. These areas fall outside the boundary of the SAC. 

Therefore impacts from airborne NOx emissions can be screened out as insignificant and there is no likely significant effect on the SAC.
Nutrient enrichment
A nutrient nitrogen critical load (CLo) value of 10 kgN/ha/yr has been assumed for the Severn Estuary SAC. 

The applicant has created a contour map showing the area around the site where the predicted process contribution (PC) is >1% nutrient nitrogen CLo. This area falls outside the boundary of the SAC. 

Therefore, impacts from nutrient nitrogen deposition can be screened out as insignificant and there is no likely significant effect on the SAC.
Acidification
The APIS website indicates that the Severn Estuary SAC is sensitive to acid deposition but does not list any CLos for acid deposition for any of the SAC’s designated features. The applicant has therefore taken a precautionary approach and used conservative acid deposition minimum critical load (CLo) values of 0.223 kgeq/ha/yr (minCLminN), 1.063 kgeq/ha/yr (minCLmaxN) and 0.84 kgeq/ha/yr (mionCLmaxS) in their air dispersion modelling study.  
The applicant has created a contour map showing the area around the site where the predicted process contribution (PC) is >1% minCLminN acid deposition CLo, the most stringent of the CLos outlined above. This area falls outside the boundary of the SAC. 

Therefore, impacts from acid deposition can be screened out as insignificant and there is no likely significant effect on the SAC.
Habitat loss

Physical damage
There is no impact pathway as no work will be undertaken on the SAC itself
Changes in salinity regime

Changes in thermal regime

Turbidity

Siltation
There is no impact pathway as there will be no releases to water from the site
Entrapment

There is no impact pathway as there are no in situ mechanical mechanisms associated with the site
	

	Sea lamprey
	
	
	

	Twaite shad


	
	
	

	Severn Estuary (Wales) SPA (UK9015022)

	3.4 Birds of lowland wet grasslands

3.6 Birds of lowland freshwaters and their margins

3.7 Birds of farmland

3.8 Birds of coastal habitats
	The Severn Estuary / Môr Hafren

European Marine Site

comprising:

· The Severn Estuary / Môr Hafren Special Area of Conservation (SAC)

· The Severn Estuary Special Protection Area (SPA)

· The Severn Estuary / Môr Hafren Ramsar Site

Natural England & the

Countryside Council for Wales’ advice

given under Regulation 33(2)(a) of the Conservation

(Natural Habitats, &c.) Regulations 1994, as amended. June 2009
	
	

	Bewick’s swan
	
	Toxic contamination
The applicant has submitted detailed air emissions modelling for the primary emission of concern for habitat: oxide of nitrogen (NOx).

A long-term critical level (CLe) of 30µg/m3 NOx (annual) and a short-term critical level of 200 µg/m3 NOx (daily) has been assumed for the Severn Estuary SPA. There are two short-term CLes for NOx – 75 µg/m3 and 200 µg/m3. The lower of these only applies in locations where there are elevated background concentrations of ozone (O3) and sulphur dioxide (SO2). The applicant has reviewed the background concentrations of O3 and SO2 in the vicinity of the proposed site and concluded that they are not elevated and has selected to use the upper NOx CLe in their air emissions modelling study as a result. We agree with this approach.
The applicant has created contour maps showing the areas around the site where the predicted process contribution (PC) is >1% and >10% of the annual and hourly NOx CLes respectively. These areas fall outside the boundary of the SPA. 

Therefore impacts from airborne NOx emissions can be screened out as insignificant and there is no likely significant effect on the SPA.
Nutrient enrichment
A nutrient nitrogen critical load (CLo) value of 10 kgN/ha/yr has been assumed for the Severn Estuary SAC. 

The applicant has created a contour map showing the area around the site where the predicted process contribution (PC) is >1% nutrient nitrogen CLo. This area falls outside the boundary of the SAC. 

Therefore, impacts from nutrient nitrogen deposition can be screened out as insignificant and there is no likely significant effect on the SPA.
Acidification
The APIS website indicates that the Severn Estuary SPA is sensitive to acid deposition but does not list any CLos for acid deposition for any of the SPA’s designated features. The applicant has therefore taken a precautionary approach and used conservative acid deposition minimum critical load (CLo) values of 0.223 kgeq/ha/yr (minCLminN), 1.063 kgeq/ha/yr (minCLmaxN) and 0.84 kgeq/ha/yr (mionCLmaxS) in their air dispersion modelling study.  

The applicant has created a contour map showing the area around the site where the predicted process contribution (PC) is >1% minCLminN acid deposition CLo, the most stringent of the CLos outlined above. This area falls outside the boundary of the SAC. 

Therefore, impacts from acid deposition can be screened out as insignificant and there is no likely significant effect on the SAC.
Habitat loss

Physical damage
There is no impact pathway as no work will be undertaken on the SPA itself
Smothering
There is no impact pathway as there will be no release of dust and particulate from the site
Changes in salinity regime

Changes in thermal regime

Turbidity

Siltation
There is no impact pathway as there will be no releases to water from the site
Entrapment

There is no impact pathway as there are no in situ mechanical mechanisms associated with the site
	

	3.4 Birds of lowland wet grasslands

3.7 Birds of farmland 3.8 Birds of coastal habitats 

3.9 Birds of estuarine habitats
	
	
	

	Dunlin
	
	Toxic contamination
The applicant has submitted detailed air emissions modelling for the primary emission of concern for habitat: oxide of nitrogen (NOx).

A long-term critical level (CLe) of 30µg/m3 NOx (annual) and a short-term critical level of 200 µg/m3 NOx (daily) has been assumed for the Severn Estuary SPA. There are two short-term CLes for NOx – 75 µg/m3 and 200 µg/m3. The lower of these only applies in locations where there are elevated background concentrations of ozone (O3) and sulphur dioxide (SO2). The applicant has reviewed the background concentrations of O3 and SO2 in the vicinity of the proposed site and concluded that they are not elevated and has selected to use the upper NOx CLe in their air emissions modelling study as a result. We agree with this approach.
The applicant has created contour maps showing the areas around the site where the predicted process contribution (PC) is >1% and >10% of the annual and hourly NOx CLes respectively. These areas fall outside the boundary of the SPA. 

Therefore impacts from airborne NOx emissions can be screened out as insignificant and there is no likely significant effect on the SPA.
Nutrient enrichment
A nutrient nitrogen critical load (CLo) value of 10 kgN/ha/yr has been assumed for the Severn Estuary SPA. 

The applicant has created a contour map showing the area around the site where the predicted process contribution (PC) is >1% nutrient nitrogen CLo. This area falls outside the boundary of the SPA. 

Therefore, impacts from nutrient nitrogen deposition can be screened out as insignificant and there is no likely significant effect on the SPA.
Acidification
The APIS website indicates that the Severn Estuary SPA is sensitive to acid deposition but does not list any CLos for acid deposition for any of the SPA’s designated features. The applicant has therefore taken a precautionary approach and used conservative acid deposition minimum critical load (CLo) values of 0.223 kgeq/ha/yr (minCLminN), 1.063 kgeq/ha/yr (minCLmaxN) and 0.84 kgeq/ha/yr (mionCLmaxS) in their air dispersion modelling study.  

The applicant has created a contour map showing the area around the site where the predicted process contribution (PC) is >1% minCLminN acid deposition CLo, the most stringent of the CLos outlined above. This area falls outside the boundary of the SAC. 

Therefore, impacts from acid deposition can be screened out as insignificant and there is no likely significant effect on the SAC.
Habitat loss

Physical damage

There is no impact pathway as no work will be undertaken on the SPA itself

Smothering

There is no impact pathway as there will be no release of dust and particulate from the site

Changes in salinity regime

Changes in thermal regime

Turbidity

Siltation

There is no impact pathway as there will be no releases to water from the site
Entrapment

There is no impact pathway as there are no in situ mechanical mechanisms associated with the site
	

	Redshank
	
	
	

	3.6 Birds of lowland freshwaters and their margins

3.7 Birds of farmland, 3.8 Birds of coastal habitats 

3.9 Birds of estuarine habitats
	
	
	

	European white-fronted goose
	
	Toxic contamination
The applicant has submitted detailed air emissions modelling for the primary emission of concern for habitat: oxide of nitrogen (NOx).

A long-term critical level (CLe) of 30µg/m3 NOx (annual) and a short-term critical level of 200 µg/m3 NOx (daily) has been assumed for the Severn Estuary SAC. There are two short-term CLes for NOx – 75 µg/m3 and 200 µg/m3. The lower of these only applies in locations where there are elevated background concentrations of ozone (O3) and sulphur dioxide (SO2). The applicant has reviewed the background concentrations of O3 and SO2 in the vicinity of the proposed site and concluded that they are not elevated and has selected to use the upper NOx CLe in their air emissions modelling study as a result. We agree with this approach.
The applicant has created contour maps showing the areas around the site where the predicted process contribution (PC) is >1% and >10% of the annual and hourly NOx CLes respectively. These areas fall outside the boundary of the SPA. 

Therefore impacts from airborne NOx emissions can be screened out as insignificant and there is no likely significant effect on the SPA.
Nutrient enrichment
A nutrient nitrogen critical load (CLo) value of 10 kgN/ha/yr has been assumed for the Severn Estuary SPA. 

The applicant has created a contour map showing the area around the site where the predicted process contribution (PC) is >1% nutrient nitrogen CLo. This area falls outside the boundary of the SPA. 

Therefore, impacts from nutrient nitrogen deposition can be screened out as insignificant and there is no likely significant effect on the SPA.
Acidification
The APIS website indicates that the Severn Estuary SPA is sensitive to acid deposition but does not list any CLos for acid deposition for any of the SPA’s designated features. The applicant has therefore taken a precautionary approach and used conservative acid deposition minimum critical load (CLo) values of 0.223 kgeq/ha/yr (minCLminN), 1.063 kgeq/ha/yr (minCLmaxN) and 0.84 kgeq/ha/yr (mionCLmaxS) in their air dispersion modelling study.  

The applicant has created a contour map showing the area around the site where the predicted process contribution (PC) is >1% minCLminN acid deposition CLo, the most stringent of the CLos outlined above. This area falls outside the boundary of the SAC. 

Therefore, impacts from acid deposition can be screened out as insignificant and there is no likely significant effect on the SAC.
Habitat loss

Physical damage

There is no impact pathway as no work will be undertaken on the SPA itself

Smothering

There is no impact pathway as there will be no release of dust and particulate from the site

Changes in salinity regime

Changes in thermal regime

Turbidity

Siltation

There is no impact pathway as there will be no releases to water from the site
Entrapment

There is no impact pathway as there are no in situ mechanical mechanisms associated with the site
	

	3.6 Birds of lowland freshwaters and their margins

3.8 Birds of coastal habitats

3.9 Birds of estuarine habitats
	
	
	

	Shelduck
	
	Toxic contamination
The applicant has submitted detailed air emissions modelling for the primary emission of concern for habitat: oxide of nitrogen (NOx).

A long-term critical level (CLe) of 30µg/m3 NOx (annual) and a short-term critical level of 75 µg/m3 NOx (hourly) has been assumed for the Severn Estuary SPA. 

A long-term critical level (CLe) of 30µg/m3 NOx (annual) and a short-term critical level of 200 µg/m3 NOx (daily) has been assumed for the Severn Estuary SPA. There are two short-term CLes for NOx – 75 µg/m3 and 200 µg/m3. The lower of these only applies in locations where there are elevated background concentrations of ozone (O3) and sulphur dioxide (SO2). The applicant has reviewed the background concentrations of O3 and SO2 in the vicinity of the proposed site and concluded that they are not elevated and has selected to use the upper NOx CLe in their air emissions modelling study as a result. We agree with this approach.
Therefore impacts from airborne NOx emissions can be screened out as insignificant and there is no likely significant effect on the SPA.
Nutrient enrichment

A nutrient nitrogen critical load (CLo) value of 10 kgN/ha/yr has been assumed for the Severn Estuary SPA. 

The applicant has created a contour map showing the area around the site where the predicted process contribution (PC) is >1% nutrient nitrogen CLo. This area falls outside the boundary of the SPA. 

Therefore, impacts from nutrient nitrogen deposition can be screened out as insignificant and there is no likely significant effect on the SPA.
Acidification
The APIS website indicates that the Severn Estuary SPA is sensitive to acid deposition but does not list any CLos for acid deposition for any of the SPA’s designated features. The applicant has therefore taken a precautionary approach and used conservative acid deposition minimum critical load (CLo) values of 0.223 kgeq/ha/yr (minCLminN), 1.063 kgeq/ha/yr (minCLmaxN) and 0.84 kgeq/ha/yr (mionCLmaxS) in their air dispersion modelling study.  

The applicant has created a contour map showing the area around the site where the predicted process contribution (PC) is >1% minCLminN acid deposition CLo, the most stringent of the CLos outlined above. This area falls outside the boundary of the SAC. 

Therefore, impacts from acid deposition can be screened out as insignificant and there is no likely significant effect on the SAC.
Habitat loss

Physical damage

There is no impact pathway as no work will be undertaken on the SPA itself

Smothering

There is no impact pathway as there will be no release of dust and particulate from the site

Changes in salinity regime

Changes in thermal regime

Turbidity

Siltation

There is no impact pathway as there will be no releases to water from the site
Entrapment

There is no impact pathway as there are no in situ mechanical mechanisms associated with the site
	

	An internationally important assemblage of waterfowl (<20,000)
	
	
	

	3.6 Birds of lowland freshwaters and their margins
	
	
	

	Gadwall
	
	Toxic contamination
The applicant has submitted detailed air emissions modelling for the primary emission of concern for habitat: oxide of nitrogen (NOx).

A long-term critical level (CLe) of 30µg/m3 NOx (annual) and a short-term critical level of 200 µg/m3 NOx (daily) has been assumed for the Severn Estuary SPA. There are two short-term CLes for NOx – 75 µg/m3 and 200 µg/m3. The lower of these only applies in locations where there are elevated background concentrations of ozone (O3) and sulphur dioxide (SO2). The applicant has reviewed the background concentrations of O3 and SO2 in the vicinity of the proposed site and concluded that they are not elevated and has selected to use the upper NOx CLe in their air emissions modelling study as a result. We agree with this approach.
The applicant has created contour maps showing the areas around the site where the predicted process contribution (PC) is >1% and >10% of the annual and hourly NOx CLes respectively. These areas fall outside the boundary of the SPA. 

Therefore impacts from airborne NOx emissions can be screened out as insignificant and there is no likely significant effect on the SPA.
Nutrient enrichment
A nutrient nitrogen critical load (CLo) value of 10 kgN/ha/yr has been assumed for the Severn Estuary SPA. 

The applicant has created a contour map showing the area around the site where the predicted process contribution (PC) is >1% nutrient nitrogen CLo. This area falls outside the boundary of the SPA. 

Therefore, impacts from nutrient nitrogen deposition can be screened out as insignificant and there is no likely significant effect on the SPA.
Acidification
The APIS website indicates that the Severn Estuary SPA is sensitive to acid deposition but does not list any CLos for acid deposition for any of the SPA’s designated features. The applicant has therefore taken a precautionary approach and used conservative acid deposition minimum critical load (CLo) values of 0.223 kgeq/ha/yr (minCLminN), 1.063 kgeq/ha/yr (minCLmaxN) and 0.84 kgeq/ha/yr (mionCLmaxS) in their air dispersion modelling study.  

The applicant has created a contour map showing the area around the site where the predicted process contribution (PC) is >1% minCLminN acid deposition CLo, the most stringent of the CLos outlined above. This area falls outside the boundary of the SAC. 

Therefore, impacts from acid deposition can be screened out as insignificant and there is no likely significant effect on the SAC.
Habitat loss

Physical damage

There is no impact pathway as no work will be undertaken on the SPA itself

Smothering

There is no impact pathway as there will be no release of dust and particulate from the site

Changes in salinity regime

Changes in thermal regime

Turbidity

Siltation

There is no impact pathway as there will be no releases to water from the site
	

	Severn Estuary (Wales) Ramsar (UK11081)



	1.12 Estuarine & intertidal habitats
	The Severn Estuary / Môr Hafren

European Marine Site

comprising:
· The Severn Estuary / Môr Hafren Special Area of Conservation (SAC)

· The Severn Estuary Special Protection Area (SPA)

· The Severn Estuary / Môr Hafren Ramsar Site

Natural England & the

Countryside Council for Wales’ advice

given under Regulation 33(2)(a) of the Conservation

(Natural Habitats, &c.) Regulations 1994, as amended. June 2009
	
	

	Estuaries
	
	Toxic contamination
The applicant has submitted detailed air emissions modelling for the primary emission of concern for habitat: oxide of nitrogen (NOx).

A long-term critical level (CLe) of 30µg/m3 NOx (annual) and a short-term critical level of 200 µg/m3 NOx (daily) has been assumed for the Severn Estuary Ramsar. There are two short-term CLes for NOx – 75 µg/m3 and 200 µg/m3. The lower of these only applies in locations where there are elevated background concentrations of ozone (O3) and sulphur dioxide (SO2). The applicant has reviewed the background concentrations of O3 and SO2 in the vicinity of the proposed site and concluded that they are not elevated and has selected to use the upper NOx CLe in their air emissions modelling study as a result. We agree with this approach.
The applicant has created contour maps showing the areas around the site where the predicted process contribution (PC) is >1% and >10% of the annual and hourly NOx CLes respectively. These areas fall outside the boundary of the Ramsar. 

Therefore impacts from airborne NOx emissions can be screened out as insignificant and there is no likely significant effect on the Ramsar.
Nutrient enrichment
A nutrient nitrogen critical load (CLo) value of 10 kgN/ha/yr has been assumed for the Severn Estuary Ramsar. 

The applicant has created a contour map showing the area around the site where the predicted process contribution (PC) is >1% nutrient nitrogen CLo. This area falls outside the boundary of the Ramsar. 

Therefore, impacts from nutrient nitrogen deposition can be screened out as insignificant and there is no likely significant effect on the Ramsar.
Habitat loss

Physical damage

There is no impact pathway as no work will be undertaken on the Ramsar itself

Smothering

There is no impact pathway as there will be no release of dust and particulate from the site

Changes in salinity regime

Changes in thermal regime

Turbidity

Siltation

There is no impact pathway as there will be no releases to water from the site
	

	2.5 Anadromous fish
	
	
	

	Assemblage of migratory fish species
	
	Toxic contamination
The applicant has submitted detailed air emissions modelling for the primary emission of concern for habitat: oxide of nitrogen (NOx).

A long-term critical level (CLe) of 30µg/m3 NOx (annual) and a short-term critical level of 200 µg/m3 NOx (daily) has been assumed for the Severn Estuary Ramsar. There are two short-term CLes for NOx – 75 µg/m3 and 200 µg/m3. The lower of these only applies in locations where there are elevated background concentrations of ozone (O3) and sulphur dioxide (SO2). The applicant has reviewed the background concentrations of O3 and SO2 in the vicinity of the proposed site and concluded that they are not elevated and has selected to use the upper NOx CLe in their air emissions modelling study as a result. We agree with this approach.
The applicant has created contour maps showing the areas around the site where the predicted process contribution (PC) is >1% and >10% of the annual and hourly NOx CLes respectively. These areas fall outside the boundary of the Ramsar. 

Therefore impacts from airborne NOx emissions can be screened out as insignificant and there is no likely significant effect on the Ramsar.
Nutrient enrichment
A nutrient nitrogen critical load (CLo) value of 10 kgN/ha/yr has been assumed for the Severn Estuary Ramsar. 

The applicant has created a contour map showing the area around the site where the predicted process contribution (PC) is >1% nutrient nitrogen CLo. This area falls outside the boundary of the Ramsar. 

Therefore, impacts from nutrient nitrogen deposition can be screened out as insignificant and there is no likely significant effect on the Ramsar.
Acidification
The APIS website indicates that the Severn Estuary Ramsar is sensitive to acid deposition but does not list any CLos for acid deposition for any of the Ramsar’s designated features. The applicant has therefore taken a precautionary approach and used conservative acid deposition minimum critical load (CLo) values of 0.223 kgeq/ha/yr (minCLminN), 1.063 kgeq/ha/yr (minCLmaxN) and 0.84 kgeq/ha/yr (mionCLmaxS) in their air dispersion modelling study.  

The applicant has created a contour map showing the area around the site where the predicted process contribution (PC) is >1% minCLminN acid deposition CLo, the most stringent of the CLos outlined above. This area falls outside the boundary of the Ramsar. 

Therefore, impacts from acid deposition can be screened out as insignificant and there is no likely significant effect on the Ramsar.
Habitat loss

Physical damage

There is no impact pathway as no work will be undertaken on the Ramsar itself

Changes in salinity regime

Changes in thermal regime

Turbidity

Siltation

There is no impact pathway as there will be no releases to water from the site
Entrapment

There is no impact pathway as there are no in situ mechanical mechanisms associated with the site
	

	3.4 Birds of lowland wet grasslands

3.6 Birds of lowland freshwaters and their margins

3.7 Birds of farmland

3.8 Birds of coastal habitats
	
	
	

	Bewick’s swan
	
	Toxic contamination
The applicant has submitted detailed air emissions modelling for the primary emission of concern for habitat: oxide of nitrogen (NOx).

A long-term critical level (CLe) of 30µg/m3 NOx (annual) and a short-term critical level of 200 µg/m3 NOx (daily) has been assumed for the Severn Estuary Ramsar. There are two short-term CLes for NOx – 75 µg/m3 and 200 µg/m3. The lower of these only applies in locations where there are elevated background concentrations of ozone (O3) and sulphur dioxide (SO2). The applicant has reviewed the background concentrations of O3 and SO2 in the vicinity of the proposed site and concluded that they are not elevated and has selected to use the upper NOx CLe in their air emissions modelling study as a result. We agree with this approach.
The applicant has created contour maps showing the areas around the site where the predicted process contribution (PC) is >1% and >10% of the annual and hourly NOx CLes respectively. These areas fall outside the boundary of the Ramsar. 

Therefore impacts from airborne NOx emissions can be screened out as insignificant and there is no likely significant effect on the Ramsar.
Nutrient enrichment
A nutrient nitrogen critical load (CLo) value of 10 kgN/ha/yr has been assumed for the Severn Estuary Ramsar. 

The applicant has created a contour map showing the area around the site where the predicted process contribution (PC) is >1% nutrient nitrogen CLo. This area falls outside the boundary of the Ramsar. 

Therefore, impacts from nutrient nitrogen deposition can be screened out as insignificant and there is no likely significant effect on the Ramsar.
Acidification
The APIS website indicates that the Severn Estuary Ramsar is sensitive to acid deposition but does not list any CLos for acid deposition for any of the Ramsar’s designated features. The applicant has therefore taken a precautionary approach and used conservative acid deposition minimum critical load (CLo) values of 0.223 kgeq/ha/yr (minCLminN), 1.063 kgeq/ha/yr (minCLmaxN) and 0.84 kgeq/ha/yr (mionCLmaxS) in their air dispersion modelling study.  

The applicant has created a contour map showing the area around the site where the predicted process contribution (PC) is >1% minCLminN acid deposition CLo, the most stringent of the CLos outlined above. This area falls outside the boundary of the Ramsar. 

Therefore, impacts from acid deposition can be screened out as insignificant and there is no likely significant effect on the Ramsar.
Habitat loss

Physical damage

There is no impact pathway as no work will be undertaken on the Ramsar itself

Smothering

There is no impact pathway as there will be no release of dust and particulate from the site

Changes in salinity regime

Changes in thermal regime

Turbidity

Siltation

There is no impact pathway as there will be no releases to water from the site
Entrapment

There is no impact pathway as there are no in situ mechanical mechanisms associated with the site
	

	3.4 Birds of lowland wet grasslands

3.7 Birds of farmland 3.8 Birds of coastal habitats 

3.9 Birds of estuarine habitats
	
	
	

	Dunlin
	
	Toxic contamination
The applicant has submitted detailed air emissions modelling for the primary emission of concern for habitat: oxide of nitrogen (NOx).

A long-term critical level (CLe) of 30µg/m3 NOx (annual) and a short-term critical level of 200 µg/m3 NOx (daily) has been assumed for the Severn Estuary Ramsar. There are two short-term CLes for NOx – 75 µg/m3 and 200 µg/m3. The lower of these only applies in locations where there are elevated background concentrations of ozone (O3) and sulphur dioxide (SO2). The applicant has reviewed the background concentrations of O3 and SO2 in the vicinity of the proposed site and concluded that they are not elevated and has selected to use the upper NOx CLe in their air emissions modelling study as a result. We agree with this approach.
The applicant has created contour maps showing the areas around the site where the predicted process contribution (PC) is >1% and >10% of the annual and hourly NOx CLes respectively. These areas fall outside the boundary of the Ramsar. 

Therefore impacts from airborne NOx emissions can be screened out as insignificant and there is no likely significant effect on the Ramsar.
Nutrient enrichment
A nutrient nitrogen critical load (CLo) value of 10 kgN/ha/yr has been assumed for the Severn Estuary Ramsar. 

The applicant has created a contour map showing the area around the site where the predicted process contribution (PC) is >1% nutrient nitrogen CLo. This area falls outside the boundary of the Ramsar. 

Therefore, impacts from nutrient nitrogen deposition can be screened out as insignificant and there is no likely significant effect on the Ramsar.
Acidification
The APIS website indicates that the Severn Estuary Ramsar is sensitive to acid deposition but does not list any CLos for acid deposition for any of the Ramsar’s designated features. The applicant has therefore taken a precautionary approach and used conservative acid deposition minimum critical load (CLo) values of 0.223 kgeq/ha/yr (minCLminN), 1.063 kgeq/ha/yr (minCLmaxN) and 0.84 kgeq/ha/yr (mionCLmaxS) in their air dispersion modelling study.  

The applicant has created a contour map showing the area around the site where the predicted process contribution (PC) is >1% minCLminN acid deposition CLo, the most stringent of the CLos outlined above. This area falls outside the boundary of the Ramsar. 

Therefore, impacts from acid deposition can be screened out as insignificant and there is no likely significant effect on the Ramsar.
Habitat loss

Physical damage

There is no impact pathway as no work will be undertaken on the Ramsar itself

Smothering

There is no impact pathway as there will be no release of dust and particulate from the site

Changes in salinity regime

Changes in thermal regime

Turbidity

Siltation

There is no impact pathway as there will be no releases to water from the site
Entrapment

There is no impact pathway as there are no in situ mechanical mechanisms associated with the site
	

	Redshank
	
	
	

	3.6 Birds of lowland freshwaters and their margins

3.7 Birds of farmland, 3.8 Birds of coastal habitats 

3.9 Birds of estuarine habitats
	
	
	

	European white-fronted goose
	
	Toxic contamination
The applicant has submitted detailed air emissions modelling for the primary emission of concern for habitat: oxide of nitrogen (NOx).

A long-term critical level (CLe) of 30µg/m3 NOx (annual) and a short-term critical level of 200 µg/m3 NOx (daily) has been assumed for the Severn Estuary Ramsar. There are two short-term CLes for NOx – 75 µg/m3 and 200 µg/m3. The lower of these only applies in locations where there are elevated background concentrations of ozone (O3) and sulphur dioxide (SO2). The applicant has reviewed the background concentrations of O3 and SO2 in the vicinity of the proposed site and concluded that they are not elevated and has selected to use the upper NOx CLe in their air emissions modelling study as a result. We agree with this approach.
The applicant has created contour maps showing the areas around the site where the predicted process contribution (PC) is >1% and >10% of the annual and hourly NOx CLes respectively. These areas fall outside the boundary of the Ramsar. 

Therefore impacts from airborne NOx emissions can be screened out as insignificant and there is no likely significant effect on the Ramsar.
Nutrient enrichment
A nutrient nitrogen critical load (CLo) value of 10 kgN/ha/yr has been assumed for the Severn Estuary Ramsar. 

The applicant has created a contour map showing the area around the site where the predicted process contribution (PC) is >1% nutrient nitrogen CLo. This area falls outside the boundary of the Ramsar. 

Therefore, impacts from nutrient nitrogen deposition can be screened out as insignificant and there is no likely significant effect on the Ramsar.
Acidification
The APIS website indicates that the Severn Estuary Ramsar is sensitive to acid deposition but does not list any CLos for acid deposition for any of the Ramsar’s designated features. The applicant has therefore taken a precautionary approach and used conservative acid deposition minimum critical load (CLo) values of 0.223 kgeq/ha/yr (minCLminN), 1.063 kgeq/ha/yr (minCLmaxN) and 0.84 kgeq/ha/yr (mionCLmaxS) in their air dispersion modelling study.  

The applicant has created a contour map showing the area around the site where the predicted process contribution (PC) is >1% minCLminN acid deposition CLo, the most stringent of the CLos outlined above. This area falls outside the boundary of the Ramsar. 

Therefore, impacts from acid deposition can be screened out as insignificant and there is no likely significant effect on the Ramsar.
Habitat loss

Physical damage

There is no impact pathway as no work will be undertaken on the Ramsar itself

Smothering

There is no impact pathway as there will be no release of dust and particulate from the site

Changes in salinity regime

Changes in thermal regime

Turbidity

Siltation

There is no impact pathway as there will be no releases to water from the site
Entrapment

There is no impact pathway as there are no in situ mechanical mechanisms associated with the site
	

	3.6 Birds of lowland freshwaters and their margins

3.8 Birds of coastal habitats

3.9 Birds of estuarine habitats
	
	
	

	Shelduck
	
	Toxic contamination
The applicant has submitted detailed air emissions modelling for the primary emission of concern for habitat: oxide of nitrogen (NOx).

A long-term critical level (CLe) of 30µg/m3 NOx (annual) and a short-term critical level of 200 µg/m3 NOx (daily) has been assumed for the Severn Estuary SAC. There are two short-term CLes for NOx – 75 µg/m3 and 200 µg/m3. The lower of these only applies in locations where there are elevated background concentrations of ozone (O3) and sulphur dioxide (SO2). The applicant has reviewed the background concentrations of O3 and SO2 in the vicinity of the proposed site and concluded that they are not elevated and has selected to use the upper NOx CLe in their air emissions modelling study as a result. We agree with this approach.
The applicant has created contour maps showing the areas around the site where the predicted process contribution (PC) is >1% and >10% of the annual and hourly NOx CLes respectively. These areas fall outside the boundary of the Ramsar. 

Therefore impacts from airborne NOx emissions can be screened out as insignificant and there is no likely significant effect on the Ramsar.
Nutrient enrichment
A nutrient nitrogen critical load (CLo) value of 10 kgN/ha/yr has been assumed for the Severn Estuary Ramsar. 

The applicant has created a contour map showing the area around the site where the predicted process contribution (PC) is >1% nutrient nitrogen CLo. This area falls outside the boundary of the Ramsar. 

Therefore, impacts from nutrient nitrogen deposition can be screened out as insignificant and there is no likely significant effect on the Ramsar.
Acidification
The APIS website indicates that the Severn Estuary Ramsar is sensitive to acid deposition but does not list any CLos for acid deposition for any of the Ramsar’s designated features. The applicant has therefore taken a precautionary approach and used conservative acid deposition minimum critical load (CLo) values of 0.223 kgeq/ha/yr (minCLminN), 1.063 kgeq/ha/yr (minCLmaxN) and 0.84 kgeq/ha/yr (mionCLmaxS) in their air dispersion modelling study.  

The applicant has created a contour map showing the area around the site where the predicted process contribution (PC) is >1% minCLminN acid deposition CLo, the most stringent of the CLos outlined above. This area falls outside the boundary of the Ramsar. 

Therefore, impacts from acid deposition can be screened out as insignificant and there is no likely significant effect on the Ramsar.
Habitat loss

Physical damage

There is no impact pathway as no work will be undertaken on the Ramsar itself

Smothering

There is no impact pathway as there will be no release of dust and particulate from the site

Changes in salinity regime

Changes in thermal regime

Turbidity

Siltation

There is no impact pathway as there will be no releases to water from the site
Entrapment

There is no impact pathway as there are no in situ mechanical mechanisms associated with the site
	

	Internationally important assemblage of waterfowl (>20,000)
	
	
	

	3.6 Birds of lowland freshwaters and their margins
	
	
	

	Gadwall
	
	Toxic contamination
The applicant has submitted detailed air emissions modelling for the primary emission of concern for habitat: oxide of nitrogen (NOx).

A long-term critical level (CLe) of 30µg/m3 NOx (annual) and a short-term critical level of 200 µg/m3 NOx (daily) has been assumed for the Severn Estuary SAC. There are two short-term CLes for NOx – 75 µg/m3 and 200 µg/m3. The lower of these only applies in locations where there are elevated background concentrations of ozone (O3) and sulphur dioxide (SO2). The applicant has reviewed the background concentrations of O3 and SO2 in the vicinity of the proposed site and concluded that they are not elevated and has selected to use the upper NOx CLe in their air emissions modelling study as a result. We agree with this approach.
The applicant has created contour maps showing the areas around the site where the predicted process contribution (PC) is >1% and >10% of the annual and hourly NOx CLes respectively. These areas fall outside the boundary of the Ramsar. 

Therefore impacts from airborne NOx emissions can be screened out as insignificant and there is no likely significant effect on the Ramsar.
Nutrient enrichment

A nutrient nitrogen critical load (CLo) value of 10 kgN/ha/yr has been assumed for the Severn Estuary Ramsar. 

The applicant has created a contour map showing the area around the site where the predicted process contribution (PC) is >1% nutrient nitrogen CLo. This area falls outside the boundary of the Ramsar. 

Therefore, impacts from nutrient nitrogen deposition can be screened out as insignificant and there is no likely significant effect on the Ramsar.
Acidification
The APIS website indicates that the Severn Estuary Ramsar is sensitive to acid deposition but does not list any CLos for acid deposition for any of the Ramsar’s designated features. The applicant has therefore taken a precautionary approach and used conservative acid deposition minimum critical load (CLo) values of 0.223 kgeq/ha/yr (minCLminN), 1.063 kgeq/ha/yr (minCLmaxN) and 0.84 kgeq/ha/yr (mionCLmaxS) in their air dispersion modelling study.  

The applicant has created a contour map showing the area around the site where the predicted process contribution (PC) is >1% minCLminN acid deposition CLo, the most stringent of the CLos outlined above. This area falls outside the boundary of the Ramsar. 

Therefore, impacts from acid deposition can be screened out as insignificant and there is no likely significant effect on the Ramsar.
Habitat loss

Physical damage

There is no impact pathway as no work will be undertaken on the Ramsar itself

Smothering

There is no impact pathway as there will be no release of dust and particulate from the site

Changes in salinity regime

Changes in thermal regime

Turbidity

Siltation

There is no impact pathway as there will be no releases to water from the site
	


	3.2.3 Screening decision of the project ‘alone’


	(a) If ALL rows in column II of Table 3.2.2 are GREEN
	The project is not likely to have a significant effect on any Natura 2000 site, because there is no impact pathway from the project to any Natura 2000 features, and no further consideration under the Habitats Directive/Regulations is required in order to determine the application.


	(b) If there are NO rows coloured RED in column II of Table 3.2.2, and there are ANY rows which are BLUE

	The project is not likely to have a significant effect on any Natura 2000 sites when considered alone, but the possibility of significant effects in combination with other plans and projects needs to be considered.



	(c) If ANY rows in Column II of Table 3.2.2 are RED

	The project is likely have a significant effect on one or more Natura 2000 sites and therefore an appropriate assessment is required. 




5
In combination assessment

5.1
Identifying possible in combination effects

	BLUE impact pathway from Table 3.2
and/or
Residual effect (from appropriate assessment in section 4)  
	Natura 2000 site feature(s) concerned
	Other plans/projects with effects that might interact with the effects of the project to render its effects significant (if any)


	Nature of the in-combination effect (if any)
	Is there likely to be any significant in-combination effect, in view of the site’s conservation objectives? 


	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	
	
	
	
	

	(a) If the right hand column is ‘NO’ for all rows
	The project, when considered in combination with other plans and projects, is either not likely to have a significant effect on, or will not adversely affect the integrity of any Natura 2000 site.


	(b) If any rows in the right hand column are ‘YES’ or ‘DON’T KNOW’

	The project is likely to have a significant effect in combination with other plans or projects.



6.
Conclusion
	HRA is not required because the whole of the project is directly connected with or necessary to the management of one or more Natura 2000/Ramsar sites, for the purposes of conserving the habitats or species for which the site(s) is/are designated, and the project is not likely to have a significant effect on any other Natura 2000/Ramsar sites.

(As documented in section 2.1 and 2.2 of this form)


	

	HRA is not required because there is no conceivable impact pathway to any Natura 2000/Ramsar site

(As documented in section 2.3 of this form)


	

	This project is a renewal of a current permission which complies with NRW agreed criteria for ruling out significant effects of a renewal without conducting a project-specific LSE test. Therefore it is considered not likely to have a significant effect on any Natura 2000/Ramsar sites, either alone or in-combination with other plans and projects.
(As documented in section 3.1 of this form)


	

	The project has been screened for likelihood of significant effects and, taking account of the advice received from protected sites advisors, is considered not likely to have a significant effect on any Natura 2000/Ramsar site

(As documented in section 3.2 of this form, or section 5 if applicable) 

	X

	In light of the conclusions of an appropriate assessment, and taking account of the advice received from protected sites advisors, it has been established that the project will not adversely affect the integrity of any Natura 2000/Ramsar site, taking into account any conditions or restrictions as applicable, either alone or in-combination with other plans and projects.
(As documented in section 4 of this form, and section 5 if applicable)

	

	In light of the conclusions of the appropriate assessment, it has not been ascertained that the project will not adversely affect the integrity of any Natura 2000/Ramsar site, as documented in section 4 of this form, and section 5 is applicable.

Approval for the project cannot be given unless either:

· the project specification, and/or the terms under which it might be approved, are modified so as to remove the risk of adverse effects, and a revised HRA report is prepared, or

· the project satisfies the requirements of Article 6(4) of the Habitats Directive, an Article 6(4) Statement of Case is prepared (OGN 200 Form 3) and submitted for consideration by the appropriate authority, normally Welsh Ministers

	

	Signed: Victoria Seller
Name: Victoria Seller
Position: Senior Industry Permitting Officer
Date: 17/08/2023


	


7.
Consultation with protected sites advisor(s) and how sections 2, 3, 4 and 5 of this HRA report (as applicable) take into account that advice.

Delete any rows that do not apply.

	Relevant section of the HRA report
	Date(s) of correspondence* and any meeting(s) with protected sites advisor(s)
	Description of how the comments from protected sites advisors have been taken into account

	2
	
	

	3
	
	

	4
	
	

	5
	
	


*Attach copies of all written representations (Form 2) received from protected sites advisor(s)
8. Conservation Technical Specialist’s comments
This section should be completed in any cases where the protected sites advice and sign off of the HRA report (section 6) is within the same team. Otherwise this section should be deleted

	I have reviewed the HRA documented in this form and confirm that I agree/do not agree* with its findings.

(*strike out as applicable)

Additional comments (if any):

Signed:

Name: 
Position:
Date:




Form





Record of a Habitats Regulations Assessment of a project 











www.naturalresources.wales








Page 20 of 20

