# Schedule 1 - Notification of abnormal emissions

This page outlines the information that the Operator must provide to satisfy conditions 5.1.1 and 5.1.2 of this Permit.

Units of measurement used in information supplied under Part A and B requirements shall be appropriate to the circumstances of the emission. Where appropriate, a comparison should be made of actual emissions and authorised emission limits.

#### If any information is considered commercially confidential, it should be separated from non-confidential information, supplied on a separate sheet and accompanied by an application for commercial confidentiality under the provisions of the PPC Regulations.

Part A

| Permit Number | BU8002 |
| --- | --- |
| Name of Operator | Dunbia Cross Hands |
| Location of Installation | Cross Hands Food Park, Llanelli, Carmarthenshire SA14 6RF |
| Location of the emission | W5 |
| Time and date of the emission | 30/06/2023 at 09:00 |

| Substance(s) emitted | Media | Best estimate of the quantity or the rate of emission | Time during which the emission took place |
| --- | --- | --- | --- |
| Ammoniacal Nitrogen | Surface water W5 | 0.7mg/l – Limit 0.25mg/L | 09:00 |

| Measures taken, or intended to be taken, to stop the emission | Following receipt of this result an investigation was completed. No tangible causes for the exceedance were identified. It is believed that the limit of 0.25mg/L is too low to achieve. However, the sample was taken just at the start of the flow of rainfall, thus not giving the drainage channel an opportunity to flush leaves / algae that has built up over the last couple of months. As a site we continue to monitor activity to establish potential causes. |
| --- | --- |

Part B

| Any more accurate information on the matters for notification under Part A. | As above. |
| --- | --- |
| Measures taken, or intended to be taken, to prevent a recurrence of the incident | As above. |
| Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment or harm which has been or may be caused by the emission | As above. |
| The dates of any unauthorised emissions from the installation in the preceding 24 months. | 14/01/21, 21/08/21, 30/11/21, 29/12/21, 27/05/22, 09/09/22, 30/12/22, 30/06/23 |

| Name* | Lewis Elsey |
| --- | --- |
| Post | HSE Officer |
| Signature | L. Elsey |
| Date | 10/06/2023 |

* authorised to sign on behalf of Dunbia (UK) Ltd