| Details |  |
| --- | --- |
| Deployment Reference Number: | PAN-022524 |
| Permit Reference Number: | EPR/KP3594VE |
| Permit Holder: | Trade Effluent Services Limited |
| Site Address: | Gwaenynog Back, Denbigh, LL16 5RW |
| Grid Reference: | Farm location: SJ 02451 65690 Fields: 2991 SJ0124064962 3799 SJ0136964983 5694 SJ0157364976 5813 SJ0163265153 0716 SJ0206366161 9596 SJ0195465966 2211 SJ0221866110 1390 SJ0213965902 3398 SJ0230165977 2881 SJ0228065834 2565 SJ0225765644 4279 SJ0244665796 5490 SJ0254665910 5905 SJ0258466056 6418 SJ0263166192 7605 SJ0273966074 7887 SJ0278165868 5974 SJ0259065744 3581 SJ0240065556 2946 SJ0229465501 1843 SJ0208565411 Storage: SJ0235565594 in field 3581 SJ0159865192 in field 5813 SJ0245165690 lagoon at farm |

| Administrative Checks- by permit support officer |  |
| --- | --- |
|  | Comments |
| Consultation | Waste reg team: WasteReg.NE@cyfoethnaturiolcymru.gov.uk IndustryRegulation&Waste.NW@cyfoethnaturiolcymru.gov.uk Environment team: DenbighshireEnvironmentTeam@cyfoethnaturiolcymru.gov.uk ConwyEnvironmentTeam@cyfoethnaturiolcymru.gov.uk NLO: Amy.Henderson@cyfoethnaturiolcymru.gov.uk |
| Date due: | 17/07/2023 |
| Are fields on Anglesey? If yes, then send application. | No: N/A |
| Permit compliance rating and multiplier | Rating E- 300% |

| Administrative Checks- by determining permitting officer |  |  |
| --- | --- | --- |
| Item | Action completed, or document provided (Yes, No or n/a) | Comments |
| Is the base permit still live? Has there been any variations we need to be aware of? | Y |  |
| Correct application form | Y |  |
| Correct fee | Y | See permit compliance multiplier above and deployment fee- Charging Scheme |
| Fee on MyNRW | Y | Transaction number: 2117009 Date: 03/07/2023 Ref: BS/030723/19/ TRADE EFFLUENTE Amount: 2,394.00 Based Medium risk fee of £798 * 300%= £2394 |
| Location map | Y | Appendix C Site Plan Agricultural Benefit Statement Gwaenynog Bach June 2023 V2 |
| Benefit statement | Y | Agricultural Benefit Statement Gwaenynog Bach June 2023 V2 |
| Waste Analysis | Y | Appendix B Waste Analysis Gwaenynog Bach2 |
| Soil Analysis | Y | Appendix A Soils Gwaenynog Bach |
| EIA Agri Regulations evidence | Y | Agricultural Benefit Statement Gwaenynog Bach June 2023 V2 |
| Site Specific Risk Assessment | n/a | Not a high risk deployment |

| ## Application Form Word versions of online forms - NRW View (sharepoint.com) | Y N n/a | Comments |
| --- | --- | --- |
| - About the Permit |  |  |
| ## Has there been any pre-application discussions? | Y | Returned deployment PAN-021626. PAN-019963 for this area of land was also return |
| ## Has the permit number been provided? | Y |  |
| ## Has the permit holder name been provided? | Y |  |
| ## What permit is being deployed under? | SR2010 No4 |  |
| - Contact details |  |  |
| ## Has contact information been provided? | Y | Robert Netzband-Piggott |
| ## Has the technically competent manager details been provided? | Y | Robert Netzband-Piggott |
| ## Has the nominated competent person details been provided? | Y | Tom Hodgkinson |
| - About the land you want to treat |  |  |
| ## Has the address and grid reference of the main farm address been given? | Y |  |
| ## Does the farm address match the grid reference? | Y |  |
| ## What type of land do they want to treat? | Agricultural land |  |
| If it is agricultural land; has the holding number been given? | N | Not on LPD1 form, but is on consent document: 56/40/117 My Map: 56/040/0117 E W HUGHES & PARTNERS GWAENYNOG BACH |
| ## Has all of parcels of land table been completed? | Y | On LPD1 form and Gwaenynog Bach land to be treated LPD1 Form 08.06.23 |
| ## Is the total area of land to be treated less than 50 ha, or 100 hectares for a single continuously managed area of land? | Y | 48.6 |
| Is the land to be treated within a 10 miles radius of the main address? | Y |  |
| ## Is this deployment one of a batch (multiple deployments) for the same area of land? | N |  |
| ## Is the permit holder the owner or occupier of the land you want to spread on/treat? | N |  |
| ## Have details of the land owner or occupier been provided? | Y | Euros Hughes |
| ## Has written consent of all owners(s) or occupiers(s) been given? | Y | E Hughes Gwaenynog Bach Farm Consent 7.6.23 |
| - Previous land treatment |  |  |
| Has all of the previous land treatment table been completed? | Y | On LPD1 form and Gwaenynog Bach Previous spread summary. Slurry and FYM only Previous two deployment applications for this area of land were refused. |
| - Which risk band does the activity fall within? - SR2010No4 List A wastes (Lower risk) - Location risk - Low risk deployment - Medium risk (1) deployment - Medium risk (2) deployment - High risk deployment |  |  |
| ## Which risk band does the activity fall within? | Medium |  |
| Is the risk banding correct? | Y |  |
| ## If Medium risk (2) or High risk deployment has a SSRA been provided? | n/a |  |
| - Additional information on sensitive receptors |  |  |
| ## What type of risk assessment has been submitted? | benefit statement |  |
| Does the land onto which the specified waste is to be spread as part of this deployment fall within scope of the Environmental Impact Assessment (Agriculture) (Wales) Regulations 2017 as semi-natural (habitat)? | N |  |
| If yes has the screening opinion provided by Welsh Government been provided? | n/a |  |
| If no have details of the assessment evidence to support this conclusion been provided? | N | Aerial view in Agricultural Benefit Statement Gwaenynog Bach June 2023 V2 Does not included fields 2991, 3799, 5813 or 5694 Resolved 14/08/23- aerial view provided |
| - About the waste |  |  |
| Have all parts of the waste-types table been completed? - List of waste code (6 digit) - Description of waste (this must be an accurate description specific to this waste that refers to the List of Waste written description) - Physical form of waste/Is it stackable or non-stackable - Is the waste high in readily available nitrogen? - Producer of waste & permit number (if applicable) - Total amount being spread/used (tonnes) | Y |  |
| Are the wastes listed in the deployment specifically listed in the permit? | Y |  |
| Can you verify the waste producer (source of waste) is correct in terms of production, coding and description? | Y | All wastes have been provided with a permit reference or an address. |
| - About the storage |  |  |
| Has all of waste storage table been completed? | Y | 3 nurse tanks, however consent document and Agricultural Benefit Statement states 2 nurse tanks and 1 lagoon. Need to confirm Resolved 14/08/23- Confirmed SJ 02451 65690 is a lagoon |
| Is the storage given no more than 1250 tonnes shall be non-stackable waste, and no more than 3000 tonnes of all other wastes? | Y | Confirmed in Agricultural Benefit Statement that lagoon will only be used for waste listed in this deployment |
| 18. Supporting documents |  |  |
| Has checklist been completed? | Y |  |
| 20. Confidentiality and national security |  |  |
| Has confidentially been claimed? | N |  |
| Has national security been claimed? | N |  |
| 21. Declaration |  |  |
| If signing on behalf of a relevant person, has written confirmation from a relevant person been given? | n/a |  |
| Has the operator confirmed they will comply with the conditions of the rule set? | Y |  |
| Has the operator confirmed they will comply with the NRW pre-notification requirements. | Y |  |
| Has a relevant person or approved person signed the declaration? | Y |  |

| Location | Y N n/a | Comments |
| --- | --- | --- |
| Has determining officer completed MyMap screening report? | Y |  |
| Do the grid references match the site plan? | Y |  |
| If there is storage; do the grid references match the site plan? | Y |  |
| The map must include the following details in relation to both storage and spreading (TGN 8.01, box 3.1) |  |  |
| surface water courses (permit condition: no storage or spreading within 10 meters) (buffer zones needed) | Y | All surface water appropriately buffered |
| groundwater source protection zones (permit condition: no storage or spreading in SPZ1) (high risk deployment if in SPZ2) | n/a | None present |
| any well, spring (or issue) or borehole used for the supply of water for human consumption including from a private water supply or supplies. (permit condition: no storage or spreading within 50 meters) | Y | All visible springs and wells are appropriately buffered |
| location of all storage sites for the waste to be spread | Y |  |
| any spring (or issue), well or borehole not used to supply water for domestic or food production purposes within 50m (shown on map) | Y | All visible springs and wells are appropriately buffered |
| any spring (or issue), well or borehole used to supply water for domestic or food production purposes within 250m (shown on map) | Y | All visible springs and wells are appropriately buffered |
| any European designated sites- Natura 2000 (SPA, pSPA, SAC or cSAC) or Ramsar- or SSSI within 500m (shown on map) | n/a | None present |
| location of any public rights of way (shown on map) | Y | All PRoW through fields are shown on map and regard given in Agricultural Benefit Statement |
| any buildings or houses within 250m (shown on map) | Y |  |
| Within Groundwater Safeguard Zone | n/a | None present |
| the location of any other designated environmentally sensitive sites within 500m. Including but not limited to: - Protected Species - Protected Habitats - Scheduled Ancient Monument - Local Nature Reserve - National Nature Reserve - Ancient Woodlands - Local Wildlife Sites (SINC) - National Park - Hedges - Ditches | n/a | None present |
| What is the slope of the fields? | 0-7 degrees (transparent)- all fields 7 -12 degrees (yellow)- fields 9596, 2565, 5905, 7605- all buffered/no spread zones 12 degrees plus (red)- no fields |  |

| Waste Storage | Y N n/a | Comments |
| --- | --- | --- |
| Is waste storage occurring at the place where waste is being deployed? | Y |  |
| Is only waste as specified in this deployment being stored in the proposed storage locations? | Y |  |
| If the waste is stackable and stored in temporary field heaps; are the storage locations in the same place one constructed within the last two years? or in different location? | n/a | No temporary field heaps |
| If the waste is stackable and stored in temporary field heaps; are the storage locations in a field: - liable to flooding or becoming waterlogged, or - within 50 metres of a borehole, spring or well or - within 10 metres of surface water or a land drain - within 30 meters of a watercourse on steeply sloping land | n/a | No temporary field heaps |
| If the waste is non-stackable is the waste stored within either a vessel, a covered building, or on an impermeable surface | Y | Lagoon and nurse tanks |
| If the waste is high RAN and it is being stored within 200 metres of a European Site (SAC/SPA), Ramsar Site or a Site of Special Scientific Interest (SSSI) is the waste being covered to prevent loss of ammonia? (condition 3.2.4 of the permit) | n/a | No wastes high RAN, and there are no designated sites within 200 meters for any of the storage locations. |

| Waste Analysis | Y N n/a | Comments |
| --- | --- | --- |
| Is the waste analysis report less than 12 months old at time of application? | Y |  |
| Does the analysis include the following? |  |  |
| - pH | Y |  |
| - Nitrogen (N) | Y |  |
| - Phosphorus (P) | Y |  |
| - Potassium (K) | Y |  |
| - % dry matter | Y |  |
| Does the analysis include the following? If it is a required parameter for the waste (see section below) and has not been tested for; has adequate justification been provided? |  |  |
| - Zinc | Y |  |
| - Copper | Y |  |
| - Nickel | Y |  |
| - Lead | Y |  |
| - Cadmium | Y |  |
| - Mercury | Y |  |
| - Magnesium | Y |  |
| - Sodium | Y |  |
| - Sulphur | Y |  |
| Check Appendix A of TGN 8.01 for the wastes types applied for. |  |  |
| - Are there any special testing requirements? | Y | 02 05 01- Fats/oils/grease value- this applies to the Beechdean waste |
| - If yes; have they been tested for? | Y | Within acceptable range |
| If spreading waste soil, has the analysis been carried out at an MCERTS Lab? | n/a |  |
| If the spreading is in a groundwater safeguard zone (permit condition 2.1.8); are any wastes “high readily available nitrogen wastes”? i.e. organic wastes in which more than 30% of the total nitrogen content is available to the crop at the time of spreading. | n/a | Not spreading in a groundwater safeguard zone |
| - If yes, have they stated condition 2.1.8 of the permit will be complied with? | n/a |  |

| Soil Analysis | Y N n/a | Comments |
| --- | --- | --- |
| Is the soil analysis report less than 4 years old at time of application? | Y |  |
| Does the analysis include the following? |  |  |
| - pH | Y |  |
| - Potassium (K) | Y |  |
| - Phosphorus (P) | Y |  |
| - Magnesium (Mg) | Y |  |
| If the waste analysis shows high PTE’s; have these been tested for in the soil? | n/a |  |
| Have the soil indices for P, K and Mg on each field been given? | Y |  |
| Does analysis show that the soils are deficient in the nutrients or properties required by the proposed cropping? | Y | P indices are mostly indices 2 or 3 K indices range from 1 to 4 Mg indices are mostly 2 or 3. Most fields need some form of nutrient for a 2 cut of grass or for maize at index of 3 |

| Benefit Statement | Y N n/a | Comments |
| --- | --- | --- |
| Does the writer of the benefit statement have appropriate technical expertise? (TGN 8.01 6.1) | Y |  |
| Does the activity meet the definition of recovery? (TGN 8.01 6.2) |  |  |
| - Is there a clear benefit from the activity? | Y |  |
| - Is the material suitable for its intended use? | Y |  |
| - Is the minimum amount of waste being used to achieve the intended benefit? | Y |  |
| - Is the waste being used as a substitute for a non-waste material? | Y |  |
| - Will the proposal be completed to an appropriate standard? NOTE: For this activity, the standard is the deployment application that has been assessed and approved. Any deviation from this which has not been agreed is likely to be viewed as disposal. | Y |  |
| Benefit should be assessed against the following criteria. If the chosen benefit, has information been given on? (TGN 8.01 6.3) |  |  |
| - Plant nutrient requirements | Y | Nitrogen, phosphate and potash and sulphur |
| - Timing of application | Y |  |
| - Amount of waste to be applied and application rate | Y |  |
| - Soil chemical properties (e.g. liming and pH) | n/a |  |
| - Soil physical properties (e.g. organic matter and soil structure) | n/a |  |
| - Soil water content | n/a |  |
| - Levelling the land | n/a |  |
| Timing of application- if any of the wastes are high RAN, are they being spread OUTSIDE of the closed periods | n/a | None of the wastes are high RAN (although ABS incorrectly says Secanim and Encirc are) Resolved 14/08/23- references removed |
| Groundwater Safeguard Zone for nitrate- if any of the wastes are high RAN, are the application rates less than 50 m3/ha, with a minimum 3 week gap between applications | n/a |  |
| If an operator wants to apply more nutrients than is recommended in RB209 have they? (TGN 8.01 6.3) |  |  |
| - Justified the nutrient level with appropriate technical expertise | n/a |  |
| - Included the nutrient level in their environmental risk assessment | n/a |  |
| - Stated the source of information that they used to set the nutrient level. | n/a |  |
| Have any potential negative impacts of the activity been addressed? (TGN 8.01 6.5) | N | Odour- states only 2 of the wastes are odours- this is not supported by ops Not resolved 14/08/2023 Odour plan does not meet the guidance. Not resolved 17/08/2023 Resolved 21/08/23 |
| Is the application rate appropriate (i.e. not be applied in excess of crop or soil need, as this may not meet the principles of waste recovery) in terms of? (TGN 8.01 6.7) |  |  |
| - Waste type | Y |  |
| - Waste analysis | Y |  |
| - Crop nutrient requirements | Y |  |
| If the cropping is any of the following, is the maximum nitrogen limit in line with that given in The Water Resources (Control of Agricultural Pollution) (Wales) Regulations 2021: - 0 kg/ha- Field beans, Peas - 120 kg/ha- Sugar beet - 150 kg/ha- Asparagus, Carrots, Forage maize. Radish, Spring barley, Swedes - 180 kg/ha- Spring-sown wheat, Winter barley - 220 kg/ha- Autumn or early winter sown wheat | Y | Fields 0716, 2211 and 1390 are forage maize; max limit is 150 kg/ha. All nitrogen additions are below 150 kg/ha |
| If multiple wastes are being mixed: (TGN 8.01 6.8) |  |  |
| - Does each waste confer benefit in its own right? | Y |  |
| - Is it only for operational purposes? | Y |  |
| - Have individual application rates for each waste been given? | Y |  |
| - If mixing ratios have not been given, is there a statement saying that the highest limiting parameter will be used as the maximum application rate allowed to be spread, i.e. the waste will be spread at the lowest application rate. | N | Resolved 14/08/23- |
| Application of waste (TGN 8.01 6.10) |  |  |
| - Is method of application appropriate for the waste type and cropping? | N | Need further information on when each spreading method will be used “The material will be spread by sub soil injector, or trailing shoe applicator fed from an umbilical cord depending on soil conditions, weather conditions and timing of application.” Resolved 14/08/23- justification provided |
| - Is the timing of application appropriate? | Y |  |
| - Have they stated when the waste will be spread? | Y |  |
| - Have they stated how often the waste will be spread? | Y |  |
| Have the total nutrients supplied by the waste been given? | Y |  |
| Does the total nutrients given by the applicant match NRW calculations? | N | Appendix D Secanim base waste data does not match with the analysis provided, therefore nutrient additions and high RAN calc are wrong. Not Resolved 14/08/23- nutrient calc updated and application rates changed, apart from 1 field Resolved 17/08/23 Encirc- High RAN calc wrong Resolved 14/08/23- nutrient calc and ABS updated ABS states that Field 1390 and 1843 have a pH below 5.5 and will not be spread with wastes from Penderyn Distillery Beechdean or Kellogg’s. This is not reflected in Appendix D nutrient additions Not resolved 14/08/23: Field 1843 has application rate reduced to zero, but field 1390 has only been reduced on the penderyn waste Resolved 17/08/23 |
| Has total nutrients supplied been given in oxide format? | Y | Appendix D |
| Has the SNS for each field been provided? Or enough information provided to calculate the SNS? | Y |  |
| If the operator has stated (or intelligence from local teams have told us) that other sources of nutrients have been applied in the last 12 months; have they stated: |  |  |
| - What material was spread? | Y |  |
| - How much material was spread? | Y |  |
| - At what application rate material was spread? | Y |  |
| - The nutrients supplied by the material? | Y |  |

| Site specific risk assessment (TGN 8.01 2.2) | Y N n/a | Comments |
| --- | --- | --- |
| If the deployment is in a high-risk location as per LPD1 has a site-specific risk assessment been submitted? | n/a |  |
| If there are other designated environmentally sensitive sites within 500 meters has a site-specific risk assessment been submitted? | n/a |  |
| Does the site-specific risk assessment identify all potential? |  |  |
| - Sources of pollution or hazards. Potential hazards include but are not limited to dust, odours, run-off, leachate etc. | n/a |  |
| - Pathways | n/a |  |
| - Receptors that can be affected by that source of pollution. Receptors include but are not limited to environmentally sensitive sites, watercourse, local residents, public rights of way, housing, schools, workplaces and recreational facilities etc. | n/a |  |
| - Measures that will minimise or mitigate the impact will be put in place | n/a |  |

| Appendix 4 assessment | Y N n/a | Comments |
| --- | --- | --- |
| Is the site within 500 meters of a SSSI? - If yes, the complete an Appendix 4 CroW assessment. | N |  |
| Has a likely significant effect been identified? - If yes, consult with the relevant NRM team. - If no, save the Appendix 4 to the DMS as information only | n/a |  |

| Habitat Regulation Assessment | Comments |
| --- | --- |
| Is the site within 500 meters of a Natura 2000 (SPA, pSPA, SAC or cSAC) or a Ramsar site? | N |

Comments

Consultation responses: Information provided that requires addressing: - App form states storage location SJ 02451 65690 is nurse tank, other parts of application state this is a lagoon. Resolved 14/08/23- - Majority of waste has potential for odour- all should be injected to avoid odour risks Resolved 14/08/23 justification provided - spreading buffers needed around residential properties Resolved 14/08/23

MyMap, location and slope assessments: MyMap/location assessment - land in deployment is clear of any designations - any water courses, springs/issues or wells have been appropriately buffered. - see below for slope assessment Provide relevant information Slope assessment - fields in deployment are mostly 0-7 degree in slope. - No fields have a slope of over 12 degrees. - Several fields have small areas of 7-12 degrees slope; however these are all excluded from the spreading areas. - No further assessment is required.

CPH details: Not on LPD1 form, but is on consent document: 56/40/117 My Map: 56/040/0117 E W HUGHES & PARTNERS GWAENYNOG BACH

Protection of habitats and ecosystems Aerial view in Agricultural Benefit Statement Gwaenynog Bach June 2023 V2 Does not included fields 2991, 3799, 5813 or 5694 Resolved 14/08/23-

Agricultural benefit calculations: Secanim - Nutrient offtake is higher that waste additions on all fields except 7887 where P index is 1 Croda Goole - Nutrient offtake is higher that waste additions on all fields - Sodium levels are acceptable Croda Widnes - Nutrient offtake is higher that waste additions on all fields Maelor Foods - Nutrient offtake is higher that waste additions on all fields except 7887 where P index is 1 Encirc - Nutrient offtake is higher that waste additions on all fields except 7887 where P index is 1 Penderyn Distillery - pH of 3.74 - Nutrient offtake is higher that waste additions on all fields Kelloggs - pH of 4.02 - Nutrient offtake is higher that waste additions on all fields except 7887 where P index is 1 Beechdean Ice cream - pH of 3.93 - Nutrient offtake is higher that waste additions on all fields Errors within Agricultural Benefit Statement - “Waste from Secanim has a FOG content of 4.1%.”- not on the analysis provided- no FOG has been included- Not resolved 14/08/23. Resolved 17/08/23 - “Field 1390 and 1843 have a pH below 5.5 will not be spread with wastes from Penderyn Distillery Beechdean or Kellogg’s.”- not according to Appendix D- Not resolved 14/08/23 Resolved 17/08/23 - “The wastes from Secanim and Encirc have high readily available nitrogen content”- they do not. Secanim waste analysis provided shows 21.6% and Encirc shows 4.2% Resolved 14/08/23- information removed - “Several of the fields in the deployment have slopes which increase the risk of run off when waste is applied. Slopes over 12% have been identified on the site plan and will not be spread”- no fields include areas of over 12%, and any areas of between 7-12 degrees have been removed from the spreading areas. These areas may have originally been included in returned application PAN-019963 Resolved 14/08/23- information removed

Request for information: Sent 08/08/2023: - EIA evidence Resolved 14/08/23 - Waste storage lagoon/nurse tank Resolved 14/08/23 - Correct Secanim waste analysis Not resolved 14/08/23 Resolved 17/08/23 - correct Encirc Ran value Resolved 14/08/23 - correct application rates for Fields 1390 and 1843 Not resolved 14/08/23 Resolved 17/08/23 - confirm if the wastes are to be mixed Resolved 14/08/23 - confirm the maximum application rate for each field Resolved 14/08/23 - Specify the method of spreading of each of the wastes in each circumstance, with the reasoning for the decision. Resolved 14/08/23- justification provided - Provide an odour management plan ensuring that it meets the requirements of the H4 Odour guidance. Not resolved 14/08/2023, 17/08/23 Resolved 21/08/23 - Provide updated spreading plans to show the buffer zones around residential receptors. Resolved 14/08/23 - Correct slope information Resolved 14/08/23

Other information to note: n/a

| Decision |  |
| --- | --- |
| ## Can the deployment application be approved? | Yes |
| ## Issue date | 22/08/23 |
| ## Effective date | 22/08/23 |
| ## Permitting Officer Date | Louise Bailey 22/08/23 |
| ## Team leader or Transfer of Powers (ToP) approval Date | Kate Thomas 22/08/23 |

| Time recording |  |
| --- | --- |
| Admin/consultations | 60 |
| Determination | 545 |
| Sign off | 10 |
| Issuing | 10 |
| Total | 625 |