# Natural Resources Wales permitting decisions

# Variation

We have decided to issue the variation for Cwrtgwenddwr Wood Recycling Facility operated by John Jones Civil Engineering & Groundworks Ltd.

The variation number is EPR/CB3396FF/V002

We consider in reaching that decision we have taken into account all relevant considerations and legal requirements and that the permit will ensure that the appropriate level of environmental protection is provided.

Purpose of this document

This decision document:

- explains how the application has been determined

- provides a record of the decision-making process

- shows how all relevant factors have been taken into account

- justifies the specific conditions in the permit other than those in our generic permit template.

Unless the decision document specifies otherwise we have accepted the applicant’s proposals.

Structure of this document

- Key issues

- Annex 1 the decision checklist

# Key issues of the decision

EPR/CB3396FF/A001

Permit EPR/CB3396FF/A001 was issued with the requirement that all waste was to be stored and treated on an impermeable surface with sealed drainage to an interceptor and holding tank to prevent any run-off contaminated with sediment leaving the site. This was as a result of the application made and was explicitly required within the permit to also protect the nearby River Wye (Upper Wye) / Afon Gwy (Gwy Uchaf) SSSI, Llandeilo, Rhulen and Llanbedr Hills SSSI and River Wye / Afon Gwy (Wales) SAC.

EPR/CB3396FF/V002

Variation EPR/CB3396FF/V002 has been made to amend the above requirement so all waste can be stored and treated on hardstanding which meets the conditions of the Tier 2 Bespoke permit, as the site is located outside a groundwater Source Protection Zones 1 or 2.

Section 4.15 of the sites updated Environmental Management System (Document reference: John Jones - EMS 17-7-23 FULL) details the full drainage arrangements for the site and has been incorporated into the permit via Table S1.2 Operating techniques, along with other relevant sections of the Environmental Management System, and Environmental Risk Assessment.

This amendment to the permit removes the need for an impermeable surface, therefore removing the direct link from the permitted areas to the watercourses, and any potential off-site discharge(s) which could cause harm to the designated sites.

Further information is given below and in the Appendix 4 (SSSI) assessment.

# Annex 1: decision checklist

This document should be read in conjunction with the Duly Making checklist, the application and supporting information and permit/notice.

| ### Aspect considered |  | ### Justification / Detail | Criteria met |  |
| --- | --- | --- | --- | --- |
|  |  |  | Yes |  |
| Operator |  |  |  |  |
| Control of the facility |  | We are satisfied that the applicant (now the operator) is the person who will have control over the operation of the facility after the grant of the permit. The decision was taken in accordance with EPR RGN 1 Understanding the meaning of operator. |  |  |
| European Directives |  |  |  |  |
| Applicable directives |  | All applicable European directives have been considered in the determination of the application. |  |  |
| Sustainable Management of Natural Resources (SMNR) |  |  |  |
| Considerations of SMNR - Compliance with our General Purpose | We are satisfied that this decision is compatible with our general purpose of pursuing the sustainable management of natural resources in relation to Wales and applying the principles of sustainable management of natural resources. |  |  |
| Environment Wales Act 2016 – Biodiversity and resilience of ecosystems duty |  |  |  |
| Consideration of Section 6 | Section 6 of the Environment Wales Act 2016 requires that we seek to maintain and enhance biodiversity in the exercise of our functions, and in so doing promote the resilience of ecosystems, in a manner that is consistent with the proper exercise of our functions. NRW is satisfied that in this case, we have taken into account and had due regard to this duty in so far as it is consistent with the function of determining an application for an EPR permit. |  |  |
| The site |  |  |  |  |
| Extent of the site of the facility |  | The operator has provided a plan which we consider is satisfactory, showing the extent of the site of the facility. A plan is included in the permit and the operator is required to carry on the permitted activities within the site boundary. |  |  |
| Biodiversity, Heritage, Landscape and Nature Conservation |  | The application is within the relevant distance criteria of a site of heritage, landscape or nature conservation, and/or protected species or habitat . A full assessment of the application and its potential to affect the River Wye (Upper Wye) / Afon Gwy (Gwy Uchaf) SSSI and Llandeilo, Rhulen and Llanbedr Hills SSSI has been carried out as part of the permitting process. We consider that the application will not affect the features of the protected sites. See the Appendix 4 (SSSI) assessment for further details. No FORM 1 completed: HRA is not required because there is no conceivable impact pathway to any Natura 2000/Ramsar site Note: From OGN 200 - no conceivable impact on any Natura 2000 site, by virtue of the scale or location or nature of the project. At its closest point, the River Wye / Afon Gwy (Wales) SAC is approximately 85 meters downhill of the site. This amendment to the permit removes the need for an impermeable surface, and therefore removed the impact pathway i.e. the risks from off-site discharge(s). Relevant parts of the application describing the sites standard operating controls have been incorporated into the permit to ensure compliance and environmental protection. |  |  |
| Environmental Risk Assessment and operating techniques |  |  |  |  |
| Environmental risk |  | We have reviewed the operator's assessment of the environmental risk from the facility. The operator’s risk assessment is satisfactory. |  |  |
| Operating techniques |  | We have reviewed the techniques used by the operator and compared these with the relevant guidance notes. The operator has identified appropriate measures, as set out in the relevant technical guidance note for waste activities; ‘How to comply with your environmental permit’. |  |  |
| The permit conditions |  |  |  |  |
| Updating permit conditions during consolidation. |  | We have updated previous permit conditions to those in the new generic permit template as part of permit consolidation. The new conditions have the same meaning as those in the previous permit(s). Changes to the permit are limited to - Registered office address - Introductory note - Table S1.2 Operating Techniques - Schedule 7 Site plan The operator has agreed that the new conditions are acceptable. |  |  |
| Incorporating the application |  | We have specified that the applicant must operate the permit in accordance with descriptions in the application, including all additional information received as part of the determination process. These descriptions are specified in the Operating Techniques table in the permit. We have also incorporated relevant process documents, provided by the operator into the permit to ensure compliance and environmental protection. |  |  |
| Operator Competence |  |  |  |  |
| Environment management system |  | There is no known reason to consider that the operator will not have the management systems to enable it to comply with the permit conditions. The decision was taken in accordance with RGN 5 on Operator Competence. |  |  |
| ### Financial competence |  | There is no known reason to consider that the operator will not be financially able to comply with the permit conditions. The decision was taken in accordance with RGN 5 on Operator Competence. |  |  |