Schedule 6 – Notification

These pages outline the information that the Operator must provide.

Units of measurements used in information supplied under Part A and B requirements shall be appropriate to the circumstances of the emission.  Where appropriate, a comparison should be made of actual emissions and authorised emission limits.

If any information is considered commercially confidential, it should be separated from non-confidential information, supplied on a separate sheet and accompanied by an application for commercial confidentiality under the provisions of the PPC Regulations.

| Part A |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Permit Number | LP 3038 SU |  |  |  |  |
| Name of Operator | Infinis |  |  |  |  |
| Location of the Installation | Nant Y Caws |  |  |  |  |
| Time and date of the detection | 23/05/2023 15:12 |  |  |  |  |
| (a) Notification requirements for any malfunction, breakdown or failure of equipment or techniques, accident , or fugitive emission which has caused, is causing or may cause, significant pollution |  |  |  |  |  |
| To be notified within 24 hours of detection |  |  |  |  |  |
| Date and time of the event | 23/05/2023 15:12 – 24/05/2023 07:48 |  |  |  |  |
| Reference or description of the location of the event | Nant Y Caws gas utilisation plant |  |  |  |  |
| Description of where any release into the environment took place | Nant Y Caws landfill site (potentially) |  |  |  |  |
| Substance(s) potentially released | Landfill gas |  |  |  |  |
| Best estimate of the quantity or the rate of release of substances | Unquantifiable |  |  |  |  |
| Measures taken, or intended to be taken, to stop any emission | Engineer attended site to restart plant |  |  |  |  |
| Description of the failure or accident. | GUP outage |  |  |  |  |
| (b) Notification requirements for the breach of a limit |  |  |  |  |  |
| To be notified within 24 hours of detection unless otherwise specified below |  |  |  |  |  |
| Emission point/reference source |  |  |  |  |  |
| Parameter(s) |  |  |  |  |  |
| Limit |  |  |  |  |  |
| Measured value and uncertainty |  |  |  |  |  |
| Date and time of monitoring |  |  |  |  |  |
| Measures taken, or intended to be taken to stop the emission |  |  |  |  |  |

| Time periods for notification following detection of a breach of a limit |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Parameter | Notification period |  |  |  |  |
| (c) Notification requirements for the detection of any significant adverse environmental effect |  |  |  |  |  |
| To be notified within 24 hours of detection |  |  |  |  |  |
| Description of where the effect on the environment was detected |  |  |  |  |  |
| Substance(s) detected |  |  |  |  |  |
| Concentrations of substances detected |  |  |  |  |  |
| Date of monitoring/sampling |  |  |  |  |  |

Part B – to be submitted as soon as practicable

| Any more accurate information on the matters for notification under Part A | The gas field was rested due to the CH4 quality being too low to run an engine or flare reliably. |
| --- | --- |
| Measures taken, or intended to be taken, to prevent recurrence of the incident | Gas field works is scheduled for 13th June 2023 to increase the CH4 quality |
| Measures taken, or intended to be taken to rectify, limit of prevent any pollution of the environment which has been or may be caused by the emission | There have been no reports of pollution following the outage. |
| The dates of any unauthorised emissions from the installation in the preceding 24 months | N/A |

| Name* | Jordan Greenwood |  |
| --- | --- | --- |
| Post | Compliance Technician |  |
| Signature |  |  |
| Date | 24/05/2023 (Part A), 31/05/2023 (Part B) |  |
| *authorised to sign on behalf of Infinis Note: Notification Forms contained within the Permits are titled differently according to the age of the Permit. The Notification forms may therefore be titled as ‘Schedule 1’, ‘Schedule 5’ or ‘Schedule 6’ forms. To prevent confusion, Infinis has developed a standard form for use for all EA notification submissions identified as a Schedule 6 (EC 4.3 Notification Summary). |  |  |