	SCHEDULE 5 Notification

	Part A 

	Permit Number:
	EPR/AP3292LT

	Name of Operator:
	Tata Steel UK Ltd

	Location of Facility:
	Port Talbot Works

	Time & Date if the Detection
	31st August 2023


	(b) Notification requirements for breach of a permit condition

	

	Emission point/reference source
	Morfa Closed Landfill

	Parameter(s)
	Potential Breach Notification: Cadmium 

	Limit
	Cadmium – 0.1 ug/l

	Measured value and uncertainty
	Cadmium:

-BH9S: 0.399 ug/l

-BH16D: 0.825 ug/l
Cadmium uncertainty (0.01 ug/l)

	Date and time of monitoring
	During the routine sampling for Q3 at Morfa Closed Landfill X2 potential breaches have been identified. Sampling was carried out during August 2023. 

	Measures taken, or intended to be taken.
	Measures Taken 

As a result of the X2 potential breaches re-sampling has been arranged for September 2023 to confirm the results. We have also requested the laboratory to undertake an investigation and potentially retest the samples. 

Measures intended to be taken 

As Above
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