## April 2023
Permit Number: |  |  |  | TP3835LV |  |  | Operator: |  | SI Green UK Limited |  |  |  | Test method & uncertainty
Installation: |  |  |  | Cwmrhydyceirw Quarry | [8 empty] | Portable infra-red analyser. Uncertainty is the accuracy of the meter.
Schedule 4 - Emissions and monitoring | [6 empty] | Tables S4.1 & S4.6 and Table 3a from the Updated Management Report updated 25 May 2023
Reporting of leachate levels and landfill gases for the period from | [6 empty] | Quarter 2 | 01 April - 30 June |  |  |  | 2023
Cwmrhydyceirw Quarry: Site Monitoring April 2023
Borehole | Date Taken | Water Level (m) | CH4 | CO2 | O2 | Balance | CO (ppm) | Gas Pressure | Internal flow (l/h) | Barom Press | Bottom Bor Lev | Ground Lev (mAOD) | Wat Lev (mAOD) | Boreh on surf. (m) | Boreh Bottom (m) | Water Column (m)
Emission Limit Value |  |  | no limit set | no limit set | no limit set |  | no limit set | [9 empty] | GAS IN WASTE
L1C/09R | 2023-04-04 | 11.96 | 0.4 | 0.3 | 20.5 | 78.8 | 0 |  | 0 | 1024 | 35.45 | 46.5 | 35.03 | 0.49 | 11.54 | -0.42
L3/09R | 2023-04-04 | 10.78 | 0 | 0 | 21.2 | 78.8 | 0 |  | 0 | 1024 | 36.62 | 46.34 | 36.96 | 1.4 | 11.12 | 0.34
L6/09R | 2023-04-04 | 6.29 | 10.5 | 6 | 10.1 | 74.5 | 1 |  | 0 | 1024 | 34.02 | 46.83 | 41.46 | 0.92 | 13.73 | 7.44
L9B/09 | 2023-04-04 | 10.34 | 0 | 0 | 20 | 78.7 | 0 |  | 0 | 1024 | 36.32 | 46.51 | 37.32 | 1.15 | 11.34 | 1
L11/09R | 2023-04-04 | 11.17 | 33.2 | 1.1 | 5.6 | 59.5 | 19 |  | 0 | 1024 | 33.46 | 47.12 | 36.71 | 0.76 | 14.42 | 3.25
L13/09R | 2023-04-04 | 7.62 | 0 | 0.1 | 19.1 | 81.2 | 0 |  | 0 | 1024 | 40.95 | 46.98 | 40.13 | 0.77 | 6.8 | -0.82
L16/09R | 2023-04-04 | 8.64 | 46.1 | 12.3 | 1 | 40.7 | 4 |  | 0 | 1024 | 35.31 | 46.9 | 38.99 | 0.73 | 12.32 | 3.68
L19/09R | 2023-04-04 | 7.29 | 8.4 | 0 | 7.9 | 83.1 | 2 |  | 0 | 1024 | 41.93 | 47.18 | 40.58 | 0.69 | 5.94 | -1.35
L21/09R | 2023-04-04 | 8.53 | 0 | 0 | 21.2 | 78.8 | 0 |  | 0 | 1024 | 33.98 | 43.84 | 36.59 | 1.28 | 11.14 | 2.61
L23/09R | 2023-04-04 | 10.67 | 0 | 0 | 21.2 | 78.8 | 0 |  | 0 | 1024 | 34.74 | 45.85 | 35.47 | 0.29 | 11.4 | 0.73
L26/09R | 2023-04-04 | 7.59 | 0 | 0.1 | 21 | 78.9 | 0 |  | 0 | 1024 | 36.64 | 43.33 | 36.56 | 0.82 | 7.51 | -0.08
L1/20 | 2023-04-04 | 7.52 | 0 | 0 | 21.2 | 78.8 | 0 |  | 0 | 1024 | 34.29 | 43.21 | 37.08 | 1.39 | 10.31 | 2.79
L2/20R |  |  | Flooded | [7 empty] | 36.81 | 41.51 | 42.81 | 1.3 | 6 | 6
L3/20 | 2023-04-04 | 11.68 | 0 | 0 | 21.2 | 78.8 | 0 |  | 0 | 1024 | 34.54 | 47.4 | 37.13 | 1.41 | 14.27 | 2.59
L4/20 | 2023-04-04 | 7.52 | 0 | 0 | 21.2 | 78.8 | 0 |  | 0 | 1024 | 33.63 | 43.32 | 37.2 | 1.4 | 11.09 | 3.57
L5/20 | 2023-04-04 | 9.47 | 9.9 | 0.1 | 14 | 75.1 | 0 |  | 0 | 1024 | 40.05 | 47.73 | 39.61 | 1.35 | 9.03 | -0.44
L6/20 | 2023-04-04 | 9.85 | 29.5 | 11.2 | 7.5 | 55.7 | 1 |  | 0 | 1024 | 33.07 | 44.73 | 36.24 | 1.36 | 13.02 | 3.17
L7/20 | 2023-04-04 | Dry | 1.3 | 1.1 | 6.7 | 91.9 | 0 |  | 0 | 1024 | 42.75 | 47.34 |  | 1.45 | 6.04
L8/20 | 2023-04-04 | 10.05 | 0 | 0 | 21.1 | 78.9 | 0 |  | 0 | 1024 | 34.04 | 44.94 | 36.17 | 1.28 | 12.18 | 2.13
L9/20R | 2023-04-04 | 9.72 | 0 | 0 | 21.1 | 78.5 | 0 |  | 0 | 1024 | 35.86 | 45.57 | 37.25 | 1.4 | 11.11 | 1.39
L27/23 |  |  | Not monitored
L28/23 |  |  | Not monitored
L29/23 |  |  | Not monitored
L30/23 |  |  | Not monitored
L31/23 |  |  | Not monitored
CWMLS02 |  |  | Not monitored | [10 empty] | 0.8 | 10.7
Emission Limit Value |  |  | 1.5% vol. | no limit set | no limit set |  | no limit set | [9 empty] | GAS EXTERNAL WASTE
LFG2R | 2023-04-05 | 5.45 | 0 | 0.1 | 21.9 | 79.2 | 0 | -0.15 | 0.2 | 1014 | 32.06 | 56.4 | 51.4 | 0.45 | 24.79 | 19.34
LFG3 | 2023-04-05 | 8.55 | 0 | 0.5 | 21.3 | 78 | 0 | 0.02 | 0.3 | 1014 | 33.265 | 56.595 | 48.495 | 0.45 | 23.78 | 15.23
LFG4 | 2023-04-05 | 4.3 | 0 | 3.3 | 19.2 | 77.7 | 0 | -0.05 | 0.1 | 1014 | -6.01 |  | -3.75 | 0.55 | 6.56 | 2.26
LFG5 | 2023-04-05 | 17.99 | 0 | 2.8 | 14.4 | 82.6 | 0 | -0.07 | 0.1 | 1014 | 31.66 | 61.93 | 44.34 | 0.4 | 30.67 | 12.68
LFG6 | 2023-04-05 | 5.11 | 0 | 0 | 22.3 | 77.5 | 0 | 0.14 | 0.1 | 1014 | 34.37 | 62.41 | 57.4 | 0.1 | 28.14 | 23.03
LFG7BG | 2023-04-05 | 6.01 | 0 | 1.9 | 15.7 | 82 | 0 | -0.02 | 0.1 | 1014 | 51.76 | 62.07 | 56.53 | 0.47 | 10.78 | 4.77
LFG8 | 2023-04-05 | 26.22 | 0 | 0.3 | 21.1 | 78.4 | 0 | -0.15 | 0.1 | 1014 | 31.69 | 62.32 | 36.6 | 0.5 | 31.13 | 4.91
LFG9 | 2023-04-05 | 25.12 | 0 | 1.2 | 10.7 | 87.9 | 0 | 0.07 | 0.1 | 1014 | 32.66 | 62.21 | 37.56 | 0.47 | 30.02 | 4.9
LFG10 | 2023-04-05 | 17.74 | 0 | 0.6 | 20 | 80.4 | 0 | -0.07 | 0.2 | 1014 | 32.55 | 62.39 | 45.1 | 0.45 | 30.29 | 12.55
LFG11 | 2023-04-05 | 16.03 | 0 | 0.6 | 21.3 | 78 | 0 | 0.02 | 0.2 | 1014 | 35.14 | 64.07 | 48.44 | 0.4 | 29.33 | 13.3
LFG11A | 2023-04-05 | 23.19 | 0 | 0.1 | 22.6 | 77.2 | 0 | -0.1 | 0.1 | 1014 | 33.72 | 63.14 | 40.45 | 0.5 | 29.92 | 6.73
LFG12BG | 2023-04-05 | 15.63 | 0 | 0.1 | 22.3 | 77.3 | 0 | -0.06 | 0.1 | 1014 | 33.94 | 64.61 | 49.43 | 0.45 | 31.12 | 15.49
LFG13 | 2023-04-05 | 17.42 | 0 | 7.5 | 10.1 | 86.3 | 0 | -0.09 | 0.1 | 1014 | 33.55 | 65.21 | 48.29 | 0.5 | 32.16 | 14.74
LFG17 | 2023-04-05 | 26.76 | 0 | 0.9 | 19.3 | 80.4 | 0 | 0.07 | 0.2 | 1014 | 28.07 | 67.44 | 41.09 | 0.41 | 39.78 | 13.02
LFG18R | 2023-04-05 | 29.04 | 0 | 0.2 | 21.9 | 77.7 | 0 | -0.95 | 0.2 | 1014 | 33.84 | 69.66 | 40.62 | 0 | 35.82 | 6.78
LFG19 | 2023-04-05 | 28.07 | 0 | 0.4 | 20.3 | 79.1 | 0 | -0.02 | 0.1 | 1014 | 29.62 | 69.7 | 41.95 | 0.32 | 40.4 | 12.33
LFG20 |  |  | Flooded | [7 empty] | 30.25 | 69.95 | 70.28 | 0.33 | 40.03 | 40.03
LFG21BG | 2023-04-04 | 7.15 | 0 | 0 | 21.6 | 78.4 | 1 | 0 | 0 | 1024 | 31.89 | 75.46 | 68.91 | 0.6 | 44.17 | 37.02
LFG22 | 2023-04-05 | 26.25 | 0 | 1.3 | 21.2 | 78.1 | 0 | 0.05 | 0.12 | 1014 | 29.22 | 69.2 | 43.4 | 0.45 | 40.43 | 14.18
LFG23R |  |  | Not monitored
LFG24 | 2023-04-04 | 7.2 | 0 | 1.4 | 0 | 79.4 | 0 | 0.03 | 0.1 | 1024 | 30.67 | 73.28 | 66.41 | 0.33 | 42.94 | 35.74
LFG24R-A | 2023-04-04 | 1.79 | 0 | 1 | 20.2 | 78.9 | 1 | 3.11 | 0.1 | 1024
LFG24R-B | 2023-04-04 | 4.53 | 0 | 1.6 | 19.4 | 79.1 | 0 | 0.02 | 0.1 | 1024
LFG25 | 2023-04-04 | 9.66 | 0 | 0.6 | 15 | 84.6 | 0 | 2.01 | 0.1 | 1024 | 30.07 | 71.5 | 62.15 | 0.31 | 41.74 | 32.08
LFG25R-A | 2023-04-04 | 1.72 | 0 | 1.4 | 17.9 | 80.7 | 0 | 0.07 | 0 | 1024
LFG25R-B | 2023-04-04 | 4.3 | 0.1 | 7.3 | 0.7 | 92 | 0 | -0.09 | 0.1 | 1024
LFG26 | 2023-04-04 | 18.43 | 0 | 0.1 | 21.4 | 78.4 | 0 | -1.92 | 0.1 | 1024 | 40.48 | 69.51 | 51.38 | 0.3 | 29.33 | 10.9
LFG26R-A | 2023-04-04 | 2.03 | 0 | 2.9 | 15.7 | 81.4 | 0 | 0.05 | 0.1 | 1024
LFG26R-B | 2023-04-04 | 1.97 | 0 | 0.2 | 20.1 | 79.6 | 0 | -60.82 | 0.1 | 1024
LFG27R-A | 2023-04-04 | 5.23 | 0 | 0.1 | 20.4 | 79.5 | 0 | 0 | 0 | 1024 | 32.62 | 67.84 | 62.86 | 0.25 | 35.47 | 30.24
LFG27R-B | 2023-04-04 | 5.46 | 0 | 0 | 20.9 | 79.1 | 0 | 0 | 0 | 1024 | 32.62 | 67.84 | 62.63 | 0.25 | 35.47 | 30.01
LFG35R | 2023-04-04 | 22.21 | 0 | 0.5 | 21.4 | 78 | 0 | 0.19 | 0 | 1024 | 29.64 | 61.6 | 39.89 | 0.5 | 32.46 | 10.25
LFG39 | 2023-04-04 | 13.41 | 0 | 0.5 | 19.8 | 79.6 | 0 | -0.12 | 0.1 | 1024 | 28.65 | 44.57 | 31.69 | 0.53 | 16.45 | 3.04
LFG40 | 2023-04-04 | 11.95 | 0 | 0.1 | 9.3 | 91.5 | 0 | 0.12 | 0 | 1024 | 31.87 | 45.07 | 33.58 | 0.46 | 13.66 | 1.71
LFG41 | 2023-04-04 | 11.32 | 0 | 5.5 | 12.7 | 81.9 | 0 | -11.21 | 0 | 1024 | 30.26 | 45.06 | 34.28 | 0.54 | 15.34 | 4.02
LFG42 | 2023-04-04 | 7.75 | 0 | 0.1 | 19.7 | 80.2 | 0 | 0.03 | 0.1 | 1024 | 29.72 | 45.65 | 38.37 | 0.47 | 16.4 | 8.65
LFG43R | 2023-04-04 | 18.11 | 0 | 0 | 21.1 | 79 | 1 | 3.75 | 0.1 | 1024 | 30.34 | 66.62 | 48.97 | 0.46 | 36.74 | 18.63
LFG44R | 2023-04-04 | 30.85 | 0 | 0 | 21.2 | 78 | 1 | -1.17 | 0.1 | 1024 | 31.4 | 64.76 | 34.28 | 0.37 | 33.73 | 2.88
LFG45 | 2023-04-04 | 10.82 | 0 | 2.5 | 16.2 | 82.3 | 1.8 | 0.36 | 0.1 | 1024 | 30.2 | 61.52 | 51.01 | 0.31 | 31.63 | 20.81
LFG46R | 2023-04-04 | 27.61 | 0 | 11.2 | 8.4 | 85.6 | 0 | -9.15 | 0.1 | 1024 | 29.83 | 62.54 | 35.36 | 0.43 | 33.14 | 5.53
LFG47R | 2023-04-04 | 21.09 | 0 | 0.9 | 20 | 79.4 | 1 | -3.22 | 0.1 | 1024 | 31.16 | 63.28 | 42.58 | 0.39 | 32.51 | 11.42
LFG48R | 2023-04-04 | 21.02 | 0 | 0.3 | 21.2 | 78.4 | 0 | -0.67 | 0.1 | 1024 | 30.26 | 52.12 | 31.13 | 0.03 | 21.89 | 0.87
LFG49 | 2023-04-04 | 12.92 | 0 | 8.2 | 8.9 | 82.9 | 0 | -0.46 | 0 | 1024 | 31.26 | 53.12 | 40.23 | 0.03 | 21.89 | 8.97
LFG50 | 2023-04-04 | 12.71 | 32.1 | 4.3 | 0.8 | 62.8 | 1 | 0.21 | 0.2 | 1024 | 32.26 | 54.12 | 41.44 | 0.03 | 21.89 | 9.18
LFG51 | 2023-04-04 | 12.41 | 4.5 | 8.4 | 0.7 | 86.2 | 0 | -1.72 | 0.2 | 1024 | 33.26 | 55.12 | 42.74 | 0.03 | 21.89 | 9.48
[1] The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.
[2] Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. gas chromatography.
[3] For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.
[4] The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.
Signed …Guy Titman |  |  |  |  | Date…27/07/2023
(Authorised to sign as representative of Operator)

## May 2023
Permit Number: |  |  |  | TP3835LV |  |  | Operator: |  | SI Green UK Limited |  |  |  | Test method & uncertainty
Installation: |  |  |  | Cwmrhydyceirw Quarry | [8 empty] | Portable infra-red analyser. Uncertainty is the accuracy of the meter.
Schedule 4 - Emissions and monitoring | [6 empty] | Tables S4.1 & S4.6 and Table 3a from the Updated Management Report updated 25 May 2023
Reporting of leachate levels and landfill gases for the period from | [6 empty] | Quarter 2 | 01 April - 30 June |  |  |  | 2023
Cwmrhydyceirw Quarry: Site Monitoring May 2023
Borehole | Date Taken | Water Level (m) | CH4 | CO2 | O2 | Balance | CO (ppm) | Gas Pressure | Internal flow (l/h) | Barom Press | Bottom Bor Lev | Ground Lev (mAOD) | Wat Lev (mAOD) | Boreh on surf. (m) | Boreh Bottom (m) | Water Column (m)
Emission Limit Value |  |  | no limit set | no limit set | no limit set |  | no limit set | [9 empty] | GAS IN WASTE
L1C/09R | 2023-05-11 | 11.97 | 0 | 0 | 21 | 78.9 | 0 |  |  | 1022 | 35.45 | 46.5 | 35.02 | 0.49 | 11.54 | -0.43
L3/09R | 2023-05-11 | 10.32 | 0.2 | 0.2 | 21.1 | 78.5 | 0 |  |  | 1022 | 36.62 | 46.34 | 37.42 | 1.4 | 11.12 | 0.8
L6/09R | 2023-05-11 | 11.35 | 0 | 0 | 20.8 | 79.2 | 0 |  |  | 1022 | 34.02 | 46.83 | 36.4 | 0.92 | 13.73 | 2.38
L9B/09 | 2023-05-11 | 10.57 | 0 | 1 | 21.2 | 78.9 | 0 |  |  | 1022 | 36.32 | 46.51 | 37.09 | 1.15 | 11.34 | 0.77
L11/09R | 2023-05-11 | 11.44 | 26.4 | 1 | 6.9 | 65.9 | 1.45 |  |  | 1022 | 33.46 | 47.12 | 36.44 | 0.76 | 14.42 | 2.98
L13/09R | 2023-05-11 | 7.71 | 0 | 0 | 20.8 | 79.1 | 0 |  |  | 1022 | 40.95 | 46.98 | 40.04 | 0.77 | 6.8 | -0.91
L16/09R | 2023-05-11 | 9.11 | 27.2 | 9 | 6.3 | 54.1 | 5 |  |  | 1022 | 35.31 | 46.9 | 38.52 | 0.73 | 12.32 | 3.21
L19/09R | 2023-05-11 | 7.27 | 6.2 | 0 | 9.3 | 84.6 | 7 |  |  | 1022 | 41.93 | 47.18 | 40.6 | 0.69 | 5.94 | -1.33
L21/09R | 2023-05-11 | 9.08 | 0 | 0 | 21.1 | 78.9 | 0 |  |  | 1022 | 33.98 | 43.84 | 36.04 | 1.28 | 11.14 | 2.06
L23/09R | 2023-05-11 | 7.38 | 0 | 0.1 | 20.8 | 79.2 | 0 |  |  | 1022 | 34.74 | 45.85 | 38.76 | 0.29 | 11.4 | 4.02
L26/09R | 2023-05-11 | 7.81 | 0 | 0 | 21 | 79 | 0 |  |  | 1022 | 36.64 | 43.33 | 36.34 | 0.82 | 7.51 | -0.3
L1/20 | 2023-05-11 | 8.11 | 0 | 0 | 21.1 | 78.9 | 0 |  |  | 1022 | 34.29 | 43.21 | 36.49 | 1.39 | 10.31 | 2.2
L2/20R | 2023-05-11 | Dry | 0 | 0 | 20 | 78.9 | 0 |  |  | 1022 | 36.81 | 41.51 |  | 1.3 | 6
L3/20 | 2023-05-11 | 11.53 | 0 | 0 | 20.9 | 79.1 | 0 |  |  | 1022 | 34.54 | 47.4 | 37.28 | 1.41 | 14.27 | 2.74
L4/20 | 2023-05-11 | 7.56 | 0 | 0.1 | 21.8 | 78.1 | 0 |  |  | 1022 | 33.63 | 43.32 | 37.16 | 1.4 | 11.09 | 3.53
L5/20 | 2023-05-11 | 9.34 | 0 | 0 | 20.9 | 79.1 | 0 |  |  | 1022 | 40.05 | 47.73 | 39.74 | 1.35 | 9.03 | -0.31
L6/20 | 2023-05-11 | 10.45 | 4.4 | 2.1 | 19.3 | 73.4 | 0 |  |  | 1022 | 33.07 | 44.73 | 35.64 | 1.36 | 13.02 | 2.57
L7/20 | 2023-05-11 | Dry | 0 | 0 | 20.8 | 79.2 | 0 |  |  | 1022 | 42.75 | 47.34 |  | 1.45 | 6.04
L8/20 | 2023-05-11 | 7.4 | 0 | 0 | 21 | 79 | 0 |  |  | 1022 | 34.04 | 44.94 | 38.82 | 1.28 | 12.18 | 4.78
L9/20R | 2023-05-11 | 7.61 | 0 | 0.1 | 20.6 | 79.3 | 0 |  |  | 1022 | 35.86 | 45.57 | 39.36 | 1.4 | 11.11 | 3.5
L27/23 |  |  | Not monitored
L28/23 |  |  | Not monitored
L29/23 |  |  | Not monitored
L30/23 |  |  | Not monitored
L31/23 |  |  | Not monitored
CWMLS02 |  |  | Not monitored | [10 empty] | 0.8 | 10.7
Emission Limit Value |  |  | 1.5% vol. | no limit set | no limit set |  | no limit set | [9 empty] | GAS EXTERNAL WASTE
LFG2R | 2023-05-11 | 5.34 | 0 | 0 | 16.4 | 85.1 | 0 | 0.07 | 0.1 | 1022 | 32.06 | 56.4 | 51.51 | 0.45 | 24.79 | 19.45
LFG3 | 2023-05-11 | 8.92 | 0 | 0 | 22.2 | 77.7 | 0 | 0.12 | 0.1 | 1022 | 33.265 | 56.595 | 48.125 | 0.45 | 23.78 | 14.86
LFG4 | 2023-05-11 | 5.1 | 0 | 2.3 | 18.8 | 78.9 | 0 | 0.02 | 0.1 | 1022 | -6.01 |  | -4.55 | 0.55 | 6.56 | 1.46
LFG5 | 2023-05-11 | 17.49 | 0 | 1.2 | 19.7 | 78.8 | 0 | 0.05 | 0.2 | 1022 | 31.66 | 61.93 | 44.84 | 0.4 | 30.67 | 13.18
LFG6 | 2023-05-11 | 6.04 | 0 | 0 | 22.2 | 77.8 | 0 | 0.12 | 0.2 | 1022 | 34.37 | 62.41 | 56.47 | 0.1 | 28.14 | 22.1
LFG7BG | 2023-05-11 | 6.06 | 0 | 0 | 22.2 | 77.8 | 0 | 0.06 | 0.2 | 1022 | 51.76 | 62.07 | 56.48 | 0.47 | 10.78 | 4.72
LFG8 | 2023-05-11 | 26.53 | 0 | 0 | 21.8 | 78.1 | 0 | 0.05 | 0.3 | 1022 | 31.69 | 62.32 | 36.29 | 0.5 | 31.13 | 4.6
LFG9 | 2023-05-11 | 24.89 | 0 | 0 | 22.1 | 77.9 | 0 | 0.02 | 0.1 | 1022 | 32.66 | 62.21 | 37.79 | 0.47 | 30.02 | 5.13
LFG10 | 2023-05-11 | 18.38 | 0 | 0.5 | 19.5 | 80 | 1 | 0.02 | 0.1 | 1022 | 32.55 | 62.39 | 44.46 | 0.45 | 30.29 | 11.91
LFG11 | 2023-05-11 | 16.41 | 0 | 0.5 | 19.6 | 79.9 | 0 | 0.09 | 0.1 | 1022 | 35.14 | 64.07 | 48.06 | 0.4 | 29.33 | 12.92
LFG11A | 2023-05-11 | 22.72 | 0 | 0.4 | 17.3 | 82.3 | 1 | 0.12 | 0.2 | 1022 | 33.72 | 63.14 | 40.92 | 0.5 | 29.92 | 7.2
LFG12BG | 2023-05-11 | 15.54 | 0 | 0 | 21.2 | 78.8 | 1 |  |  | 1022 | 33.94 | 64.61 | 49.52 | 0.45 | 31.12 | 15.58
LFG13 | 2023-05-11 | 18.07 | 0 | 7.6 | 2 | 90.4 | 3 | -2.49 | 0.2 | 1022 | 33.55 | 65.21 | 47.64 | 0.5 | 32.16 | 14.09
LFG17 | 2023-05-12 | 27.14 | 0 | 0 | 20.6 | 79.2 | 1 | -0.21 | 0.1 | 1020 | 28.07 | 67.44 | 40.71 | 0.41 | 39.78 | 12.64
LFG18R | 2023-05-12 | 28.97 | 0 | 0 | 21.4 | 78.6 | 2 | -0.07 | 0.3 | 1020 | 33.84 | 69.66 | 40.69 | 0 | 35.82 | 6.85
LFG19 | 2023-05-12 | 27.36 | 0 | 0 | 21.3 | 78.7 | 0 | 0.12 | 0.1 | 1020 | 29.62 | 69.7 | 42.66 | 0.32 | 40.4 | 13.04
LFG20 | 2023-05-12 | 27.43 | 0 | 0.1 | 21.9 | 78.1 | 0 | -0.58 | 0.1 | 1020 | 30.25 | 69.95 | 42.85 | 0.33 | 40.03 | 12.6
LFG21BG | 2023-05-12 | 7.82 | 0 | 0 | 20.7 | 79.2 | 0 |  |  | 1020 | 31.89 | 75.46 | 68.24 | 0.6 | 44.17 | 36.35
LFG22 | 2023-05-12 | 26.71 | 0 | 0 | 21.3 | 78.7 | 0 | 0.12 | 0.1 | 1020 | 29.22 | 69.2 | 42.94 | 0.45 | 40.43 | 13.72
LFG23R |  |  | Not monitored
LFG24 | 2023-05-12 | 7.56 | 0 | 0 | 21.1 | 78.9 | 0 | 0.02 | 0.1 | 1020 | 30.67 | 73.28 | 66.05 | 0.33 | 42.94 | 35.38
LFG24R-A | 2023-05-12 | Dry | 0 | 0.1 | 20.8 | 79.1 | 0 | 0.14 | 0.2 | 1020 |  | 2.14
LFG24R-B | 2023-05-12 | 5.07 | 0 | 2.7 | 17.9 | 79.4 | 0 | 0.04 | 0.2 | 1020
LFG25 | 2023-05-12 | 11.74 | 0 | 0.1 | 21 | 79.9 | 0 | 0.09 | 0.3 | 1020 | 30.07 | 71.5 | 60.07 | 0.31 | 41.74 | 30
LFG25R-A | 2023-05-12 | 1.72 | 0 | 0.1 | 14.1 | 81.8 | 0 | 0.07 | 0.1 | 1020
LFG25R-B | 2023-05-12 | 12.33 | 0.1 | 8.9 | 0.4 | 90.6 | 3 | -0.05 | 0.2 | 1020
LFG26 | 2023-05-12 | 17.67 | 0 | 1.3 | 18.2 | 80.4 | 0 | 0.21 | 0.2 | 1020 | 40.48 | 69.51 | 52.14 | 0.3 | 29.33 | 11.66
LFG26R-A | 2023-05-12 | Dry | 0.4 | 4.9 | 0.4 | 94.2 | 12 | -0.04 | 0.2 | 1020 |  | 2.15
LFG26R-B | 2023-05-12 | 2.71 | 0 | 0.7 | 19.5 | 79.7 | 1 | 0.04 | 0.2 | 1020
LFG27R-A | 2023-05-12 | 5.38 | 0 | 0 | 21.2 | 78.8 | 0 |  |  | 1020 | 32.62 | 67.84 | 62.71 | 0.25 | 35.47 | 30.09
LFG27R-B | 2023-05-12 | 5.93 | 0 | 0 | 21.3 | 78.7 | 0 |  |  | 1020 | 32.62 | 67.84 | 62.16 | 0.25 | 35.47 | 29.54
LFG35R | 2023-05-12 | 20.35 | 0 | 0 | 20.8 | 79.1 | 1 | -0.11 | 0.2 | 1020 | 29.64 | 61.6 | 41.75 | 0.5 | 32.46 | 12.11
LFG39 | 2023-05-12 | 13.49 | 0 | 0.9 | 18.4 | 80.6 | 0 | 0.02 | 0.1 | 1020 | 28.65 | 44.57 | 31.61 | 0.53 | 16.45 | 2.96
LFG40 | 2023-05-12 | 11.98 | 0 | 0.1 | 4.2 | 96.4 | 0 | -5.41 | 0.2 | 1020 | 31.87 | 45.07 | 33.55 | 0.46 | 13.66 | 1.68
LFG41 | 2023-05-12 | 11.45 | 0 | 5.3 | 12.4 | 82.4 | 0 | -0.23 | 0.2 | 1020 | 30.26 | 45.06 | 34.15 | 0.54 | 15.34 | 3.89
LFG42 | 2023-05-12 | 7.39 | 0 | 0.9 | 9.9 | 89.3 | 0 | 0.25 | 0.1 | 1020 | 29.72 | 45.65 | 38.73 | 0.47 | 16.4 | 9.01
LFG43R | 2023-05-12 | 18.37 | 0 | 0 | 21.3 | 78.7 | 0 | -0.19 | 0.2 | 1020 | 30.34 | 66.62 | 48.71 | 0.46 | 36.74 | 18.37
LFG44R | 2023-05-12 | 30.88 | 0 | 0 | 21.4 | 78.5 | 0 | 0.01 | 0.2 | 1020 | 31.4 | 64.76 | 34.25 | 0.37 | 33.73 | 2.85
LFG45 | 2023-05-12 | 8.45 | 0 | 0 | 21.5 | 78.5 | 0 | 0.02 | 0.2 | 1020 | 30.2 | 61.52 | 53.38 | 0.31 | 31.63 | 23.18
LFG46R | 2023-05-12 | 26.79 | 0 | 0.1 | 21.6 | 78.3 | 0 | -0.6 | 0.1 | 1020 | 29.83 | 62.54 | 36.18 | 0.43 | 33.14 | 6.35
LFG47R | 2023-05-12 | 22.23 | 0 | 0.5 | 19.7 | 79.8 | 2 | 0.19 | 0.2 | 1020 | 31.16 | 63.28 | 41.44 | 0.39 | 32.51 | 10.28
LFG48R | 2023-05-12 | 21.42 | 0 | 0.2 | 20.4 | 79.3 | 1 | 0.04 | 0.2 | 1020 | 30.26 | 52.12 | 30.73 | 0.03 | 21.89 | 0.47
LFG49 | 2023-05-12 | 12.99 | 0 | 0.4 | 20.3 | 79.2 | 0 | 0.18 | 0.2 | 1020 | 31.26 | 53.12 | 40.16 | 0.03 | 21.89 | 8.9
LFG50 | 2023-05-12 | 12.78 | 33.4 | 4.5 | 1.4 | 60.7 | 1 | -2.34 | 0.1 | 1020 | 32.26 | 54.12 | 41.37 | 0.03 | 21.89 | 9.11
LFG51 | 2023-05-12 | 12.49 | 4.2 | 8.6 | 2.9 | 84.2 | 1 | -0.05 | 0.1 | 1020 | 33.26 | 55.12 | 42.66 | 0.03 | 21.89 | 9.4
[1] The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.
[2] Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. gas chromatography.
[3] For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.
[4] The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.
Signed …Guy Titman |  |  |  |  | Date…27/07/2023
(Authorised to sign as representative of Operator)

## June 2023
Permit Number: |  |  |  | TP3835LV |  |  | Operator: |  | SI Green UK Limited |  |  |  | Test method & uncertainty
Installation: |  |  |  | Cwmrhydyceirw Quarry | [8 empty] | Portable infra-red analyser. Uncertainty is the accuracy of the meter.
Schedule 4 - Emissions and monitoring | [6 empty] | Tables S4.1 & S4.6 and Table 3a from the Updated Management Report updated 25 May 2023
Reporting of leachate levels and landfill gases for the period from | [6 empty] | Quarter 2 | 01 April - 30 June |  |  |  | 2023
Cwmrhydyceirw Quarry: Site Monitoring June 2023
Borehole | Date Taken | Water Level (m) | CH4 | CO2 | O2 | Balance | CO (ppm) | Gas Pressure | Internal flow (l/h) | Barom Press | Bottom Bor Lev | Ground Lev (mAOD) | Wat Lev (mAOD) | Boreh on surf. (m) | Boreh Bottom (m) | Water Column (m)
Emission Limit Value |  |  | no limit set | no limit set | no limit set |  | no limit set | [9 empty] | GAS IN WASTE
L1C/09R | 2023-06-15 | 11.98 | 21.9 | 11.3 | 7.7 | 55.9 | 8 |  |  | 1016 | 35.45 | 46.5 | 35.01 | 0.49 | 11.54 | -0.44
L3/09R | 2023-06-15 | 10.81 | 0 | 0 | 20.4 | 79.6 | 0 |  |  | 1016 | 36.62 | 46.34 | 36.93 | 1.4 | 11.12 | 0.31
L6/09R | 2023-06-15 | 11.42 | 0 | 0 | 20.5 | 79.5 | 0 |  |  | 1016 | 34.02 | 46.83 | 36.33 | 0.92 | 13.73 | 2.31
L9B/09 | 2023-06-15 | 10.4 | 0.3 | 0.2 | 19.9 | 79.3 | 2 |  |  | 1016 | 36.32 | 46.51 | 37.26 | 1.15 | 11.34 | 0.94
L11/09R | 2023-06-15 | 11.57 | 29.5 | 1.2 | 6.6 | 63.4 | 185 |  |  | 1016 | 33.46 | 47.12 | 36.31 | 0.76 | 14.42 | 2.85
L13/09R | 2023-06-15 | 8.04 | 0 | 0 | 20.3 | 79.6 | 0 |  |  | 1016 | 40.95 | 46.98 | 39.71 | 0.77 | 6.8 | -1.24
L16/09R | 2023-06-15 | 8.83 | 0 | 0 | 20.4 | 79.6 | 2 |  |  | 1016 | 35.31 | 46.9 | 38.8 | 0.73 | 12.32 | 3.49
L19/09R | 2023-06-15 | 8.01 | 10.5 | 0 | 1.8 | 77.9 | 9 |  |  | 1016 | 41.93 | 47.18 | 39.86 | 0.69 | 5.94 | -2.07
L21/09R | 2023-06-15 | 9.19 | 0 | 0 | 20.7 | 79.3 | 2 |  |  | 1016 | 33.98 | 43.84 | 35.93 | 1.28 | 11.14 | 1.95
L23/09R | 2023-06-15 | 11.76 | 0 | 0 | 20.1 | 79.9 | 1 |  |  | 1016 | 34.74 | 45.85 | 34.38 | 0.29 | 11.4 | -0.36
L26/09R |  |  | Access Issue | [7 empty] | 36.64 | 43.33 | 44.15 | 0.82 | 7.51 | 7.51
L1/20 | 2023-06-15 | 7.25 | 0 | 0 | 20.5 | 79.5 | 2 |  |  | 1016 | 34.29 | 43.21 | 37.35 | 1.39 | 10.31 | 3.06
L2/20R | 2023-06-15 | 7.49 | 0 | 0 | 21.9 | 78.1 | 0 |  |  | 1016 | 36.81 | 41.51 | 35.32 | 1.3 | 6 | -1.49
L3/20 | 2023-06-15 | 12.43 | 0 | 0 | 19.9 | 80.1 | 2 |  |  | 1016 | 34.54 | 47.4 | 36.38 | 1.41 | 14.27 | 1.84
L4/20 | 2023-06-15 | 7.89 | 0 | 0.1 | 20.3 | 79.6 | 2 |  |  | 1016 | 33.63 | 43.32 | 36.83 | 1.4 | 11.09 | 3.2
L5/20 | 2023-06-15 | 9.51 | 80.6 | 0 | 19.3 | 79.8 | 1 |  |  | 1016 | 40.05 | 47.73 | 39.57 | 1.35 | 9.03 | -0.48
L6/20 | 2023-06-15 | 10.45 | 43.4 | 14.3 | 6.6 | 36.4 | 6 |  |  | 1016 | 33.07 | 44.73 | 35.64 | 1.36 | 13.02 | 2.57
L7/20 | 2023-06-15 | 5.61 | 0 | 0 | 20.3 | 79.7 | 0 |  |  | 1016 | 42.75 | 47.34 | 43.18 | 1.45 | 6.04 | 0.43
L8/20 | 2023-06-15 | 7.46 | 0 | 0 | 20.5 | 79.5 | 1 |  |  | 1016 | 34.04 | 44.94 | 38.76 | 1.28 | 12.18 | 4.72
L9/20R | 2023-06-15 | 9.76 | 0 | 0 | 20.4 | 79.6 | 0 |  |  | 1016 | 35.86 | 45.57 | 37.21 | 1.4 | 11.11 | 1.35
L27/23 | 2023-06-15 | 6.95 | 0 | 0 | 20.2 | 79.3 | 0 |  |  | 1016
L28/23 | 2023-06-15 | 12.58 | 0 | 0 | 20.4 | 79.6 | 0 |  |  | 1016
L29/23 | 2023-06-15 | 10.62 | 0 | 0 | 20.5 | 79.5 | 0 |  |  | 1016
L30/23 | 2023-06-15 | 7 | 0 | 0 | 20.4 | 79.8 | 0 |  |  | 1016
L31/23 | 2023-06-15 | 8.93 | 0 | 0 | 20.4 | 79.6 | 0 |  |  | 1016
CWMLS02 |  |  | Not monitored
Emission Limit Value |  |  | 1.5% vol. | no limit set | no limit set |  | no limit set | [9 empty] | GAS EXTERNAL WASTE
LFG2R | 2023-06-15 | 14.41 | 0 | 0.2 | 21.5 | 78.3 | 1 | -0.03 | 0.2 | 1016 | 32.06 | 56.4 | 42.44 | 0.45 | 24.79 | 10.38
LFG3 | 2023-06-15 | 8.72 | 0 | 0.2 | 21.3 | 78.6 | 1 | -0.09 | 0.2 | 1016 | 33.265 | 56.595 | 48.325 | 0.45 | 23.78 | 15.06
LFG4 | 2023-06-15 | 5.29 | 0 | 2.1 | 19.5 | 78.7 | 1 | -0.11 | 0.2 | 1016 | -6.01 |  | -4.74 | 0.55 | 6.56 | 1.27
LFG5 | 2023-06-15 | 26.37 | 0 | 1.9 | 18.1 | 80 | 1 | -0.05 | 0.3 | 1016 | 31.66 | 61.93 | 35.96 | 0.4 | 30.67 | 4.3
LFG6 | 2023-06-15 | 9.09 | 0 | 0 | 21.4 | 78.6 | 1 | -0.07 | 0.1 | 1016 | 34.37 | 62.41 | 53.42 | 0.1 | 28.14 | 19.05
LFG7BG | 2023-06-15 | 6.81 | 0 | 0.2 | 20.8 | 79 | 1 | -0.09 | 0.1 | 1016 | 51.76 | 62.07 | 55.73 | 0.47 | 10.78 | 3.97
LFG8 | 2023-06-15 | 26.96 | 0 | 0.1 | 20.3 | 79.5 | 1 | 0.07 | 0.2 | 1016 | 31.69 | 62.32 | 35.86 | 0.5 | 31.13 | 4.17
LFG9 | 2023-06-15 | 21.76 | 0 | 1 | 15.8 | 80.5 | 1 | -0.25 | 0.2 | 1016 | 32.66 | 62.21 | 40.92 | 0.47 | 30.02 | 8.26
LFG10 | 2023-06-15 | 20.98 | 0 | 0.5 | 21.1 | 78.5 | 1 | -0.04 | 0.2 | 1016 | 32.55 | 62.39 | 41.86 | 0.45 | 30.29 | 9.31
LFG11 | 2023-06-15 | 15.99 | 0 | 1.1 | 18.8 | 79.7 | 1 | -0.05 | 0.2 | 1016 | 35.14 | 64.07 | 48.48 | 0.4 | 29.33 | 13.34
LFG11A | 2023-06-15 | 22.21 | 0 | 0.7 | 14.9 | 84.8 | 1 | -0.07 | 0.2 | 1016 | 33.72 | 63.14 | 41.43 | 0.5 | 29.92 | 7.71
LFG12BG | 2023-06-15 | 14.89 | 0 | 0 | 22 | 78 | 1 |  |  | 1016 | 33.94 | 64.61 | 50.17 | 0.45 | 31.12 | 16.23
LFG13 | 2023-06-15 | 19.06 | 0 | 6.3 | 6.9 | 86.8 | 2 | -0.16 | 0.1 | 1016 | 33.55 | 65.21 | 46.65 | 0.5 | 32.16 | 13.1
LFG17 | 2023-06-15 | 28.12 | 0 | 0.5 | 18.6 | 81.1 | 1 | 0.04 | 0.2 | 1016 | 28.07 | 67.44 | 39.73 | 0.41 | 39.78 | 11.66
LFG18R | 2023-06-15 | 30.52 | 0 | 0 | 21.7 | 78.4 | 2 | -0.09 | 0.2 | 1016 | 33.84 | 69.66 | 39.14 | 0 | 35.82 | 5.3
LFG19 | 2023-06-15 | 28.64 | 0 | 0 | 21.6 | 78.4 | 1 | 0.02 | 0.2 | 1016 | 29.62 | 69.7 | 41.38 | 0.32 | 40.4 | 11.76
LFG20 | 2023-06-15 | 26.54 | 0 | 0.1 | 21.3 | 78.7 | 0 | -0.47 | 0.2 | 1016 | 30.25 | 69.95 | 43.74 | 0.33 | 40.03 | 13.49
LFG21BG | 2023-06-15 | 9.25 | 0 | 2.2 | 18.2 | 80.4 | 1 |  |  | 1016 | 31.89 | 75.46 | 66.81 | 0.6 | 44.17 | 34.92
LFG22 | 2023-06-15 | 28.05 | 0 | 0 | 21.2 | 78.8 | 3 | 0.03 | 0.2 | 1016 | 29.22 | 69.2 | 41.6 | 0.45 | 40.43 | 12.38
LFG23R | [15 empty] | 0
LFG24 | 2023-06-15 | 8.17 | 0 | 6 | 5.8 | 88.1 | 1 |  |  | 1016 | 30.67 | 73.28 | 65.44 | 0.33 | 42.94 | 34.77
LFG24R-A | 2023-06-15 | 1.87 | 0 | 2.9 | 15.2 | 81.9 | 1 | 0.11 | 0.4 | 1016 |  | 2.14
LFG24R-B | 2023-06-15 | 5.26 | 0 | 3.3 | 12.6 | 83.1 | 2 | -0.49 | 0.2 | 1016
LFG25 | 2023-06-15 | 15.17 | 0.2 | 1.8 | 16.9 | 81.2 | 1 | 0.05 | 0.1 | 1016 | 30.07 | 71.5 | 56.64 | 0.31 | 41.74 | 26.57
LFG25R-A | 2023-06-15 | 1.99 | 0 | 7.8 | 11 | 81.2 | 33 | -0.05 | 0.2 | 1016
LFG25R-B | 2023-06-15 | 4.64 | 1.1 | 8 | 0.3 | 90.6 | 6 | -0.32 | 0.2 | 1016
LFG26 |  | 22.95 | 0 | 1.6 | 18.9 | 79.6 | 1 | -0.25 | 0.2 | 1016 | 40.48 | 69.51 | 46.86 | 0.3 | 29.33 | 6.38
LFG26R-A | 2023-06-15 | 2.23 | 4.7 | 12.5 | 0.4 | 82.6 | 4 | 0.26 | 0.2 | 1016 |  | 2.15
LFG26R-B | 2023-06-15 | 3.84 | 0.4 | 4.8 | 11.5 | 83.6 | 10 | 0.05 | 0.2 | 1016
LFG27R-A | 2023-06-15 | Dry | 0 | 0.1 | 20.4 | 79.5 | 1 |  |  | 1016 | 32.62 | 67.84 |  | 0.25 | 35.47
LFG27R-B | 2023-06-15 | 6.27 | 0 | 0.1 | 20.9 | 79 | 1 |  |  | 1016 | 32.62 | 67.84 | 61.82 | 0.25 | 35.47 | 29.2
LFG35R | 2023-06-15 | 20.91 | 0 | 0 | 21.6 | 78.5 | 2 | -0.18 | 0.3 | 1016 | 29.64 | 61.6 | 41.19 | 0.5 | 32.46 | 11.55
LFG39 | 2023-06-15 | 13.83 | 0 | 1.2 | 19 | 80 | 0 | 0.02 | 0.2 | 1016 | 28.65 | 44.57 | 31.27 | 0.53 | 16.45 | 2.62
LFG40 | 2023-06-15 | 12.59 | 0 | 0.1 | 20.5 | 79.4 | 0 |  |  | 1016 | 31.87 | 45.07 | 32.94 | 0.46 | 13.66 | 1.07
LFG41 | 2023-06-15 | 12.14 | 0 | 4.5 | 13.5 | 82.1 | 0 | -0.02 | 0.2 | 1016 | 30.26 | 45.06 | 33.46 | 0.54 | 15.34 | 3.2
LFG42 | 2023-06-15 | 10.31 | 4 | 3.7 | 10.1 | 86.4 | 0 | 0.02 | 0.2 | 1016 | 29.72 | 45.65 | 35.81 | 0.47 | 16.4 | 6.09
LFG43R | 2023-06-15 | 22.93 | 0 | 0 | 20.9 | 79.2 | 1 | -0.58 | 0.2 | 1016 | 30.34 | 66.62 | 44.15 | 0.46 | 36.74 | 13.81
LFG44R | 2023-06-15 | 29.46 | 0 | 0.1 | 21.4 | 78.4 | 0 | 0.03 | 0.1 | 1016 | 31.4 | 64.76 | 35.67 | 0.37 | 33.73 | 4.27
LFG45 | 2023-06-15 | 8.26 | 0 | 0 | 21.2 | 78.9 | 0 | 0.02 | 0.1 | 1016 | 30.2 | 61.52 | 53.57 | 0.31 | 31.63 | 23.37
LFG46R | 2023-06-15 | 8.75 | 0 | 0 | 21.7 | 78.3 | 1 | -0.07 | 0.2 | 1016 | 29.83 | 62.54 | 54.22 | 0.43 | 33.14 | 24.39
LFG47R | 2023-06-15 | 22.59 | 0 | 0 | 21.5 | 78.4 | 2 | -0.21 | 0.3 | 1016 | 31.16 | 63.28 | 41.08 | 0.39 | 32.51 | 9.92
LFG48R | 2023-06-15 | 21.39 | 0 | 0.1 | 21.2 | 78.6 | 1 | -0.05 | 0.1 | 1016 | 30.26 | 52.12 | 30.76 | 0.03 | 21.89 | 0.5
LFG49 | 2023-06-15 | 13.52 | 1.3 | 3.1 | 16.7 | 79.1 | 1 | 0.01 | 0.1 | 1016 | 31.26 | 53.12 | 39.63 | 0.03 | 21.89 | 8.37
LFG50 | 2023-06-15 | 13.51 | 41 | 4.9 | 2.1 | 52.2 | 1 | -0.04 | 0.3 | 1016 | 32.26 | 54.12 | 40.64 | 0.03 | 21.89 | 8.38
LFG51 | 2023-06-15 | 13.89 | 7.3 | 9.8 | 2.3 | 80.5 | 1 | -0.01 | 0.2 | 1016 | 33.26 | 55.12 | 41.26 | 0.03 | 21.89 | 8
[1] The result given is the maximum value (or the minimum value in the case of a limit that is expressed as a minimum) obtained during the reporting period, expressed in the same terms as the emission limit value. Where the emission limit value is expressed as a range, the result is given as the ‘minimum – maximum’ measured values.
[2] Where an internationally recognised standard test method is used the reference number is given. Where another method that has been formally agreed with the Agency is used, then the appropriate identifier is given. In other cases the principal technique is stated, e.g. gas chromatography.
[3] For non-continuous measurements the date and time of the sample that produced the result is given. For continuous measurements the percentage of the process operating time covered by the result is given.
[4] The uncertainty associated with the quoted result at the 95% confidence interval, unless otherwise stated.
Signed …Guy Titman |  |  |  |  | Date…27/07/2023
(Authorised to sign as representative of Operator)