## READ ME
Special Area of Conservation Permit Review - Water Discharge Activities (DCWW) - Regulation 61 Notice Response Tool
This Excel file has been put together to enable DCWW to provide a structured response to the Regulation 61 Notice for the Special Area of Conservation Permit Review.
All of the information in the 'Reg61 Response Sheet' must be completed for each asset to enable NRW to complete the Regulator Initiated Variations, use the information below to complete the sheet:
Explanation & Key Information (Reg61 Response Sheet):
  Colour Key (Row 2):
- Headings in Blue contain identification information (e.g. Permit number) or miscellaneous information that shows where further information is required (e.g. other relevant NEP Drivers to be included in variation)
- Headings in Green contain information on the permit (e.g. Permitted DWF, weir setting)
- Headings in Yellow contain information required to be provided to complete the review or allow the permit to be drafted (e.g. new P limit, site plan)
  Discharge Type:
- Columns A-V are relevant to the Final Effluent permit
- Columns W-AE are relevant to the Storm permit
- Columns AF-AJ are relevant to the Emergency permit
- Storm and Emergency information should only be complete if the permits are to be consolidated into the Final Effluent permit, if there is not a Storm/Emergency discharge at the site or if DCWW do not want a permit consolidation the boxes should contain 'N/A'
  Other:
- If there is a consolidation, new Site Plans (Column Q) and Bespoke Conditions (Column R) should consider this and include the relevant information
- If another document is required (NEP Driver Permit information/New Site Plan), it should be named in the sheet as per the document. The submission format, timing and procedure for supplyingthis information should be agreed with NRW Permitting Service

## Reg61 Response Sheet
Final Effluent Permit | [21 empty] | Storm Permit | [9 empty] | Settled Storm | [9 empty] | UV Treatment |  |  |  |  | Emergency Permit
Site Name | Permit Number | Any other permits to be consolidated into the FE permit? ▪Storm = columns V - AF ▪Settled Storm = columns AG - AP ▪UV Pre and Post Treatment = columns AQ - AU ▪Emergency = columns AV - AZ | Other NEP Driver to be included in variation? | Permitted DWF (m³/d) | FE Permit in EPR Format? | Site address | Receiving Watercourse | FE dicharge point NGR | FE sample point | UWWTD inlet sample point | UWWTD outlet sample point | MCERTS flow meter | Current Permit Limits | Bespoke Conditions Required? ▪Limits of Specified Activity ▪Operating Techniques ▪Pre-Op/Improvement Conditions | New Site Plan Required? | Site Plan File Name (.jpg or .pdf) - to include any consolidated permits | Bespoke Condition File Name (.doc) - to include any consolidated permits | Proposed Total Phosphorus as P Limit | Proposed P limit Sampling Method | Proposed Total Aluminium as Al Limit | Information for Other NEP Variations? (.doc, .xlsx) | Permit Number2 | Storm Permit in EPR Format? | Storm sewage discharge point | Storm sewage effluent sample point | Storm sewage discharge EDM (AMP6) NGR | Overflow setting (l/s) or weir height (if reverse flow/both) (Table S3.3) | Storm storage volume (m³) (Table S3.3) | Online or Offline storage? (Table S3.3) | Maximum size of solid matter (Table S3.3) | Screen aperture size (mm) (Table S3.3) | Permit Number3 | Settled Storm Permit in EPR Format? | Settled Storm sewage discharge point | Settled Storm sewage effluent sample point | Settled Storm sewage discharge EDM (AMP6) NGR | Overflow setting (l/s) or weir height (if reverse flow/both) (Table S3.3)4 | Settled Storm storage volume (m³) (Table S3.3) | Online or Offline storage? (Table S3.3)5 | Maximum size of solid matter (Table S3.3)6 | Screen aperture size (mm) (Table S3.3)7 | Permit Number8 | UV Treatment Permit in EPR format | UV effluent discharge point | UV pre-treatment effluent sample point | UV post-treatment effluent sample point | Permit Number9 | Emergency Permit in EPR Format? | Sewage in emergency discharge point NGR | Sewage in emergency effluent sample point NGR | PKPSM File Name (.doc)
LLANDDEWI VELFREY | BG0013201 | Yes - Storm (BG0013202) | No | 92m³/d | No | Llanddewi Velfrey Wastewater Treatment Works, Access track off A40 near Bronawel, Llanddewi Velfrey, Narberth, SA67 7PA | Tributary of Pont-Shan Brook | SN 14209 16830 | SN 14211 16843 | N/A | N/A | SN 14226 16837 | LuT (95%ile) Limits: 17mg/l BOD, 6mg/l NH3 & 30mg/l SS. | N/A | Yes | BG0013201 Site Plan | N/A | 1mg/l - start date 2032. *Insufficient samples to accept backstop immediately (samples collected by 31/05/2024). | 24hr Composite | N/A | N/A | BG0013202 | Yes | SN 14234 16817 | SN 14233 16873 | SN 14233 16873 | 4.3l/s | N/A | N/A | No greater than 6 mm in more than 1 dimension | 6mm x 6mm | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
LLANDEGLEY | AW1002701 | No | No | 13m³/d | No | Llandegley Wastewater Treatment Works, Llandegley, Near Llandrindod Wells, Powys, LD1 5UF | Mithil Brook | SO 13774 63115 | SO 13792 63087 | N/A | N/A | N/A | N/A - Descriptive. | N/A | Yes | AW1002701 Site Plan | N/A | 1mg/l - start date 2032. *Insufficient samples to accept backstop immediately (samples collected by 31/12/2023). | 24hr Composite | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
LLANFACHRETH | CG0110901 | Yes - Storm (CG0110902) | No | 32.8m³/d | No | Llanfachreth Wastewater Treatment Works, Access Road, Llanfachreth, Dolgellau, LL40 2EA | Afon y Llan | SH 75375 22343 | SH 75366 22384 | N/A | N/A | N/A | LuT (95%ile) Limits: 40mg/l BOD, 60mg/l SS & 20mg/l NH3. | N/A | Yes | CG0110901 Site Plan | N/A | 5mg/l *Insufficient samples to accept backstop immediately (samples collected by 31/05/2024). | Spot | N/A | N/A | CG0110902 | Yes | SH 75375 22343 | SH 75366 22384 | SH 75366 22384 | 2.3l/s | N/A | N/A | No greater than 6 mm in more than 1 dimension | 6mm x 6mm | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
LLANFIHANGEL-AR-ARTH | BN0020802 | No | No | 56.3m³/d | No | Llanfihangel-Ar-Arth Wastewater Treatment Works, Off B4459, Llanfihangel-Ar-Arth, Pendacer, SA39 9JA | Afon Teifi | SN 45508 40130 | SN 45513 39993 | N/A | N/A | SN 45518 40028 | LuT (95%ile) Limits: 22mg/l BOD & 30mg/l SS. | N/A | Yes | BN0020802 Site Plan | N/A | 5mg/l *Insufficient samples to accept backstop immediately (samples collected by 31/10/2023). | Spot | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
LLANFROTHEN | CG0078701 | No | No | 57m³/d | No | Llanfrothen Wastewater Treatment Works, Off B4410 and A4085, Llanfrothen Garreg, Penrhyndeudraeth, Gwynedd, LL48 6AQ | River Caseg | SH 60574 41656 | SH 61008 41985 | N/A | N/A | SH 61194 41795 | LuT (95%ile) Limits: 46mg/l BOD & 90mg/l SS. | N/A | Yes | CG0078701 Site Plan | N/A | 5mg/l *Insufficient samples to accept backstop immediately (samples collected by 31/12/2023). | Spot | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
LLANFYRNACH | AD0002101 | No | No | 32.7m³/d | No | Llanfyrnach Wastewater Treatment Works, Llanfrynach, Brecon, Powys, LD3 7AZ | Nant Menascin | SO 07852 25798 | SO 07757 25730 | N/A | N/A | N/A | N/A - Descriptive. | N/A | Yes | AD0002101 Site Plan | N/A | 2.5mg/l - start date 2032. *Insufficient samples to accept backstop immediately (samples collected by 31/12/2023). | Spot | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
LLANGAMMARCH WELLS | AW1003301 | Yes - Storm (AW1003302) | No | 43m³/d | Yes | Llangammarch Wells Wastewater Treatment Works, Llangammarch Wells, Powys, LD4 4EB | River Irfon | SN 93679 47308 | SN 93687 47285 | N/A | N/A | SN 93687 47285 | N/A - Descriptive. | N/A | No | N/A | N/A | 5mg/l *Insufficient samples to accept backstop immediately (samples collected by 31/10/2023). | Spot | N/A | N/A | AW1003302 | Yes | SN 93684 47310 | SN 93687 47294 | SN 93687 47294 | 0.46l/s | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
LLANGYBI LAMPETER | BG0021501 | No | No | 24m³/d | No | Llangybi Wastewater Treatment Works, Llangybi, Lampeter, Ceredigion, SA48 8LY | Afon Dulas | SN 60490 53025 | SN 60549 53002 | N/A | N/A | N/A | LuT (95%ile) Limits: 35mg/l BOD, 50mg/l SS & 40mg/l NH3. | N/A | Yes | BG0021501 Site Plan | N/A | 5mg/l *Insufficient samples to accept backstop immediately (samples collected by 30/09/2023). | Spot | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
LLANSAWEL | BH0062601 | Yes - Settled Storm (BP0340601) | No | 57m³/d | No | Llansawel Wastewater Treatment Works, Off B4337, Llansawel, Llandeilo, SA19 7JB | Afon Marlais | SN 62398 36131 | SN 62324 36177 | N/A | N/A | SN 62320 36180 | LuT (95%ile) Limits: 32mg/l BOD, 35mg/l SS & 5mg/l NH3. | N/A | Yes | BH0062601 Site Plan | N/A | 5mg/l *Insufficient samples to accept backstop immediately (samples collected by 31/12/2023). | Spot | N/A | N/A | N/A- See Settled Storm | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | BP0340601 | Yes | SN 62398 36131 | SN 62324 36177 | SN 62324 36177 | 1.7l/s | 25m³ | Offline | No greater than 6 mm in more than 1 dimension | 6mm x 6mm | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
LLANSOY CHURCH LANE - refer to column E | AN0106401 |  |  | Not a site we consider for RoP as the DWF is below 20m³/d.
LLANUWCHLLYN - refer to column S | CM0000801 | [16 empty] | No permit change required
LLANFAIR MONMOUTHSHIRE | AD0001501 | No | No | 44.5m³/d | No | Llanfair Wastewater Treatment Works, Llanfair Kilgeddin, Abergavenny, NP7 9DS | River Usk | SO 34999 06769 | SO 34964 06791 | N/A | N/A | N/A | LuT (95%ile) Limits: 150mg/l BOD & 200mg/l SS. | N/A | Yes | AD0001501 Site Plan | N/A | 5mg/l *Insufficient samples to accept backstop immediately (samples collected by 31/10/2023). | Spot | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
LLIDIART ANNIE - refer to column E | CM0013201 |  |  | Not a site we consider for RoP as the DWF is below 20m³/d.
MATHRY | BG0009701 | Yes - Storm & Emergency (BP0317201) | Yes - UMon3/4 | 151m³/d | No | Mathry Wastewater Treatment Works, Near Fishguard, Pembrokeshire, Near Brynheulog, Mathry, Haverfordwest, SA62 5EY | Western Cleddau | SM 88339 31399 | SM 88231 31583 | N/A | N/A | SM 88235 31577 | LuT (95%ile) Limits: 32mg/l BOD, 57mg/l SS & 7mg/l NH3. | N/A | Yes | Permits_drawing_2_BG0009701 | N/A | 1mg/l - start date 2027. | 24hr Composite | N/A | U_MON3 4 Permitting Information | BP0317201 | Yes | SM 88339 31395 | SM 88231 31583 | SM 88231 31583 | 6.2l/s | 27m³ | Offline | No greater than 6 mm in more than 2 dimension | 6mm | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | BP0317201 | Yes | SM 88339 31395 | SM 88231 31583 | Not available currently with OPS
MYDDFAI | BH0050801 | No | No | 28m³/d | No | Myddfai Wastewater Treatment Works, Myddfai, Llandovery, Carmarthenshire, SA20 0PQ | Afon Bran | SN 77531 29762 | SN 77540 29748 | N/A | N/A | N/A | LuT (95%ile) Limits: 21mg/l BOD, 29mg/l SS & 5mg/l NH3. | N/A | Yes | BH0050801 Site Plan | N/A | 5mg/l *Insufficient samples to accept backstop immediately (samples collected by 31/12/2023). | Spot | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
NEWCHAPEL | BP0219501 | Yes - Storm (BP0219502) | No | 46.6m³/d | No | Newchapel Wastewater Treatment Works, Near Cilwendeg Lodge, Newchapel, Boncath, SA37 0HG. | Afon Dulas | SN 22468 39078 | SN 22576 39203 | N/A | N/A | N/A | LuT (95%ile) Limits: 23mg/l BOD, 35mg/l SS & 18mg/l NH3. | N/A | Yes | BP0219501 Site Plan | N/A | 3.2mg/l - start date 2030. *Insufficient samples to accept backstop immediately (samples collected by 31/05/2024). | Spot | N/A | N/A | BP0219502 | Yes | SN 22468 39078 | SN 22576 39203 | SN 22576 39203 | 2.5l/s | N/A | N/A | No greater than 12 mm in more than 2 dimension | 12mm | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
PANDY | CM0022201 | No | No | 30.3m³/d | No | Pandy Wastewater Treatment Works, Pandy, Llangollen, LL20 7NT | Afon Ceiriog | SJ 19656 35883 | SJ 19610 35862 | N/A | N/A | N/A | N/A - Descriptive. | N/A | Yes | CM0022201 Site Plan | N/A | 5mg/l *Insufficient samples to accept backstop immediately (samples collected by 30/09/2023). | Spot | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
PENTRECWRT | BG0036101 | Yes - Storm (AB3498ZF) | Yes - UMon3/4 | 56m³/d | No | Pentrecwrt Wastewater Treatment Works, Pentrecwrt, Llandysul, SA44 5AT | Afon Teifi | SN 38880 39105 | SN 38906 39101 | N/A | N/A | SN 38906 39101 | LuT (95%ile) Limits: 40mg/l BOD & 50mg/l SS. | N/A | Yes | Permits_drawing_1_BG0036101 | N/A | 5mg/l *Insufficient samples to accept backstop immediately (samples collected by 30/09/2023). | Spot | N/A | U_MON3 4 Permitting Information | AB3498ZF | Yes | SN 38880 39105 | SN 38880 39105 | SN 38924 39092 | 1.44l/s | N/A | N/A | No greater than 6 mm in more than 2 dimension | 6mm | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
PEN-Y-STRYT | CM0043501 | No | No | 36m³/d | Yes | Pen-Y-Stryt Wastewater Treatment Works, Off A5104, Pen-Y-Stryt, Wrexham, Denbighshire, LL11 3AD | River Alyn | SJ 19535 51809 | SJ 19712 51847 | N/A | N/A | SJ 19712 51847 | LuT (95%ile) Limits: 75mg/l BOD, 120mg/l SS & 30mg/l NH3 (1st Oct-31st Mar) 10mg/l NH3 (1st Apr-30th Sept). | N/A | No | N/A | N/A | 5mg/l *Insufficient samples to accept backstop immediately (samples collected by 31/12/2023). | Spot | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
PONTFADOG | CM0021701 | No | No | 37.38m³/d | No | Pontfadog Wastewater Treatment Works, Pontfaen, Wrexham, LL14 5EW | River Ceiriog | SJ 27967 37046 | SJ 27967 37041 | N/A | N/A | N/A | N/A - Descriptive. | N/A | Yes | CM0021701 Site Plan | N/A | 1mg/l - start date 2032. *Insufficient samples to accept backstop immediately (samples collected by 31/10/2023). | 24hr Composite | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
PRENTEG | CG0015001 | No | No | 215m³/d | No | Prenteg Wastewater Treatment Works, Prenteg, Porthmadog, Gwynedd, LL49 9SP | Afon Glaslyn | SH 59289 41316 | SH 59019 41395 | N/A | N/A | N/A | N/A - Descriptive. | N/A | Yes | CG0015001 Site Plan | N/A | 5mg/l *Insufficient samples to accept backstop immediately (samples collected by 31/12/2023). | Spot | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
PUNCHESTON | BG0017601 | Yes - Storm (BG0017602) | No | 36.4m³/d | Yes | Puncheston Wastewater Treatment Works, Puncheston, Haverfordwest, Pembrokeshire, SA62 5RN | Tributary of Afon Anghof | SN 00980 29830 | SN 00974 29846 | N/A | N/A | SN 00974 29846 | LuT (95%ile) Limits: 23mg/l BOD & 36mg/l SS. | N/A | No | N/A | N/A | 5mg/l *Insufficient samples to accept backstop immediately (samples collected by 30/11/2023). | Spot | N/A | N/A | BG0017602 | Yes | SN 00983 29826 | SN 01004 29828 | SN 01004 29828 | 0.99l/s | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
RHANDIRMWYN | BH0050701 | No | No | 37.8m³/d | No | Rhandirmwyn Wastewater Treatment Works, Rhandirmwyn, Llandovery, SA20 0NP | River Towy | SN 78083 43195 | SN 78127 43216 | N/A | N/A | N/A | N/A - Descriptive. | N/A | Yes | BH0050701 Site Plan | N/A | 5mg/l *Insufficient samples to accept backstop immediately (samples collected by 31/12/2023). | Spot | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
RHOSESMOR | CM0044201 | No | No | 174m³/d | No | Rhosesmor Wastewater Treatment Works, Off Wern Road, Rhosesmor, Mold, CH7 6PY | unnamed tributary of Dolfechlas Brook | SJ 20983 68157 | SJ 20978 68204 | N/A | N/A | SJ 20951 68190 | LuT (95%ile) Limits: 30mg/l BOD, 20mg/l SS, 10mg/l NH3. | N/A | Yes | CM0044201 Site Plan | N/A | 5mg/l *Insufficient samples to accept backstop immediately (samples collected by 31/10/2023). | Spot | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
RHYD DDU | CG0024101 | No | No | 34.02m³/d | No | Rhyd ddu Wastewater Treatment Works, Rhyd ddu, Caernarfon, LL54 6TF | Afon Gwyrfai | SH 57056 53074 | SH 57060 53024 | N/A | N/A | N/A | N/A - Descriptive. | N/A | Yes | CG0024101 Site Plan | N/A | 5mg/l *Insufficient samples to accept backstop immediately (samples collected by 31/12/2023). | Spot | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
RHYDLEWIS LLANDYSUL | BP0013501 | Yes - Storm (BP0013502) & Emergency (BP0013503) | No | 66m³/d | No | Rhydlewis Wastewater Treatment Works, Off B4334, Rhydlewis, Ceredigion, SA44 5RE | Nant Collen | SN 34593 47315 | SN 34609 47283 | N/A | N/A | SN 34605 47293 | LuT (95%ile) Limits: 20mg/l BOD, 30mg/l SS & 10mg/l NH3. | N/A | Yes | BP0013501 Site Plan | N/A | 4.5mg/l - start date 2030. *Insufficient samples to accept backstop immediately (samples collected by 31/10/2023). | Spot | N/A | N/A | BP0013502 | Yes | SN 34558 47301 | SN 34609 47283 | SN 34609 47283 | 3.2l/s | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | BP0013503 | Yes | SN 34599 47302 | SN 34608 47302 | Not available currently with OPS
RHYDYMWYN | CM0004201 | Yes - Storm (CB3191CA) | No | 192m³/d | No | Rhydymwyn Wastewater Treatment Works, Off A541, Rhydymwyn, Mold, Flintshire, CH7 5JH | Dolfechas Brook | SJ 20911 66537 | SJ 20932 66530 | N/A | N/A | SJ 20944 66545 | LuT (95%ile) Limits: 25mg/l BOD, 50mg/l SS & 11mg/l NH3. | N/A | Yes | CM0004201 Site Plan | N/A | 5mg/l *Insufficient samples to accept backstop immediately (samples collected by 30/11/2023). | Spot | N/A | N/A | CB3191CA | Yes | SJ 20911 66537 | SJ 20930 66551 | SJ 20930 66551 | 6l/s | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
TALLEY | BN0085301 | Yes - Emergency (BP0308301) | Yes - UMon3/4 application not yet submitted. | 128m³/d | No | Talley Wastewater Treatment Works, Off B4302, Talley, Carmarthenshire, SA19 7YH | Nant Ddu | SN 64050 31782 | SN 64106 31846 | N/A | N/A | SN 64057 31811 | LuT (95%ile) Limits: 11mg/l BOD, 17mg/l SS & 6mg/l NH3. | N/A | Yes | BN0085301 Site Plan | N/A | 5mg/l *Insufficient samples to accept backstop immediately (samples collected by 31/12/2023). | Spot | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | BP0308301 | No | SN 64053 31846 | SN 64068 31852 | Not available currently with OPS
TRECASTLE | AD0000901 | Yes - Settled Storm (AD0001001) | No | 46m³/d | Yes | Trecastle Wastewater Treatment Works, Trecastle, Brecon, Powys, LD3 8UG | Nant Logyn | SN 88016 28856 | SN 88011 28884 | N/A | N/A | SN 88021 28887 | LuT (95%ile) Limits: 26mg/l BOD, 40mg/l SS & 30mg/l NH3. | N/A | Yes | AD0000901 Site Plan | N/A | 0.75mg/l - start date 2030. | 24hr Composite | N/A | N/A | N/A- See Settled Storm | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | AD0001001 | Yes | SN 88016 28856 | SN 88011 28884 | SN 88011 28884 | 2.1l/s | 7.6m³ | Offline | No greater than 6 mm in more than 1 dimension | 6mm x 6mm | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
TRELLECH - refer to column E | AN0214601 |  |  | Not a site we consider for RoP as the DWF is below 20m³/d.
TRETOWER CRICKHOWELL - refer to column E | AN0106601 |  |  | Not a site we consider for RoP as the DWF is below 20m³/d. | [15 empty] | N/A
TREUDDYN | CM0066101 | Yes - Storm (CG0415601) | Yes - UMon3/4 | 275m³/d | Yes | Treuddyn Wastewater Treatment Works, Ffordd Corwen, Treuddyn, Mold, Flintshire, CH7 4LE | Byr Brook | SJ 25669 57978 | SJ 25614 58011 | N/A | N/A | SJ 25645 58041 | LuT (95%ile) Limits: 20mg/l BOD & 55mg/l SS. | N/A | Yes | Permits_drawing_1_CM0066101 | N/A | 5mg/l *Insufficient samples to accept backstop immediately (samples collected by 31/10/2023). | Spot | N/A | U_MON3 4 Permitting Information | CG0415601 | Yes | SJ 25622 58013 | SJ 25620 58059 | SJ 25619 58086 | 17.7l/s | Offline | N/A | No greater than 6 mm in more than 1 dimension | 6mm x 6mm | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A
WAUNFAWR | CG0134001 | Yes - Settled Storm (CG0134002) | Yes - UMon3/4 | 387m³/d | No | Waunfawr Wastewater Treatment Works, Waunfawr, Caernarfon, Gwynedd, LL55 4AX | Afon Gwyrfai | SH 52803 58902 | SH 52856 58972 | N/A | N/A | SH 52865 59008 | LuT (95%ile) Limits: 40mg/l BOD, 60mg/l SS & 25mg/l NH3. | N/A | Yes | Permits_drawing_1_CG0134001 | N/A | 1.6mg/l - start date 2030. | 24hr Composite | N/A | U_MON3 4 Permitting Information | N/A- See Settled Storm | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | CG0134002 | Yes | SH 52803 58902 | SH 52883 58976 | SH 52879 58972 | 14.4l/s | 100m³ | Offline | No greater than 6 mm in more than 1 dimension | 6mm x 6mm | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A