## Intro
How to use
1. save a copy of this checklist into your WIP. Do not amend this document (including deleting tabs) without doing this first as deleting tabs cannot be undone.
2. select what tabs you need to keep/delete based on the application type you are determining. See below for types
3. on each non-supporting documents tab select the application type on the filtered section, and hide the options
4. read each question and applicable drafting notes (in pink) carefully, as some of the questions have changed. Remember to delete the drafting notes before saving the final version to the DMS
5. the checklist will record the number of "no" answers on each tab and summarise them on the decisions and actions tab.
6. any "no" that is highlighted as red will trigger a returned application
Type | Drafting note | Tabs
New Bespoke Extractive Waste | Select this for all new Tier 2 and Tier 3 bespoke mining waste permit applications. For standard rule mining waste permit applications use the standard rule permit option. | Details Dates Doc and info check Part A Part F1 Part B1/C1 Part B2/C2 Part B5/C5 Decision and actions required Relevant supporting doc tab(s)
New Bespoke Tier 2 | Select this for all new Tier 2 bespoke applications, that are not mining waste. | Details Dates Doc and info check Part A Part F1 Part B2/C2 Part B4/C4 Decision and actions required Relevant supporting doc tab(s)
New Bespoke Tier 3 | Select this for all new tier 3 bespoke applications, that are not mining waste. For bespoke application that also include standard rule activities, use the SRP option as well. | Details Dates Doc and info check Part A Part F1 Part B1/C1 Part B2/C2 Part B4/C4 Decision and actions required Relevant supporting doc tab(s)
SRP- New and Var | Select this for all new standard rule applications, you can also use this option for variation applications to add OR to become a standard rule activity. These are separate columns on the Part B1.C1 tab, but a single column on all other tabs. For new standard rule applications that also include bespoke activities, use the bespoke T3 option as well. If the application is for SR2012 No15 then you should send a draft permit to the applicant and get them to review and confirm the PERMIT boundary. | Details Dates Doc and info check Part A Part F1 Part B1/C1 Decision and actions required Relevant supporting doc tab(s)
Variation Admin | Select this for administrative variations only. Use the other variation options for all other variations, except those to vary to become/ add a standard rule set to an existing permit. For applications to vary to become/ add a standard rule set use the standard rule option. | Details Dates Doc and info check Part A Part C0.5 Decision and actions required Relevant supporting doc tab(s)
Variation MT and Normal | Select this for all variation applications except those involving rule sets or administrative variations. If the application is to add or vary or to become a standard rule facility, and other changes, use the SRP option as well. | Details Dates Doc and info check Part A Part F1 Part B1/C1 Part B2/C2 Part B4/C4 Decision and actions required Relevant supporting doc tab(s)
Variation MT- SRP | Select this for Minor Technical variations to increase the permitted area of Standard Rules Permits only. These were previously administrative but now chargeable. | Details Dates Doc and info check Part A Part F1 Part C0.5 Decision and actions required Relevant supporting doc tab(s)
Transfer | Select this for all transfer applications – both full and partial. | Details Dates Doc and info check Part A Part F1 Part D2 Decision and actions required Relevant supporting doc tab(s)
Surrender- Site | Select this for all waste facility and non-installation mining waste activity surrender applications. The checklist can be used for all types of surrender application; full (normal), partial, low risk, basic and ‘non-operational’. Do not use this option for surrender of mobile plant permits. Use the mobile plant permit surrender notification option instead. | Details Dates Doc and info check Part A Part F1 Part E2 Decision and actions required Relevant supporting doc tab(s)
Surrender Mobile Plant | Select this for all waste mobile plant permit surrender notifications. Do not use this checklist for surrender of site based waste permits. Surrender of site based permits must follow the application process; their surrender cannot be carried out by notification. Use the surrender-site option instead. | Details Dates Doc and info check Part A Part F1 Part E2 Decision and actions required Relevant supporting doc tab(s)

## Details & Dates
Application details
PAN reference | PAN-020465
EPR reference | n/a
Applicant name | Denbighshire County Council
Facility name | Colomendy Waste Transfer Station, Denbighshire County Council, Waste Recycling Centre, Graig Road, Denbigh, LL16 5US
Area | North
Operations Team | North East
Site officer/team leader | Steve White
Total time recording | 1450
Relevant dates |  | New Bespoke Extractive Waste | New Bespoke Tier 2 | New Bespoke Tier 3 | SRP- New or Var | Variation Admin | Variation MT and Normal | Variation MT- SRP | Transfer | Surrender- Site | Surrender MP
Date application arrived in NRW | 2023-01-13 | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
Date application acknowledged | 2023-01-16 | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
Date not duly made (information request sent) | 2023-08-02 | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
Date of any additional not duly made requests | n/a | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
Date duly made The duly made date is either (i) the date the application was originally received at Natural Resources Wales in the event of no additional information being requested during the duly make process. OR (ii) the date at which the final piece of additional information requested during the duly make process is received | 2023-09-04 | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
Date returned to applicant or deemed withdrawn | n/a | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
Date applicant sent duly made confirmation | 2023-09-11 | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
Date sent to external consultees (if applicable) | 11/9/2023 (requested) | Y | N | Y | N | N | Y | Y | N | Y | N
Date application publicised on Website | 11/9/2023 (requested) | N | N | Y | N | N | Y | Y | N | Y | N
Date advert placed in newspaper (if applicable) | n/a | N | N | Y | N | N | Y | Y | N | Y | N
Date application publicised on Natural Resources Wales Website and on Social Media (Twitter and Facebook Page) |  | Y | N | N | N | N | N | N | N | N | N
Date advert placed in newspaper (if applicable) |  | Y | N | N | N | N | N | N | N | N | N
Date email sent to MP’s /AM’s (if required and agreed by the Area) |  | Y | N | N | N | N | N | N | N | N | N

## Doc's & info
Documents and information checklist: |  |  | New Bespoke Extractive Waste | New Bespoke Tier 2 | New Bespoke Tier 3 | SRP- New or Var | Variation Admin | Variation MT and Normal | Variation MT- SRP | Transfer | Surrender- Site | Surrender Mobile Plant
| Yes/No/NA | Comments | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Updated documents | New documents
Environment Management System summary | Yes | DCC.003 Operating Techniques Document v1.0 DCC.004 Environment Management System (EMS) Summary DCC.009 Activities and Emissions v2.0 DCC.010 Waste Codes v2.0 | Y | N | Y | N | Y | Y | N | Y | N | N | DCC.003 Operating Techniques Document v2.0 | DCC.004_EMS.S2.06 (Complaints Procedure) DCC.004_EMS.S2.07 (Complaints Form) DCC.004_EMS.S2.08_v2 (Environmental Performance Legal Compliance and Internal Auditing) DCC.004_EMS.S4.02_v2 (Waste Acceptance Procedures and Sampling) | Yes
Non technical summary | Yes | DCC.008 Non-Technical Summary v2.0 | Y | N | Y | N | Y | Y | N | Y | Y | N |  |  | No
Site plan | Yes | DCC.007a Site Layout Plan DCC.007b Site Location Plan | Y | Y | Y | Y | Y | Y | Y | Y | Y | N |  | DCC.021 Site Drainage Plan DCC.022 Emergency Equipment Locations & Emergency Vehicle Tracking Plan DCC.023 Firewater Containment Plan DCC.024 Site Surfacing Plan DCC.025 Waste Material Location Plan | N/A
Site specific risk assessment | Yes | DCC.002 Environmental Risk Assessment v3.0 | Y | Y | Y | N | N | Y | N | Y | N | N | DCC.002 Environmental Risk Assessment v4.0
Site condition report | Yes | DCC.001 Site Condition Report 1 DCC.001 Site Condition Report 2 DCC.001 Site Condition Report 3 DCC.001 Site Condition Report 4 | Y | N | Y | N | N | Y | N | N | N | N |  | DCC.001 Site Condition Report (Appendix C) DCC.001 Site Condition Report (Appendix D) DCC.001 Site Condition Report (Report Only)
Odour management plan | Yes | DCC.011 Odour Management Plan v2.0 (1) DCC.016 Odour Impact Assessment | Y | N | Y | N | N | Y | N | Y | N | N | DCC.011 Odour Management Plan v3.0
Waste Recovery Plan | N/A |  | N | N | Y | Y | N | Y | N | N | N | N
Fire prevention mitigation plan | Yes | DCC.005 Fire Prevention and Mitigation Plan (FPMP) v4.0 (1) | N | N | Y | N | N | Y | N | N | N | N | DCC.005 Fire Prevention and Mitigation Plan (FPMP) v5.0
Noise impact assessment and management plan | Yes | DCC.012 Noise Management Plan v2.0 DCC.017 Noise Impact Assessment | N | N | Y | N | N | Y | N | N | N | N | DCC.017 Noise Impact Assessment v2.0 DCC.012 Noise Management Plan v3.0 | DCC.017a Noise Impact Assessment Acoustic Modelling Data
Waste Management Plan | N/A |  | Y | N | N | N | N | N | N | N | N | N
Other management plans | Yes | DCC.013 Pest Management Plan v2.0 DCC.014 Dust Management Plan v2.0 (1) | Y | N | Y | N | N | Y | N | Y | N | N | DCC.013 Pest Management Plan v3.0 DCC.014 Dust Management Plan v3.0
Technical competence information Including continuing competence evidence, if needed | Yes | DCC.006a Evidence of technical competency DCC.006b Evidence of technical competency DCC.006c Evidence of technical competency DCC.006d Evidence of technical competency | Y | Y | Y | Y | N | Y | N | Y | N | N |  | DCC.020 Technical Competency Details
Financial information | N/A |  | N | Y | Y | Y | N | Y | N | N | N | N
Financial Provision information | N/A |  | Y | N | Y | N | N | Y | N | Y | N | N
Relevant conviction information | N/A |  | Y | Y | Y | N | N | N | N | N | N | N
OPRA spreadsheet (electronic format) | Yes | DCC.015 Opra Spreadsheet | Y | N | Y | N | N | Y | N | Y | Y | N | DCC.015 OPRA Spreadsheet v2.0
Fee | Yes | Transaction ref: 2109914 Date: 15/12/2022 Ref: BS/151222/01 DENBIGHSHIRE CC EPRDENBIGHCC0001 Amount: 8,050.00 | Y | Y | Y | Y | N | Y | Y | Y | Y | Y |  | Payment of £2,800 not showing on MyNRW but confirmed as paid as of 24/8/2023 from "Denbighshire C"
Industrial Emissions Directive (IED) Activity Is the activity/ies that the applicant has applied for subject to the Industrial Emissions Directive? These activities include: - Pre-treatment of waste for incineration and co-incineration - Storage of hazardous waste - Biological treatment of waste (i.e. composting and anaerobic digestion) - Treatment of slags and ashes - Treatment of metal in shredders | Yes | Storage of hazardous waste only | N | N | Y | N | N | Y | N | N | N | N
If it is an IED activity, has the applicant provided information to demonstrate how they will comply with the relevant limits and therefore be able to remain as a waste facility? | Yes | Limit is given as 1 tonne per day See DCC.003 Operating Techniques Document v1.0 section 3.5 | N | N | Y | N | N | Y | N | N | N | N
Evidence to support basic surrender |  | Surrender- site: only if operator claiming basic surrender | N | N | N | N | N | N | N | N | Y | N
Evidence to support low risk surrender |  | Surrender- site: only if operator claiming low risk surrender | N | N | N | N | N | N | N | N | Y | N
Evidence to support non-operational surrender |  | Surrender- site: only if operator claims activities haven’t started | N | N | N | N | N | N | N | N | Y | N
Evidence to support full/normal surrender |  | Surrender- site: only if operator claiming full/normal i.e. has reference data been submitted) | N | N | N | N | N | N | N | N | Y | N
Site closure/ surrender report |  | Surrender- site: The content of this report should enable us to confirm the area being surrendered matches the relevant permitted area. | N | N | N | N | N | N | N | N | Y | N
Report on ‘steps taken to avoid pollution/ return the site to satisfactory sate’. |  |  | N | N | N | N | N | N | N | N | Y | N
Site plan showing area being surrendered |  |  | N | N | N | N | N | N | N | N | Y | N
Parts C1/ C2 &C4 of our application form(s) |  | Surrender- site- part: Only where the part surrender will require changes to the permit conditions – not just the site plan. | N | N | N | N | N | N | N | N | Y | N
Appropriate forms submitted to the WR or WQ teams? |  |  | Y | N | N | N | N | N | N | N | N | N
Has geoscience made any comment on the WQ/WR forms that may be considered in determination? |  |  | Y | N | N | N | N | N | N | N | N | N
Percentage of required documents missing | 0 | Where over 25% of responses are no, the application is regarded as incomplete | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
| Other | DCC.018 Application Checklist.xlsx DCC.019 Hazardous waste qualifications registration PR2391226 Version 1 (Payment ref EPRDENBIGHCC0001) WRAP DCC Colomendy_Application Form Part A_v0.1 WRAP DCC Colomendy_Application Form Part B2_v0.1 WRAP DCC Colomendy_Application Form Part B4_v0.1 WRAP DCC Colomendy_Application Form Part F1_v0.1 | [10 empty] | DCC.018 Application Checklist | Action Resolution Log

## A
Application form Part A – applicant/ operator details
Qu # | Action | Yes/No/NA | Comments | Yes
1 to 5 | Applicant details complete? | Yes |  | No
6 | Address details complete? | Yes |  | N/A
6 | Registered companies only. Is it registered and active on Companies House? | N/A
6 | If an existing permit, does the site and company address(es) match the current permit? | N/A
7 | Contact details complete? | Yes
| Is the applicant a legal person as per definition of ‘operator’? | Yes
| If the applicant is not the landowner, have details been provided? | N/A | Application pre-July 2023
| Percentage of form incomplete | 0 | Where over 25% of responses are no, the form is regarded as incomplete

## F1
Application form Part F1 - Initial checks, including payment, confidentiality, national security and declaration |  |  |  | New Bespoke Extractive Waste | New Bespoke Tier 2 | New Bespoke Tier 3 | SRP- New or Var | Variation Admin | Variation MT and Normal | Variation MT- SRP | Transfer | Surrender- Site | Surrender Mobile Plant
Qu # | Action | Yes/No/NA | Comments | Y | Y | Y | Y | N | Y | Y | Y | Y | Y
1 | Table 1 Complete? | Yes |  | Y | Y | Y | Y | N | Y | Y | Y | Y | Y |  | Yes
1 | Has the correct application type/ fee been identified? | No | See OPRA tab | Y | Y | Y | Y | N | Y | Y | Y | Y | Y | 11/09/23- payment confirmed as paid on 24/8/2023 | No
2 | Has the OPRA profile been provided? | Yes |  | Y | Y | Y | Y | N | Y | N | Y | Y | Y |  | N/A
2 | Has the OPRA profile been provided on Excel? | Yes |  | Y | Y | Y | Y | N | Y | N | Y | Y | Y
3 | Is the payment type shown? | Yes |  | Y | Y | Y | Y | N | Y | Y | Y | Y | Y
3 | Have the payment details been completed? | Yes |  | Y | Y | Y | Y | N | Y | Y | Y | Y | Y
3 | Is the payment on MyNRW? | Yes |  | Y | Y | Y | Y | N | Y | Y | Y | Y | Y
3 | Is the fee correct? | No | See OPRA tab | Y | Y | Y | Y | N | Y | Y | Y | Y | Y | 11/09/23- payment confirmed as paid on 24/8/2023
5 | Confidentiality: If the applicant has asked information to be treated as confidential, has the required evidence been provided? | N/A |  | Y | Y | Y | Y | N | Y | Y | Y | Y | Y
5 | National Security: If the applicant has stated information should not be on the public register due to National Security risk, has the letter from the Welsh Ministers confirming this been provided? | N/A |  | Y | Y | Y | Y | N | Y | Y | Y | Y | Y
6 | Box been ticked to show correct fee is included? | No | But fee has been received | Y | Y | Y | Y | N | Y | Y | Y | Y | Y
| Is the application checklist complete? | Yes | See DCC.018 Application Checklist- all documents included | Y | Y | Y | Y | N | Y | Y | Y | Y | Y
7a | If not a relevant person; is box ticked to confirm authorisation is given? | N/A |  | Y | Y | Y | Y | N | Y | Y | Y | Y | Y
7b | If the application a standard facility; is box ticked to confirm SRP criteria is met? | N/A |  | Y | Y | Y | Y | N | Y | Y | Y | Y | Y
7c | If application includes ecological survey information; is box ticked to confirm it can be used as set out in guidance | N/A |  | Y | Y | Y | Y | N | Y | Y | Y | Y | Y
7d | Is the declaration complete? | Yes |  | Y | Y | Y | Y | N | Y | Y | Y | Y | Y
7d | Has the correct person completed the declaration? | Yes | Tony Ward of Denbighshire County Council- Corporate Director: Economy and Environment | Y | Y | Y | Y | N | Y | Y | Y | Y | Y
| Percentage of form incomplete | 25 | Where over 25% of responses are no, the form is regarded as incomplete | Y | Y | Y | Y | N | Y | Y | Y | Y | Y

## B2.C2
Application form Part B2 – all new bespoke Application form Part C2 – bespoke variation |  |  |  | New Bespoke Extractive Waste | New Bespoke Tier 2 | New Bespoke Tier 3 | SRP- New or Var | Variation Admin | Variation MT and Normal | Variation MT- SRP | Transfer | Surrender- Site | Surrender Mobile Plant
Qu # | Action | Yes/No/NA | Comments and Document Ref. if given | Y | Y | Y | N | N | Y | N | N | N | N |  | Yes
1a | Has the pre-application advice question been answered (references/documents given)? | Yes | PPN-00393 | Y | Y | Y | N | N | Y | N | N | N | N |  | No
| Pre-application record found in DMS? | Yes | In DMS folder | Y | Y | Y | N | N | Y | N | N | N | N |  | N/A
1b | Option ‘site’ or 'mobile plant' selected? | Yes | Site | Y | Y | Y | N | N | N | N | N | N | N
1c | If indicated activity is mobile plant, have we agreed the activity is mobile plant? | N/A |  | N | N | Y | N | N | N | N | N | N | N
1d | If there has been changes to this agreement, has a change document been provided? | N/A |  | N | N | Y | N | N | N | N | N | N | N
1b | Permit number given | bar: Y to N
1c | Site name and address complete? | bar: Y to N
2a | Site name, address and grid reference complete? | Yes |  | Y | Y | Y | N | N | N | N | N | N | N
2b | Is the number of regulated facilities given? | Yes |  | Y | Y | Y | N | N | N | N | N | N | N
2c | If one facility only: has the correct operation type been selected? | Yes | Ticked Tier 2 bespoke- over OPRA profile and OPRA based fee has been paid. Assumed this is in error | Y | Y | Y | N | N | N | N | N | N | N
2c1-2c4 | Has the relevant question been answered? | Yes | Ticked Tier 2 bespoke- over OPRA profile and OPRA based fee has been paid. Assumed this is in error | Y | Y | Y | N | N | N | N | N | N | N
2d | If more than one facility: has the correct operation type been selected? | N/A |  | Y | Y | Y | N | N | N | N | N | N | N
2d1- 2d4 | Has the relevant question been answered for each facility? | N/A |  | Y | Y | Y | N | N | N | N | N | N | N
2f | Has the question (treating batteries) been answered? | Yes | Answered "no" | Y | Y | Y | N | N | N | N | N | N | N
2f | If yes, is a document provided? | N/A |  | Y | Y | Y | N | N | N | N | N | N | N
2a | Variation type picked? |  | For Variations see Part B4.C4 tab for the additional checks to check variation ‘type’ | N | N | N | N | N | Y | N | N | N | N
2b | Table 1 OR non-technical summary completed for the changes? | bar: Y to N
2c1 | Has the question (modern/consolidated permit) been answered? | bar: Y to N
2c2 | Multi-permit consolidations only Are all of the permit numbers listed in Table 2? | bar: Y to N
2e | Has the question (treating batteries) been answered? | bar: Y to N
2e | If answered yes; document reference provided? | bar: Y to N
3a | Relevant offences Relevant offences question complete? | Yes | Answered "no" | Y | Y | Y | N | N | Y | N | N | N | N
3a | If answered "yes", has relevant convictions information provided? | N/A |  | Y | Y | Y | N | N | Y | N | N | N | N
3b1 | Technical ability Has a Scheme option been selected? | Yes |  | Y | Y | Y | N | N | Y | N | N | N | N
3b2 | If yes; have they ticked to say they have included all certificates, and provided them? | N/A |  | Y | Y | Y | N | N | Y | N | N | N | N
3b2 | If no; have they ticked to say they have included registration evidence, and provided them? | Yes | DCC.006a Evidence of technical competency DCC.006b Evidence of technical competency DCC.006c Evidence of technical competency DCC.006d Evidence of technical competency DCC.019 Hazardous waste qualifications registration See TCM tab | Y | Y | Y | N | N | Y | N | N | N | N
3c | Financial information Financial info complete? | Yes |  | Y | Y | Y | N | N | Y | N | N | N | N
3c | Has the applicant indicated that they are financially sound, i.e. do not need to provide financial provision for the activity? | Yes |  | Y | Y | Y | N | N | Y | N | N | N | N
3d1 | Management system Have they confirmed the management system meets our guidance? | Yes |  | Y | Y | Y | N | N | Y | N | N | N | N
3d2 | Have they selected a type of management system? | Yes | Own | Y | Y | Y | N | N | Y | N | N | N | N
3d3 | Have they provided the summary of the management system? | Yes | DCC.004 Environment Management System (EMS) Summary See EMS tab | Y | Y | Y | N | N | Y | N | N | N | N
4a | Sewer question answered? | Yes | Answered "yes" | Y | Y | Y | N | N | Y | N | N | N | N
4a | If yes, is a sewerage undertaker named? | Yes | Welsh Water | Y | Y | Y | N | N | Y | N | N | N | N
4b | Harbour authority question answered? | Yes | Answered "no" | Y | Y | Y | N | N | Y | N | N | N | N
4b | If yes, is a harbour authority named? | N/A |  | Y | Y | Y | N | N | Y | N | N | N | N
4c | Fisheries question answered? | Yes | Answered "no" | Y | Y | Y | N | N | Y | N | N | N | N
4c | If yes, is a fisheries committee named? | N/A |  | Y | Y | Y | N | N | Y | N | N | N | N
4e | Has the question (medium combustion plant or specified generator located within an Air Quality Management Area (AQMA)) been answered? | N/A |  | N | Y | Y | N | N | N | N | N | N | N
5a | Site plan provided? | Yes | DCC.007a Site Layout Plan DCC.007b Site Location Plan | Y | Y | Y | N | N | Y | N | N | N | N
5b | Site condition report provided? | No | DCC.001 Site Condition Report 1 DCC.001 Site Condition Report 2 DCC.001 Site Condition Report 3 DCC.001 Site Condition Report 4 Only the desktop searches have been provided- no actual SCR document has been provided | Y | Y | Y | N | N | N | N | N | N | N | Resolved in response of 04/09/2023
5b | If increasing permitted area has a site condition report been provided? |  | This should not be needed for a MT var | N | N | N | N | N | Y | N | N | N | N
5c | Non-technical summary provided? | Yes | DCC.008 Non-Technical Summary v2.0 | Y | Y | Y | N | N | N | N | N | N | N
6 | Risk assessment provided? | Yes | DCC.002 Environmental Risk Assessment v3.0 See Risk Assessment Tab | Y | Y | Y | N | N | Y | N | N | N | N
| Percentage of form incomplete | 4.1667 | Where over 25% of responses are no, the form is regarded as incomplete | Y | Y | Y | N | N | Y | N | N | N | N

## B4.C4
Application form Part B4 – new bespoke waste operation Application form Part C4 – bespoke variation waste operation |  |  |  | New Bespoke Extractive Waste | New Bespoke Tier 2 | New Bespoke Tier 3 | SRP- New or Var | Variation Admin | Variation MT and Normal | Variation MT- SRP | Transfer | Surrender- Site | Surrender Mobile Plant
Qu # | Action | Yes/No/NA | Comments and Document Ref. if given | N | Y | Y | N | N | Y | N | N | N | N
1a | Has all sections of the completed? And document provided if needed? | Yes | Table on form not completed- see DCC.009 Activities and Emissions v2.0 | N | Y | Y | N | N | Y | N | N | N | N | Yes
1b | Waste types listed? | Yes | DCC.010 Waste Codes one waste with a 99 code- additional information has been given | N | Y | Y | N | N | Y | N | N | N | N | No
1c1 | Has the question (deposit for recovery activity) been answered? | Yes | Not DfR | N | Y | Y | N | N | Y | N | N | N | N | N/A
1c2 | Have we confirmed it is recovery? | N/A |  | N | Y | Y | N | N | Y | N | N | N | N
1c3 | Has there been any changes since we agreed it was recovery? | N/A |  | N | Y | Y | N | N | Y | N | N | N | N
1c4 | Has a reference for the waste recovery plan been provided? | N/A |  | N | Y | Y | N | N | Y | N | N | N | N
2 | Emissions to air, water and land Table 2 completed for each activity listed in Table 1a? | Yes | Table on form not completed- see DCC.009 Activities and Emissions v2.0 | N | Y | Y | N | N | Y | N | N | N | N
| Point source emission to air | Yes | Completed for Noise | N | Y | Y | N | N | Y | N | N | N | N
| Point source emission to water (other than sewers) | Yes | Completed for surface water from site | N | Y | Y | N | N | Y | N | N | N | N
| Point source emission to sewers, effluent treatment plants or other transfer off site | Yes | Completed for drainage from the interceptor | N | Y | Y | N | N | Y | N | N | N | N
| Point source emission to land | N/A |  | N | Y | Y | N | N | Y | N | N | N | N
3a | Technical standards Information complete for each activity listed in Table 1a? | Yes | Table on form not completed- see DCC.003 Operating Techniques Document | N | Y | Y | N | N | Y | N | N | N | N
| Has a document been provided if needed? | Yes | DCC.003 Operating Techniques Document | N | Y | Y | N | N | Y | N | N | N | N
3b | General requirements information complete for each activity listed? - fugitive emissions - noise - odour - fire - pests (not listed separately on application form) | Yes | Stated "N/A" for fugitive emissions, however a dust management plan has been included, other sections all answered: DCC.011 Odour Management Plan v2.0 (1) DCC.016 Odour Impact Assessment DCC.012 Noise Management Plan v2.0 DCC.017 Noise Impact Assessment DCC.013 Pest Management Plan v2.0 DCC.014 Dust Management Plan v2.0 (1) DCC.005 Fire Prevention and Mitigation Plan (FPMP) v4.0 (1) | N | Y | Y | N | N | Y | N | N | N | N
| Fugitive emissions: If the site falls within the scope of the following Environment Agency's Control and monitor emissions for your environmental permit guidance (dust section), has a DEMP been provided? | Yes | DCC.014 Dust Management Plan v2.0 See dust tab | N | Y | Y | N | N | Y | N | N | N | N
| Odour: a) If the site is undertaking an activity for 'which odour is a key issue' as outlined in 'how to comply with your environmental permit' guidance, has an OMP been provided? | Yes | DCC.011 Odour Management Plan v2.0 (1) DCC.016 Odour Impact Assessment See odour tab | N | Y | Y | N | N | Y | N | N | N | N
| Odour: b) If the site's risk assessment has highlighted there is a risk of odour from this activity, has an OMP been provided? | Yes | As above | N | Y | Y | N | N | Y | N | N | N | N
| Odour: c) If variation, and operations have indicated that there is an issue with odour from the facility, has an OMP been provided? |  | If yes, an OMP is required, and the odour tab should be completed. If no, an OMP is not required and you do not need to complete the odour tab, and the answer should be marked as "n/a". | N | N | N | N | N | Y | N | N | N | N
| Noise: If a Noise Impact Assessment is required, has it been provided? | Yes | Tool states NIA and NMP are required. Both have been supplied. DCC.012 Noise Management Plan v2.0 DCC.017 Noise Impact Assessment See Noise tab | N | Y | Y | N | N | Y | N | N | N | N
| Noise: If an adverse impact or significant adverse impact is concluded by the NIA, has a Noise Management Plan been provided? | Yes | No impact concluded (need to asses), however NMP has been included See Noise tab | N | Y | Y | N | N | Y | N | N | N | N
| Fire: Is this a new bespoke permit application, that includes the acceptance and storage of combustible waste? | Yes | DCC.005 Fire Prevention and Mitigation Plan (FPMP) v4.0 (1) See FPMP tab | N | Y | Y | N | N | N | N | N | N | N
| Fire: If this is a variation to add a new combustible material, has an FPMP been provided? |  | Yes - FPMP is required and the FPMP tab must be completed. No - mark as N/A | N | N | N | N | N | Y | N | N | N | N
| Fire: If this is a variation to add a new activity, has an FPMP been provided? |  | Yes - FPMP is required and the FPMP tab must be completed. No - mark as N/A | N | N | N | N | N | Y | N | N | N | N
| Fire: If this is a variation to increase the amount of waste stored at any one time, has an FPMP been provided? |  | Yes - FPMP is required and the FPMP tab must be completed. No - mark as N/A | N | N | N | N | N | Y | N | N | N | N
| Fire: If this is a variation to increase the annual throughput only, has the required statement been provided? |  | Yes - FPMP is not required. BUT applicant must provide written confirmation of the following: increase in annual throughput only, storage of combustible material referenced in the guidance will not increase from current levels and the measures used to manage current storage levels (at any one time limits) meet the standards in the guidance. IMPORTANT: All sections in FPMPs for variations will not necessarily need to be assessed as part of determination. We need the FPMP to include details on existing combustible waste types, site layout, separation distances etc. so that we can assess the new combustible materials/ activities in relation to these. However, we can’t ask for information on existing activities/wastes that are already permitted (i.e. amount of waste accepted, stack sizes, turning, water supplies for existing stacks). Technically under a variation we can only ask for information/ assess information that we need in order to make a decision on the what the operator is applying to change in their permit. You need to keep this in mind when completing this checklist. If in doubt, speak to your mentor. | N | N | N | N | N | Y | N | N | N | N
| Pests: If a dedicated pests management plan required, has it been provided? This will depend on the types of wastes accepted, treatment types etc | Yes | Some wastes have potential to attract pests DCC.013 Pest Management Plan v2.0 See Pests tab | N | Y | Y | N | N | Y | N | N | N | N
3c | Specific Sectors Has the relevant appendix been completed? - clinical waste - hazardous recovery and disposal - CLO to land - inert landfill | Yes | Appendix 2 completed | N | Y | Y | N | N | Y | N | N | N | N
4a | Document provided for the monitoring of emissions from points listed in Table 2? | Yes | DCC.003 Operating Techniques Document | N | Y | Y | N | N | Y | N | N | N | N
4b | Point source emissions to air only Assessment provided? | N/A | No point source emissions to air | N | Y | Y | N | N | Y | N | N | N | N
| Percentage of form incomplete | 0 | Where over 25% of responses are no, the form is regarded as incomplete | N | Y | Y | N | N | Y | N | N | N | N
|  |  |  | N | Y | Y | N | N | Y | N | N | N | N
Appendix 2 Hazardous waste for recovery and disposal |  |  |  | N | Y | Y | N | N | Y | N | N | N | N
Qu # | Action | Yes/No/NA | Comments and Document Ref. if given | N | Y | Y | N | N | Y | N | N | N | N
1 | Pre-acceptance information complete? | Yes | DCC.003 Operating Techniques Document | N | Y | Y | N | N | Y | N | N | N | N
2 | Waste acceptance information complete? | Yes | DCC.003 Operating Techniques Document | N | Y | Y | N | N | Y | N | N | N | N
3 | Waste storage, handling etc. information complete? | Yes | DCC.005 Fire Prevention and Mitigation Plan (FPMP) | N | Y | Y | N | N | Y | N | N | N | N
4 | Waste facility and infrastructure layout plan provided? | Yes | DCC.007a Site Layout Plan | N | Y | Y | N | N | Y | N | N | N | N
5 | Treatment activities document provided? | N/A | Hazardous waste is not being treated | N | Y | Y | N | N | Y | N | N | N | N
6 | Layout plan/flow diagram for treatment plant location provided? | N/A | Hazardous waste is not being treated | N | Y | Y | N | N | Y | N | N | N | N
| Percentage of appendix incomplete | 0 | Where over 25% of responses are no, the appendix is regarded as incomplete | N | Y | Y | N | N | Y | N | N | N | N
|  |  |  | N | Y | Y | N | N | Y | N | N | N | N
|  |  |  | N | N | N | N | N | Y | Y | N | N | N
Additional Checks - confirming the variation type- on for use with a variation |  |  |  | N | N | N | N | N | Y | Y | N | N | N
Qu # | Action | Yes/No/NA | Notes | N | N | N | N | N | Y | Y | N | N | N
1 | Has the operator indicated it’s an administrative variation? |  | Yes: go to Q2 No: go to Q3 | N | N | N | N | N | Y | Y | N | N | N
2 | Is the change applied for, one of those we accept as administrative? |  | See examples in the Scheme for guidance on what sort of changes can be accepted as administrative. Yes: we can accept the operator’s variation (change) is administrative in nature. No further consideration needed. No: the variation (change) is not administrative, it’s chargeable. Consider Q3 onwards | N | N | N | N | N | Y | Y | N | N | N
3 | Has the operator indicated it’s a Minor Technical variation? |  | Yes: go to Q4 No: go to Q6 | N | N | N | N | N | Y | Y | N | N | N
4 | Is the change applied for, one of those we accept as Minor Technical? |  | Note: refer to definition of Minor Technical in the Charging scheme. Yes: go to Q5 No: go to Q6 | N | N | N | N | N | Y | Y | N | N | N
5 | Does any of the following apply: - the site is High Public Interest or the type of activity is contentious (it’s incineration, landfill etc.)? - the emissions/ techniques involved are complex or novel, or complex modelling is required? - there are sensitive receiving environments around the site (such as designated sites, species etc.) |  | Yes: the variation cannot be accepted as Minor Technical – as it involves extra effort at technical determination. Consider Q7 onwards No: we can accept the operator’s variation (change) is minor technical in nature. No further consideration needed. | N | N | N | N | N | Y | Y | N | N | N
6 | Has the operator indicated it’s a Normal variation (of a waste facility activity/permit)? |  | Yes: go to Q7 No: go to Q8 | N | N | N | N | N | Y | Y | N | N | N
7 | Is the change applied for, one of those we accept as Normal? In other words, is it something that can/ should actually be considered as administrative, Minor technical or Substantial? |  | Yes: we can accept the operator’s variation (change) is normal in nature. No further consideration needed. No: go to 8 Note: Substantial variations do not normally apply to waste facility permits. | N | N | N | N | N | Y | Y | N | N | N
8 | Conclusion Consider whether the operator has chosen the wrong variation type." What type of variation do you assess the application to be? (Look again at questions 2, 4, 5 and 7 in this table.) Talk to the operator; identify the correct ‘type’ of variation, so we can process the application accordingly. |  | If the operator has indicated that they this it’s a substantial change, ask them why they think this is the case. See RGN 8 for guidance on what type of changes fall under a Substantial variation. Refer to the Fees and Charges Scheme for guidance on variations. | N | N | N | N | N | Y | Y | N | N | N

## Decision and actions
Decision and actions required |  |  |  | New Bespoke Extractive Waste | New Bespoke Tier 2 | New Bespoke Tier 3 | New SRP | Variation Admin | Variation MT and Normal | Variation MT- SRP | Transfer | Surrender- Site | Surrender Mobile Plant
Action | Yes/No/NA | Date | Notes | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
Are all relevant documents present and do they appear to cover the right information? | No | 2023-08-02 |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | Yes
Is the fee correct? | No | 2023-08-02 |  | Y | Y | Y | Y | N | Y | Y | Y | Y | Y | No
Not duly made email sent for additional information/fee? | Yes | 2023-08-02 |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y | N/A
Has the requested information been received by the deadline date? | Yes |  |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
Application returned? | N/A |  |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
Application withdrawn? | N/A |  |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
Application duly made? | Yes |  |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
Status on PALS updated? | Yes | 2023-09-11 |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
Duly made email sent? | Yes | 2023-09-11 |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
Publicise on web? | Yes | 2023-09-11 | (requested) | Y | Y | Y | Y | N | N | N | N | N | N
Advertise in newspaper? | N/A |  |  | Y | Y | Y | Y | N | N | N | N | N | N
Publicise in Social Media ( email the link for the web advert to Comms team) |  |  |  | Y | N | N | N | N | N | N | N | N | N
Consultation with Consultees (i.e. LPA, PHW, EH, HSE, PCT) | Yes | 2023-09-11 | (requested) | Y | Y | Y | Y | N | N | N | N | N | N
Landowner notification letter sent
DM checklist saved to the DMS | Yes | 2023-09-11 |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
Landfill Disposal Tax team informed | N/A |  |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
|  |  |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
‘Duly Made’ officers notes: Use this box to record conversations with the applicant/ operator, detailed reasons why the application can/cannot be duly made and any subsequent correspondence or actions. |  |  |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
02/08/2023- NDM for the following reasons- application fee, TCM. Site condition report, missing information from EMS, Risk assessment, Pests Management Plan, Dust Management Plan, FPMP, Odour Management Plan, Noise Impact Assessment and Noise Management plan |  |  |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
06/09/2023- all requested information has been provided. Once we have been able to confirm additional fee payment, application can be duly made. All new documents have been saved to the DMS, as well as the original documents that were not superseded. |  |  |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
11/09/2023- payment confirmed as received 24/08/23. Application is duly made as of 04/09/2023. Advert and consultation sent to permit support today for action |  |  |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
|  |  |  | Y | Y | Y | Y | Y | Y | Y | Y | Y | Y
Percentage of forms/documents incomplete
Where over 25% of responses are no, the application is regarded as incomplete
Doc and info check | 0
Part A | 0
Part F1 | 25
Part B1.C1 | #REF!
Part B1.C1- Appendix 2 | #REF!
Part B1.C1- Appendix 3 | #REF!
Part B2.C2 | 4.1667
Part B4.C4 | 0
Part B4.C4- Appendix 1 | #REF!
Part B4.C4- Appendix 2 | 0
Part B4.C4- Appendix 3 | #REF!
Part B4.C4- Appendix 4 | #REF!
Part B5.C5 | #REF!
Part C0.5 | #REF!
Part D2 | #REF!
Part E2 | #REF!
EMS | 11.4286
TCM | 0
Risk Assessments | 9.0909
FPMP | 19.6078
Noise | 27.5862
Odour | 37.5
Dust | 33.3333
Pests | 4
DfR | #REF!

## OPRA
OPRA review
TAB: Complexity_Emissions_Location | Changed | Not changed | Reason
Complexity Attribute | X |  | Site is accepted hazardous waste (soil, batteries and WEEE), the hazardous soil means the site is A09 not A11
Emissions Attribute (Waste Input) |  | X | Quantities add up to 55,000 tonnes per annum.
Location Attributes
Proximity to Human Occupation |  | X | Agree with <50m
Assessment under wildlife, countryside or habitats legislation |  | X | Agree with "CroW"
Groundwater/Aquifers | X |  | Changed to "Yes- outside GPZ" as the site on both superficial and bedrock aquifers
Sensitivity of surface water | X |  | Entry required as site is within 10 meters of a receiving water (pond to the north of the site) As the closest classified stretch is over 1km away, a score of 2 (grade 3 or 4) has been used
Direct run-offs | X |  | Changed to "Yes- with interceptors" as the site has both surface water and sewage discharges from the site
Air Quality Management Zone |  | X | Site is not in or near to a AQMZ
Flood Plain |  | X | Low flood risk from surface water & small watercourses to the north and south of the site, but not within boundary
TAB: Operator Performance | Changed | Not changed | Reason
| X |  | Several questions on this tab now need to be completed as the site is an A09
Start score: | 46
Start fee: | 8050
End score: | 64
End fee: | 11200
Difference in score: | 18
Difference in fee: | 3150 | If minus, a refund is required
06/09/2023- once operator performance tab was completed, the score increased to 64, so the additional fee needed was £2,800

## EMS
Environment Management System
This applies to all new bespoke permits and variations. If the permit is a normal variation, only the relevant parts of the EMS should be updated by the operator and assessed.
Document reference | DCC.004 Environment Management System (EMS) Summary DCC.003 Operating Techniques Document v1.0 DCC.009 Activities and Emissions v2.0 DCC.010 Waste Codes v2.0
Time taken | 60 minutes
Guidance | https://cdn.cyfoethnaturiol.cymru/media/2110/how-to-comply-with-your-environmental-permit.pdf?mode=pad&rnd=131467604540000000
Section | Part | Yes/No/NA | Comments
Site plans | Does it show the main features of the site and drawn to scale? | Yes |  |  | Yes
| Including where relevant; activities, drainage, sensitive receptors | Yes | Drainage and activities only. See risk assessment for receptors information |  | No
Operations | Does it contain information on how to avoid or minimise environmental risk and impact of the normal running operations | Yes |  |  | N/A
| Does it contain information on waste acceptance, quantities, treatment and storage procedures | Yes
| Does it contain information on storage of materials on site - storage times and procedures to ensure that these times are not exceeded - maximum storage capacities for specified storage areas and the facility as a whole and procedures to ensure that these capacities are not exceeded - maximum storage heights to prevent or minimise the emission of dust, litter and throughput management | Yes
| Does it contain information on a procedure to identify the specific waste types stored at your facility | Yes
| Does it contain information on procedures to segregate incompatible wastes for example use of appropriate separation distances and or suitable engineering measures. | Yes
| Does it contain information on drainage infrastructure | Yes | Section 4.1, 4.2
| Does it contain information on transportation and distribution | Yes
| Does it contain information on how any potential pollution from the above activities could impact on air, water, land and neighbours | Yes | Section 4
| Does it contain information on procedures to enable you to apply the waste hierarchy of re-use, recover, recycle, dispose | No |  | Resolved in response of 04/09/2023
| Does it contain information on Duty of Care | No |  | Resolved in response of 04/09/2023
Maintenance | Does it contain information on the sites programme of Planned Preventative Maintenance (PPM) | Yes | Section 2.1.9
Accidents and incidents (Defined as an accident, incident or event that may result in pollution) | Does it contain information on potential accidents and put in place measures to minimise them happening | Yes | Section 2.2
| Does it contain information on events or equipment failures that could damage the environment, for example fires, vandalism, flooding or other extreme weather events such as drought, heat waves, strong winds, snow or extreme cold | Yes | Section 2.2.1
| Does it contain information on how likely these events or failures are to happen | Yes
| Does it contain information on the consequences if they do happen | Yes
| Does it contain information on the steps needed to minimise them happening | Yes
| Does it contain information on the steps needed to minimise any impact if they do happen | Yes
| Does it contain information on how they will record and investigate complaints, pollution incidents or breaches of your permit and the actions taken. | Yes
| Does it contain a site plan which identifies location of any emergency kits or equipment for fire, spill kits and drain caps | Yes
Site security | Does it include information on site security? This will be dependant on the environmental risk posed by activity | Yes | Section 2.1.3, 2.2.6
Non-compliance | Does it include information on how non-compliance will be dealt with including recording, investigating and resolution | Yes | Section 2.1.6
Closure | Does it include information on the plans in place that could make closing the site far easier and cheaper and evidence of the condition of the site via an SCR (only needs to be provided for a new bespoke or variation to increase permit area) | No |  | Resolved in response of 04/09/2023
Complaints | Does it include information on how complaints will be dealt with including recording, investigating and resolution | No |  | Resolved in response of 04/09/2023
Sufficient competent persons, resources and training | Does it include information on training of staff and technical competence. Also see TCM tab | Yes | Section 2.1
Emissions and monitoring | Does it include information on emissions to surface and groundwater | Yes | Section 4.1, 4.2
| Does it include information on dust | Yes | Section 4.4, also DMP
| Does it include information on mud | Yes | Section 4.8
| Does it include information on litter | Yes | Section 4.7
| Does it include information on fine particulates and fumes | N/A | Not relevant to application
| Does it include information on VOCs | N/A | Not relevant to application
| Does it include information on odour | Yes | Section 4.3, also OIA and OMP
| Does it include information on noise and vibration | Yes | Section 4.5, also NIA and NMP
| Does it include information on pests | Yes | Section 4.6
| Does it include information on bioaerosols | N/A | Not relevant to application
Records | Does it include information on how records will be maintained and kept up to date | Yes | Section 2.1.5
Access to your permit | Does it include information on how any interested parties will view the permit, EMS or any other relevant management systems | Yes | Section 2.1.4, 2.1.5
| Percentage of required information missing | 11.4286 | Where over 25% of responses are no, the document is regarded as incomplete

## TCM
Technically Competent Manager Qualifications
Document reference | DCC.006a Evidence of technical competency DCC.006b Evidence of technical competency DCC.006c Evidence of technical competency DCC.006d Evidence of technical competency DCC.019 Hazardous waste qualifications registration
Time taken | 30 minutes
Guidance | n/a
Section | Part | Yes/No/NA | Comments |  | Yes
General Overview | Has a named TCM been provided? | Yes | David Driver, Gareth Hughes, "Gareth and Phil" |  | No
| Are they/will they be covered by a relevant technical scheme: CIWM/WAMITAB or ESA/EU? | Yes | CIWM/WAMITAB |  | N/A
If WAMITAB certificates have been provided: | Has primary competence been provided? | Yes | DCC.006a Evidence of technical competency - David Driver- Continuing competence- Transfer Hazardous Waste (TSH)- 31/07/2020 to 31/07/2022 - David Michael Driver- Primary qualification- Managing Transfer Hazardous Waste (4TSH) awarded 30/10/2007 DCC.006b Evidence of technical competency - David Michael Driver- Primary qualification- Managing Transfer Hazardous Waste (4TSH)- 30/10/2007 DCC.006c Evidence of technical competency - David Driver- Continuing competence- Transfer Hazardous Waste (TSH)- 03/08/2022 to 03/08/2024 DCC.006d Evidence of technical competency - Gareth Hughes- primary qualification- Non-hazardous waste treatment and transfer- 12/05/2022
| Has continuing competence been provided? | Yes
| If certificates have not been provided, has proof of application for the correct course been provided? | Yes | DCC.019 Hazardous waste qualifications registration - Registration for “Gareth and Phil” for HROC4
| If a grace period is applicable, has this been requested? | N/A
| Is the certificate/course applied for suitable for the application applied for? | Yes | Required primary qualification is HROC4 4TSH (DCC.006b Evidence of technical competency) can be used for the primary award for this. Required continuing competence is TSH which is held- see DCC.006c Evidence of technical competency Need contact info for Mr Driver "Gareth and Phil" have been registered but no further information has been given. Need more information on who these are, and if they have the qualification yet as the registration was June 2022. | Resolved in response of 04/09/2023
If ESA/EU certificates have been provided: | Do they have a competent management system in place? | N/A
| If not, are they relying on the 12 month grace period? | N/A
| If relying on the grace period, have they confirmed that they will obtain necessary certification within 12 months of permit issue? | N/A
| Has the management scheme been certified by one of the EU Skills scheme's approval bodies? | N/A
On site | Do we consider this person to be in control of day to day activities on the site? | N/A
| Percentage of required information missing | 0 | Where over 25% of responses are no, the document is regarded as incomplete

## Risk Assessment
Risk Assessments
Document reference | DCC.002 Environmental Risk Assessment v3.0
Time taken | 35 minutes
Guidance | https://www.gov.uk/guidance/risk-assessments-for-your-environmental-permit
Section | Part | Yes/No/NA | Comments |  | Yes
General sections | As per "How to Comply", are there general sections on the following: |  |  |  | No
| a. Site operations | Yes |  |  | N/A
| b. Maintenance | Yes
| c. Accidents | Yes
| d. Training and records | Yes
Contents | Does the risk assessment contain information on the following:
| a. Pollution/hazard source | Yes
| b. Receptor that can be affected | Yes
| c. sources | Yes
| d. Pathway | Yes
| e. Harm that could be caused | Yes
| f. Solutions | Yes
| g. Actions | Yes
| Overall, can the site operate without a significant risk to the environment? | Yes
Areas of Risk | Have the risks of the following been addressed, and if required, have management plans been provided:
| a. Any discharges to surface or groundwater | Yes | Table 4-1 and Table 4-2
| b. Accidents e.g. flooding, fire, electric shock etc | Yes | Table 4-1
| c. Odour | Yes | Table 4-2
| d. Noise | Yes | Table 4-1
| e. Vibration | Yes | Table 4-1
| f. Dust | Yes | Table 4-2
| g. Pests | Yes | Table 4-1
| h. Litter | Yes | Table 4-2
| i. Fire | Yes | Table 4-2
| j. Flooding and flood plains, as per OPRA | Yes | Table 4-1
| k. Bioaerosols | N/A
Protected sites | If present, have the following been included within the risk assessment:
| a. national parks | N/A
| b. areas of outstanding natural beauty (AONBs) | N/A
| c. sites of special scientific interest (SSSIs) | Yes | Crest Mawr Wood SSSI approx. 490 meters from the site Graig Quarry SSSI Approx 660 meters from the site. RA section 2.4.1
| d. special areas of conservation (SACs) | N/A
| e. special protection areas (SPAs) | N/A
| f. Ramsar sites (wetlands) | N/A
| g. marine conservation zones | N/A
| h. ancient woodlands | Yes | 11 areas to the west of the site Section 2.4.2
| i. local sites | N/A
| j. flooding | N/A | Low flood risk from surface water & small watercourses to the north and south of the site, but not within boundary. Also see section 2.2.4 of the RA
| k. protected habitats/species and section 6/7 species | No | Protected Habitats: Area of Lowland dry acid grassland and Lowland calcareous grassland within site boundary- this may have already been built on. Other areas of Lowland dry acid grassland and Lowland calcareous grassland within 1km Protected species: None Section 6/7 species: None Application site plans notes "newt pond"- need to ask | Resolved in response of 04/09/2023
| l. historic items (ancient monuments, historic sites etc.) | Yes | Number of listed buildings and historic monuments within 1km, mostly are in the centre of Denbigh over 950 meters away Nearest is the Plas Clough estate approx. 330 meters away Section 2.5 of RA
| m. source protection zones/aquifers | Yes | Site is on a Superficial and Bedrock Aquifer, but site is not in groundwater source protection zone Section 2.2 of RA
| n. local wildlife sites | No | Coed Parc-Pierce- Broadleaved woodland, with Alder, Ash and Beech communities. It is a limestone woodland just to the north of Denbigh Quarry to the west of the site | Resolved in response of 04/09/2023
| o. surface water courses (sinks/issues/springs/wells etc.) | No | Pond to the north of the site- Not mentioned in Section 2.1.4 | Resolved in response of 04/09/2023
General notes | Have risks been identified in terms of low, medium or high risk? | Yes
| Have mitigation measures been included? | Yes
| Has the assessment covered both normal and abnormal operating conditions? | Yes
| Does the risk assessment meet what NRW find in their initial screening? | Yes
| Percentage of required information missing | 9.0909 | Where over 25% of responses are no, the document is regarded as incomplete

## FPMP
Fire Prevention and Mitigation Plan (FPMP)
Document reference | DCC.005 Fire Prevention and Mitigation Plan (FPMP) v4.0 |  |  |  | Yes
Time taken | 45 minutes |  |  |  | No
N/A
Guidance | NRW FPMP Guidance No. 16 Fire prevention and mitigation plan - waste management
If this colour; Guidance states that this information MUST be provided
Section | Part | Yes/No/NA | Comments
5. Fire Prevention and Mitigation Plan contents | Is the FPMP produced in accordance with NRW guidance? | Yes
Does the FPMP contain the following:
| The amount and type of waste received daily and how it is managed. | Yes | Table 2-3
| Total amount of waste and types and forms (e.g. unprocessed, shredded etc) stored on site at any one time and how it will be stored | Yes | Tables 2-1, 2-2 and 2-33
| Maximum time each type of waste will be stored on site | Yes | Table 2-3
| Maximum size of any waste stockpile - including length, width and depth | Yes | Table 2-1
| Minimum separation distances used | No | Figure 1-4 has some distances, but this is only for the inside of the main building and not the rest of the site | Resolved in response of 04/09/2023
| Clear area around the perimeter | Yes | Shown on site plans
| Fire prevention techniques used, including management of hotspots, self combustion, monitoring, reporting | No |  | Resolved in response of 04/09/2023
| Techniques used to minimise fire spreading | No |  | Resolved in response of 04/09/2023
| All combustion products and emissions (to air, land and water) including impact on the local community, critical infrastructure and environment). | Yes | Section 6
| Contact details of sensitive receptors within 1km of the site, including human receptors (i.e. hospitals, residential areas, schools) | Yes | Table 7-1
| Environmental receptors within 1km of the site (i.e. source protection, surface water) | Yes | Section 1.4 and Figure 1-8
Does the site plan showing the following:
| where each type of waste is stored | Yes | Figure 1-3
| layout of buildings | Yes | Figure 1-3
| areas where hazardous materials are stored (e.g. gas cylinders, oil and fuel tanks) | No |  | Resolved in response of 04/09/2023
| main access route and any alternative access points | No |  | Resolved in response of 04/09/2023
| location of hydrants and water supplies | Yes | Figure 1-1
| areas of natural and unmade ground | Yes | Figure 1-2
| location of plant, pollution control equipment | No |  | Resolved in response of 04/09/2023
| drainage system, foul and surface water drains, their direction and outfall. | Yes | Figures 1-5, 1-6 and 1-7
| location of drain covers and pollution control measures - e.g. firewater containment system | Yes | Figures 1-5, 1-6 and 1-7
| location of sensitive receptors within 1km of the site including human receptors and environmental receptors. | Yes | Figure 1-8
| designated quarantine area | Yes | Figure 1-1
6. Common causes of fires and preventative measures | Does the FPMP include a list, as per the guidance? | Yes | Table 2-4
7. Storage times and self combustion factors | Is the waste at risk of self combustion? | Yes
| If the waste is at risk of self combustion, and they are proposing to store for more than 3 months - are additional measures included? | N/A | Not proposing to store for more than 3 months- max 28 days, 14 days being the norm
8. Managing waste material stacks | Does the FPMP include how ELVs will be stored? | N/A
10. Baled waste storage | Does the FPMP include how they are reducing the risk of fire occurring within the bales? | No |  | Resolved in response of 04/09/2023
11. Enclosing stacks using bales and walls | Do the bays or walls between the stacks provide fire resistance for 120 mins? | Yes | Section 2.3
| Has evidence of the product specification been included? | Yes | Appendix 7.2
12. Waste stored within a building | Have they included general principals on fire prevention and mitigation? | No |  | Resolved in response of 04/09/2023
13. Waste stored in containers | Does the FPMP include how containers will be moved? | No |  | Resolved in response of 04/09/2023
15. Seasonality and waste stack management | Does the FPMP include information on waste stack management, i.e. the contracts in place to ensure that they have end user outlets. | Yes | Section 2.3.1
16. Monitoring and turning of stacks | Does the FPMP include monitoring that will be carried out? | Yes | Section 3
| Does the FPMP explain what indicators will be used in relation to temperature and moisture content and what action will be taken in relation to these? | Yes | Section 3
17. Fire detection | Does the FPMP include how they will detect fire in early stages? | Yes | Section 4.3
18. Fire suppression systems | If a fire suppression system is proposed, does the FPMP include what type of system it is? | Yes | Section 4.3
19. Firefighting strategy | Does the FPMP include heavy mobile plant available to move waste? | Yes | Section 5
| Does the FPMP include the suitability of the heavy plant? | N/A | Only non-burnt to be moved
| Are trained staff available to move waste? | Yes
20. Water supplies | Has amount of water required for largest stack been calculated? | Yes
| Does the FPMP include where the water supply will come from? | Yes
| Have they included information to demonstrate the hydrant is suitable? | Yes | Not primary source
| If using alternative sources (i.e. river) has information been included to support that this is a reliable source? | n/a
21. Managing water run-off | Does the FPMP include measures to contain fire water run-off? | Yes
| Does the FPMP include calculations to demonstrate how much water can be contained? | No |  | Resolved in response of 04/09/2023
| If firewater is being discharged to sewer, has evidence of approval from the sewage company been included? | N/A
| Have measures to prevent firewater reaching groundwater and surface water been included? | Yes
22. Designated quarantine area | Does the FPMP include a quarantine area? | Yes | Section 4.1
| Does it include separation distances? | Yes | Section 4.1
| Does it state how much waste it can contain? | Yes | Section 4.1
| Is the quarantine area within the permitted boundary? | Yes | Section 4.1
23. During and after an incident | Does the FPMP include contingency measures during and after a fire? i.e. diverting waste, notifying those who may be affected | Yes | Section 5
| Does the FPMP include a plan to notify those who may be affected by the fire? | Yes | Section 1.4
| Does the FPMP include how the site will be cleared and decontaminated? | Yes | Section 5
24. Reviewing and monitoring your FPMP | Does the FPMP include when it will be reviewed? | Yes | Section 1.1 and 5.1.5
| Percentage of required information missing | 19.6078 | Where over 25% of responses are no, the document is regarded as incomplete

## Noise
Noise Impact Assessment and Management Plan
Document reference | DCC.012 Noise Management Plan v2.0 DCC.017 Noise Impact Assessment
Time taken | 75 minutes
Guidance | Noise impact assessments involving calculations or modelling
Section | Part | Yes/No/NA | Comments |  | Yes
NIA | Has the NIA report been produced in line with BS4142? | Yes |  |  | No
Does the NIA include information on the following (as required by Clause 12 of BS4142) | Statement of competency for all persons contributing to the assessment | No | They have stated in 1.1.4 that the author and reviewers are fully accredited members with the Institute of Acoustics. But they haven't stated their competency level or qualifications. | Resolved in response of 04/09/2023 | N/A
| Description of source(s) being assessed, including: - the main sound sources and specific sound - operational times, including operational times of plant - description of site layout and location of main sound sources | No | Glass crushing is not included | Resolved in response of 04/09/2023- glass crushing removed
| Subjective impressions of the specific sound and main sound sources contributing to residual sound | Yes | Section 4.5.1
| Identification of nearest sensitive receptors and description of the existing context, including an assessment of the sensitivity of the receptor, e.g. school, dwelling, office. | Yes | Section 3.4
| Plan showing measurement locations and description including distance from sound source, intervening ground. A justification for the choice of measurement locations should also be included. | No | Section 3.4 and 4.2 (although 4.2 only talks about "A" and not "L1" and "L2") | Resolved in response of 04/09/2023
| Equipment used, including calibrator or pistonphone: - type and/or model; - manufacturer; - serial number; and - details of the latest verification test including dates. | Yes | Section 4.1
| Field calibration test, including meter reading(s) before and after measurements with calibrator | Yes | Section 4.1
| Weather conditions, including wind speed(s) and direction(s), precipitation, temperature, etc | No | Section 4.3.1- but only for the May 2022 measurement at "A". They need to provide this for the measurements at L2, as they have used them in their assessment. | Resolved in response of 04/09/2023
| Date(s) and time(s) of measurements. | No | Section 4.1 and 4.2 - but only for the May 2022 measurement at "A" | Resolved in response of 04/09/2023
| Sound levels and method of determination for: - residual - ambient - specific | No | Residual and ambient haven't been measured as the site isn't operational yet. Specific is predicted from the modelling, but they haven't actually provided the specific level that I can see, only the rating level. The specific should be in the model which we need to ask for. | Resolved in response of 04/09/2023
| Background sound level(s) (LA90) and measurement time interval(s) and, in the case of measurements taken at an equivalent location, the reasons for presuming it to be equivalent. | No | Provided to some extent. However, they have used measurements from 2019 for the background used in the assessment for receptors R2, R3, and R4. They have not however provided all the relevant data from this monitoring, including justification for the typical LA90 chosen (e.g. histogram). They also haven't really justified why the location of L2 is equivalent to R2, R3 and R4. | Resolved in response of 04/09/2023
| Rating level(s) - specific sound level plus any acoustic features of the specific sound | Yes | Section 6.3.8
| Initial impact assessment - excess of the rating level(s) over the measured background sound level(s) | Yes | Section 6.4
| Conclusions of the assessment after taking context into account. | Yes | Section 6.5
| The potential impact of uncertainty | Yes | Section 6.6
Significant adverse impact | Where the NIA concludes significant adverse impact (taking account of context), have mitigation / controls been included to prevent or minimise impact? Have these been quantified in decibels? | N/A | Based on BS4142 the conclusion would be adverse impact is less likely to low impact.
Variation only | Does the NIA consider all the noise resulting from the proposed variation – the existing site and the variation together? Both components should be shown and then added together to give a new total for site noise at the receptors. | N/A | Not a variation
Raw data | Has the following raw data been provided?
| If sound levels have been measured, has the measurement data been provided? | Yes | Sound power levels have been used in the model, these are provided in Table 6.2 and 6.3
| If sound levels have been calculated, have the calculations been provided? | N/A
| If sound levels have been modelled, have the modelling files been provided? And are they in a format we can use? i.e. SoundPlan, CadnA, or .qsi file format. | No | Not provided | Resolved in response of 04/09/2023
| Where modelled, has all relevant numerical data been provided as required guidance on noise impact assessments involving calculations or modelling? | Yes | Other than the model itself
Noise Management Plan | Does the NMP information on the following:
| Commitment to regular review the effectiveness on the NMP | Yes | Section 5
| Commitment to ensure noise control equipment is designed, operated and maintained appropriately | Yes
| Identified sources of noise in normal and abnormal situations | Yes | Section 4.2
| Identified anticipated incidents that may influence noise risk, e.g., weather, breakdowns etc | Yes | Section 4.3
| Appropriate controls (measures) to manage identified risks | Yes | Section 4.2 and 4.3
| Monitoring | Yes | Section 5
| Details of actions, contingencies and responsibilities if problems arise | Yes | Section 5.1
| Procedures in place to avoid serious noise pollution e.g. reducing / ceasing operations | Yes | Section 5
| Engaging with neighbours | Yes | Section 6
| Responding to complaints | Yes | Section 6
| Percentage of required information missing | 27.5862 | Where over 25% of responses are no, the document is regarded as incomplete

## Odour
Odour Management Plan
This checklist is suitable for most waste operations but if your dealing with an application for: - clinical waste you may wish to also consider 'How to comply with your environmental permit additional guidance for clinical waste'. - biowaste treatment you may wish to also consider the following industry guidance document produced by The Composting Association 'an industry guide for the prevention and control of odour at biowaste processing facilities'.
Document reference | DCC.011 Odour Management Plan v2.0 DCC.016 Odour Impact Assessment
Time taken | 30 minutes
Guidance | How to comply with your environmental permit additional guidance for clinical waste
An industry guide for the prevention and control of odour at biowaste processing facilities
Section | Part | Yes/No/NA | Comments |  | Yes
Odour Modelling | Does the application include Odour Modelling? | N/A |  |  | No
Site Overview | Does the OMP provide an overview of site operations? | Yes |  |  | N/A
| Does the OMP include key details: a) operating hours | No |  | Resolved in response of 04/09/2023
| b) activities undertaken on site | Yes | Section 2.4
| c) waste codes | Yes | Section 4.1
| d) daily / annual throughput limit | No | Annual only (section 2.1) | Resolved in response of 04/09/2023
| e) storage quantities (max) for odorous wastes | No |  | Resolved in response of 04/09/2023
Site Setting & Site Plan | a) Does the OMP provide an description of the site location and does this identify key receptors and designations. | Yes | Section 3
| b) Does the OMP contain a site layout plan/s that demonstrates the following: i) North arrow | Yes | Figure 2-1
| ii) Wind rose (can be provided separately) | No
| iii) Scale | Yes | Figure 2-1
| iv) Site Surfacing | Yes | Figure 2-1
| v) All waste storage areas | Yes | Figure 2-1
| vi) Layout of internal waste storage areas | Yes | Figure 2-1
| vii) Monitoring points | No |  | Resolved in response of 04/09/2023
Odour Emissions: Sources, Impacts, and Control and Mitigation Measures | a) Does the OMP appear to consider all odorous wastes (source materials) and odour generating activities (releases) included in the application. | Yes | Section 4
| b) Does the OMP appear to outline all the potential impacts of odour emissions and does this correlate with the sensitive receptors highlighted and outlined in OMP regarding the site setting? | Yes | See Risk Assessment
| c) Does the OMP appear to outline a number or controls or mitigation measures? | Yes | Section 4.2 and 4.3
Monitoring of Odour Emissions | Does the OMP outline how odour emissions are detected during day to day operation? Do the monitoring methods appear to cover all potential sources of odour? | Yes
Complaints Procedure | a) Does the OMP outline a suitable complaints procedure? | Yes | Section 6
| b) Does the OMP outline what will occur in the event of a or multiple complaint/s being received in a short time. This should trigger a review of the current odour controls and whether anything else needs to be implemented. | No |  | Resolved in response of 04/09/2023
Training, Record Keeping and Review of the OMP | a) Does the OMP outline how staff will be trained on the OMP? | No |  | Resolved in response of 04/09/2023
| b) Does the OMP outline how appropriate records will be kept (for example of monitoring, complaints)? | No |  | Resolved in response of 04/09/2023
| c) Does the OMP outline how the records of the monitoring and complaints will be reviewed with the aim of improving operations on site? | No |  | Resolved in response of 04/09/2023
| d) Does the OMP outline how regularly and when the entire OMP will be reviewed? | Yes | Section 5
| Percentage of required information missing | 37.5 | Where over 25% of responses are no, the document is regarded as incomplete

## Dust
Dust Emissions Management Plan
Document reference | DCC.014 Dust Management Plan v2.0
Time taken | 40 minutes
Guidance | n/a
Section | Part | Yes/No/NA | Comments |  | Yes
Site Overview | Does the DEMP provide an overview of site operations? | Yes |  |  | No
| Does the DEMP include key details: a) operating hours | No |  | Resolved in response of 04/09/2023 | N/A
| b) activities undertaken on site | Yes
| c) waste codes | No | Only general reference to waste- no specific waste types have been given. States that glass is not dusty by nature, however operating documents say it will be crushed in its bay. Need confirmation. Also soil | Resolved in response of 04/09/2023
| d) daily / annual throughput limit | Yes
Site Setting and Site Plan | a) Does the DEMP provide an description of the site location and does this identify key receptors and designations? | Yes
| b) Does the DEMP contain a site layout plan/s that demonstrates the following: North arrow | Yes
| Wind rose (can be provided separately) | Yes
| Scale | Yes
| Site Surfacing | Yes
| All waste storage areas | Yes
| Layout of internal waste storage areas | Yes
| Visual monitoring points | Yes
Dust Emissions: Sources, Impacts, and Control and Mitigation Measures | a) Does the DEMP appear to consider all waste types and waste treatment activities that could result in dust emissions from site. | No | Only general reference to waste- no specific waste types have been given. States that glass is not dusty by nature, however operating documents say it will be crushed in its bay. Need confirmation | Resolved in response of 04/09/2023- glass crushing removed
| b) Does the DEMP appear to outline all the potential impacts of DEMP emissions and does this correlate with the sensitive receptors highlighted and outlined in DEMP regarding the site setting? | Yes
| c) Does the DEMP list a range of dust control measure and mitigation measures? | Yes
Monitoring Dust Emissions and Weather Conditions | a) visual monitoring and how dust emissions are detected | No | Some information in section 5, but is still general- doesn't say what is an acceptable level. We would expect all sites to have some kind of formal visual monitoring inspection and designated points should be outlined in the DEMP that considers the site boundary and the duty activities. | Resolved in response of 04/09/2023
| b) How they will monitor the weather conditions | No | Weather conditions are fundamental in regards to the generation and transportation of dust emissions from sites. Operators must have considered how they will consider the weather conditions in DEMP. This is not an assessment of validity of the method but they must have suggested a source (e.g. visual inspection, wind sock, weather reports etc) if not then the DEMP is not duly made. Section 4.3.3 gives wind speed and temp, but does not say how these are known- Need to check | Resolved in response of 04/09/2023
Complaints Procedure | a) Does the DEMP outline a suitable complaints procedure? | Yes | Section 6
| b) Does the DEMP outline what will occur in the event of a or multiple complaint/s being received in a short time. This should trigger a review of the current odour controls and whether anything else needs to be implemented. | Yes | Section 6
Training, Record Keeping and Review of the DEMP | a) Does the DEMP outline how staff will be trained on the DEMP ? | No |  | Resolved in response of 04/09/2023
| b) Does the DEMP outline how appropriate records will be kept (for example of monitoring, complaints)? | No |  | Resolved in response of 04/09/2023
| c) Does the DEMP outline how the records of the monitoring and complaints will be reviewed with the aim of improving operations on site? | No |  | Resolved in response of 04/09/2023
| d) Does the DEMP outline how regularly and when the entire DEMP will be reviewed? | Yes | Section 5
| Percentage of required information missing | 33.3333 | Where over 25% of responses are no, the document is regarded as incomplete

## Pests
Pests Management Plan
Document reference | DCC.013 Pest Management Plan v2.0
Time taken | 30 minutes
Guidance | How to comply with your environmental permit
Control and monitor emissions for your environmental permit - GOV.UK (www.gov.uk)
Fly management: how to comply with your environmental permit Version 1- April 2013
Section | Part | Yes/No/NA | Comments |  | Yes
Site Overview | Does the PMP provide an overview of site operations? | Yes | Section 2 |  | No
| Does the PMP include key details: a) operating hours | No |  | Resolved in response of 04/09/2023 | N/A
| b) activities undertaken on site | Yes
| c) waste codes | Yes | Limited to the wastes that could attract pests
| d) daily / annual throughput limit | Yes
Site Setting | Does the PMP provide an description of the site location and does this identify key receptors and designations that would be relevant to pests such as human receptors. | Yes
Site Plan | Is there a site plan present in the PMP? | Yes
| Does it contain the following: 1) North arrow | Yes
| 2) Scale | Yes
| 3) All waste storage areas | Yes
| 4) Layout of internal waste storage areas | Yes
| 5) Monitoring points | Yes
Sources of pests | Does the PMP appear to consider all wastes and activities included in the application that could cause/attract pests? | Yes | Section 3.1
Wider contents: Does the PMP include sections that discuss the following: | a) monitoring and how pests are detected | Yes | Section 4
| b) pest control or mitigation measures Does the PMP contain any appropriate measures? How to comply gives possible appropriate measures to reduce pest problems as: - regular inspections by nominated personnel - isolation and securing/removal of wastes that are attracting scavengers or flies - employing professional pest controllers, either directly or by contract - effective scaring or other deterrent methods - netting | Yes | Section 3 and 4
| c) how they will handle complaints and the how they will respond | Yes | Section 5
| d) how the PMP will be reviewed following an incident or high number of complaints | Yes | Section 4
| e) how staff will be trained on contents of plan? | Yes | Section 4
Flies | Has Table 4. On site and Pest Management Plan (PMP) assessment – Template check list for Waste Sites been completed/referenced? | Yes | Relevant sections have been included in the PMP
| 1. Ensure that staff are trained in key areas, for example the significance of flies, using control techniques and waste rejection procedures. | Yes | Section 3
| 2. Monitor fly numbers and the extent of breeding sites. | Yes | Section 3
| 3. Select and implement the most appropriate long-term fly prevention methods, such as drying or removing manure, confining or covering waste materials, and using predators. | Yes | Section 3
| 4. Select appropriate insecticidal fly control techniques, bearing in mind the need to minimise the impact of resistance, and the impact on beneficial organisms. | Yes | Section 3
| 5. Decide the trigger level in fly populations for pesticide treatments, based on the timing of fly complaints from neighbours. | Yes | Section 3
| 6. Regularly review effectiveness of the fly control methods. | Yes | Section 3, 4
| Percentage of required information missing | 4 | Where over 25% of responses are no, the document is regarded as incomplete