Site Condition Report evaluation form
	Applicant
	Denbighshire County Council

	Permit reference
	PAN-020465

	Address
	Colomendy Waste Transfer Station, Denbighshire County Council, Waste Recycling Centre, Graig Road, Denbigh, LL16 5US

	Grid reference
	SJ 05395 67429

	Activity Type
	Household, industrial, commercial waste transfer station

	Site Condition Report document reference, date and version number
	DCC.001 Site Condition Report 1 dated 13/01/23

DCC.001 Site Condition Report 2 dated 13/01/23

DCC.001 Site Condition Report 3 dated 13/01/23

DCC.001 Site Condition Report 4 dated 13/01/23

DCC.001 Site Condition Report (Appendix C) dated 04/09/23

DCC.001 Site Condition Report (Appendix D) dated 04/09/23

DCC.001 Site Condition Report (Report Only) dated 04/09/23


	1.0 Site details (Source)

	Has the applicant provided the following information as required by the application SCR template?
	Response 

	Site plans showing site layout, drainage, surfacing, receptors, sources of emissions/releases and monitoring points
	See DCC.001 Site Condition Report (Report Only) dated 04/09/23:

· Figure 001 – Site Location Plan (Eunomia, 2022) 

· Figure 002 – Environmental Permit Boundary and Site Layout (Denbighshire County Council, 2022) 

· Figure 002b – Site Drainage Plan (Denbighshire County Council, 2022) 

· Figure 003 – Sources, Pathways and Receptors Plan (Eunomia, 2022). 

Also additional application site plans:
· DCC.007a Site Layout Plan

· DCC.007b Site Location Plan.jpg

· DCC.021 Site Drainage Plan

· DCC.022 Emergency Equipment Locations & Emergency Vehicle Tracking Plan

· DCC.023 Firewater Containment Plan

· DCC.024 Site Surfacing Plan

· DCC.025 Waste Material Location Plan


	2.0 Condition of the land at permit issue (Receptor)

	Has the applicant provided the following information as required by the application SCR template?
	Response 

	a) Environmental setting including geology, hydrogeology and surface waters

b) Pollution history including:

· pollution incidents that may have affected land

· historical land-uses and associated contaminants

· visual/olfactory evidence of existing contamination

· evidence of damage to existing pollution prevention measures

c) Evidence of historic contamination (i.e. historical site investigation, assessment, remediation and verification reports (where available)

d) Has the applicant chosen to collect baseline reference data?
	a) See section 2.2 of DCC.001 Site Condition Report (Report Only) dated 04/09/23

b) See section 2.2 of DCC.001 Site Condition Report (Report Only) dated 04/09/23- site is greenfield, no onsite pollution recorded

c) See section 2.2 of DCC.001 Site Condition Report (Report Only) dated 04/09/23- site is greenfield, no onsite pollution recorded

d) “Full details of the ground investigation by Daear are provided in two geotechnical reports prepared for the Site (Appendix C and Appendix D)”
The baseline data has been reviewed by the Geoscience team: “Soil sampling data available for the site comprises of four samples taken from only two locations within the proposal boundary, collected during an intrusive investigation in January 2019. No groundwater samples have been taken for laboratory analysis. This data would not be considered sufficient to characterise the entire site, therefore it would be reasonable to assume a baseline of 0.”

Referenced documents:

· Appendix A – Envirocheck Report

· Appendix B – H1 Environmental Risk Assessment

· Appendix C – Plot 1 Geotechnical Report

· Appendix D – Plot 1; Supplementary Ground Investigation & Geotechnical Report.


	3.0 Permitted activities (Source)

	Has the applicant provided the following information as required by the application SCR template?
	Response 

	a) Permitted activities

b) Non-permitted activities undertaken at the site
	a) Information on permitted activities provide in section 2.3 of DCC.001 Site Condition Report (Report Only) dated 04/09/23

b) Non-permitted activities are given as storage of waste collection vehicles only

Referenced documents:

· Figure 001 – Site Location Plan (Eunomia, 2022)

· Figure 002 – Environmental Permit Boundary and Site Layout (Denbighshire County Council, 2022)

· Figure 002b – Site Drainage Plan (Denbighshire County Council, 2022)

· Figure 003 – Sources, Pathways and Receptors Plan (Eunomia, 2022).

· Appendix B – H1 Summary Environmental Risk Assessment (Eunomia, 2023)

· DCC.002 Environmental Risk Assessment V3.1


	3.0(a) Environmental Risk Assessment (Source)

	The H1 environmental risk assessment should identify elements that could impact on land and waters, cross- referenced back to documents and plans provided as part of the wider permit application.
	Document: DCC.002 Environmental Risk Assessment V3.1

Comprehensive risk assessment that addresses risks from the activities. Also dedicated management plans have been provided for dust, odour, noise and fire.


	3.0(b) Will the pollution prevention measures protect land and groundwater? (Conceptual model)

	Are the activities likely to result in pollution of land? 
	No, infrastructure and processes in place to prevent pollution of land.

	For dangerous and/or hazardous substances only, are the pollution prevention measures for the relevant activities to a standard that is likely to prevent pollution of land?
	No, infrastructure and processes in place to prevent pollution of land from hazardous substances.


	Application Site Condition Report decision summary 
	Complete all that apply

	Sufficient information has been supplied to describe the condition of the site at permit issue.
	X

	Information is missing- the following information must be obtained from the applicant.
	

	Pollution of land and water is unlikely- pollution prevention measures just need to be reviewed during operation of the site
	X

	Pollution of land and water is likely
	

	Historical contamination is present- advise operator that collection of background data may be appropriate 
	

	Date and name of reviewer
	Hannah Briggs (Specialist Advisor- Contaminated Land) 25/09/2023

Louise Bailey (Permitting Officer) 26/09/2023


	
	
	
	


	Doc No 233_06
	Version 6
	Last printed 26/9/2023
	Page 3 of 3


[image: image1.png]




