
[image: image1.jpg]Cyfoeth
Naturiol
Cymru

Natural
Resources
Wales



Environmental permitting: handover form
To: SE.waste.queries@cyfoethnaturiolcymru.gov.uk 
Jak Rose, Jodie Baskerville
Permit details

	Permit number
	EPR/DB3090FA

	Waste returns reference
	EPR/DB3090FA

	Operator name
	Recover Blaenavon Limited

	Facility name
	Recover Blaenavon Ltd, Kays & Kears Industrial Estate, Blaenavon, Pontypool, NP4 9AZ

	Facility type 
	Waste operation

	Determination date
	27/09/2023

	Determining officer
	Louise Bailey


! Important  The permit/notice and all related documents (including any pre-application discussions) are saved on the DMS.  Read this handover document along with them.  When you’re deciding how to focus compliance effort pay particular attention to the following things in the permit:

· any pre-operational conditions

· any improvement conditions 
· operating techniques.
Priority compliance issues

	Compliance Issue
	Related conditions in the permit

	Application documents have been incorporated into the permit via Table S1.2 - Operating Techniques, of the permit.
These include:

· Risk Assessment (CAP_Environmental_RA_final_v3_May 23)
· Fire Prevention and Mitigation Plan- site plan (FPMP_site plan_v3 May 23
· Groundwater Risk Assessment (CAP_Groundwater RA_v1_May 23)
· Noise Impact Assessment (22-475 Recover Blaenavon - Noise Assessment for NRW Permit v5)
· Environmental Management System (CAP_Environmental Management System_v4_Aug 23) 
· Noise Management Plan  (CAP_NMP_consolidated_v2_Aug 23)
· Fire Prevention and Mitigation Plan (CAP_FPMP_v4 Aug 23)
	Condition 2.3 Operating techniques
Condition 3.1 Emissions of substances not controlled by emission limits
Condition 3.2 Odour
Condition 3.3 Noise and vibration
Condition 3.4 Pests
Condition 3.5 Fire
Table S1.2 Operating techniques

	We have imposed an improvement condition to ensure that noise monitoring must be completed within 6 months of permit issue to confirm that the noise modelling and the conclusions within the Noise Impact Assessment and Noise Management Plan are correct/satisfactory.
	Condition 2.5 Improvement programme
Table S1.3 Improvement programme requirements

	Operations cannot commence until the noise structure as specified in the Noise Impact Assessment and Noise Management Plan has been constructed. This is to manage the risk of noise to an acceptable level.
	Condition 2.6 Pre-operational conditions
Table S1.4  Pre-operational measures


	
	
	
	Page 1 of 2



