[image: image1.png]Cyfoeth
Naturiol
Cymru

Natural
Resources
Wales



Fire prevention
Permit with introductory note

The Environmental Permitting (England & Wales) Regulations 2016
ReCover Blaenavon Limited
Recover Blaenavon Ltd

Kays & Kears Industrial Estate

Blaenavon

Pontypool
NP4 9AZ

Permit number

EPR/DB3090FA
Recover Blaenavon Ltd
Permit number EPR/DB3090FA
Introductory note

This introductory note does not form a part of the permit

The main features of the permit are as follows. 

This is a Tier 3 bespoke permit for a non-hazardous waste physical treatment facility.

Treatment operations are limited to manual and/or mechanical sorting, separation, shredding, heating, cooling and drying of plastic wastes for the purpose of recovery only.

Permitted waste types are limited to pre-segregated and baled plastic waste only.

The maximum quantity of waste accepted and processed on site shall not exceed 20,000 tonnes per year.

This permit does not allow any point source emission into surface waters or groundwater except:

· clean, rainfall dependant drainage from areas of the site not used in connection with the storage and/or treatment of waste

· run-off from the impermeable surface from external areas of the site used to store and/or treat waste to foul sewer.
There are to be no emissions to surface and/or groundwater from the buildings on site.

All emissions from the activity which are not controlled via actual emission limits, are controlled through the ‘emission of substances not controlled by emission limits condition’ and any relevant process requirements set out in Tables S1.1 and S1.2.
A pre-operational condition has been set so that operations cannot commence until the noise fencing as specified in the Noise Impact Assessment and Noise Management Plan has been constructed. This is to manage the risk of noise to an acceptable level.

An improvement condition has been set to ensure that noise monitoring must be completed within 6 months of permit issue to confirm that the noise modelling and the conclusions within the Noise Impact Assessment and Noise Management Plan are correct.

The burning of any wastes, either in the open, inside buildings or in any form of incinerator is not permitted.
The status log of the permit sets out the permitting history, including any changes to the permit reference number.
	Status log of the permit

	Description
	Date
	Comments

	Application EPR/DB3090FA/A001
	Duly made 27/02/23
	Application for non-hazardous waste physical treatment facility.

	Additional information received
	22/05/23
	Schedule 5 response consisting of:

· Groundwater risk assessment (CAP_Groundwater RA_v1_May 23)
· Updated Fire Prevention & Mitigation Plan (CAP_FPMP_v3 May 23) and site plan (FPMP_site plan_v3 May 23)

· Updated Risk Assessment (CAP_Environmental_RA_final_v3_May 23)
· Updated Environmental Management System (CAP_Environmental Management System_v3_May 23, Recycling Lives_REACH Statement and Recycling Lives_Restricted Substances Statement)

	
	09/06/23
	Schedule 5 response consisting of:

· Updated Noise Impact Assessment (CAP_NIA_Revised Monitoring_v1)
· Updated Noise Management Plan (CAP_NMP_consolidated_v1_May 23)

· Noise modelling files (Recover Blaenavon - Verification Model)

	
	17/07/23
	Schedule 5 response consisting of:

· Updated Noise Impact Assessment (CAP_NIA_revised monitoring_v2_july 23)

· Additional information on noise (INacoustic responses)

	
	16/08/23
	Schedule 5 response consisting of:

· Updated Noise Impact Assessment (22-475 Recover Blaenavon - Noise Assessment for NRW Permit v5)x

	
	17/08/23
	Schedule 5 response consisting of:

· Updated Noise modelling files (Recover Blaenavon - Verification Model - with mitigation and Recover Blaenavon - Verification Model - no barrier)

	
	21/08/23
	Schedule 5 response consisting of:

· Updated Environmental Management System (CAP_Environmental Management System_v4_Aug 23)

· Updated Noise Management Plan (CAP_NMP_consolidated_v2_Aug 23)

· Updated Fire Prevention & Mitigation Plan (CAP_FPMP_v4 Aug 23)

	
	23/08/23
	Updated technical competence information. 

	Permit determined
	27/09/23
	Permit issued to ReCover Blaenavon Limited.


End of introductory note

	Permit


The Environmental Permitting (England and Wales) Regulations 2016
Permit number 

EPR/DB3090FA
The Natural Resources Body for Wales (“Natural Resources Wales”) authorises, under regulation 13 of the Environmental Permitting (England and Wales) Regulations 2016 
ReCover Blaenavon Limited (“the operator”),

whose registered office is
Holland Place Wardentree Park

Pinchbeck

Spalding

Lincolnshire

England

PE11 3ZN

company registration number 08786986 
to operate waste operations at

Recover Blaenavon Ltd

Kays & Kears Industrial Estate

Blaenavon

Pontypool
NP4 9AZ

	Name
	Date

	Holly Noble
	27/09/2023


Authorised on behalf of Natural Resources Wales
Conditions 
1 Management
1.1 General management

1.1.1 The operator shall manage and operate the activities:

(a) in accordance with a written management system that identifies and minimises risks of pollution, including those arising from operations, maintenance, accidents, incidents, non-conformances, closure and those drawn to the attention of the operator as a result of complaints; and

(b) using sufficient competent persons and resources.

1.1.2 Records demonstrating compliance with condition 1.1.1 shall be maintained. 

1.1.3 Any person having duties that are or may be affected by the matters set out in this permit shall have convenient access to a copy of it.

1.1.4 The operator shall comply with the requirements of an approved competence scheme.

1.2 Avoidance, recovery and disposal of wastes produced by the activities
1.2.1 The operator shall take appropriate measures to ensure that:

(a) the waste hierarchy referred to in Article 4 of the Waste Framework Directive is applied to the generation of waste by the activities; and

(b) any waste generated by the activities is treated in accordance with the waste hierarchy referred to in Article 4 of the Waste Framework Directive; and

(c) where disposal is necessary, this is undertaken in a manner which minimises its impact on the environment.

1.2.2 The operator shall review and record at least every four years whether changes to those measures should be made and take any further appropriate measures identified by a review.

2
Operations
2.1
Permitted activities

2.1.1
The operator is only authorised to carry out the activities specified in schedule 1 table S1.1 (the “activities”).
2.2
The site 

2.2.1
The activities shall not extend beyond the site, being the land shown edged in green on the site plan at schedule 7 to this permit.

2.3
Operating techniques

2.3.1
(a) 
The activities shall, subject to the conditions of this permit, be operated using the 


techniques and in the manner described in the documentation specified in 
schedule 1, table S1.2, unless otherwise agreed in writing by Natural Resources Wales.


(b)
If notified by Natural Resources Wales that the activities are giving rise to pollution, the operator shall submit to Natural Resources Wales for approval within the period specified, a revision of any plan or other documentation (“plan”) specified in schedule 1, table S1.2 or otherwise required under this permit which identifies and minimises the risks of pollution relevant to that plan , and shall implement the approved revised plan in place of the original from the date of approval, unless otherwise agreed in writing by Natural Resources Wales.
2.3.2
Waste shall only be accepted if:

(a)
it is of a type and quantity listed in schedule 2 table(s) S2.1 [, S2.2 etc.]; and 

(b)
it conforms to the description in the documentation supplied by the producer and holder.

2.4
Improvement programme

2.4.1 
The operator shall complete the improvements specified in schedule 1 table S1.3 by the date specified in that table unless otherwise agreed in writing by Natural Resources Wales.

2.4.2
Except in the case of an improvement which consists only of a submission to Natural Resources Wales, the operator shall notify Natural Resources Wales within 14 days of completion of each improvement.
2.5
Pre-operational conditions

2.5.1
The activities shall not be brought into operation until the measures specified in schedule 1 table S1.4 have been completed.
3
Emissions and monitoring
3.1 
Emissions of substances not controlled by emission limits
3.1.1 
Emissions of substances not controlled by emission limits (excluding odour) shall not cause pollution. The operator shall not be taken to have breached this condition if appropriate measures, including, but not limited to, those specified in any approved emissions management plan, have been taken to prevent or where that is not practicable, to minimise, those emissions.

3.1.2
The operator shall:

(a)
if notified by Natural Resources Wales that the activities are giving rise to pollution, submit to Natural Resources Wales for approval within the period specified, an emissions management plan which identifies and minimises the risks of pollution from emissions of substances not controlled by emission limits;

(b)
implement the approved emissions management plan, from the date of approval, unless otherwise agreed in writing by Natural Resources Wales.

3.1.3
All liquids in containers, whose emission to water or land could cause pollution, shall be provided with secondary containment, unless the operator has used other appropriate measures to prevent or where that is not practicable, to minimise, leakage and spillage from the primary container.

3.2
Odour

3.2.1
Emissions from the activities shall be free from odour at levels likely to cause pollution outside the site, as perceived by an authorised officer of Natural Resources Wales, unless the operator has used appropriate measures, including, but not limited to, those specified in any approved odour management plan, to prevent or where that is not practicable to minimise the odour. 

3.2.2
The operator shall:

(a)
if notified by Natural Resources Wales that the activities are giving rise to pollution outside the site due to odour, submit to Natural Resources Wales for approval within the period specified, an odour management plan which identifies and minimises the risks of pollution from odour;

(b)
implement the approved odour management plan, from the date of approval, unless otherwise agreed in writing by Natural Resources Wales.
3.3
Noise and vibration
3.3.1
Emissions from the activities shall be free from noise and vibration at levels likely to cause pollution outside the site, as perceived by an authorised officer of Natural Resources Wales, unless the operator has used appropriate measures, including, but not limited to, those specified in any approved noise and vibration management plan to prevent or where that is not practicable to minimise the noise and vibration.

3.4
Pests

3.4.1 
The activities shall not give rise to the presence of pests which are likely to cause pollution, hazard or annoyance outside the boundary of the site. The operator shall not be taken to have breached this condition if appropriate measures, including, but not limited to, those specified in any approved pests management plan, have been taken to prevent or where that is not practicable, to minimise the presence of pests on the site.  

3.4.2 
The operator shall:
(a)
if notified by Natural Resources Wales, submit to Natural Resources Wales for approval within the period specified, a pests management plan which identifies and minimises risks of pollution, hazard or annoyance from pests;
(b)
implement the pests management plan, from the date of approval, unless otherwise agreed in writing by Natural resources Wales.
3.5
Fire

3.5.1
The operator shall manage and operate the activities in accordance with a written fire prevention and mitigation plan using the current, relevant fire prevention and mitigation plan guidance.

3.5.2
The operator shall:

(a) 
if notified by Natural Resources Wales that the activities could cause a fire risk, submit to Natural Resources Wales a fire prevention and mitigation plan which identifies and minimises the risks of fire;

(b)
Operate the activity in accordance with the fire prevention and mitigation plan, from the date of submission, unless otherwise agreed in writing by Natural Resources Wales.

4
Information

4.1
Records
4.1.1 All records required to be made by this permit shall:

(a) be legible;

(b) be made as soon as reasonably practicable;

(c) if amended, be amended in such a way that the original and any subsequent amendments remain legible, or are capable of retrieval; and
(d) be retained, unless otherwise agreed in writing by Natural Resources Wales, for at least 6 years from the date when the records were made, or in the case of the following records until permit surrender:

(i) off-site environmental effects; and
(ii) matters which affect the condition of the land and groundwater.

4.1.2 The operator shall keep on site all records, plans and the management system required to be maintained by this permit, unless otherwise agreed in writing by Natural Resources Wales. 

4.2
Reporting
4.2.1
The operator shall send all reports and notifications required by the permit to Natural Resources Wales using the contact details supplied in writing by Natural Resources Wales.
4.2.2
Within one month of the end of each quarter, the operator shall submit to Natural Resources Wales using the form made available for the purpose, the information specified on the form relating to the site and the waste accepted and removed from it during the previous quarter.
4.3
Notifications
4.3.1
Natural 
Resources Wales shall be notified without delay following the detection of:

(a) any malfunction, breakdown or failure of equipment or techniques, accident, or emission of a substance not controlled by an emission limit which has caused, is causing or may cause significant pollution;

(b) the breach of a limit specified in the permit; or any significant adverse environmental effects.
(c) any significant adverse environmental effects. 
4.3.2
Any information provided under condition 4.3.1 shall be confirmed by sending the information listed in schedule 5 to this permit within the time period specified in that schedule.

4.3.3
Where Natural Resources Wales has requested in writing that it shall be notified when the operator is to undertake monitoring and/or spot sampling, the operator shall inform Natural Resources Wales when the relevant monitoring and/or spot sampling is to take place. The operator shall provide this information to Natural Resources Wales at least 14 days before the date the monitoring is to be undertaken.

4.3.4
Natural Resources Wales shall be notified within 14 days of the occurrence of the following matters, except where such disclosure is prohibited by Stock Exchange rules: 

Where the operator is a registered company:

(a) any change in the operator’s trading name, registered name or registered office address; and
(b)
any steps taken with a view to the operator going into administration, entering into a company voluntary arrangement or being wound up.

Where the operator is a corporate body other than a registered company:

(a) any change in the operator’s name or address; and

(b) any steps taken with a view to the dissolution of the operator.



In any other case: 

(a) the death of any of the named operators (where the operator consists of more than one named individual);

(b) any change in the operator’s name(s) or address(es); and

(c) any steps taken with a view to the operator, or any one of them, going into bankruptcy, entering into a composition or arrangement with creditors, or, in the case of them being in a partnership, dissolving the partnership.

4.3.5
Where the operator proposes to make a change in the nature or functioning, or an extension of the activities, which may have consequences for the environment and the change is not otherwise the subject of an application for approval under the Regulations or this permit:

(a) Natural Resources Wales shall be notified at least 14 days before making the change; and

(b) the notification shall contain a description of the proposed change in operation.

4.4
Interpretation
4.4.1
In this permit the expressions listed in schedule 6 shall have the meaning given in that schedule.
4.4.2
In this permit references to reports and notifications mean written reports and notifications, except where reference is made to notification being made “without delay”, in which case it may be provided by telephone. 

Schedule 1 - Operations

	Table S1.1 activities 

	Activity reference
	Description of activities for waste operations
	Limits of activities

	A1- 
non-hazardous waste physical treatment facility
	R13: Storage of waste pending any of the operations numbered R1 to R12 (excluding temporary storage, pending collection, on the site where it is produced)

R3: Recycling/ reclamation of organic substances which are not used as solvents 
R4: Recycling/reclamation of metals and metal compounds
R5: Recycling/ reclamation of other inorganic compounds
	All waste must be stored and treated on an impermeable surface with sealed drainage to foul sewer.

All waste must be treated within a building.

Treatment operations shall be limited to: 
· manual sorting and separation
· mechanical shredding 

· mechanical separation by use of magnet

· mechanical heat treatment to remove contamination and form pellets of permitted waste 
· mechanical cooling via water and drying via shaking

for the purpose of recovery.

Waste types as specified in Table S2.1.

	
	Discharge of integral site drainage (process effluent) from the emission points indicated on Fire Prevention and Mitigation Plan- site plan (Document reference: FPMP_site plan_v3 May 23) as incorporated in Table S1.2 of this permit.
	Drainage consisting solely of:

· clean, rainfall dependant drainage from areas of the site not used in connection with the storage and/or treatment of waste
· run-off from the impermeable surface from external areas of the site used to store and/or treat waste to foul sewer.

No visible oil or grease shall be present in the discharge.

There shall be no discharge from the buildings on site used to store and/or treat waste.


	Table S1.2 Operating techniques

	Description
	Parts
	Date Received

	Technical Guidance Document: ‘How to comply with your environmental permit’
	All relevant sections
	N/A

	Sector Guidance Note IPPC S5.06: Guidance for the Recovery and Disposal of Hazardous and Non Hazardous Waste
	All relevant sections
	N/A

	Fire prevention and mitigation plan guidance - Waste Management
	All relevant sections
	N/A

	Response to Schedule 5 Notice dated 04/05/23 and 13/07/23
	Risk Assessment

Document reference: CAP_Environmental_RA_final_v3_May 23

Sections:

· Risk Management methods for Dust from waste processing activities

· Risk Management methods for Dust from vehicle movements

· Risk Management methods for Flood water and contaminated surface water runoff

· Risk Management methods for Litter deposits within waste loads or on Site.

· Risk Management methods for Leak from the oil / diesel storage areas on Site (including overfilling, vandalism etc.)
	22/05/23

	
	Fire Prevention and Mitigation Plan- site plan

Document reference: FPMP_site plan_v3 May 23
	22/05/23

	
	Groundwater Risk Assessment

Document reference: CAP_Groundwater RA_v1_May 23

Sections:

· all 
	22/05/23

	
	Noise Impact Assessment

Document reference: 22-475 Recover Blaenavon - Noise Assessment for NRW Permit v5

Sections:

· 8.2. Best Available Technology

· 9.1. Screening
	16/08/23

	
	Environmental Management System

Document reference: CAP_Environmental Management System_v4_Aug 23

Sections:

· Site Operations- Pre-acceptance Procedures

· Site Operations- Acceptance procedures and Duty of Care

· Site Operations- Rejection procedures

· Site Operations- Quarantine procedures

· Site Operations- Storage parameters

· Operational Procedures

· Monitoring and Emissions Regime- Dust and litter

· Monitoring and Emissions Regime- Litter

· Other monitoring parameters- Control of pests

· Accident and Incident Plan- secondary actions
	21/08/23

	
	Noise Management Plan 

Document reference: CAP_NMP_consolidated_v2_Aug 23

Sections:

· all
	21/08/23

	
	Fire Prevention and Mitigation Plan

Document reference: CAP_FPMP_v4 Aug 23

Sections:

· all 
	21/08/23


	Table S1.3 Improvement programme requirements

	Reference
	Requirement
	Date

	IPC1
	The Operator shall undertake noise monitoring to assess the risk at the nearest sensitive receptors as identified in the Noise Impact Assessment (Document reference: 22-475 Recover Blaenavon - Noise Assessment for NRW Permit v5) and Noise Management Plan (Document reference: CAP_NMP_consolidated_v2_Aug 23) in Table S1.2 of this permit. 

This shall include: 

· A full noise monitoring survey and assessment meeting the BS4142:2014+A1:2019 standard. 

Upon completion of the survey, a written report shall be submitted to Natural Resources Wales for approval. The report shall refer to the predictions in the report provided with the permit application. If rating levels likely to cause an impact at sensitive receptors are detected, the report shall include an assessment of the most suitable abatement techniques, an estimate of the cost and a proposed timetable for their installation on site.
	6 months after operations commencing (see PO1) or as otherwise agreed in writing with Natural Resources Wales


	Table S1.4  Pre-operational measures

	Reference
	Pre-operational measures

	PO1
	The operator can only commence permitted activities once:

a. the noise structure as referred to in the Noise Impact Assessment (Document reference: 22-475 Recover Blaenavon - Noise Assessment for NRW Permit v5) and Noise Management Plan (Document reference: CAP_NMP_consolidated_v2_Aug 23) has been constructed; and

b. NRW has been notified of this in writing; and
c. NRW has given written approval that permitted activities can commence.


Schedule 2 - Waste types, raw materials and fuels

	Table S2.1 Permitted waste types and quantities for a non-hazardous waste physical treatment facility

	Maximum quantity
	The maximum quantity of waste to be accepted on site shall not exceed 20,000 tonnes per year.

	Exclusions
	Notwithstanding the waste types set out in this table, wastes having any of the following characteristics shall not be accepted:

· consisting solely or mainly of dusts, powders, or loose fibres

· liquids

· sludges
· odorous or odour producing
· hazardous

	Waste code
	Description

	15
	WASTE PACKAGING, ABSORBENTS, WIPING CLOTHS, FILTER MATERIALS AND PROTECTIVE CLOTHING NOT OTHERWISE SPECIFIED

	15 01
	packaging (including separately collected municipal packaging waste)

	15 01 02
	plastic packaging consisting of pre-segregated, baled waste only

	20
	MUNICIPAL WASTES (HOUSEHOLD WASTE AND SIMILAR COMMERCIAL, INDUSTRIAL AND INSTITUTIONAL WASTES) INCLUDING SEPARATELY COLLECTED FRACTIONS

	20 01
	separately collected fractions (except 15 01)

	20 01 39
	plastics consisting of pre-segregated, baled waste only


Schedule 3 – Emissions and monitoring

There are no emission limits or associated monitoring requirements.
Schedule 4 - Reporting

There is no reporting under this schedule.
Schedule 5 - Notification
These pages outline the information that the operator must provide.
Units of measurement used in information supplied under Part A and B requirements shall be appropriate to the circumstances of the emission. Where appropriate, a comparison should be made of actual emissions and authorised emission limits.

If any information is considered commercially confidential, it should be separated from non-confidential information, supplied on a separate sheet and accompanied by an application for commercial confidentiality under the provisions of the EP Regulations.
Part A
	Permit Number
	

	Name of operator
	

	Location of Facility
	

	Time and date of the detection 
	


	(a) Notification requirements for any malfunction, breakdown or failure of equipment or techniques, accident, or emission of a substance not controlled by an emission limit which has caused, is causing or may cause significant pollution

	To be notified within 24 hours of detection

	Date and time of the event
	

	Reference or description of the location of the event 
	

	Description of where any release into the environment took place
	

	Substances(s) potentially released
	

	Best estimate of the quantity or rate of release of substances
	

	Measures taken, or intended to be taken, to stop any emission
	

	Description of the failure or accident.
	


	(b) Notification requirements for the breach of a limit

	To be notified within 24 hours of detection unless otherwise specified below

	Emission point reference/ source
	

	Parameter(s)
	

	Limit
	

	Measured value and uncertainty
	

	Date and time of monitoring
	

	Measures taken, or intended to be taken, to stop the emission
	


	Time periods for notification following detection of a breach of a limit

	Parameter
	Notification period

	
	

	
	

	
	


	(c) Notification requirements for the detection of any significant adverse environmental effect

	To be notified within 24 hours of detection

	Description of where the effect on the environment was detected
	

	Substances(s) detected
	

	Concentrations of substances detected
	

	Date of monitoring/sampling
	


Part B - to be submitted as soon as practicable
	Any more accurate information on the matters for notification under Part A.
	

	Measures taken, or intended to be taken, to prevent a recurrence of the incident
	

	Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment which has been or may be caused by the emission
	

	The dates of any unauthorised emissions from the facility in the preceding 24 months.
	


	Name*
	

	Post
	

	Signature
	

	Date
	


* authorised to sign on behalf of the operator

Schedule 6 - Interpretation 

“accident” means an accident that may result in pollution.
“Annex II” means Annex II to Directive 2008/98/EC of the European Parliament and of the Council on waste.

“application” means the application for this permit, together with any additional information supplied by the operator as part of the application and any response to a notice served under Schedule 5 to the EP Regulations.

“authorised officer” means any person authorised by Natural Resources Wales under section 108(1) of The Environment Act 1995 to exercise, in accordance with the terms of any such authorisation, any power specified in section 108(4) of that Act.

“building” means a construction that has the objective of providing sheltering cover and minimising emissions of noise, particulate matter, odour and litter.

“emissions to land” includes emissions to groundwater.
“emissions of substances not controlled by emission limits” means emissions of substances to air, water or land from the activities, either from the emission points specified in schedule 3 or from other localised or diffuse sources, which are not controlled by an emission or background concentration limit.
“EP Regulations” means The Environmental Permitting (England and Wales) Regulations SI 2016 No.1154 and words and expressions used in this permit which are also used in the Regulations have the same meanings as in those Regulations.

“groundwater” means all water, which is below the surface of the ground in the saturation zone and in direct contact with the ground or subsoil.

“groundwater protection zones 1 and 2” have the meaning given in the document titled "Groundwater Protection: Policy and Practice" published by the Environment Agency in 2006.

“hazardous property” has the meaning in Annex lll of the Waste Framework Directive  

“hazardous substance” means a substance classified as hazardous as a consequence of fulfilling the criteria laid down in parts 2 to 5 of Annex I to Regulation (EC) No 1272/2008

“hazardous waste” has the meaning given in the Hazardous Waste (Wales) Regulations 2005 (as amended)
“impermeable surface” means a surface or pavement constructed and maintained to a standard sufficient to prevent the transmission of liquids beyond the surface.

“Pests” means Birds, Vermin and Insects.

“quarter” means a calendar year quarter commencing on 1 January, 1 April, 1 July or 1 October.

“R” means a recovery operation provided for in Annex II to Directive 2008/98/EC of the European Parliament and of the Council on waste. 
“waste code” means the six digit code referable to a type of waste in accordance with the list of wastes established by Commission Decision 2000/532/EC as amended from time to time (the ‘List of Wastes Decision’) and in relation to hazardous waste, includes the asterisk.

“Waste Framework Directive” or “WFD” means Waste Framework Directive 2008/98/EC of the European Parliament and of the Council on waste.
“year” means calendar year ending 31 December.
Schedule 7 - Site plan

[image: image2.png]N~

GARN ROAD

OAD
esTATES
ESTATE ROAD

y \
Kays and Kears
\ Y

Industil \esé‘aze





© Crown Copyright and database right 2023. Ordnance Survey licence number 100019741.

END OF PERMIT

Permit Number
Page 5
Issue Date: 

EPR/DB3090FA/A001

27/09/2023
ii
Permit Number
Page 1
Issue Date:
EPR/DB3090FA/A001

27/09/2023

