


Schedule 6 - Notification 
These pages outline the information that the operator must provide. 
Units of measurement used in information supplied under Part A and B requirements shall be appropriate to the circumstances of the emission. Where appropriate, a comparison should be made of actual emissions and authorised emission limits.
If any information is considered commercially confidential, it should be separated from non-confidential information, supplied on a separate sheet and accompanied by an application for commercial confidentiality under the provisions of the EP Regulations.
Part A 
	Permit Number
	GP3030BE

	Name of operator
	Tata Steel UK Limited

	Location of Facility
	Shotton Works Landfill

	Time and date of the detection 
	10/08/2023



	(a) Notification requirements for any activity that gives rise to an incident or accident which significantly affects or may significantly affect the environment

	To be notified Immediately

	Date and time of the event
	N/A

	Reference or description of the location of the event 
	N/A

	Description of where any release into the environment took place
	N/A

	Substances(s) potentially released
	N/A

	Best estimate of the quantity or rate of release of substances
	N/A

	Measures taken, or intended to be taken, to stop any emission
	N/A

	Description of the failure or accident.
	N/A



	(b) Notification requirements for the breach of a permit condition

	To be notified immediately

	Emission point reference/ source
	a) BH9 CH4 Level (August 2023) 
b) BH1 CO2 Level (August 2023)
c) BH8 CO2 Level (August 2023)
d) BH9 CO2 Level (August 2023)
e) BH10 CO2 Level (August 2023)
f) BH1 Zn 3-point moving average level (August 2023)
g) BH9 Zn 3-point moving average level (August 2023)
h) BH10 Zn 3-point moving average level (August 2023)
i) Well leachate level (August 2023)

	Parameter(s)
	a) CH4 Level
b-e) CO2 Level
f-h) Zn Level
i) Well leachate level

	Limit
	a) CH4 limit of 1.0 % v/v 
b-e) CO2 limit of 1.5 % v/v
f-h) Zn 3-point moving average 0.04 ppm
i) Well leachate level 1m

	Measured value and uncertainty
	a) August 2023 BH9 CH4 level 2.5% v/v
b) August 2023 BH1 CO2 level 2.1% v/v
c) August 2023 BH8 CO2 level 2.5% v/v
d) August 2023 BH9 CO2 level 4.4% v/v
e) August 2023 BH10 CO2 level 2.2% v/v
f) August 2023 BH1 Zn 3-point moving average 0.08 ppm
g) August 2023 BH9 Zn 3-point moving average 0.06 ppm
h) August 2023 BH10 Zn 3-point moving average 0.10 ppm
i) August 2023 Well leachate levels 1.17m


	Date and time of monitoring
	10/08/2023 started at 06.46am

	Measures taken, or intended to be taken, to stop the emission
	CH4: Due to the location of the existing boreholes, increases in naturally occurring gases may be due to the marsh and/or coal gas.
CO2: Due to the location of the existing boreholes, increases in naturally occurring gases may be due to the marsh and/or coal gas.
Zinc: BH1, BH9 and BH10 have shown repeated elevated Zn levels in the past.  The current breaches are unexplained but not inconsistent with historic performance. 
Well leachate level: Procedure not correctly followed and well dipped while pump was operating.  Additional checks with facilities department  introduced.




	Time periods for notification following detection of a breach of a limit

	Parameter
	Notification period

	Results received August 25th
	



	(c) In the event of a breach of permit condition which poses an immediate danger to human health or threatens to cause an immediate significant adverse effect on the environment:

	To be notified immediately

	Description of where the effect on the environment was detected
	N/A

	Substances(s) detected
	N/A

	Concentrations of substances detected
	N/A

	Date of monitoring/sampling
	N/A


Part B - to be submitted as soon as practicable
	Any more accurate information on the matters for notification under Part A.
	No further information

	Measures taken, or intended to be taken, to prevent a recurrence of the incident
	

	Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment which has been or may be caused by the emission
	

	The dates of any unauthorised emissions from the facility  in the preceding 24 months.
	

	Name*   
	

	Post
	

	Signature
	

	Date
	


* authorised to sign on behalf of the operator
Sensitivity: general

Sensitivity: general

Sensitivity: general

