# Schedule 6 - Notification

These pages outline the information that the operator must provide.

Units of measurement used in information supplied under Part A and B requirements shall be appropriate to the circumstances of the emission. Where appropriate, a comparison should be made of actual emissions and authorised emission limits.

#### If any information is considered commercially confidential, it should be separated from non-confidential information, supplied on a separate sheet and accompanied by an application for commercial confidentiality under the provisions of the EP Regulations.

Part A

| Permit Number | GP3030BE |
| --- | --- |
| Name of operator | Tata Steel UK Limited |
| Location of Facility | Shotton Works Landfill |
| Time and date of the detection | 10/08/2023 |

| (a) Notification requirements for any activity that gives rise to an incident or accident which significantly affects or may significantly affect the environment |  |
| --- | --- |
| To be notified Immediately |  |
| Date and time of the event | N/A |
| Reference or description of the location of the event | N/A |
| Description of where any release into the environment took place | N/A |
| Substances(s) potentially released | N/A |
| Best estimate of the quantity or rate of release of substances | N/A |
| Measures taken, or intended to be taken, to stop any emission | N/A |
| Description of the failure or accident. | N/A |

| (b) Notification requirements for the breach of a permit condition |  |
| --- | --- |
| To be notified immediately |  |
| Emission point reference/ source | - BH9 CH4 Level (August 2023) - BH1 CO2 Level (August 2023) - BH8 CO2 Level (August 2023) - BH9 CO2 Level (August 2023) - BH10 CO2 Level (August 2023) - BH1 Zn 3-point moving average level (August 2023) - BH9 Zn 3-point moving average level (August 2023) - BH10 Zn 3-point moving average level (August 2023) - Well leachate level (August 2023) |
| Parameter(s) | a) CH4 Level b-e) CO2 Level f-h) Zn Level i) Well leachate level |
| Limit | a) CH4 limit of 1.0 % v/v b-e) CO2 limit of 1.5 % v/v f-h) Zn 3-point moving average 0.04 ppm i) Well leachate level 1m |
| Measured value and uncertainty | - August 2023 BH9 CH4 level 2.5% v/v - August 2023 BH1 CO2 level 2.1% v/v - August 2023 BH8 CO2 level 2.5% v/v - August 2023 BH9 CO2 level 4.4% v/v - August 2023 BH10 CO2 level 2.2% v/v - August 2023 BH1 Zn 3-point moving average 0.08 ppm - August 2023 BH9 Zn 3-point moving average 0.06 ppm - August 2023 BH10 Zn 3-point moving average 0.10 ppm - August 2023 Well leachate levels 1.17m |
| Date and time of monitoring | 10/08/2023 started at 06.46am |
| Measures taken, or intended to be taken, to stop the emission | CH4: Due to the location of the existing boreholes, increases in naturally occurring gases may be due to the marsh and/or coal gas. CO2: Due to the location of the existing boreholes, increases in naturally occurring gases may be due to the marsh and/or coal gas. Zinc: BH1, BH9 and BH10 have shown repeated elevated Zn levels in the past. The current breaches are unexplained but not inconsistent with historic performance. Well leachate level: Procedure not correctly followed and well dipped while pump was operating. Additional checks with facilities department introduced. |

| Time periods for notification following detection of a breach of a limit |  |
| --- | --- |
| Parameter | Notification period |
| Results received August 25th |  |

| (c) In the event of a breach of permit condition which poses an immediate danger to human health or threatens to cause an immediate significant adverse effect on the environment: |  |
| --- | --- |
| To be notified immediately |  |
| Description of where the effect on the environment was detected | N/A |
| Substances(s) detected | N/A |
| Concentrations of substances detected | N/A |
| Date of monitoring/sampling | N/A |

Part B - to be submitted as soon as practicable

| Any more accurate information on the matters for notification under Part A. | No further information |
| --- | --- |
| Measures taken, or intended to be taken, to prevent a recurrence of the incident |  |
| Measures taken, or intended to be taken, to rectify, limit or prevent any pollution of the environment which has been or may be caused by the emission |  |
| The dates of any unauthorised emissions from the facility in the preceding 24 months. |  |
| Name* |  |
| Post |  |
| Signature |  |
| Date |  |

* authorised to sign on behalf of the operator