











4CHEMICAL, PRODUCT AND WASTE INVENTORY

Maximum quantities at Peak times
	Trade name / Substance
	Solid, liquid, gas or powder
	UN number (if known)
	Maximum quantity
	Location marked on site plan
	Type of contain-ment & size
	Health & environ-mental properties

	Fuchs Engine oil 
	Liquid 
	
	
	Stores & Shed 2
	45 gallon drum
	

	Fuchs 
Hydraulic Oil
	Liquid 
	
	
	Stores
	45 gallon drum
	

	Diesel
	Liquid
	
	
	Bunded area
	Steel bunded tank
	

	Unleaded petrol
	Liquid 
	
	
	Stores
	Metal jerry can
	

	Bluecat – Ad Blue
	Liquid
	
	
	Bunded area
	Plastic tank
	

	Duco Anti-Freeze 
	Liquid 
	
	
	Stores
	1 gallon plastic container
	

	Powder Fire Extinguisher
	Powder
	
	
	See fire plan
	
	

	Car Plan- Blue star de-icer
	Liquid
	
	
	Stores
	Aerosol spray
	

	TFM Truck cleaner
	Liquid
	
	
	Bunded pressure washer bay
	45 gallon plastic drum
	


5.
POLLUTION PREVENTION EQUIPMENT INVENTORY

	Type
	Location
	Amount
	Staff contact

	Spill kit
	Adjacent to diesel tank
	Variable amount but, sufficient equipment to manage 110 litres
	01597 810754

	Spill kit
	Adjacent to garden waste bay
	Variable amount but, sufficient equipment to manage 110 litres
	01597 810754


	6.
INCIDENT RESPONSE PROCEDURES

Instructions for Dealing with a Fuel Spill

1. If the fuel spill is large, evacuate the buildings by triggering the fire alarm. Contact the emergency services by dialling 999, and retreat to a safe distance. DO NOT PUT YOURSELF AT RISK. When safe to do so, contact the Helpdesk on 0845 607 6060 who will inform the relevant operations manager or duty manager (if out of office hours).

2. Do NOT attempt to hose down the spill or disperse it with detergent. 

3. If the fuel spill is small – less than 90 litres (20 gallons) – locate the fuel spill kit. This is kept close to the fuel tank in a container marked “OIL SPILL RESPONSE KIT”.

4. Open the kit and put on the protective gloves. Use the pillows/granules to mop up the spill, always following the manufacturers’ instructions. 

5. Place the used pillows/granules in the polythene bags provided and put the bags in a safe place. 

6. Contact the Depot Manager who will arrange for a specialist waste contractor to dispose of them.

7. Contact the Building Co-ordinator who will inform the relevant operations manager or duty manager (if out of office hours) of the incident. 

8. If they are unavailable contact the Helpdesk on 0845 607 6060, who will inform the relevant operations manager or duty manager (if out of office hours) of the incident. 

FIRE 
Emergency procedures already in existence and organised via Dyfed Alarms - - 01752 512 151 (office hours)
· 08707 272 819 (out of hours)

If fire alarm is activated, Dyfed Alarms will contact PCC and instruct Fire Service. PCC will also be contacted via Delta call centre who contact PCC out of hours service. 
INTRUDER
24 CCTV cameras in operation covering the whole site. Well-lit with sufficient lighting. No intruder alarms on site






POLLUTION INCIDENT RESPONSE PLAN





FOR:





RHAYADER TRANSFER STATION


STATION YARD


STATION ROAD


RHAYADER


LD6 5AW





Bulking and transfer of recycling and residual waste. 








Site Activities:








Date of Plan:			  Review date:		       Version no: 





16/01/22





17/01/22





 11





Nigel Hicks (Area Manager)








Approved by: 				





17/01/22











Natural Resources Wales 


Emergency Planning 








Date sent:  


17/01/21





Copy sent:





(











CONTENTS


Page





CONTACT DETAILS


SITE PLAN AND DRAINAGE PLAN


CHEMICAL & WASTE INVENTORY


POLLUTION PREVENTION EQUIPMENT INVENTORY


INCIDENT RESPONSE PROCEDURE





01597 825275 (general line to be contacted first)


01597 824682 / 01597 824274 (direct internal lines)











EMERGENCY CONTACT DETAILS





Emergency Services:





Local Police:





Local hospital/NHS Trust:





Environment Incident:





Environment regulator (Local Office):








					Office Hours	Out of Hours





Water/Sewer provider:		0800 0520 140             0800 0520 140








Gas supplier:			No Gas Supply		








Electricity supplier:		0800 0520 400 (Western Power)		








PCC emergency planning:	0870 8510423	


Out of Hours 0845 0544847





Waste Management Contacts:


				


Sundorne Products/GF Potter		01938 552396


Lovatt Bros (scrap metal contractor)	01686 630600


Metro Rod				01495 305578


OSS Group				0870 2401055








Pest Control:	P&P Pest control 07815123618





Specialist clean-up


					


Border Environmental			01244 530380


Adler and Allen				0800 592827		


Briggs Environmental Services		0800 374348


Braemar Howells			08700 73776673 (24 hrs)








KEY CONTACTS: (out of hours)





Duty officer:








All out of hours emergencies to be managed by PCC Out of Hours service.





101











0300 0653 000





Natural Resources Wales 





999 or 112








3.	SITE PLAN & DRAINAGE PLAN





 See site and drainage plans attached.  










Ref: EPF01 

Page 2 of 6


Jan 22

