Site Condition Report evaluation form
	Applicant
	Elis UK Limited

	Permit reference
	PAN-021000

	Address
	Elis UK limited, Bulwark Trading Estate, Chepstow, NP16 5QZ

	Grid reference
	ST 53761 92830

	Activity Type
	Non-hazardous clinical waste transfer station

	Site Condition Report document reference, date and version number
	Application report V1 R2-merged

· Appendix 3 Site Condition Report
· 02/03/2023


	1.0 Site details (Source)

	Has the applicant provided the following information as required by the application SCR template?
	Response 

	Site plans showing site layout, drainage, surfacing, receptors, sources of emissions/releases and monitoring points
	See Permit Boundary Plan Drawing No. 21/012h 001 and plans under Application report V1 R2-merged: Appendix 1 Fire Prevention & Mitigation Plan


	2.0 Condition of the land at permit issue (Receptor)

	Has the applicant provided the following information as required by the application SCR template?
	Response 

	a) Environmental setting including geology, hydrogeology and surface waters

b) Pollution history including:

· pollution incidents that may have affected land

· historical land-uses and associated contaminants

· visual/olfactory evidence of existing contamination

· evidence of damage to existing pollution prevention measures

c) Evidence of historic contamination (i.e. historical site investigation, assessment, remediation and verification reports (where available)

d) Has the applicant chosen to collect baseline reference data?
	a) See section 2 of Appendix 3 Site Condition Report- information provided

b) Appendix 3 Site Condition Report- no record of pollution 
c) Appendix 3 Site Condition Report- no evidence of historical contamination
d) n/a no baseline data collected


	3.0 Permitted activities (Source)

	Has the applicant provided the following information as required by the application SCR template?
	Response 

	a) Permitted activities

b) Non-permitted activities undertaken at the site
	a) See section 3 Appendix 3 Site Condition Report- storage and transfer of washroom wastes (categorised as non-hazardous clinical waste transfer station)
b) See section 3 Appendix 3 Site Condition Report- commercial laundry service


	3.0(a) Environmental Risk Assessment (Source)

	The H1 environmental risk assessment should identify elements that could impact on land and waters, cross- referenced back to documents and plans provided as part of the wider permit application.
	See Application report V1 R2-merged Appendix 4 Environmental Risk Assessment


	3.0(b) Will the pollution prevention measures protect land and groundwater? (Conceptual model)

	Are the activities likely to result in pollution of land? 
	No- activity is low risk

	For dangerous and/or hazardous substances only, are the pollution prevention measures for the relevant activities to a standard that is likely to prevent pollution of land?
	n/a no hazardous waste is accepted under the permit


	Application Site Condition Report decision summary 
	Complete all that apply

	Sufficient information has been supplied to describe the condition of the site at permit issue.
	X

	Information is missing- the following information must be obtained from the applicant.
	n/a

	Pollution of land and water is unlikely- pollution prevention measures just need to be reviewed during operation of the site
	X

	Pollution of land and water is likely
	n/a

	Historical contamination is present- advise operator that collection of background data may be appropriate 
	n/a

	Date and name of reviewer
	Louise Bailey
18/10/2023


	
	
	
	


	Doc No 233_06
	Version 6
	Last printed 18/10/2023
	Page 2 of 6


[image: image1.png]




