## SW
Sample Point | Date | Data Comments | Ammoniacal-N (mg/l) | Bio Oxygen Demand (mg/l) | Chloride (mg/l) | Chem Oxygen Demand (mg/l) | Dissolved Oxygen (mg/l) | Nitrate (mg/l) | Nitrogen, Dissolved Available Inorganic (mg/l) | Nitrite (mg/l) | pH | Total Phosphate (mg/l) | Phosphorus, Dissolved Available Inorganic | Suspended Solids (mg/l) | Temperature (degC) | Tot Organic Carbon (mg/l) | Tot Oxidised Nitrogen (mg/l) | Total Organic Nitrogen (mg/l) | Alkalinity (mg/l) | Cadmium (ug/l) | Chromium (mg/l) | Copper (mg/l) | Iron (mg/l) | Lead (mg/l) | Manganese (ug/l) | Nickel (mg/l) | Potassium (mg/l) | Sodium (mg/l) | Sulphate (mg/l) | Zinc (mg/l)
SW1 | 2023-07-25 |  | 0.12 | 2.7 | 22 | 24 | 7 | 0.06 | 0.7 | < 0.005 | 7.9 | < 0.062 | < 0.062 | 4 | 5.1 | 7.92 | 0.058 | 0.5 | Annual Data
SW1 | 2023-08-30 | Dry
SW1 | 2023-09-13 | Dry
SW2 | 2023-07-25 |  | 2.7 | 4.1 | 29 | 13 | 1.4 | 0.13 | 2.7 | 0.088 | 7.3 | < 0.062 | < 0.062 | 16 | 5.1 | 4.94 | 0.15 | < 0.1
SW2 | 2023-08-30 |  | 3.6 | 7.4 | 31 | 8.6 | 1.8 | 0.25 | 2.6 | 0.1 | 7.2 | < 0.062 | < 0.062 | 4 | 6 | 7.99 | 0.28 | < 0.1
SW2 | 2023-09-13 |  | 3.3 | 3.5 | 31 | 11 | 1.3 | 0.34 | 3.1 | 0.021 | 7.4 | < 0.062 | < 0.062 | 11 | 4.3 | 4.85 | 0.35 | < 0.1
SW3 | 2023-07-25 |  | 0.11 | 1.1 | 20 | 14 | 5.2 | 0.03 | 0.5 | 0.006 | 7.2 | < 0.062 | < 0.062 | < 2 | 5.1 | 7.83 | 0.036 | 0.4
SW3 | 2023-08-30 |  | 0.059 | 1.1 | 20 | 19 | 5.5 | 0.18 | 0.4 | < 0.005 | 7.2 | < 0.062 | < 0.062 | 4 | 6 | 10 | 0.18 | 0.3
SW3 | 2023-09-13 |  | 0.055 | < 1 | 21 | 18 | 5 | 0.06 | 0.4 | 0.007 | 7.2 | < 0.062 | < 0.062 | < 2 | 4.3 | 7.2 | 0.061 | 0.3
SW4 | 2023-07-25 |  | 29 | 3.2 | 120 | 36 | 1.4 | 0.44 | 25 | 0.65 | 7.7 | 0.67 | 0.2 | 6 | 5.1 | 13.2 | 0.63 | < 0.1
SW4 | 2023-08-30 |  | 18 | 14 | 76 | 73 | 1.7 | 0.31 | 20 | 0.34 | 7.5 | 0.87 | 0.37 | 51 | 6 | 8.89 | 0.41 | 2
SW4 | 2023-09-13 |  | 26 | 5.3 | 98 | 29 | 2.3 | 0.26 | 26 | 0.26 | 7.8 | 0.61 | 0.47 | 7 | 4.3 | 10.1 | 0.34 | < 0.1

## Groundwater
Sample Point | Date | Dip to Water (m) | Water to mAOD | Ammoniacal-N (mg/l) | Arsenic (ug/l) | Atrazine (ug/l) | Benzo(a)pyrene (ug/l) | Cadmium (ug/l) | Cis-1,2-Dichloroethene (ug/l) | Chloride (mg/l) | Chromium (mg/l) | Copper (mg/l) | Dichlorprop (ug/l) | Dissolved Oxygen (mg/l) | Lead (mg/l) | Malathion (ug/l) | Mecoprop (ug/l) | Nitrate (mg/l) | Nitrite (mg/l) | Orthophosphate (mg/l) | pH | Redox (mV) | Total Organic Carbon (mg/l) | TributylPhosphate (ug/l) | Zinc (mg/l) | Data Comments | 1,2,4 Trimethylbenzene (ug/l) | 1,2-Dichloroethane (ug/l) | 2,3,6-Trichlorophenol (ug/l) | 2,4,5-Trichlorophenol (ug/l) | 2,4,6-Trichlorophenol (ug/l) | Benzene (ug/l) | benzo(b)fluoranthene (ug/l) | benzo(ghi)perylene (ug/l) | benzo(k)fluoranthenel (ug/l) | Boron (mg/l) | Chlorobenzene (ug/l) | Chloromethane (ug/l) | Ethyl benzene (ug/l) | Fluoride (mg/l) | indeno(1,2,3-cd)pyrene (ug/l) | Ionic Balance (%) | m,p-xylenes (ug/l) | Mercury (ug/l) | Molybdenum (ug/l) | Naphthalene (ug/l) | Nickel (mg/l) | o-xylene (ug/l) | Pentachlorophenol (ug/l) | Phenol (ug/l) | p-Isopropyltoluene (ug/l) | Potassium (mg/l) | Selenium (mg/l) | Sodium (mg/l) | Toluene (ug/l) | Tributyltin (ug/l) | Triphenylphosphate (ug/l) | Vanadium (mg/l)
GDW01(D) | 2023-07-26 | 2.89 | 7.45 | 7.9 | 7.36 | < 0.05 | 0.08 | < 0.02 | < 3 | 31 | < 0.0002 | 0.0052 | < 0.02 | < 1 | < 0.0002 | < 0.03 | < 0.02 | 0.25 | < 0.005 | 0.97 | 7.8 | 60.4 | 0.97 | < 0.1 | 0.0016 |  | Annual data
GDW01(S) | 2023-07-26 | 2.82 | 7.52 | 0.26 | 55 | < 0.05 | < 0.01 | 0.03 | < 3 | 21 | < 0.0002 | 0.0008 | < 0.02 | < 1 | < 0.0002 | < 0.03 | < 0.02 | 0.09 | < 0.005 | 0.31 | 8.7 | 20.1 | 0.84 | < 0.1 | 0.0012
GDW02(D) | 2023-07-26 | 2.86 | 7.31 | 9.7 | 3.22 | < 0.05 | < 0.01 | 0.03 | < 3 | 45 | < 0.0002 | 0.0026 | < 0.02 | 1.2 | < 0.0002 | < 0.03 | < 0.02 | 0.29 | 0.012 | < 0.062 | 6.9 | 94.1 | 4.71 | < 0.1 | 0.0076
GDW02(S) | 2023-07-26 | 2.71 | 7.46 | 21 | 1.93 | < 0.05 | < 0.01 | < 0.02 | < 3 | 170 | 0.0002 | 0.0023 | < 0.02 | < 1 | < 0.0002 | < 0.03 | < 0.02 | 0.26 | < 0.005 | 0.33 | 7.1 | 72.8 | 10.3 | < 0.1 | 0.0032
GDW03(D) | 2023-07-26 | 2.97 | 6.83 | 10 | 0.51 | < 0.05 | < 0.01 | 0.03 | < 3 | 25 | < 0.0002 | 0.0034 | < 0.02 | 1.3 | < 0.0002 | < 0.03 | < 0.02 | 0.08 | < 0.005 | < 0.062 | 6.5 | -49.6 | 8.47 | < 0.1 | 0.0022
GDW03(S) | 2023-07-26 | 3.13 | 6.67 | 17 | 1.13 | < 0.05 | < 0.01 | < 0.02 | < 3 | 27 | < 0.0002 | 0.0027 | < 0.02 | 1.4 | < 0.0002 | < 0.03 | < 0.02 | 0.21 | 0.045 | 0.32 | 7.5 | 81.4 | 3.94 | < 0.1 | 0.0015
GDW04 | 2023-08-30 | 0.09 | 6.32 | 7.1 | 12.2 | < 0.05 | < 0.01 | 0.07 | < 3 | 28 | 0.0009 | 0.0066 | < 0.02 | < 1 | 0.0016 | < 0.03 | < 0.02 | 1.28 | 0.028 | < 0.062 | 5.7 | 268 | 53.4 | < 0.1 | 0.0268
GDW05 | 2023-08-30 | 0.69 | 6.52 | 26 | 11 | < 0.05 | < 0.01 | < 0.02 | < 3 | 27 | 0.0009 | 0.0025 | < 0.02 | < 1 | < 0.0002 | < 0.03 | < 0.02 | 0.34 | < 0.005 | 1.4 | 7.3 | 224 | 22.6 | < 0.1 | 0.0026
GDW06 | 2023-08-30 | 0.62 | 6.26 | 13 | 1.88 | < 0.05 | < 0.01 | < 0.02 | < 3 | 25 | 0.0002 | 0.0022 | < 0.02 | < 1 | 0.0014 | < 0.03 | < 0.02 | 0.12 | < 0.005 | < 0.062 | 6.4 | 235.6 | 12.2 | < 0.1 | 0.0049
GDW07 | 2023-08-30 | 0.11 | 6.43 | 6.5 | 2.08 | < 0.05 | < 0.01 | < 0.02 | < 3 | 40 | 0.0009 | 0.0083 | < 0.02 | 4.2 | 0.0002 | < 0.03 | < 0.02 | 0.01 | < 0.005 | 0.69 | 6.7 | -89.9 | 10.6 | < 0.1 | 0.0047
GDW08 | 2023-08-30 | 0.19 | 7.03 | 16 | 4.46 | < 0.05 | < 0.01 | < 0.02 | < 3 | 22 | 0.0003 | 0.0025 | < 0.02 | 2.2 | < 0.0002 | < 0.03 | < 0.02 | 0.06 | < 0.005 | 2.1 | 7 | -111.9 | 9.06 | < 0.1 | 0.0034
GDW09 | 2023-08-30 | 0.13 | 6.18 | 3.4 | 16.8 | < 0.05 | < 0.01 | < 0.02 | < 3 | 58 | 0.0002 | 0.0022 | < 0.02 | 2.3 | < 0.0002 | < 0.03 | < 0.02 | 0.43 | 0.025 | 0.73 | 7 | -96.9 | 15.1 | < 0.1 | 0.0036
GDW10 | 2023-08-30 | 1.13 | 6.07 | 9 | 4.55 | < 0.05 | < 0.01 | < 0.02 | < 3 | 30 | < 0.0002 | 0.0021 | < 0.02 | 1.4 | < 0.0002 | < 0.03 | < 0.02 | 0.02 | 0.007 | 0.073 | 7.3 | -78.2 | 7.62 | < 0.1 | 0.0007
GDW11 | 2023-08-30 | 1.03 | 5.95 | 12 | 2.2 | < 0.05 | < 0.01 | < 0.02 | < 3 | 69 | < 0.0002 | 0.0032 | < 0.02 | 1.3 | < 0.0002 | < 0.03 | < 0.02 | 0.02 | < 0.005 | < 0.062 | 6.8 | 6 | 9.93 | < 0.1 | 0.0029
GDW12 | 2023-08-30 | 1.35 | 5.9 | 7.8 | 7.13 | < 0.05 | < 0.01 | < 0.02 | < 3 | 23 | < 0.0002 | 0.0057 | < 0.02 | < 1 | < 0.0002 | < 0.03 | < 0.02 | 0.13 | < 0.005 | < 0.062 | 7.6 | -16.7 | 10 | < 0.1 | 0.0036
GDW13 | 2023-08-30 | 1.22 | 6.17 | 34 | 3.83 | < 0.05 | < 0.01 | < 0.02 | < 3 | 130 | 0.0002 | 0.0019 | < 0.02 | 5.7 | < 0.0002 | < 0.03 | 0.05 | 0.11 | 0.012 | 0.092 | 6.8 | -70.5 | 10.5 | < 0.1 | 0.0024
GDW14[R] | 2023-08-30 | 0.8 | 5.19 | 25 | 5.28 | < 0.05 | < 0.01 | < 0.02 | < 3 | 120 | 0.0009 | 0.0011 | < 0.02 | 5.8 | < 0.0002 | < 0.03 | 0.43 | 0.06 | 0.019 | < 0.062 | 7.1 | -58.6 | 58.6 | < 0.1 | 0.0028
GDW15[R] | 2023-08-30 | 0.82 | 5.35 | 12 | 2.59 | < 0.05 | < 0.01 | < 0.02 | < 3 | 120 | 0.001 | 0.0021 | < 0.02 | 6.8 | < 0.0002 | < 0.03 | 0.26 | 0.17 | 0.013 | < 0.062 | 6.7 | 1.7 | 16.2 | < 0.1 | 0.0034
GDW16 | 2023-08-30 | 0.87 | 5.32 | 0.32 | 1.96 | < 0.05 | < 0.01 | < 0.02 | < 3 | 44 | 0.0004 | 0.0034 | < 0.02 | < 1 | < 0.0002 | < 0.03 | < 0.02 | 0.19 | < 0.005 | < 0.062 | 6.1 | 56.9 | 2.38 | < 0.1 | 0.0068
GDW17 | 2023-08-30 | 0.47 | 5.68 | 0.79 | 3.15 | < 0.05 | < 0.01 | < 0.02 | < 3 | 150 | 0.0006 | 0.0034 | < 0.02 | < 1 | 0.0003 | < 0.03 | < 0.02 | 0.3 | < 0.005 | < 0.062 | 6.5 | 65.7 | 27.1 | < 0.1 | 0.0045
GDW18 | 2023-08-30 | 0.31 | 5.84 | 18 | 8.65 | < 0.05 | < 0.01 | < 0.02 | < 3 | 110 | 0.0007 | 0.0032 | < 0.02 | < 1 | < 0.0002 | < 0.03 | 0.16 | 0.08 | 0.021 | 0.16 | 7.3 | 27.4 | 8.59 | < 0.1 | 0.0047
PCS BH16A | 2023-07-25 |  |  | 15 | 2.52 | < 0.05 | < 0.01 | 0.14 | < 3 | 140 | 0.0027 | 0.0072 | < 0.02 | 4.5 | 0.0025 | < 0.03 | 0.25 | 131 | 0.14 | 0.094 | 6.3 | 120 | 25.5 | < 0.1 | 0.4539
PCS BH16B | 2023-07-25 |  |  | 87 | 4.55 | < 0.05 | < 0.01 | < 0.02 | < 3 | 190 | 0.016 | 0.0037 | < 0.02 | 1.7 | 0.0004 | < 0.03 | 0.7 | 0.7 | < 0.005 | < 0.062 | 7.1 | -128.3 | 52.8 | < 0.1 | 0.0052

## Perimeter_Gas
Sample Point | Date | CH4 (%) | CO2 (%) | O2 (%) | CO (ppm) | H2S (ppm) | Atm Pres (mb) | Rel. Pressure (mb) | Data Comments
TIRGP013 | 2023-07-25 | 0 | 0.4 | 20.2 | 0 | 0 | 1013 | -0.07
TIRGP014 | 2023-07-25 | 0 | 5.5 | 14.5 | 0 | 0 | 1013 | 0.02
TIRGP015 | 2023-07-25 | 0 | 6.9 | 10.8 | 0 | 0 | 1014 | 0.02
TIRGP016 | 2023-07-25 | 0 | 8.6 | 10.5 | 0 | 0 | 1013 | -0.02
TIRGP017 | 2023-07-25 | 0 | 3.6 | 16.3 | 0 | 0 | 1014 | 0.14
TIRGP018 | 2023-07-25 | 0 | 10.2 | 10.7 | 0 | 0 | 1014 | 0.05
TIRGP019 | 2023-07-25 | 0 | 7.2 | 13.3 | 0 | 0 | 1014 | 0.04
TIRGP020 | 2023-07-25 | 0 | 1 | 20.1 | 0 | 0 | 1014 | 0.04
TIRGP021 | 2023-07-25 | 0 | 0.6 | 20.4 | 0 | 0 | 1014 | 0.19
TIRGP022 | 2023-07-25 | 0 | 0.6 | 20.1 | 0 | 0 | 1014 | 0.19
TIRGP023 | 2023-07-25 | 0 | 0.1 | 20.5 | 0 | 0 | 1014 | 0.21
Sample Point | Date | CH4 (%) | CO2 (%) | O2 (%) | CO (ppm) | H2S (ppm) | Atm Pres (mb) | Rel. Pressure (mb) | Data Comments
TIRGP013 | 2023-08-31 | 0 | 0.3 | 20.4 | 0 | 0 | 1009 | -0.14
TIRGP014 | 2023-08-31 | 0 | 7.6 | 14.3 | 0 | 0 | 1009 | -0.09
TIRGP015 | 2023-08-31 | 0 | 7.1 | 14.4 | 0 | 0 | 1009 | -0.11
TIRGP016 | 2023-08-31 | 0 | 11.8 | 9.3 | 0 | 0 | 1009 | -0.04
TIRGP017 | 2023-08-31 | 0 | 4.4 | 17.2 | 0 | 0 | 1009 | -0.05
TIRGP018 | 2023-08-31 | 0 | 2.3 | 19.4 | 0 | 0 | 1009 | -0.14
TIRGP019 | 2023-08-31 | 0 | 5.4 | 15.9 | 0 | 0 | 1009 | -0.09
TIRGP020 | 2023-08-31 | 0 | 7.7 | 10.7 | 0 | 0 | 1009 | -0.14
TIRGP021 | 2023-08-31 | 6.9 | 9.8 | 0.4 | 0 | 0 | 1009 | -0.02
TIRGP022 | 2023-08-31 | 0 | 1.9 | 16.9 | 0 | 0 | 1009 | 0.35
TIRGP023 | 2023-08-31 | 0.1 | 11.9 | 1.4 | 0 | 0 | 1009 | -0.11
Sample Point | Date | CH4 (%) | CO2 (%) | O2 (%) | CO (ppm) | H2S (ppm) | Atm Pres (mb) | Rel. Pressure (mb) | Data Comments
TIRGP013 | 2023-09-13 | 0 | 0.4 | 20.1 | 0 | 0 | 1024 | -0.12
TIRGP014 | 2023-09-13 | 0 | 6.9 | 15 | 0 | 0 | 1023 | -0.11
TIRGP015 | 2023-09-13 | 0 | 6.6 | 15.3 | 0 | 0 | 1024 | -0.07
TIRGP016 | 2023-09-13 | 0 | 10.7 | 11.7 | 0 | 1 | 1024 | -0.14
TIRGP017 | 2023-09-13 | 0 | 3.5 | 17.8 | 0 | 0 | 1024 | -0.11
TIRGP018 | 2023-09-13 | 0 | 7.3 | 14.5 | 0 | 0 | 1024 | -0.07
TIRGP019 | 2023-09-13 | 0 | 7.6 | 14.6 | 0 | 1 | 1024 | -0.07
TIRGP020 | 2023-09-13 | 0 | 9.6 | 10.8 | 0 | 1 | 1024 | -0.02
TIRGP021 | 2023-09-13 | 0 | 2.7 | 18.2 | 0 | 1 | 1023 | -0.11
TIRGP022 | 2023-09-13 | 0 | 1.6 | 18.3 | 0 | 2 | 1023 | 0.09
TIRGP023 | 2023-09-13 | 0 | 0.2 | 20.9 | 0 | 1 | 1024 | -0.04

## Leachate_Quality
Sample Point | Date | Ammoniacal-N (mg/l) | Atrazine (ug/l) | Benzo(a)pyrene (ug/l) | Bio Oxygen Demand (mg/l) | Cadmium (ug/l) | Cis-1,2-Dichloroethene (ug/l) | Chem Oxygen Demand (mg/l) | Chloride (mg/l) | Conductivity (uS/cm) | Dichlorprop (ug/l) | Dissolved Oxygen (mg/l) | Lead (mg/l) | Mecoprop (ug/l) | Orthophosphate (mg/l) | pH | Monohydric Phenols (mg/l) | Sodium (mg/l) | Temperature (degC) | 1,2,4 Trimethylbenzene (ug/l) | TributylPhosphate (ug/l) | Zinc (mg/l) | Data Comments | 1,2-Dichloroethane (ug/l) | 2,3,6-Trichlorophenol (ug/l) | 2,4,5-Trichlorophenol (ug/l) | 2,4,6-Trichlorophenoll (ug/l) | Arsenic (mg/l) | Benzene (ug/l) | benzo(b)fluoranthene (ug/l) | benzo(ghi)perylene (ug/l) | benzo(k)fluoranthene (ug/l) | Boron (mg/l) | Chlorobenzene (ug/l) | Chloromethane (ug/l) | Chromium (mg/l) | Copper (mg/l) | Dichloromethane (ug/l) | Ethyl benzene (ug/l) | Fluoride (mg/l) | indeno(1,2,3-cd)pyrene (ug/l) | m,p-xylenes (ug/l) | Mercury (ug/l) | Molybdenum (ug/l) | Naphthalene (ug/l) | Nickel (mg/l) | Nitrate (mg/l) | o-xylene (ug/l) | Pentachlorophenol (ug/l) | p-Isopropyltoluene (ug/l) | Potassium (mg/l) | Selenium (mg/l) | Toluene (ug/l) | Tributyltin (ug/l) | Vanadium Dissolved (mg/l)
LEW05A | Six-Monthly Data | [22 empty] | Annual Data
LEW06
LEW09a
LEW12a
LEW16
LEW22
LEW23
LEW25
LEW26
LEW28
LEW29
LEW31

## Leachate_Dips
Sample Point | Date | Dip to leachate (m) | Leachate head (m) | Leachate level (mAOD) | Data Comments
LEW05A | 2023-07-18 |  |  |  | Dry
LEW05A | 2023-07-28 |  |  |  | Dry
LEW05A | 2023-09-30 |  |  |  | Dry
LEW06 | 2023-07-18 | 19.36 | 0.23 | 13.69
LEW06 | 2023-07-28 | 19.43 | 0.16 | 13.62
LEW06 | 2023-09-30 | 19.36 | 0.23 | 13.69
LEW07 | 2023-07-18 |  |  |  | No access
LEW07 | 2023-07-28 |  |  |  | No access
LEW07 | 2023-09-30 | 21.07 | 1 | 13.5
LEW08 | 2023-07-18 | 23.34 | 0.41 | 13.07
LEW08 | 2023-07-28 | 23.35 | 0.4 | 13.06
LEW08 | 2023-09-30 | 23.34 | 0.41 | 13.07
LEW09a | 2023-07-18 | 23.78 | 4.04 | 15.04
LEW09a | 2023-07-28 | 23.78 | 4.04 | 15.04
LEW09a | 2023-09-30 | 23.8 | 3.91 | 14.91
LEW09b | 2023-07-18 | 7.9 | 16.28 | 27.07 | "Jelly" in well blocking pump
LEW09b | 2023-07-28 | 7.69 | 16.49 | 27.28 | "Jelly" in well blocking pump
LEW09b | 2023-09-30 | 7.92 | 15.49 | 26.28 | "Jelly" in well blocking pump
LEW10a | 2023-07-18 | 21.09 | 0.05 | 14.05
LEW10a | 2023-07-28 | 21.1 | 0.04 | 14.04
LEW10a | 2023-09-30 | 20.42 | 0.72 | 14.72
LEW11A | 2023-07-18 | 12.45 | 0.28 | 12.41
LEW11A | 2023-07-28 | 12.48 | 0.25 | 12.38
LEW11A | 2023-09-30 |  |  |  | Couldn't dip - site to investigate
LEW12a | 2023-07-18 | 23.93 | 0.8 | 11.45
LEW12a | 2023-07-28 | 23.9 | 0.83 | 11.48
LEW12a | 2023-09-30 |  |  |  | Couldn't dip - site to investigate
LEW13a | 2023-07-18 | 13.37 | 1.03 | 12.16
LEW13a | 2023-07-28 | 13.37 | 1.03 | 12.16
LEW13a | 2023-09-30 |  |  |  | Couldn't dip - site to investigate
LEW14 | 2023-07-18 | 7.14 | 16.62 | 27.12 | "Jelly" in well blocking pump
LEW14 | 2023-07-28 | 7.24 | 16.52 | 27.02 | "Jelly" in well blocking pump
LEW14 | 2023-09-30 | 7.14 | 16.62 | 27.12 | "Jelly" in well blocking pump
LEW14a | 2023-07-18 | 20.6 | 0.97 | 10.97
LEW14a | 2023-07-28 | 20.68 | 0.89 | 10.89
LEW14a | 2023-09-30 | 20.8 | 0.77 | 10.77
LEW15 | 2023-07-18 | 26.79 | 0.89 | 9.4
LEW15 | 2023-07-28 | 26.79 | 0.89 | 9.4
LEW15 | 2023-09-30 | 26.79 | 0.5 | 9.01
LEW16 | 2023-07-18 | 20.48 | 2.19 | 13.37
LEW16 | 2023-07-28 | 20.47 | 2.2 | 13.38
LEW16 | 2023-09-30 | 20.47 | 1.79 | 12.97 | Suspected blockage in well
LEW20 | 2023-07-18 | 7.52 | 1.47 | 12.67
LEW20 | 2023-07-28 | 7.5 | 1.49 | 12.69
LEW20 | 2023-09-30 | 7.54 | 1.45 | 12.65
LEW21 | 2023-07-18 | 19.14 | 2.13 | 14.33
LEW21 | 2023-07-28 | 19.15 | 2.12 | 14.32
LEW21 | 2023-09-30 | 19.05 | 2.22 | 14.42
LEW22 | 2023-07-18 | 19.25 | 3.05 | 15.65
LEW22 | 2023-07-28 | 19.25 | 3.05 | 15.65
LEW22 | 2023-09-30 | 19.21 | 3.09 | 15.69
LEW23 | 2023-07-18 | 20.1 | 1.34 | 12.54
LEW23 | 2023-07-28 | 20.23 | 1.21 | 12.41
LEW23 | 2023-09-30 | 20.13 | 3.52 | 14.72
LEW24 | 2023-07-18 | 24.67 | 3.05 | 14.55
LEW24 | 2023-07-28 | 24.68 | 3.04 | 14.54
LEW24 | 2023-09-30 | 24.42 | 3.3 | 14.8
LEW25 | 2023-07-18 | 20.03 | 4.51 | 14.51
LEW25 | 2023-07-28 | 20.04 | 4.5 | 14.5
LEW25 | 2023-09-30 | 19.15 | 5.39 | 15.39
LEW26 | 2023-07-18 | 13.72 | 2.37 | 11.37
LEW26 | 2023-07-28 | 13.74 | 2.35 | 11.35
LEW26 | 2023-09-30 | 13.8 | 2.29 | 11.29
LEW27 | 2023-07-18 | 23.48 | 1.13 | 11.23
LEW27 | 2023-07-28 | 23.49 | 1.12 | 11.22
LEW27 | 2023-09-30 | 24.42 | 0.19 | 10.29
LEW28 | 2023-07-18 | 16.37 | 1.23 | 11.13
LEW28 | 2023-07-28 | 16.39 | 1.21 | 11.11
LEW28 | 2023-09-30 | 11.62 | 5.98 | 15.88
LEW29 | 2023-07-18 |  |  |  | pump is being repaired
LEW29 | 2023-07-28 |  |  |  | pump is being repaired
LEW29 | 2023-09-30 |  |  |  | Couldn't dip - needs straightening
LEW30 | 2023-07-18 | 20.87 | 0.46 | 10.36
LEW30 | 2023-07-28 | 20.9 | 0.43 | 10.33
LEW30 | 2023-09-30 | 20.83 | 0.5 | 10.4
LEW31 | 2023-07-18 | 20.07 | 0.65 | 11.95
LEW31 | 2023-07-28 | 20.1 | 0.62 | 11.92
LEW31 | 2023-09-30 | 19.25 | 1.47 | 12.77
LEW32 | 2023-07-18 | 7.6 | 2.94 | 14.34
LEW32 | 2023-07-28 | 7.58 | 2.96 | 14.36
LEW32 | 2023-09-30 | 7.61 | 2.93 | 14.33
LEW33 | 2023-07-18 | 20.1 | 0.05 | 11.58
LEW33 | 2023-07-28 | 19.51 | 0.47 | 12
LEW33 | 2023-09-30 | 20.08 | 0.07 | 11.6
LEW34 | 2023-07-18 | 11.51 | 0.56 | 12.28
LEW34 | 2023-07-28 | 11.54 | 0.53 | 12.25
LEW34 | 2023-09-30 | 11.45 | 0.62 | 12.34

## Engines+Compound
Note: Permit Number EPR/BP3738LS for both phases of the site.
| Date | Nox (mg/m3) | CO (mg/m3) | Fail/Pass | Action Taken | Comments
Unit 1 | 2023-08-10 | 198 | 704 | Pass
Date | Time | CH4 | CO2 | O2 | Balance | Free N2 | CO | Suction | Del. Pressure
|  | % v/v | % v/v | % v/v | % v/v | % v/v | ppm | -mb | mb
2023-07-07 | 8:40 | 29.5 | 23.4 | 2.4 | 44.7 | 35.1 | 1 | -39.5 | 137.6
2023-07-10 | 8:10 | 29.1 | 22.1 | 2.9 | 45.9 | 34.3 | 0 | -39.7 | 138.85
2023-07-12 | 9:00 | 39.9 | 25.2 | 0.9 | 34 | 30.4 | 1 | -49.3 | 119.23
2023-07-13 | 8:10 | 38.8 | 25.6 | 1 | 34.6 | 30.6 | 1 | -50.27 | 118.7
2023-07-17 | 8:10 | 39.9 | 24.2 | 0.8 | 35.1 | 31.9 | 1 | -50.61 | 119.52
2023-07-18 | 8:10 | 40.4 | 25.2 | 0.7 | 33.7 | 30.9 | 0 | -51.27 | 118.93
2023-07-19 | 8:10 | 40 | 26.2 | 0.6 | 33.2 | 30.8 | 0 | -58.81 | 109.84
2023-07-21 | 8:10 | 41.4 | 26.9 | 0.8 | 30.9 | 27.7 | 1 | -48.5 | 118.79
2023-07-24 | 10:45 | 42.8 | 25.8 | 0.7 | 30.7 | 27.9 | 1 | -55.37 | 106.8
2023-07-27 | 8:10 | 43.7 | 25.6 | 0.6 | 30.1 | 27.7 | 1 | -58.47 | 103.96
2023-07-28 | 8:10 | 42.9 | 26.5 | 0.6 | 30 | 27.6 | 1 | 54.54 | 107.84
2023-07-31 | 7:25 | 43 | 26.1 | 0.63 | 30.27 | 27.75 | 1 | -60.26 | 101.41
2023-08-04 | 10:20 | 48.1 | 26.6 | 0.9 | 31.2 | 27.6 | 1 | -60.14 | 114.63
2023-08-10 | 8:00 | 46.2 | 28.1 | 0.6 | 25.1 | 22.7 | 1 | -114.5 | 78.49
2023-08-16 | 13:30 | 41.6 | 24.1 | 1.2 | 33.1 | 28.3 | 1 | -47.83 | 115.71
2023-08-17 | 14:40 | 42.6 | 25.3 | 1.1 | 31 | 26.6 | 7 | -44.88 | 117.64
2023-08-21 | 9:30 | 42.7 | 25.2 | 0.9 | 31.3 | 27.7 | 1 | -47.65 | 118.81
2023-08-24 | 15:00 | 43.5 | 25.7 | 0.9 | 44.87 | 41.27 | 1 | -44.87 | 116.75
2023-08-25 | 11:20 | 43.4 | 25.4 | 1 | 30.2 | 26.2 | 1 | -43.61 | 119.96
2023-08-29 | 8:55 | 44.1 | 25.5 | 0.9 | 29.5 | 25.9 | 0 | -41.96 | 121.96
2023-08-30 | 16:55 | 29.9 | 18.4 | 7.96 | 44.1 | 12.26 | 1 | -40.26
2023-08-31 | 8:00 | 29.5 | 16.7 | 8.5 | 45.3 | 11.3 | 0 | -41.2 | 131.97
2023-08-31 | 9:30 | 45.8 | 26.9 | 0.8 | 26.6 | 23.4 | 0 | -63.31
2023-09-01 | 12:00 | 44.6 | 26.5 | 0.7 | 28.2 | 25.4 | 2 | -45.33 | 115.85
2023-09-05 | 8:00 | 43.4 | 26.9 | 1.1 | 28.6 | 24.2 | 4 | -42.27 | 100.01
2023-09-07 | 14:45 | 43.8 | 27.3 | 0.9 | 28.1 | 24.5 | 2 | -37.78 | 125.4
2023-09-11 | 11:50 | 44.8 | 24.1 | 1.1 | 76.1 | 71.7 | 1 | -39.2 | 122.2
2023-09-15 | 13:55 | 45.2 | 27 | 0.8 | 27.1 | 23.9 | 1 | -37.6 | 122
2023-09-18 | 7:30 | 47.2 | 27 | 0.5 | 24.8 | 22.8 | 1 | -21.68 | 134
2023-09-19 | 9:50 | 46.8 | 27.1 | 0.8 | 24.8 | 21.6 | 1 | -23 | 136
2023-09-20 | 14:35 | 51.8 | 30.1 | 0.3 | 19.8 | 18.6 | 1 | -54.43
2023-09-25 | 9:00 | 43.7 | 26.6 | 0.8 | 28.8 | 25.6 | 1 | -50.84 | 115
2023-09-29 | 9:45 | 42.9 | 25.3 | 0.9 | 30.9 | 27.3 | 0 | -49.07 | 118

## Gas_Field_Data
Asset ID | Date | CH4 (%) | CO2 (%) | O2 (%) | CO (ppm) | H2S (ppm) | Balance Gas (%) | Atm Pressure (mbar) | Relative Pressure (mbar)
TIRLEW06 | 2023-07-11 09:16 | 24.5 | 22.6 | 0.9 | 2 | 0 | 52 | 1004 | 0.24
TIRLEW06 | 2023-09-11 09:00 | 28.7 | 21.3 | 2.4 | 3 | 0 | 47.6 | 1010 | -0.53
TIRLEW07 | 2023-07-11 09:36 | 0.1 | 1.8 | 11.1 | 1 | 0 | 87 | 1004 | 0.19
TIRLEW07 | 2023-08-16 08:32 | 35.2 | 23.7 | 0.3 | 0 | 0 | 40.8 | 1018 | -0.43
TIRLEW07 | 2023-09-11 09:07 | 46.2 | 27.6 | 0.1 | 1 | 0 | 26.1 | 1010 | -1.08
TIRLEW08 | 2023-07-11 10:10 | 40.3 | 27.6 | 0.3 | 18 | 3 | 31.8 | 1004 | 0.31
TIRLEW08 | 2023-07-11 10:11 | 40.3 | 27.7 | 0.3 | 19 | 2 | 31.7 | 1004 | 0.02
TIRLEW08 | 2023-08-16 08:42 | 10.2 | 11.5 | 9.2 | 8 | 0 | 69.1 | 1017 | -0.02
TIRLEW08 | 2023-09-11 09:35 | 30.5 | 21.7 | 2.2 | 8 | 1 | 45.6 | 1010 | -0.53
TIRLEW10 | 2023-07-11 10:34 | 3.1 | 4.5 | 17.1 | 2 | 0 | 75.3 | 1005 | 0.58
TIRLEW10 | 2023-08-16 08:52 | 0.1 | 3.4 | 19.8 | 0 | 0 | 76.7 | 1019 | -0.96
TIRLEW10 | 2023-09-11 09:47 | 25.7 | 17.5 | 7.3 | 1 | 0 | 49.5 | 1011 | -0.53
TIRLEW12 | 2023-07-11 11:18 | 62.1 | 22.5 | 0.9 | 12 | 3 | 14.5 | 1005 | 0.05
TIRLEW12 | 2023-07-11 11:19 | 62.6 | 22.6 | 0.8 | 12 | 3 | 14 | 1005 | -0.51
TIRLEW12 | 2023-08-16 09:13 | 29.4 | 10.8 | 10.2 | 16 | 0 | 49.6 | 1017 | 0.25
TIRLEW12 | 2023-09-11 10:56 | 56 | 18.8 | 4.1 | 4 | 1 | 21.1 | 1010 | -0.25
TIRLEW14 | 2023-07-11 12:01 | 73.7 | 22.6 | 0.5 | 3 | 1 | 3.2 | 1006 | 0.15
TIRLEW14 | 2023-07-11 12:02 | 73.1 | 23.8 | 0.4 | 3 | 1 | 2.7 | 1006 | -0.12
TIRLEW14 | 2023-08-16 09:26 | 62.9 | 20.4 | 2.9 | 0 | 0 | 13.8 | 1019 | -0.09
TIRLEW14 | 2023-09-11 11:17 | 19.3 | 8.1 | 14 | 1 | 0 | 58.6 | 1011 | -0.25
TIRLEW15 | 2023-09-11 13:25 | 62.3 | 32.9 | 0.3 | 1 | 2 | 4.5 | 1011 | 0.28
TIRLEW25 | 2023-07-11 10:01 | 20.2 | 22.8 | 0.2 | 1 | 0 | 56.8 | 1005 | 0.1
TIRLEW25 | 2023-08-16 08:41 | 0.6 | 10.6 | 5.2 | 0 | 0 | 83.6 | 1018 | -0.67
TIRLEW25 | 2023-09-11 09:31 | 23.1 | 23.8 | 0.1 | 1 | 0 | 53 | 1010 | -0.37
TIRLEW27 | 2023-07-11 12:42 | 68.1 | 33.3 | 0 | 4 | 3 | 0 | 1005 | 0.34
TIRLEW27 | 2023-08-16 09:29 | 68.6 | 30.4 | 0.1 | 2 | 0 | 0.9 | 1019 | -0.12
TIRLEW27 | 2023-09-11 13:23 | 67.1 | 33.2 | 0 | 2 | 2 | 0 | 1010 | -0.34
TIRLEW29 | 2023-07-11 12:00 | 0.2 | 4.4 | 20.5 | 2 | 0 | 74.9 | 1006 | 0.31
TIRLEW29 | 2023-08-16 09:22 | 0.9 | 6 | 18.8 | 1 | 0 | 74.3 | 1019 | -0.21
TIRLEW29 | 2023-09-11 11:14 | 15.2 | 21.6 | 0.1 | 1 | 0 | 63.1 | 1011 | -0.57
TIRLEW30 | 2023-07-11 12:05 | 0.8 | 4.7 | 20.3 | 2 | 1 | 74.2 | 1006 | 0.05
TIRLEW30 | 2023-08-16 09:27 | 0.4 | 5.3 | 17.6 | 4 | 0 | 76.7 | 1019 | 0.35
TIRLEW30 | 2023-09-11 13:24 | 68.4 | 33.6 | 0 | 1 | 2 | 0 | 1011 | -0.69
TIRLEW31 | 2023-07-11 13:07 | 66.4 | 34.5 | 0 | 5 | 7 | 0 | 1005 | 4.51
TIRLEW31 | 2023-07-11 13:10 | 58.7 | 31.7 | 1.8 | 4 | 7 | 7.8 | 1005 | 1.3
TIRLEW31 | 2023-09-11 13:28 | 67.2 | 35 | 0.1 | 2 | 2 | 0 | 1011 | -10.84
TIRLEW32 | 2023-07-11 12:30 | 55.6 | 31.6 | 0.9 | 4 | 2 | 11.9 | 1007 | -6.5
TIRLEW32 | 2023-08-16 09:47 | 48.6 | 24.9 | 4.5 | 8 | 0 | 22 | 1019 | -18.2
TIRLEW32 | 2023-09-11 13:06 | 66.5 | 31.9 | 0.8 | 2 | 1 | 0.8 | 1012 | -0.18
TIRSCAV1 | 2023-07-11 12:16 | 56.8 | 25 | 3.5 | 4 | 2 | 14.7 | 1007 | -45.33
TIRSCAV1 | 2023-08-16 09:37 | 48.1 | 18.9 | 6.9 | 5 | 0 | 26.1 | 1020 | -40.98
TIRSCAV2 | 2023-07-11 12:12 | 73.3 | 27.4 | 0.1 | 4 | 1 | 0 | 1007 | -0.39
TIRSCAV2 | 2023-07-11 12:13 | 73.1 | 27.7 | 0 | 3 | 2 | 0 | 1007 | -3.06
TIRSCAV2 | 2023-09-11 11:34 | 1.2 | 6.6 | 18.7 | 1 | 1 | 73.5 | 1009 | -0.37
TIRSCAV3 | 2023-07-11 12:06 | 0.1 | 2.6 | 20.9 | 2 | 1 | 76.4 | 1006 | -0.24
TIRSCAV3 | 2023-08-16 09:28 | 0.3 | 3.9 | 18.8 | 4 | 0 | 77 | 1019 | 0.44
TIRSCAV3 | 2023-09-11 11:20 | 19.3 | 8.8 | 13.7 | 1 | 0 | 58.2 | 1012 | -1.54
TIRW12A1 | 2023-07-11 12:26 | 48.1 | 31.9 | 0 | 4 | 4 | 20 | 1007 | -45.4
TIRW12A1 | 2023-08-16 09:48 | 58.4 | 32.3 | 0.1 | 1 | 1 | 9.2 | 1020 | -47.23
TIRW12A1 | 2023-09-11 13:08 | 60.5 | 31.3 | 0.2 | 1 | 1 | 8 | 1012 | -33.83
TIRW12A2 | 2023-07-11 12:33 | 70.1 | 30.4 | 0.1 | 4 | 3 | 0 | 1006 | -44.94
TIRW12A2 | 2023-08-16 09:44 | 54.7 | 25.7 | 3.8 | 7 | 0 | 15.8 | 1019 | -46.79
TIRW12A2 | 2023-09-11 13:04 | 65.2 | 31.1 | 0.8 | 1 | 2 | 2.9 | 1012 | -33.83
TIRW12A3 | 2023-07-11 12:22 | 66.6 | 33.7 | 0 | 4 | 1 | 0 | 1007 | -37.71
TIRW12A3 | 2023-08-16 09:40 | 66 | 29 | 0.2 | 7 | 0 | 3.1 | 1019 | -44.12
TIRW12A3 | 2023-09-11 13:01 | 69.8 | 32.6 | 0.2 | 3 | 1 | 0 | 1013 | -32.68
TIRW1403 | 2023-07-11 13:16 | 65.9 | 34.6 | 0 | 5 | 6 | 0 | 1005 | 11.95
TIRW1403 | 2023-09-11 13:32 | 59.2 | 32.7 | 1 | 3 | 2 | 7.1 | 1011 | 228.35
TIRW1801 | 2023-07-11 12:48 | 58.6 | 40.6 | 0.1 | 7 | 6 | 0.7 | 1005 | -44.46
TIRW1801 | 2023-07-11 12:49 | 58.1 | 42.1 | 0 | 7 | 10 | 0 | 1005 | -47.06
TIRW1801 | 2023-08-16 09:31 | 59.2 | 41.1 | 0 | 3 | 1 | 0 | 1019 | -19.15
TIRW1801 | 2023-09-11 13:21 | 58.6 | 42.6 | 0 | 4 | 2 | 0 | 1010 | -32.15
TIRW1802 | 2023-07-11 12:51 | 53 | 38.3 | 1.6 | 7 | 9 | 7.1 | 1005 | -33.6
TIRW1802 | 2023-08-16 09:33 | 54 | 40.2 | 0.8 | 2 | 1 | 5 | 1018 | -38.24
TIRW1802 | 2023-09-11 13:19 | 55.6 | 41.7 | 0.7 | 4 | 2 | 2 | 1011 | -22.82
TIRW1803 | 2023-07-11 12:55 | 59.2 | 40.9 | 0 | 7 | 14 | 0 | 1005 | 106.9
TIRW1803 | 2023-07-11 12:56 | 59 | 41.1 | 0 | 6 | 13 | 0 | 1005 | 32.06
TIRW1803 | 2023-08-16 09:36 | 61 | 37.5 | 0.1 | 1 | 0 | 1.4 | 1018 | 200.13
TIRW1803 | 2023-08-16 10:01 | 61 | 39.5 | 0 | 2 | 1 | 0 | 1020 | 16.97
TIRW1803 | 2023-09-11 13:17 | 62.8 | 37.3 | 0.1 | 3 | 4 | 0 | 1011 | -33.44
TIRW1804 | 2023-07-11 13:13 | 62.5 | 37.7 | 0 | 6 | 6 | 0 | 1005 | -43.78
TIRW1804 | 2023-08-16 09:52 | 59.3 | 31.8 | 0.4 | 9 | 0 | 8.5 | 1018 | -45.69
TIRW1804 | 2023-09-11 13:15 | 63.4 | 37.2 | 0.1 | 3 | 1 | 0 | 1011 | -34.08
TIRW1805 | 2023-07-11 13:21 | 62.6 | 37.5 | 0 | 7 | 5 | 0 | 1005 | -37.88
TIRW1805 | 2023-08-16 09:39 | 60.7 | 35.2 | 0 | 1 | 1 | 4.1 | 1019 | -42.5
TIRW1805 | 2023-09-11 13:13 | 64.5 | 36.4 | 0 | 3 | 2 | 0 | 1011 | -23.52
TIRW1806 | 2023-07-11 13:25 | 65.7 | 35.1 | 0 | 6 | 7 | 0 | 1006 | 0.43
TIRW1806 | 2023-08-16 09:42 | 56.2 | 32.7 | 0.6 | 1 | 1 | 10.5 | 1019 | -15.11
TIRW1806 | 2023-09-11 13:11 | 51.3 | 33.3 | 0.1 | 2 | 2 | 15.3 | 1012 | -11.18
TIRW2509 | 2023-07-11 09:22 | 23.9 | 18.3 | 3.5 | 1 | 0 | 54.3 | 1005 | 0.1
TIRW2509 | 2023-08-16 08:26 | 12.3 | 12.5 | 10.6 | 1 | 0 | 64.6 | 1018 | -0.48
TIRW2509 | 2023-09-11 09:11 | 25.3 | 17.6 | 5.7 | 0 | 0 | 51.4 | 1010 | -0.53
TIRW2510 | 2023-07-11 09:19 | 21.4 | 24.4 | 0.1 | 1 | 0 | 54.1 | 1004 | 0.15
TIRW2510 | 2023-08-16 08:21 | 26.7 | 22.5 | 1 | 2 | 0 | 49.8 | 1018 | 0.18
TIRW2510 | 2023-09-11 09:01 | 29.4 | 24.1 | 0.4 | 1 | 0 | 46.1 | 1010 | -0.35
TIRW2511 | 2023-07-11 09:43 | 23.1 | 22.8 | 0.1 | 1 | 1 | 53.6 | 1005 | -0.6
TIRW2511 | 2023-08-16 08:33 | 24.8 | 21.3 | 1.2 | 1 | 0 | 52.7 | 1017 | -0.32
TIRW2511 | 2023-09-11 09:22 | 22.1 | 16.9 | 4 | 1 | 0 | 57 | 1010 | -0.94
TIRW2512 | 2023-07-11 09:41 | 21.2 | 15.8 | 4.1 | 2 | 0 | 58.9 | 1005 | -0.03
TIRW2512 | 2023-08-16 08:34 | 22 | 14.7 | 4.9 | 2 | 0 | 58.4 | 1018 | 0.86
TIRW2512 | 2023-09-11 09:24 | 28.7 | 18.7 | 1.3 | 1 | 0 | 51.3 | 1011 | -0.44
TIRW2515 | 2023-07-11 13:42 | 37.4 | 26.2 | 0 | 4 | 3 | 36.4 | 1005 | -12.24
TIRW2515 | 2023-08-16 10:14 | 37.4 | 25 | 0.5 | 0 | 1 | 37.1 | 1018 | -17.24
TIRW2515 | 2023-08-16 10:18 | 0.3 | 6.3 | 17.9 | 6 | 0 | 75.5 | 1018 | 0.58
TIRW2515 | 2023-09-11 13:43 | 40.5 | 25.8 | 0.5 | 1 | 1 | 33.2 | 1011 | -13.69
TIRW2601 | 2023-07-11 11:08 | 14.7 | 18.8 | 0.1 | 2 | 1 | 66.4 | 1005 | -0.53
TIRW2601 | 2023-08-16 09:00 | 5.8 | 7.9 | 12.2 | 3 | 0 | 74.1 | 1018 | 0.3
TIRW2601 | 2023-09-11 10:10 | 0.9 | 5.7 | 19.6 | 0 | 1 | 73.8 | 1010 | -0.44
TIRW2602 | 2023-07-11 11:11 | 27.6 | 19.4 | 0.1 | 2 | 2 | 52.9 | 1005 | 0.02
TIRW2602 | 2023-08-16 09:02 | 32.2 | 18.6 | 0.2 | 3 | 0 | 49 | 1018 | -0.47
TIRW2602 | 2023-09-11 10:15 | 1.3 | 6.3 | 18.8 | 0 | 0 | 73.6 | 1011 | -0.09
TIRW2603 | 2023-07-11 11:36 | 24.9 | 20.3 | 0 | 3 | 3 | 54.8 | 1006 | -4.07
TIRW2603 | 2023-07-11 11:37 | 24.8 | 20.3 | 0 | 1 | 3 | 54.9 | 1006 | -3.56
TIRW2603 | 2023-08-16 09:05 | 26.2 | 19.2 | 0.2 | 4 | 0 | 54.4 | 1018 | -1.09
TIRW2603 | 2023-09-11 11:00 | 23.2 | 18.2 | 0.1 | 1 | 0 | 58.5 | 1011 | -1.98
TIRW2604 | 2023-07-11 11:40 | 28.6 | 19.3 | 0 | 2 | 1 | 52.1 | 1006 | 0.21
TIRW2604 | 2023-07-11 11:41 | 28.5 | 19.6 | 0 | 2 | 1 | 51.9 | 1006 | -0.8
TIRW2604 | 2023-09-11 11:06 | 0.6 | 7.9 | 13.7 | 1 | 0 | 77.8 | 1011 | -3.14
TIRW2605 | 2023-07-11 11:56 | 13.8 | 21.5 | 0 | 2 | 1 | 64.4 | 1006 | -0.75
TIRW2605 | 2023-08-16 09:22 | 56.4 | 27.4 | 0.2 | 5 | 0 | 16 | 1019 | -0.21
TIRW2605 | 2023-08-16 09:23 | 54.9 | 28.2 | 0.1 | 5 | 0 | 16.8 | 1019 | -0.6
TIRW2605 | 2023-09-11 11:12 | 15.3 | 20.9 | 0.1 | 1 | 0 | 63.7 | 1011 | -0.83
TIRW2606 | 2023-07-11 11:57 | 1.6 | 9.7 | 17 | 2 | 2 | 71.7 | 1006 | 0.5
TIRW2606 | 2023-08-16 09:23 | 0.5 | 5.9 | 19.1 | 1 | 0 | 74.5 | 1019 | -0.04
TIRW2606 | 2023-09-11 11:13 | 15.6 | 21.6 | 0 | 1 | 1 | 62.8 | 1012 | -0.6
TIRW261A | 2023-07-11 11:04 | 3.9 | 18.1 | 0.2 | 3 | 2 | 77.8 | 1006 | 0.65
TIRW263A | 2023-07-11 11:48 | 33.3 | 18.4 | 1 | 2 | 1 | 47.3 | 1006 | -13.6
TIRW263A | 2023-08-16 09:19 | 33.1 | 17.2 | 2 | 4 | 0 | 47.7 | 1018 | -13.02
TIRW263A | 2023-09-11 11:03 | 39.1 | 20.7 | 0 | 1 | 1 | 40.2 | 1012 | -1.08
TIRW264A | 2023-07-11 11:47 | 0.1 | 1.4 | 20.1 | 2 | 1 | 78.4 | 1006 | 0
TIRW264A | 2023-08-16 09:16 | 0.2 | 4.7 | 15.1 | 3 | 0 | 80 | 1019 | 0
TIRW264B | 2023-07-11 11:50 | 0 | 0.9 | 21.2 | 3 | 0 | 77.9 | 1006 | 0.32
TIRW264B | 2023-08-16 09:18 | 0.4 | 6.8 | 18.7 | 2 | 0 | 74.1 | 1019 | -1.24
TIRW264B | 2023-09-11 11:07 | 0.2 | 2.2 | 20.3 | 1 | 0 | 77.3 | 1012 | 2.21
TIRW265A | 2023-07-11 11:53 | 36.1 | 20.4 | 0.3 | 2 | 1 | 43.2 | 1006 | -5.11
TIRW265A | 2023-08-16 09:21 | 39 | 21.1 | 0.2 | 4 | 0 | 39.7 | 1019 | -6.78
TIRW265A | 2023-09-11 11:10 | 43 | 22.3 | 0.1 | 1 | 1 | 34.6 | 1012 | -4.89
TIRW2705 | 2023-07-11 09:29 | 38.7 | 25.7 | 0.1 | 2 | 1 | 35.5 | 1005 | -2.12
TIRW2705 | 2023-08-16 08:30 | 35.6 | 23.3 | 0.2 | 0 | 0 | 40.9 | 1018 | -1.59
TIRW2705 | 2023-09-11 09:09 | 39 | 24.7 | 0.1 | 0 | 0 | 36.2 | 1010 | -1.63
TIRW2706 | 2023-07-11 09:26 | 43.6 | 27.2 | 0.1 | 2 | 2 | 29.1 | 1005 | -8.24
TIRW2706 | 2023-08-16 08:25 | 42 | 24.6 | 0.6 | 2 | 0 | 32.8 | 1017 | -9
TIRW2706 | 2023-09-11 09:04 | 46.1 | 27.5 | 0.1 | 1 | 0 | 26.3 | 1010 | -8.34
TIRW2707 | 2023-07-11 09:13 | 29.3 | 24.7 | 0.1 | 2 | 0 | 45.9 | 1004 | -1.01
TIRW2707 | 2023-07-11 09:14 | 29.2 | 24.7 | 0.1 | 1 | 1 | 46 | 1004 | -0.44
TIRW2707 | 2023-08-16 08:19 | 31.7 | 23.6 | 0.2 | 0 | 0 | 44.5 | 1018 | -0.3
TIRW2707 | 2023-09-11 08:57 | 35.1 | 24.6 | 0.1 | 1 | 0 | 40.2 | 1010 | -0.43
TIRW2708 | 2023-07-11 09:11 | 18.4 | 21.7 | 1.6 | 1 | 0 | 58.3 | 1004 | 0.15
TIRW2708 | 2023-08-16 08:18 | 21.5 | 16.8 | 4.6 | 1 | 0 | 57.1 | 1018 | 0.07
TIRW2708 | 2023-09-11 08:55 | 24.3 | 21.4 | 1.4 | 1 | 0 | 52.9 | 1010 | -0.34
TIRW2709 | 2023-07-11 09:48 | 29.2 | 23.6 | 0.1 | 2 | 1 | 47.1 | 1005 | -2.7
TIRW2709 | 2023-07-11 09:50 | 29.2 | 24 | 0 | 2 | 1 | 46.8 | 1005 | -1.8
TIRW2709 | 2023-08-16 08:34 | 27.1 | 22.9 | 0.1 | 0 | 0 | 49.9 | 1018 | -2.53
TIRW2709 | 2023-09-11 09:14 | 29.1 | 21.6 | 0.1 | 0 | 0 | 49.2 | 1010 | -0.53
TIRW2711 | 2023-07-11 13:52 | 51.4 | 31.4 | 0.9 | 3 | 2 | 16.3 | 1006 | 0.19
TIRW2711 | 2023-07-11 13:53 | 55.7 | 34 | 0 | 4 | 4 | 10.3 | 1006 | 0
TIRW2712 | 2023-07-11 13:57 | 0.4 | 4.1 | 20.6 | 2 | 2 | 74.9 | 1005 | 0.15
TIRW2712 | 2023-08-16 10:19 | 0.3 | 3.7 | 19.5 | 5 | 0 | 76.5 | 1018 | -0.18
TIRW2712 | 2023-09-11 13:49 | 28 | 16.7 | 8.7 | 2 | 2 | 46.6 | 1011 | -0.51
TIRW2713 | 2023-07-11 14:00 | 29.7 | 20.1 | 0.4 | 3 | 2 | 49.8 | 1005 | 0.17
TIRW2713 | 2023-07-11 14:01 | 29.7 | 20.4 | 0.3 | 3 | 2 | 49.6 | 1005 | -0.07
TIRW2713 | 2023-08-16 10:21 | 8.7 | 8.9 | 11 | 0 | 1 | 71.4 | 1019 | -0.28
TIRW2713 | 2023-09-11 13:51 | 22.5 | 13.4 | 10 | 1 | 2 | 54.1 | 1011 | -0.18
TIRW3A01 | 2023-07-11 10:57 | 44.6 | 27.4 | 0 | 2 | 3 | 28 | 1005 | -6.46
TIRW3A01 | 2023-09-11 10:05 | 46.5 | 28.2 | 0 | 1 | 1 | 25.3 | 1010 | -6.45
TIRW3A02 | 2023-07-11 10:53 | 12 | 21.2 | 0.1 | 2 | 4 | 66.7 | 1005 | 0.1
TIRW3A02 | 2023-08-16 09:00 | 18.1 | 19.3 | 1.2 | 0 | 0 | 61.4 | 1019 | -0.19
TIRW3A02 | 2023-09-11 10:02 | 29.7 | 24.3 | 1.9 | 2 | 2 | 44.1 | 1011 | -0.73
TIRW3A03 | 2023-07-11 11:31 | 24.3 | 23.2 | 0 | 3 | 2 | 52.5 | 1005 | -0.72
TIRW3A03 | 2023-07-11 11:32 | 24.2 | 23.4 | 0 | 3 | 2 | 52.4 | 1005 | -1.27
TIRW3A03 | 2023-08-16 09:11 | 34.5 | 22.4 | 0.3 | 1 | 0 | 42.8 | 1018 | -1.35
TIRW3A03 | 2023-09-11 10:19 | 34.9 | 22.6 | 0.2 | 0 | 0 | 42.3 | 1011 | -1.12
TIRW3A04 | 2023-07-11 11:15 | 15.7 | 22 | 0 | 2 | 2 | 62 | 1005 | -0.77
TIRW3A04 | 2023-08-16 09:07 | 7.2 | 9.8 | 10.9 | 3 | 0 | 72.1 | 1018 | 0.51
TIRW3A04 | 2023-09-11 10:58 | 0.4 | 3.7 | 20.4 | 1 | 0 | 75.5 | 1010 | -0.92
TIRW3A06 | 2023-07-11 11:23 | 43.4 | 29.1 | 0 | 3 | 3 | 27.5 | 1005 | -12.47
TIRW3A06 | 2023-08-16 09:13 | 43.6 | 28.9 | 0 | 0 | 0 | 27.5 | 1018 | -13.3
TIRW3A06 | 2023-09-11 10:22 | 48.6 | 28.6 | 0.1 | 0 | 0 | 22.7 | 1010 | -10.5
TIRW3B01 | 2023-07-11 10:29 | 29.5 | 26.1 | 0 | 2 | 3 | 44.4 | 1005 | -8.48
TIRW3B01 | 2023-07-11 10:31 | 29.5 | 26.3 | 0 | 2 | 1 | 44.2 | 1005 | -7.01
TIRW3B01 | 2023-08-16 08:50 | 32 | 26.9 | 0 | 1 | 0 | 41.1 | 1018 | -7.53
TIRW3B01 | 2023-09-11 09:45 | 33.5 | 26.8 | 0 | 1 | 0 | 39.7 | 1010 | -10.68
TIRW3B02 | 2023-07-11 10:38 | 17.6 | 22.3 | 0.1 | 2 | 1 | 60 | 1005 | -0.34
TIRW3B02 | 2023-08-16 08:55 | 18 | 18.8 | 1 | 1 | 0 | 62.2 | 1019 | -0.73
TIRW3B02 | 2023-09-11 09:53 | 11 | 10.4 | 9.8 | 1 | 0 | 68.8 | 1011 | -0.96
TIRW3B03 | 2023-07-11 10:46 | 15.9 | 20.9 | 0.2 | 1 | 1 | 63 | 1005 | 0.63
TIRW3B03 | 2023-08-16 08:53 | 18.7 | 20.6 | 0.4 | 3 | 0 | 60.3 | 1018 | 0.33
TIRW3B03 | 2023-09-11 09:56 | 18.1 | 18.6 | 1.3 | 1 | 0 | 62 | 1011 | -0.53
TIRW3B04 | 2023-07-11 10:50 | 27.5 | 25.1 | 0 | 2 | 3 | 47.2 | 1005 | -17.46
TIRW3B04 | 2023-08-16 08:51 | 34.9 | 25.5 | 0.7 | 3 | 0 | 38.9 | 1017 | -35.69
TIRW3B04 | 2023-09-11 09:59 | 63 | 36.5 | 0.3 | 1 | 1 | 0.2 | 1011 | -0.94
TIRW3B05 | 2023-07-11 10:24 | 49.6 | 29.8 | 0.1 | 3 | 1 | 20.5 | 1005 | -4.33
TIRW3B05 | 2023-08-16 08:47 | 46.5 | 26.8 | 0.7 | 3 | 0 | 26 | 1017 | -4.5
TIRW3B05 | 2023-09-11 09:41 | 47.2 | 29.2 | 0 | 1 | 0 | 23.6 | 1010 | -5.08
TIRW3B07 | 2023-07-11 10:17 | 45.3 | 29.3 | 0.1 | 3 | 1 | 25.3 | 1004 | -4.28
TIRW3B07 | 2023-08-16 08:47 | 42.3 | 28 | 0 | 0 | 0 | 29.7 | 1018 | -8.36
TIRW3B07 | 2023-09-11 09:39 | 45.5 | 28.9 | 0 | 1 | 1 | 25.6 | 1010 | -6.78
TIRW3C01 | 2023-07-11 10:14 | 32.1 | 25.3 | 0.1 | 2 | 1 | 42.5 | 1004 | -0.46
TIRW3C01 | 2023-08-16 08:44 | 33.1 | 22.9 | 0.6 | 3 | 0 | 43.4 | 1017 | -3.22
TIRW3C01 | 2023-09-11 09:37 | 30.4 | 21.9 | 2.2 | 6 | 1 | 45.5 | 1010 | -0.89
TIRW3C03 | 2023-07-11 13:47 | 29.5 | 25.4 | 0 | 4 | 6 | 45.1 | 1005 | -15.99
TIRW3C03 | 2023-08-16 10:13 | 32 | 25.2 | 0.1 | 6 | 0 | 42.7 | 1018 | -21.4
TIRW3C03 | 2023-09-11 13:41 | 33.7 | 25.1 | 0.2 | 1 | 2 | 41 | 1010 | -19.04
TIRW3C04 | 2023-07-11 09:46 | 25.5 | 22.4 | 0.1 | 1 | 1 | 52 | 1004 | 0.27
TIRW3C04 | 2023-08-16 08:37 | 22.6 | 22.4 | 0.1 | 0 | 0 | 54.9 | 1018 | -0.67
TIRW3C04 | 2023-09-11 09:18 | 25.8 | 22.6 | 0 | 1 | 1 | 51.6 | 1010 | -0.43
TIRW3C05 | 2023-07-11 09:54 | 14.1 | 20 | 0.1 | 2 | 1 | 65.8 | 1005 | -0.15
TIRW3C05 | 2023-07-11 09:55 | 14.1 | 20.3 | 0.1 | 2 | 1 | 65.5 | 1005 | -0.17
TIRW3C05 | 2023-08-16 08:36 | 6.4 | 7.4 | 12.5 | 2 | 0 | 73.7 | 1018 | 0.26
TIRW3C05 | 2023-09-11 09:20 | 11.9 | 9.1 | 11.2 | 0 | 0 | 67.8 | 1010 | -0.9
TIRW3C06 | 2023-08-16 08:39 | 16.2 | 19.3 | 0.3 | 2 | 0 | 64.2 | 1018 | -2.74
TIRW3C06 | 2023-08-16 08:40 | 15.8 | 19.7 | 0.2 | 2 | 0 | 64.3 | 1018 | -1.12
TIRW3C06 | 2023-09-11 09:28 | 28.8 | 18.5 | 1.3 | 1 | 0 | 51.4 | 1011 | -0.3
TIRW3C07 | 2023-07-11 10:04 | 26.3 | 24.3 | 0 | 2 | 3 | 49.4 | 1005 | -1.06
TIRW3C07 | 2023-07-11 10:06 | 26.3 | 24.4 | 0 | 2 | 2 | 49.3 | 1005 | -0.63
TIRW3C07 | 2023-08-16 08:43 | 33.4 | 22.1 | 1.5 | 0 | 0 | 43 | 1018 | -0.44
TIRW3C07 | 2023-09-11 09:34 | 35 | 22.3 | 1.6 | 1 | 0 | 41.1 | 1010 | -0.78
TIRW3C08 | 2023-07-11 10:42 | 7.8 | 18.1 | 0.1 | 3 | 2 | 74 | 1006 | -45.8
TIRW3C08 | 2023-07-11 10:44 | 7.8 | 18.6 | 0 | 3 | 3 | 73.6 | 1006 | -37.35