## Settings (hidden)
Gas Day Start Hour | 0
Report Year | 2010
Report Start Date | 2023-01-01
Report End Date | 2023-09-30
Station | All

## Report
Releases to Air - PPC Continuous Measurement | [6 empty] | Releases to Air - PPC Continuous Measurement | [12 empty] | Releases to Air - Continuous Measurement Systems Invalidation Log
Operational Summary for the period 01/01/2023 to 31/12/2023 | [6 empty] | Operational Summary for the period 01/01/2023 to 31/12/2023 | [6 empty] | Reporting of other performance indicators for the period 01/01/2023 to 31/12/2023 | [5 empty] | Operational Summary for the period 01/01/2023 to 31/12/2023
Operator: National Gas Transmission plc |  |  | Site Location: Felindre Compressor Station |  |  |  | Operator: National Gas Transmission plc |  |  | Site Location: Felindre Compressor Station |  |  |  | Operator: National Gas Transmission plc |  | Site Location: Felindre Compressor Station |  |  |  | Operator: National Gas Transmission plc |  | Site Location: Felindre Compressor Station
Permit/Variation no: RP3232LD |  |  | Release Point: A1 |  |  |  | Permit/Variation no: RP3232LD |  |  | Release Point: A2 |  |  |  | Permit/Variation no: RP3232LD | [5 empty] | Permit/Variation no: RP3232LD
Continuous Measurement Form | [6 empty] | Continuous Measurement Form | [6 empty] | Period | Turbine Unit | Hours of Operation | Hours of Operation at less than 70% MCR | Mass of NOx per Hour of Operation (t/h) | Mass of CO per Hour of Operation (t/h) | Emissions to Air - Invalidation Log
Pollutant | Month | Daily Avg ELV | Daily Mean [1][2] | Hourly 95th Percentile ELV | Cumulative 95th Percentile Hourly Avg Value [2] | Total Mass Release | Pollutant | Month | Daily Avg ELV | Daily Mean [1][2] | Hourly 95th Percentile ELV | Cumulative 95th Percentile Hourly Avg Value [2] | Total Mass Release | [6 empty] | Date | Period of Invalidation (hours) | Cumulative Invalidated Days in Year | Comments
[14 empty] | Quarter 1 | A | 45.3667 | N/A | N/A | N/A
|  | (mg/m3) | (mg/m3) | (mg/m3) | (mg/m3) | (kg) |  |  | (mg/m3) | (mg/m3) | (mg/m3) | (mg/m3) | (kg) |  | B | 565.6972 | 14.3333 | 0.0017065 | 0.00060423
Quarter 1 | [6 empty] | Quarter 1 | [7 empty] | C | 468.6694 | 15.8361 | 0.0030113 | 0.00025896
NOX | Jan | 75 | 13.2314 | 150 | 13.2271 | 569.1485 | NOX | Jan | 75 | 24.3909 | 150 | 25.1161 | 1061.2773 | Quarter 2 | A | 3.0556 | N/A | N/A | N/A
CO |  | 100 | 5.0707 | 100 | 5.1546 | 192.3747 | CO |  | 100 | 1.6858 | 100 | 1.5408 | 49.9361 |  | B | 404.4333 | 11.4167 | 0.0023478 | 0.00098642
NOX | Feb | 75 | 11.8481 | 150 | 13.2598 | 26.8462 | NOX | Feb | 75 | 22.4333 | 150 | 25.1268 | 67.2054 |  | C | 366.1639 | 8.1833 | 0.0024117 | 0.00031661
CO |  | 100 | 4.3275 | 100 | 5.1546 | 25.1946 | CO |  | 100 | 4.8434 | 100 | 1.6185 | 18.6132 | Quarter 3 | A | 0 | N/A | N/A | N/A
NOX | Mar | 75 | 23.0819 | 150 | 14.4834 | 369.3916 | NOX | Mar | 75 | 23.6301 | 150 | 25.0063 | 282.8231 |  | B | 8.5472 | 6.7333 | 0.0040501 | 0.0096715
CO |  | 100 | 10.1757 | 100 | 6.8126 | 124.243 | CO |  | 100 | 8.8508 | 100 | 5.6181 | 52.8155 |  | C | 1.3472 | 1.3472 | 0.0031673 | 0.02533
Quarter 2 | [6 empty] | Quarter 2 | [6 empty] | Quarter 4 | A |  | N/A | N/A | N/A
NOX | Apr | 75 | 22.0066 | 150 | 22.4097 | 944.3509 | NOX | Apr | 75 | 20.6939 | 150 | 24.7048 | 825.8126 |  | B |  |  | - | -
CO |  | 100 | 9.9356 | 100 | 10.0467 | 393.62 | CO |  | 100 | 0.97498 | 100 | 3.3386 | 92.463 |  | C |  |  | - | -
NOX | May | 75 | 27.9761 | 150 | 22.4312 | 5.1744 | NOX | May | 75 | 19.3195 | 150 | 24.699 | 57.2542 | Annual | A | 48.4222 | N/A | N/A | N/A
CO |  | 100 | 11.025 | 100 | 10.0515 | 5.3212 | CO |  | 100 | 0.98304 | 100 | 3.0519 | 23.4674 |  | B | 978.6778 | 32.4833 | 0.001992 | 0.00084136 | Signed on behalf of the Operator: M Secomb |  | Date: | 2023-10-25 11:59
NOX | Jun | 75 | 0 | 150 | 22.4312 | 0 | NOX | Jun | 75 | 0 | 150 | 24.699 | 0 |  | C | 836.1806 | 25.3667 | 0.002749 | 0.00032459
CO |  | 100 | 0 | 100 | 10.0515 | 0 | CO |  | 100 | 0 | 100 | 3.0519 | 0
Quarter 3 | [6 empty] | Quarter 3 | [6 empty] | Operator's Comments:
NOX | Jul | 75 | 0 | 150 | 22.4312 | 0 | NOX | Jul | 75 | 0 | 150 | 24.699 | 0
CO |  | 100 | 0 | 100 | 10.0515 | 0 | CO |  | 100 | 0 | 100 | 3.0519 | 0
NOX | Aug | 75 | 0 | 150 | 22.4312 | 0 | NOX | Aug | 75 | 0 | 150 | 24.699 | 0
CO |  | 100 | 0 | 100 | 10.0515 | 0 | CO |  | 100 | 0 | 100 | 3.0519 | 0
NOX | Sep | 75 | 19.9997 | 150 | 22.4863 | 34.6168 | NOX | Sep | 75 | 0 | 150 | 24.699 | 4.2671 | Signed on behalf of the Operator: M Secomb |  |  | Date: | 2023-10-25 11:59
CO |  | 100 | 31.9826 | 100 | 10.066 | 82.6647 | CO |  | 100 | 0 | 100 | 3.0519 | 34.1246
Quarter 4 | [6 empty] | Quarter 4
NOX | Oct | - | - | - | 22.4863 |  | NOX | Oct | - | - | - | 24.699
CO |  | - | - | - | 10.066 |  | CO |  | - | - | - | 3.0519
NOX | Nov | - | - | - | 22.4863 |  | NOX | Nov | - | - | - | 24.699
CO |  | - | - | - | 10.066 |  | CO |  | - | - | - | 3.0519
NOX | Dec | - | - | - | 22.4863 |  | NOX | Dec | - | - | - | 24.699
CO |  | - | - | - | 10.066 |  | CO |  | - | - | - | 3.0519
Signed on behalf of the Operator: |  | M Secomb | Date: | 2023-10-25 11:59 |  |  | Signed on behalf of the Operator: |  | M Secomb | Date: | 2023-10-25 11:59
[1] The result given is the maximum value obtained during the reporting period expressed in the same terms as the emission limit value. | [5 empty] | Form: Air 2 | [1] The result given is the maximum value obtained during the reporting period expressed in the same terms as the emission limit value. | [5 empty] | Form: Air 2 | [5 empty] | Form: Performance 1 |  |  |  | Form: Air 1
[2] Concentrations are reported with the uncertanties at 95% confidence level of 10% for CO and 20% for Nox subtracted from the continuous prediction. | [6 empty] | [2] Concentrations are reported with the uncertanties at 95% confidence level of 10% for CO and 20% for Nox subtracted from the continuous prediction.